## Overview (hidden)
Sequence Overview
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
Injection Details
No | Injection Name | Position | Type | Level | Inject Time | Status
1 | Alkylphenones 1 | RA1 | Calibration Standard | 01 | 2022-07-12 13:14 | Finished
2 | Alkylphenones 2 | RA1 | Calibration Standard | 01 | 2022-07-12 13:15 | Finished
3 | Alkylphenones 3 | RA1 | Calibration Standard | 01 | 2022-07-12 13:16 | Finished
4 | Alkylphenones 4 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
5 | Alkylphenones 5 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
6 | Alkylphenones 6 | RA1 | Calibration Standard | 01 | 2022-07-12 13:18 | Finished
7 | Alkylphenones 7 | RA2 | Unknown |  | 2022-07-12 13:19 | Finished

## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | forest_control_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | TIC
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | control_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 21:34 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC
32 | Silanediol, dimethyl- | 5.3126 | 1400.4659 | 16741.3511 | 11.4689 | 5.662 | 1066-42-8 | C2H8O2Si
55 | Cyclotrisiloxane, hexamethyl- | 7.6471 | 3054.4018 | 28470.1909 | 25.0136 | 9.6288 | 541-05-9 | C6H18O3Si3
60 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 8.0648 | 14.0594 | 602.5626 | 0.11514 | 0.20379 |  | C7H22O2Si3
67 | (Z)-N-hydroxybenzenecarboximidic acid methyl ester | 8.5112 | 328.2055 | 8593.4658 | 2.6878 | 2.9064 |  | C8H9NO2
68 | Oxime-, methoxy-phenyl-_ | 8.5512 | 200.742 | 5360.3401 | 1.644 | 1.8129 |  | C8H9NO2
74 | 4-[(2-Phenylethyl)carbamoyl]phenyl acetate, TMS | 9.2779 | 133.5809 | 4767.9785 | 1.0939 | 1.6126 |  | C20H25NO3Si
79 | Benzaldehyde | 9.7357 | 545.0975 | 15421 | 4.464 | 5.2155 | 100-52-7 | C7H6O
80 | Cyclotetrasiloxane, octamethyl- | 9.873 | 858.5875 | 33178.9517 | 7.0313 | 11.2214 | 556-67-2 | C8H24O4Si4
81 | 3-Methylindolo[1,2-f]phenanthridine | 10.0332 | 21.4541 | 949.7627 | 0.1757 | 0.32122 |  | C21H15N
86 | (2R)-2-ethyl-1-hexanol | 10.4337 | 19.9868 | 1051 | 0.16368 | 0.35546 |  | C8H18O
91 | 3-Methyl-1-cyclohepta-2,4,6-trienone | 10.7542 | 53.256 | 2449 | 0.43613 | 0.82827 |  | C8H8O
95 | Acetophenone | 11.0517 | 549.9549 | 22865 | 4.5038 | 7.7331 | 98-86-2 | C8H8O
96 | Butanoic acid, 2-(benzoylamino)-2,3-dichloro-3-methyl-, methyl e | 11.1147 | 315.4663 | 6934 | 2.5835 | 2.3451 | 98517-03-4 | C13H15Cl2NO3
97 | 1H-Imidazole-2,5-dione, 4-[[4-(1,3-benzodioxol-5-ylmethyl)-1-met | 11.2863 | 22.6645 | 1178 | 0.18561 | 0.39841 | 122759-55-1 | C16H15N5O4
101 | 4-(2-(Tosyloxy)ethyl)-3,4-dihydro-2H-benzo[b][1,4]oxazin-6-yl be | 11.5782 | 47.3829 | 1686 | 0.38804 | 0.57022 |  | C24H23NO6S
102 | Cyclopentasiloxane, decamethyl- | 11.6983 | 147.9769 | 5107 | 1.2118 | 1.7272 | 541-02-6 | C10H30O5Si5
103 | Benzoic acid | 11.87 | 676.226 | 22034 | 5.5379 | 7.4521 | 65-85-0 | C7H6O2
104 | 2-Hydroxy-1-phenyl-3-(phenylsulfonyl)propan-1-one | 11.9787 | 19.286 | 599 | 0.15794 | 0.20259 |  | C15H14O4S
106 | Cobalt, [3,3''-(ethylenedinitrilo)dibutyrophenonato(2-)]- | 12.179 | 24.0791 | 860 | 0.19719 | 0.29086 | 36466-12-3 | C22H22CoN2O2
108 | t-Butyl (1' R)-5-(1'-hydroxyoctyl)-3-methyl-4-oxoimidazolidine-1 | 12.3163 | 5.3883 | 333 | 0.044127 | 0.11262 |  | C21H40N2O4
110 | Dibromo[tri(trimethylsilyl)methyl]silane | 12.4593 | 14.6748 | 552 | 0.12018 | 0.18669 |  | C10H30Br2Si4
111 | Dibromo[tri(trimethylsilyl)methyl]silane | 12.5623 | 3.5193 | 285.4699 | 0.028821 | 0.096548 |  | C10H30Br2Si4
114 | 6-Amino-2,4-dioxo-1,2,3,4-tetrahydro-5-pyrimidinamine, 4TMS | 12.7225 | 78.2139 | 3194.9037 | 0.64052 | 1.0805 |  | C16H38N4O2Si4
116 | Dibromo[tri(trimethylsilyl)methyl]silane | 12.877 | 6.4831 | 404 | 0.053092 | 0.13664 |  | C10H30Br2Si4
117 | 4,4-Diphenyl-1-(3-pyridinyl)but-1,3-diene-2-carboxylic acid | 12.9629 | 10.7093 | 411.5369 | 0.087703 | 0.13918 |  | C22H17NO2
118 | Dibromo[tri(trimethylsilyl)methyl]silane | 13.1002 | 36.9459 | 766 | 0.30256 | 0.25907 |  | C10H30Br2Si4
119 | t-Butyl (1' R)-5-(1'-hydroxyoctyl)-3-methyl-4-oxoimidazolidine-1 | 13.2547 | 9.4774 | 646.9975 | 0.077614 | 0.21882 |  | C21H40N2O4
122 | Cyclohexasiloxane, dodecamethyl- | 13.4893 | 33.3238 | 1554.2048 | 0.2729 | 0.52564 | 540-97-6 | C12H36O6Si6
126 | Monoallyl phthalate | 13.8097 | 83.5176 | 2741.3388 | 0.68396 | 0.92714 | 3882-14-2 | C11H10O4
145 | (E,E)-1,1'-(5-Methyl-1-(4-tolyl)-1H-pyrazole-3,4-diyl)bis(3-phen | 15.0972 | 27.8873 | 1025.009 | 0.22838 | 0.34667 |  | C29H24N2O2
147 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.2516 | 7.6188 | 452.2796 | 0.062393 | 0.15296 |  | C21H18BF2N5O
152 | 2-Ethoxybenzoic acid ethyl ester | 15.5664 | 127.756 | 5055.6409 | 1.0462 | 1.7099 | 75333-22-1 | C11H14O3
153 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.6808 | 6.6745 | 897.3874 | 0.05466 | 0.3035 |  | C34H59N
154 | 3-Phenyl-2,5-furandione | 15.7724 | 327.2591 | 10895.0166 | 2.68 | 3.6848 | 36122-35-7 | C10H6O3
156 | 1,1,1,3,5,7,9,9,9-Nonamethylpentasiloxane | 15.9268 | 15.7153 | 706.7116 | 0.1287 | 0.23901 | 84409-41-6 | C9H30O4Si5
Total: |  |  | 9228.0384 | 208770.1001 | 75.5718 | 0

## copy
Chromatogram and Results
Injection Details
Injection Name: |  | forest_control_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | TIC
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | control_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 21:34 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC
32 | Silanediol, dimethyl- | 5.3126 | 1400.4659 | 16741.3511 | 11.4689 | 5.662 | 1066-42-8 | C2H8O2Si
55 | Cyclotrisiloxane, hexamethyl- | 7.6471 | 3054.4018 | 28470.1909 | 25.0136 | 9.6288 | 541-05-9 | C6H18O3Si3
60 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 8.0648 | 14.0594 | 602.5626 | 0.11514 | 0.20379 |  | C7H22O2Si3
67 | (Z)-N-hydroxybenzenecarboximidic acid methyl ester | 8.5112 | 328.2055 | 8593.4658 | 2.6878 | 2.9064 |  | C8H9NO2
68 | Oxime-, methoxy-phenyl-_ | 8.5512 | 200.742 | 5360.3401 | 1.644 | 1.8129 |  | C8H9NO2
74 | 4-[(2-Phenylethyl)carbamoyl]phenyl acetate, TMS | 9.2779 | 133.5809 | 4767.9785 | 1.0939 | 1.6126 |  | C20H25NO3Si
79 | Benzaldehyde | 9.7357 | 545.0975 | 15421 | 4.464 | 5.2155 | 100-52-7 | C7H6O
80 | Cyclotetrasiloxane, octamethyl- | 9.873 | 858.5875 | 33178.9517 | 7.0313 | 11.2214 | 556-67-2 | C8H24O4Si4
81 | 3-Methylindolo[1,2-f]phenanthridine | 10.0332 | 21.4541 | 949.7627 | 0.1757 | 0.32122 |  | C21H15N
86 | (2R)-2-ethyl-1-hexanol | 10.4337 | 19.9868 | 1051 | 0.16368 | 0.35546 |  | C8H18O
91 | 3-Methyl-1-cyclohepta-2,4,6-trienone | 10.7542 | 53.256 | 2449 | 0.43613 | 0.82827 |  | C8H8O
95 | Acetophenone | 11.0517 | 549.9549 | 22865 | 4.5038 | 7.7331 | 98-86-2 | C8H8O
96 | Butanoic acid, 2-(benzoylamino)-2,3-dichloro-3-methyl-, methyl e | 11.1147 | 315.4663 | 6934 | 2.5835 | 2.3451 | 98517-03-4 | C13H15Cl2NO3
97 | 1H-Imidazole-2,5-dione, 4-[[4-(1,3-benzodioxol-5-ylmethyl)-1-met | 11.2863 | 22.6645 | 1178 | 0.18561 | 0.39841 | 122759-55-1 | C16H15N5O4
101 | 4-(2-(Tosyloxy)ethyl)-3,4-dihydro-2H-benzo[b][1,4]oxazin-6-yl be | 11.5782 | 47.3829 | 1686 | 0.38804 | 0.57022 |  | C24H23NO6S
102 | Cyclopentasiloxane, decamethyl- | 11.6983 | 147.9769 | 5107 | 1.2118 | 1.7272 | 541-02-6 | C10H30O5Si5
103 | Benzoic acid | 11.87 | 676.226 | 22034 | 5.5379 | 7.4521 | 65-85-0 | C7H6O2
104 | 2-Hydroxy-1-phenyl-3-(phenylsulfonyl)propan-1-one | 11.9787 | 19.286 | 599 | 0.15794 | 0.20259 |  | C15H14O4S
106 | Cobalt, [3,3''-(ethylenedinitrilo)dibutyrophenonato(2-)]- | 12.179 | 24.0791 | 860 | 0.19719 | 0.29086 | 36466-12-3 | C22H22CoN2O2
108 | t-Butyl (1' R)-5-(1'-hydroxyoctyl)-3-methyl-4-oxoimidazolidine-1 | 12.3163 | 5.3883 | 333 | 0.044127 | 0.11262 |  | C21H40N2O4
110 | Dibromo[tri(trimethylsilyl)methyl]silane | 12.4593 | 14.6748 | 552 | 0.12018 | 0.18669 |  | C10H30Br2Si4
111 | Dibromo[tri(trimethylsilyl)methyl]silane | 12.5623 | 3.5193 | 285.4699 | 0.028821 | 0.096548 |  | C10H30Br2Si4
114 | 6-Amino-2,4-dioxo-1,2,3,4-tetrahydro-5-pyrimidinamine, 4TMS | 12.7225 | 78.2139 | 3194.9037 | 0.64052 | 1.0805 |  | C16H38N4O2Si4
116 | Dibromo[tri(trimethylsilyl)methyl]silane | 12.877 | 6.4831 | 404 | 0.053092 | 0.13664 |  | C10H30Br2Si4
117 | 4,4-Diphenyl-1-(3-pyridinyl)but-1,3-diene-2-carboxylic acid | 12.9629 | 10.7093 | 411.5369 | 0.087703 | 0.13918 |  | C22H17NO2
118 | Dibromo[tri(trimethylsilyl)methyl]silane | 13.1002 | 36.9459 | 766 | 0.30256 | 0.25907 |  | C10H30Br2Si4
119 | t-Butyl (1' R)-5-(1'-hydroxyoctyl)-3-methyl-4-oxoimidazolidine-1 | 13.2547 | 9.4774 | 646.9975 | 0.077614 | 0.21882 |  | C21H40N2O4
122 | Cyclohexasiloxane, dodecamethyl- | 13.4893 | 33.3238 | 1554.2048 | 0.2729 | 0.52564 | 540-97-6 | C12H36O6Si6
126 | Monoallyl phthalate | 13.8097 | 83.5176 | 2741.3388 | 0.68396 | 0.92714 | 3882-14-2 | C11H10O4
145 | (E,E)-1,1'-(5-Methyl-1-(4-tolyl)-1H-pyrazole-3,4-diyl)bis(3-phen | 15.0972 | 27.8873 | 1025.009 | 0.22838 | 0.34667 |  | C29H24N2O2
147 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.2516 | 7.6188 | 452.2796 | 0.062393 | 0.15296 |  | C21H18BF2N5O
152 | 2-Ethoxybenzoic acid ethyl ester | 15.5664 | 127.756 | 5055.6409 | 1.0462 | 1.7099 | 75333-22-1 | C11H14O3
153 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.6808 | 6.6745 | 897.3874 | 0.05466 | 0.3035 |  | C34H59N
154 | 3-Phenyl-2,5-furandione | 15.7724 | 327.2591 | 10895.0166 | 2.68 | 3.6848 | 36122-35-7 | C10H6O3
156 | 1,1,1,3,5,7,9,9,9-Nonamethylpentasiloxane | 15.9268 | 15.7153 | 706.7116 | 0.1287 | 0.23901 | 84409-41-6 | C9H30O4Si5
Total: |  |  | 9228.0384 | 208770.1001 | 75.5718 | 0

## Sheet2
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
32 | Silanediol, dimethyl- | 5.3126 | 1400.4659 | 16741.3511 | 11.4689 | 5.662 | 1066-42-8 | C2H8O2Si
55 | Cyclotrisiloxane, hexamethyl- | 7.6471 | 3054.4018 | 28470.1909 | 25.0136 | 9.6288 | 541-05-9 | C6H18O3Si3
60 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 8.0648 | 14.0594 | 602.5626 | 0.11514 | 0.20379 |  | C7H22O2Si3
67 | (Z)-N-hydroxybenzenecarboximidic acid methyl ester | 8.5112 | 328.2055 | 8593.4658 | 2.6878 | 2.9064 |  | C8H9NO2
68 | Oxime-, methoxy-phenyl-_ | 8.5512 | 200.742 | 5360.3401 | 1.644 | 1.8129 |  | C8H9NO2
74 | 4-[(2-Phenylethyl)carbamoyl]phenyl acetate, TMS | 9.2779 | 133.5809 | 4767.9785 | 1.0939 | 1.6126 |  | C20H25NO3Si
79 | Benzaldehyde | 9.7357 | 545.0975 | 15421 | 4.464 | 5.2155 | 100-52-7 | C7H6O
80 | Cyclotetrasiloxane, octamethyl- | 9.873 | 858.5875 | 33178.9517 | 7.0313 | 11.2214 | 556-67-2 | C8H24O4Si4
81 | 3-Methylindolo[1,2-f]phenanthridine | 10.0332 | 21.4541 | 949.7627 | 0.1757 | 0.32122 |  | C21H15N
86 | (2R)-2-ethyl-1-hexanol | 10.4337 | 19.9868 | 1051 | 0.16368 | 0.35546 |  | C8H18O
91 | 3-Methyl-1-cyclohepta-2,4,6-trienone | 10.7542 | 53.256 | 2449 | 0.43613 | 0.82827 |  | C8H8O
95 | Acetophenone | 11.0517 | 549.9549 | 22865 | 4.5038 | 7.7331 | 98-86-2 | C8H8O
96 | Butanoic acid, 2-(benzoylamino)-2,3-dichloro-3-methyl-, methyl e | 11.1147 | 315.4663 | 6934 | 2.5835 | 2.3451 | 98517-03-4 | C13H15Cl2NO3
97 | 1H-Imidazole-2,5-dione, 4-[[4-(1,3-benzodioxol-5-ylmethyl)-1-met | 11.2863 | 22.6645 | 1178 | 0.18561 | 0.39841 | 122759-55-1 | C16H15N5O4
101 | 4-(2-(Tosyloxy)ethyl)-3,4-dihydro-2H-benzo[b][1,4]oxazin-6-yl be | 11.5782 | 47.3829 | 1686 | 0.38804 | 0.57022 |  | C24H23NO6S
102 | Cyclopentasiloxane, decamethyl- | 11.6983 | 147.9769 | 5107 | 1.2118 | 1.7272 | 541-02-6 | C10H30O5Si5
103 | Benzoic acid | 11.87 | 676.226 | 22034 | 5.5379 | 7.4521 | 65-85-0 | C7H6O2
104 | 2-Hydroxy-1-phenyl-3-(phenylsulfonyl)propan-1-one | 11.9787 | 19.286 | 599 | 0.15794 | 0.20259 |  | C15H14O4S
106 | Cobalt, [3,3''-(ethylenedinitrilo)dibutyrophenonato(2-)]- | 12.179 | 24.0791 | 860 | 0.19719 | 0.29086 | 36466-12-3 | C22H22CoN2O2
108 | t-Butyl (1' R)-5-(1'-hydroxyoctyl)-3-methyl-4-oxoimidazolidine-1 | 12.3163 | 5.3883 | 333 | 0.044127 | 0.11262 |  | C21H40N2O4
110 | Dibromo[tri(trimethylsilyl)methyl]silane | 12.4593 | 14.6748 | 552 | 0.12018 | 0.18669 |  | C10H30Br2Si4
111 | Dibromo[tri(trimethylsilyl)methyl]silane | 12.5623 | 3.5193 | 285.4699 | 0.028821 | 0.096548 |  | C10H30Br2Si4
114 | 6-Amino-2,4-dioxo-1,2,3,4-tetrahydro-5-pyrimidinamine, 4TMS | 12.7225 | 78.2139 | 3194.9037 | 0.64052 | 1.0805 |  | C16H38N4O2Si4
116 | Dibromo[tri(trimethylsilyl)methyl]silane | 12.877 | 6.4831 | 404 | 0.053092 | 0.13664 |  | C10H30Br2Si4
117 | 4,4-Diphenyl-1-(3-pyridinyl)but-1,3-diene-2-carboxylic acid | 12.9629 | 10.7093 | 411.5369 | 0.087703 | 0.13918 |  | C22H17NO2
118 | Dibromo[tri(trimethylsilyl)methyl]silane | 13.1002 | 36.9459 | 766 | 0.30256 | 0.25907 |  | C10H30Br2Si4
119 | t-Butyl (1' R)-5-(1'-hydroxyoctyl)-3-methyl-4-oxoimidazolidine-1 | 13.2547 | 9.4774 | 646.9975 | 0.077614 | 0.21882 |  | C21H40N2O4
122 | Cyclohexasiloxane, dodecamethyl- | 13.4893 | 33.3238 | 1554.2048 | 0.2729 | 0.52564 | 540-97-6 | C12H36O6Si6
126 | Monoallyl phthalate | 13.8097 | 83.5176 | 2741.3388 | 0.68396 | 0.92714 | 3882-14-2 | C11H10O4
145 | (E,E)-1,1'-(5-Methyl-1-(4-tolyl)-1H-pyrazole-3,4-diyl)bis(3-phen | 15.0972 | 27.8873 | 1025.009 | 0.22838 | 0.34667 |  | C29H24N2O2
147 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.2516 | 7.6188 | 452.2796 | 0.062393 | 0.15296 |  | C21H18BF2N5O
152 | 2-Ethoxybenzoic acid ethyl ester | 15.5664 | 127.756 | 5055.6409 | 1.0462 | 1.7099 | 75333-22-1 | C11H14O3
153 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.6808 | 6.6745 | 897.3874 | 0.05466 | 0.3035 |  | C34H59N
154 | 3-Phenyl-2,5-furandione | 15.7724 | 327.2591 | 10895.0166 | 2.68 | 3.6848 | 36122-35-7 | C10H6O3
156 | 1,1,1,3,5,7,9,9,9-Nonamethylpentasiloxane | 15.9268 | 15.7153 | 706.7116 | 0.1287 | 0.23901 | 84409-41-6 | C9H30O4Si5
Total: |  |  | 9228.0384 | 208770.1001 | 75.5718 | 0

## Calibration (hidden)
Calibration
Calibration Details |  | Acetanilide
Calibration Type |  | Lin, WithOffset |  |  | Offset (C0) |  | 0.0050568
Evaluation Type |  | Area |  |  | Slope (C1) |  | 0.034307
Number of Calibration Points |  | 6 |  |  | Curve (C2) |  | 0
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | 0.99999
Calibration Plot |  | Acetanilide
Calibration Results |  | Acetanilide
No. | Injection Name | Level | X Value | Y Value | Residual | Area | Height
|  |  | ng | mAU*min | % | mAU*min | mAU
|  |  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  |  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 01 | 20 | 0.69372 | 0.012576 | 0.69372 | 39.0107
2 | Alkylphenones 2 | 01 | 40 | 1.3699 | -0.018646 | 1.3699 | 73.7149
3 | Alkylphenones 3 | 01 | 80 | 2.7486 | -0.001345 | 2.7486 | 137.542
4 | Alkylphenones 4 | 01 | 120 | 4.1266 | 0.0039116 | 4.1266 | 194.9695
5 | Alkylphenones 5 | 01 | 160 | 5.5066 | 0.007722 | 5.5066 | 244.8088
6 | Alkylphenones 6 | 01 | 200 | 6.8555 | -0.0055149 | 6.8555 | 291.0862

## Peak Analysis (hidden)
Peak Analysis
Injection Details
Injection Name: |  | Alkylphenones 1 |  |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peakname | Ret.Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
1 | Acetanilide | 0.17017 | 0.016292 | M | 2.7203 | 1.4766 | 604
2 | Acetophenone | 0.24583 | 0.01653 | MB | 4.0275 | 1.4327 | 1225
3 | Propiophenone | 0.36283 | 0.017749 | M | n.a. | 1.3522 | 2315

## SST (hidden)
Chromatogram and SST Results
Injection Details
Injection Name: |  | Alkylphenones 1 |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Name
1 | System Suitability Test Case 1 | All Injections | Number: 2 | Not Executed | Alkylphenones 1
2 | System Suitability Test Case 2 | injection.name starts with "Alkylphenones" | Acetanilide | Not Executed | Alkylphenones 1
3 | System Suitability Test Case 3 | (injection.number>=1 AND injection.number<=7) | Highest: peak.area | Not Executed | Alkylphenones 1
4 | System Suitability Test Case 4 | All Injections | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
5 | System Suitability Test Case 5 | injection.position = RC9 |  | Not Executed | Alkylphenones 1
6 | System Suitability Test Case 6 | Injection Type: Unknown | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
| Number of executed test cases: | 0 | Total Result: | Not Executed

## Summary (hidden)
Summary
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
By Component |  | Acetanilide
No | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | mAU*min | mAU | ng | %
|  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 0.17017 | 0.69372 | 39.0107 | 20.0733 | 32.5524 | M
2 | Alkylphenones 2 | 0.17167 | 1.3699 | 73.7149 | 39.7826 | 32.508 | M
3 | Alkylphenones 3 | 0.174 | 2.7486 | 137.542 | 79.9686 | 32.3539 | M
4 | Alkylphenones 4 | 0.17583 | 4.1266 | 194.9695 | 120.1368 | 32.4486 | BM
5 | Alkylphenones 5 | 0.17817 | 5.5066 | 244.8088 | 160.3601 | 32.4887 | M
6 | Alkylphenones 6 | 0.17983 | 6.8555 | 291.0862 | 199.6785 | 32.5299 | BM
7 | Alkylphenones 7 | 0.1715 | 5.223 | 278.0937 | 152.0952 | 33.2915 | M

## Injection Audit Trail (hidden)
Injection Audit Trail
Injection Details
Injection Name: |  | Alkylphenones 1 | Run Time (min): | 0.45
Vial Number: |  | RA1 | Injection Volume: | 2
Injection Type: |  | Calibration Standard | Channel: | UV_VIS_1
Calibration Level: |  | 01 | Wavelength: | 244
Instrument Method: |  | CM_OQ | Bandwidth: | 4
Processing Method: |  | CM_OQ | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
(UTC+02:00) | min
13:14:22 |  | Audit trail of injection "chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/515.smp". Executed 7/12/2022 on instrument CM_OQ (instrument controller DEGER-6FWTXT2).
13:14:22 |  | Start of injection 1 "Alkylphenones 1", using instrument method "CM_OQ".
13:14:22 | 0.000 | Entered stage "Instrument Setup"
13:14:22 | 0.000 | UV.3DFIELD.MinWavelength = 190.0 nm
13:14:22 | 0.000 | UV.3DFIELD.MaxWavelength = 350.0 nm
13:14:22 | 0.000 | UV.3DFIELD.BunchWidth = 1 nm
13:14:22 | 0.000 | UV.ResponseTime = 0.030 s
13:14:22 | 0.000 | UV.Data_Collection_Rate = 100 Hz
13:14:22 | 0.000 | ColumnOven.Temperature.Nominal = 20.0 °C
13:14:22 | 0.000 | PumpModule.Pump.%A.Equate = "Water"
13:14:22 | 0.000 | PumpModule.Pump.%B.Equate = "Acetonitrile"
13:14:22 | 0.000 | PumpModule.Pump.%C.Equate = "%C"
13:14:22 | 0.000 | PumpModule.Pump.%D.Equate = "%D"
13:14:22 | 0.000 | PumpModule.Pump.Pressure.LowerLimit = 0 bar
13:14:22 | 0.000 | PumpModule.Pump.Pressure.UpperLimit = 800 bar
13:14:22 | 0.000 | UV.UV_VIS_1.Wavelength = 244.0 nm
13:14:22 | 0.000 | UV.UV_VIS_1.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_1.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_1.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.3DFIELD.RefWavelength = Off
13:14:22 | 0.000 | UV.3DFIELD.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Wavelength = 256.0 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_2.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_2.RefBandwidth = 1 nm
13:14:22 | 0.000 | Entered stage "Inject Preparation"
13:14:22 | 0.000 | UV.Autozero
13:14:22 | 0.000 | Wait ColumnOven.Ready And Sampler.Ready And UV.Ready
13:14:27 | 0.000 | Wait finished
13:14:27 | 0.000 | Entered stage "Inject"
13:14:27 | 0.000 | Sampler.Inject
13:14:27 | 0.000 | Injecting from vial position RA1.
13:14:27 | 0.000 | Injection Volume is 2.000 µl.
13:14:27 | 0.000 | Waiting for inject response on UM3WPSInjectState1.
13:14:29 | 0.000 | Got inject response.
13:14:29 | 0.000 | Entered stage "Start Run"
13:14:29 | 0.000 | UV.UV_VIS_1.AcqOn
13:14:29 | 0.000 | UV.UV_VIS_2.AcqOn
13:14:29 | 0.000 | UV.3DFIELD.AcqOn
13:14:29 | 0.000 | Entered stage "Run"
13:14:29 | 0.000 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:29 | 0.000 | PumpModule.Pump.%B.Value Gradient Start = 35.0 %, End = 90.0 %, Duration = 0.300 min
13:14:29 | 0.000 | PumpModule.Pump.%C.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.%D.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.Curve = 5
13:14:29 | 0.000 | Reading from simulation data file C:\Program Files (x86)\Thermo\Chromeleon\bin\DDK\V1\Drivers\Dionex\DAD3000\cmoq_1.dad3000.
13:14:47 | 0.300 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:47 | 0.300 | PumpModule.Pump.%B.Value = 90.0 %
13:14:47 | 0.300 | PumpModule.Pump.%C.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.%D.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:56 | 0.450 | PumpModule.Pump.%B.Value = 90.0 %
13:14:56 | 0.450 | PumpModule.Pump.%C.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.%D.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | UV.3DFIELD.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_1.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_2.AcqOff
13:14:56 | 0.450 | Entered stage "Stop Run"
13:14:56 | 0.450 | Terminating instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth. Waiting for instrument to finish processing of current injection ...
13:14:56 | 0.451 | Closing simulation data file.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 5": Injection specification criteria has not been met
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 6": Injection specification criteria has not been met
13:14:56 |  | End of injection "Alkylphenones 1".

## Chromatogram (hidden)
Chromatogram