## Overview (hidden)
Sequence Overview
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
Injection Details
No | Injection Name | Position | Type | Level | Inject Time | Status
1 | Alkylphenones 1 | RA1 | Calibration Standard | 01 | 2022-07-12 13:14 | Finished
2 | Alkylphenones 2 | RA1 | Calibration Standard | 01 | 2022-07-12 13:15 | Finished
3 | Alkylphenones 3 | RA1 | Calibration Standard | 01 | 2022-07-12 13:16 | Finished
4 | Alkylphenones 4 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
5 | Alkylphenones 5 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
6 | Alkylphenones 6 | RA1 | Calibration Standard | 01 | 2022-07-12 13:18 | Finished
7 | Alkylphenones 7 | RA2 | Unknown |  | 2022-07-12 13:19 | Finished

## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p11_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | MS Quantitation
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | p11_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-23 23:23 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
3 | 3-(4-Chlorophenyl)propen-2-yl 4-methylphenyl sulfone | 3.5562 | 1.138 | 69.4967 | 0.00074994 | 0.0017237 |  | C16H15ClO2S
7 | 3-(4-Chlorophenyl)propen-2-yl 4-methylphenyl sulfone | 3.6935 | 1.5344 | 171.0328 | 0.0010111 | 0.0042421 |  | C16H15ClO2S
5 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6993 | 4.2403 | 188.2535 | 0.0027943 | 0.0046692 | 375-43-9 | C4Cl6F4
11 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.8995 | 222.7645 | 2499 | 0.1468 | 0.061982 |  | C5H10O2S
4 | 1-Pentanol | 4.0197 | 2.3072 | 325.0738 | 0.0015204 | 0.0080627 | 71-41-0 | C5H12O
8 | 1,6-Anhydro-4-deoxy-4-(C-methyl)-β-D-glucopyranose | 4.0826 | 72.1282 | 2052 | 0.047532 | 0.050895 |  | C7H12O4
3 | 2-(1-hydroxy-2-methylpropan-2-yl)-5,5-dimethyl-1,3-dioxan-4-ol | 4.1971 | 6.6724 | 332 | 0.004397 | 0.0082345 | 46329-82-2 | C10H20O4
3 | (1S,2S,5R)-8-Methyl-8-azabicyclo[3.2.1]octan-2-ol | 4.4031 | 12.192 | 307.7684 | 0.0080343 | 0.0076335 |  | C8H15NO
4 | (1S,2S,5R)-8-Methyl-8-azabicyclo[3.2.1]octan-2-ol | 4.4603 | 1.7156 | 148.4196 | 0.0011306 | 0.0036812 |  | C8H15NO
3 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 4.8894 | 9.4466 | 245 | 0.0062252 | 0.0060767 |  | C5H7Br2FO
2 | 1,5-Hexadien-3-yne | 5.1297 | 87.7544 | 1988 | 0.057829 | 0.049308 | 821-08-9 | C6H6
2 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.2041 | 112.4932 | 1360 | 0.074132 | 0.033732 |  | C18H29DO5
7 | cis-1-Phenyl-1,2-difluorobenzocycloheptane | 5.3014 | 4.2656 | 282.0851 | 0.002811 | 0.0069965 |  | C17H16F2
8 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.3415 | 4.2316 | 237.7801 | 0.0027885 | 0.0058976 | 66728-04-9 | C9H11ClO
2 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 6.2112 | 0.916 | 160 | 0.00060363 | 0.0039684 |  | C5H7Br2FO
4 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 6.6518 | 0.92038 | 161 | 0.00060652 | 0.0039932 |  | C5H7Br2FO
1 | Benzyl (E)-1-hex-1-enyl sulfoxide | 7.0466 | 3.7259 | 239.8933 | 0.0024553 | 0.00595 |  | C13H18OS
2 | (5S)-5-(p-tolylsulfonylmethyl)pyrrolidin-2-one | 7.1038 | 8.4918 | 347 | 0.005596 | 0.0086066 |  | C12H15NO3S
2 | Cyclotrisiloxane, hexamethyl- | 7.5616 | 70.0283 | 2358 | 0.046148 | 0.058485 | 541-05-9 | C6H18O3Si3
6 | Arsenous acid, tris(trimethylsilyl) ester | 7.6703 | 13.7919 | 783.9827 | 0.0090887 | 0.019445 | 55429-29-3 | C9H27AsO3Si3
3 | 1-(3-Methylphenyl)-1H-indole | 7.7504 | 13.7668 | 559.4026 | 0.0090721 | 0.013875 |  | C15H13N
7 | Cyclotrisiloxane, hexamethyl- | 7.8362 | 40.8442 | 1142.2533 | 0.026916 | 0.028331 | 541-05-9 | C6H18O3Si3
7 | 2-(4-Methylphenyl)-1H-indole | 7.945 | 7.5084 | 372.7586 | 0.0049479 | 0.0092454 | 55577-25-8 | C15H13N
3 | 2-Methylallyl N,N-Dimethylselenocarbamate | 8.0365 | 2.0008 | 188 | 0.0013185 | 0.0046629 |  | C7H13NOSe
4 | Cyclohexene oxide carbonate | 8.1166 | 10.5577 | 610 | 0.0069574 | 0.01513 |  | C7H10O3
2 | 4-(pyridine-2-carbonyl)benzonitrile | 8.1738 | 6.559 | 420 | 0.0043223 | 0.010417 | 57954-94-6 | C13H8N2O
7 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.2368 | 0 | 0 | 0 | 0 |  | C15H11BrO
5 | Hexane, 3-ethyl- | 8.3054 | 4.8339 | 265 | 0.0031855 | 0.0065727 | 619-99-8 | C8H18
2 | 2H-Pentaleno[1,6-bc]furan-2-one, 2a,4a,5,6,6a,6b-hexahydro-, (.+ | 8.3569 | 9.2459 | 496 | 0.0060929 | 0.012302 | 127268-74-0 | C9H10O2
3 | (2S,3R)-3-Phenyl-2-butanol | 8.4714 | 37.0676 | 1230 | 0.024427 | 0.030507 |  | C10H14O
12 | Phenylethyne | 8.5515 | 97.2649 | 3916 | 0.064096 | 0.097128 | 536-74-3 | C8H6
7 | cis- and trans-3-Methylthio-2,2-Dimethyl-1-phenylcyclopropanethi | 8.6659 | 5.3495 | 243 | 0.0035253 | 0.0060271 | 76963-16-1 | C12H16S2
2 | Azetidine, 1-(cyanocarbonyl)-2,2-dimethyl-3-phenyl- | 8.7746 | 17.3001 | 584 | 0.011401 | 0.014485 | 66951-11-9 | C13H14N2O
11 | (4-oxidanylidene-6-phenyl-hexyl) ethanoate | 8.9635 | 2.8854 | 201 | 0.0019014 | 0.0049854 |  | C14H18O3
2 | p-Benzoquinone | 9.0607 | 13.611 | 467.7608 | 0.0089695 | 0.011602 | 106-51-4 | C6H4O2
5 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.1237 | 15.5872 | 433 | 0.010272 | 0.01074 |  | C16H20O
2 | (2S,4S)-2-Methyl-2-phenyl-1,3-dioxan-4-methanol | 9.2782 | 17.9916 | 644 | 0.011856 | 0.015973 |  | C12H16O3
9 | (R)-3-Benzamido-5-phenylpentanoic acid | 9.3468 | 1.1719 | 201.3311 | 0.00077227 | 0.0049936 |  | C18H19NO3
10 | (4aR*,7aR*)-3,3-Cyclohexyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl-7- | 9.4212 | 8.3555 | 232.5 | 0.0055062 | 0.0057666 |  | C22H22O4
3 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.4842 | 1.3567 | 134.0854 | 0.00089405 | 0.0033257 |  | C15H9NO2
11 | Te-Phenyl seleno(telluro)perbenzoate | 9.5471 | 7.673 | 213.6977 | 0.0050564 | 0.0053003 |  | C13H10OSeTe
7 | Benzaldehyde | 9.7302 | 1175.8357 | 43094.4861 | 0.77486 | 1.0689 | 100-52-7 | C7H6O
4 | Cyclotetrasiloxane, octamethyl- | 9.879 | 142.1575 | 4094.8603 | 0.09368 | 0.10156 | 556-67-2 | C8H24O4Si4
4 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9362 | 63.7928 | 1338.9679 | 0.042039 | 0.03321 | 103240-21-7 | C16H16N2O2Si
4 | Benzaldehyde, oxime, (Z)- | 10.022 | 56.0268 | 1900 | 0.036921 | 0.047125 | 622-32-2 | C7H7NO
6 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 10.1593 | 1.5903 | 195.9091 | 0.001048 | 0.0048591 | 103240-21-7 | C16H16N2O2Si
2 | 3-Buten-2-one, 3-(benzoyloxy)- | 10.1708 | 34.3078 | 998.6931 | 0.022608 | 0.02477 | 78209-92-4 | C11H10O3
3 | Ethyl 2-diazo-2-phenylacetate | 10.2623 | 2.0598 | 122.4836 | 0.0013574 | 0.0030379 |  | C10H10N2O2
3 | 2-(2-Nitrophenyl)-1-phenylethanone | 10.3081 | 5.2662 | 288.7473 | 0.0034703 | 0.0071617 |  | C14H11NO3
6 | 1-Phenylhexane-1,2-dione | 10.3539 | 11.1524 | 388.6644 | 0.0073493 | 0.00964 |  | C12H14O2
10 | (1-methyl-3,6-dihydro-2H-pyridin-4-yl) benzoate | 10.4226 | 9.1 | 340.7844 | 0.0059968 | 0.0084524 |  | C13H15NO2
9 | Benzene, 1,2-diethyl- | 10.5485 | 5.0465 | 242.6251 | 0.0033256 | 0.0060178 | 135-01-3 | C10H14
9 | N-(1-benzamido-3-phenyl-propyl)benzamide | 10.6171 | 2.6745 | 328.1411 | 0.0017625 | 0.0081388 |  | C23H22N2O2
12 | Benzeneacetaldehyde | 10.7487 | 852.4638 | 33367.5 | 0.56176 | 0.82761 | 122-78-1 | C8H8O
5 | (S)-(-)-N-Octyl-1-phenylethyl carbamate | 10.8059 | 6.5086 | 399.1473 | 0.0042891 | 0.0099 |  | C17H27NO2
4 | 1-Propanone, 2,2-dichloro-3-hydroxy-1-phenyl- | 10.8918 | 10.0063 | 715.2996 | 0.006594 | 0.017741 | 54824-08-7 | C9H8Cl2O2
3 | Ethanone, 2,2-dihydroxy-1-phenyl- | 10.9433 | 9.9046 | 471.3497 | 0.006527 | 0.011691 | 1075-06-5 | C8H8O3
11 | Acetophenone | 11.0463 | 4641.4264 | 178117.2629 | 3.0586 | 4.4178 | 98-86-2 | C8H8O
14 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1092 | 214.1588 | 6077.2 | 0.14113 | 0.15073 | 1075-06-5 | C8H8O3
4 | endo-6-Hydroxy-6-phenyl-1,3-diazabicyclo[3.2.0]heptan-2-one | 11.2694 | 9.0756 | 511 | 0.0059807 | 0.012674 |  | C11H12N2O2
9 | Nonanal | 11.3381 | 39.9414 | 1397 | 0.026321 | 0.034649 | 124-19-6 | C9H18O
5 | Cobalt, [3,3''-(ethylenedinitrilo)dibutyrophenonato(2-)]- | 11.464 | 4.8379 | 201.3388 | 0.0031881 | 0.0049938 | 36466-12-3 | C22H22CoN2O2
8 | 2,2-Dimethyl-1-phenyl-N-(1-phenylethoxy)propylamine | 11.6471 | 22.9207 | 1243.4705 | 0.015104 | 0.030842 |  | C19H25NO
2 | Cyclopentasiloxane, decamethyl- | 11.6986 | 205.2198 | 7747 | 0.13524 | 0.19215 | 541-02-6 | C10H30O5Si5
36 | Benzoic acid | 11.9847 | 19778.4965 | 172481.3643 | 13.0338 | 4.278 | 65-85-0 | C7H6O2
7 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1506 | 42.362 | 1776 | 0.027916 | 0.04405 | 513-20-2 | C9H14O
8 | 3-(Hydroxyphenylmethyl)-2-methyl-3-buten-1-ol | 12.3566 | 32.9419 | 1672 | 0.021708 | 0.04147 |  | C12H16O2
5 | Decanal | 12.4482 | 9.9605 | 604 | 0.0065638 | 0.014981 | 112-31-2 | C10H20O
5 | Methyl salicylate | 12.5282 | 29.0449 | 1169 | 0.01914 | 0.028994 | 119-36-8 | C8H8O3
2 | 3(2H)-Benzofuranone | 12.7113 | 24.2906 | 869 | 0.016007 | 0.021554 | 7169-34-8 | C8H6O2
14 | Acetic acid, phenyl- | 12.78 | 117.2123 | 3518.8218 | 0.077241 | 0.087277 | 103-82-2 | C8H8O2
4 | 2-Coumaranone | 12.9459 | 93.6185 | 2758 | 0.061693 | 0.068406 | 553-86-6 | C8H6O2
6 | 2,3-Dihydro-2-oxo-1H-indol-3-yl Benzoate | 13.0261 | 135.0748 | 2570.6968 | 0.089013 | 0.06376 |  | C15H11NO3
2 | 1-[(cis)-1',3'-Dimethylindan-5'-yl]butan-1-ol | 13.0833 | 20.7377 | 752 | 0.013666 | 0.018652 |  | C15H22O
7 | Cyclohexyl-(4-benzyl-5-methyl-2-phenyl-1,3-trans-dioxaolanyl)met | 13.2149 | 5.384 | 205.6667 | 0.003548 | 0.0051011 |  | C24H30O3
6 | 2-(2-Hydroxyethoxy)benzoic acid | 13.3179 | 27.8931 | 679 | 0.018381 | 0.016841 | 55211-84-2 | C9H10O4
6 | Hexadecane, 7,9-dimethyl- | 13.3636 | 21.9857 | 1052 | 0.014488 | 0.026093 | 21164-95-4 | C18H38
6 | Cyclohexasiloxane, dodecamethyl- | 13.4838 | 9.8466 | 389 | 0.0064888 | 0.0096483 | 540-97-6 | C12H36O6Si6
9 | 2-Phenyltetrahydrofuran | 13.5983 | 71.8175 | 2200.6641 | 0.047327 | 0.054583 |  | C10H12O
12 | Phthalic anhydride | 13.7985 | 321.8794 | 10114.5908 | 0.21211 | 0.25087 |  | C8H4O3
2 | Benzenecarboximidic acid, ethyl ester | 13.8558 | 3.1352 | 294 | 0.002066 | 0.007292 | 825-60-5 | C9H11NO
15 | 2-Phenyl-N-(1-phenylethyl)propanamide | 14.1705 | 65.9448 | 2084.8922 | 0.043457 | 0.051711 |  | C17H19NO
3 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 14.2506 | 14.7906 | 469.5074 | 0.0097468 | 0.011645 |  | C19H19N3O4
9 | 4-(2,4-Dichlorophenyl)-3-(3-trifluoromethylphenyl)-2,3-dihydroth | 14.3021 | 17.8501 | 502 | 0.011763 | 0.012451 |  | C16H8Cl2F3NS2
12 | Benzoylformic acid | 14.5023 | 563.0731 | 20739.9969 | 0.37106 | 0.51441 | 611-73-4 | C8H6O3
2 | 4-Methyl-N-(2-(thiophen-2-yl)ethyl)acridin-9-amine | 14.7884 | 63.2728 | 3052 | 0.041696 | 0.075698 |  | C20H18N2S
2 | 3-(Benzothiazol-2-thio)-3,5-dimethyl-5-hexen-2-one | 14.9315 | 15.9605 | 779 | 0.010518 | 0.019321 |  | C15H17NOS2
8 | 3-(4-Fluorophenyl)-1,6-dimethyl-3,4-dihydroisoquinoline | 15.1604 | 2.078 | 201.4107 | 0.0013694 | 0.0049955 |  | C17H16FN
3 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.2862 | 0.916 | 160 | 0.00060363 | 0.0039684 |  | C21H18BF2N5O
9 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.4407 | 2.9869 | 188 | 0.0019683 | 0.0046629 |  | C21H18BF2N5O
2 | Heptasiloxane, hexadecamethyl- | 15.5952 | 20.6083 | 1013 | 0.013581 | 0.025125 | 541-01-5 | C16H48O6Si7
5 | Phenylmaleic anhydride | 15.7726 | 3541.6509 | 132751.1093 | 2.3339 | 3.2926 | 36122-35-7 | C10H6O3
6 | 4-Methoxy-1,2-naphthoquinone | 16.0129 | 180.4981 | 6606.1383 | 0.11895 | 0.16385 | 18916-57-9 | C11H8O3
5 | 1,1,1,3,5,7,9,9,9-Nonamethylpentasiloxane | 16.196 | 25.368 | 596.161 | 0.016717 | 0.014786 | 84409-41-6 | C9H30O4Si5
3 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.2304 | 2.3635 | 137.8072 | 0.0015575 | 0.003418 |  | C34H59N
6 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.2761 | 68.0312 | 2655.7119 | 0.044832 | 0.065869 | 51306-96-8 | C11H8O2
7 | Hyocholic acid methylester | 16.3677 | 4.714 | 394.3357 | 0.0031064 | 0.0097806 |  | C25H42O5
4 | oxazole, 2-(4-azido-2-methylphenyl)-5-phenyl- | 16.6023 | 32.0515 | 854.1562 | 0.021122 | 0.021185 |  | C16H12N4O
10 | Benzophenone | 16.6595 | 256.5289 | 5997.7015 | 0.16905 | 0.14876 | 119-61-9 | C13H10O
14 | 7-oxohyocholic acid methyl ester | 16.6996 | 33.2224 | 663.6257 | 0.021893 | 0.01646 |  | C25H40O5
9 | 7-oxohyocholic acid methyl ester | 16.8541 | 22.5512 | 793.8913 | 0.014861 | 0.019691 |  | C25H40O5
10 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.9685 | 9.4949 | 576.7867 | 0.006257 | 0.014306 |  | C34H59N
12 | Hyocholic acid methylester | 17.0257 | 18.0142 | 636.3676 | 0.011871 | 0.015784 |  | C25H42O5
14 | Hyocholic acid methylester | 17.1058 | 31.2779 | 963.6756 | 0.020612 | 0.023902 |  | C25H42O5
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.1516 | 11.1914 | 830.2976 | 0.007375 | 0.020594 |  | C34H59N
10 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2489 | 20.5612 | 750.6696 | 0.01355 | 0.018619 |  | C34H59N
17 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4434 | 294.8387 | 12163.4275 | 0.19429 | 0.30169 |  | C21H26O2Si
10 | Hyocholic acid methylester | 17.535 | 5.2901 | 657.716 | 0.0034861 | 0.016313 |  | C25H42O5
6 | Hyocholic acid methylester | 17.6322 | 33.1354 | 1191.3333 | 0.021836 | 0.029548 |  | C25H42O5
9 | Hyocholic acid methylester | 17.7181 | 39.2634 | 1533.6282 | 0.025874 | 0.038038 |  | C25H42O5
9 | Hyocholic acid methylester | 17.8153 | 23.9674 | 853.6269 | 0.015794 | 0.021172 |  | C25H42O5
12 | Hyocholic acid methylester | 17.8897 | 1.6016 | 129.3843 | 0.0010554 | 0.0032091 |  | C25H42O5
12 | Hyocholic acid methylester | 17.9412 | 18.2383 | 938.6888 | 0.012019 | 0.023282 |  | C25H42O5
18 | Hyocholic acid methylester | 18.0728 | 17.4655 | 673.1419 | 0.01151 | 0.016696 |  | C25H42O5
13 | Hyocholic acid methylester | 18.2502 | 22.4327 | 1022.8573 | 0.014783 | 0.02537 |  | C25H42O5
12 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3303 | 5.6932 | 294.7145 | 0.0037517 | 0.0073097 | 19095-24-0 | C16H50O7Si8
9 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.4448 | 6.9143 | 373.8813 | 0.0045564 | 0.0092733 | 995-82-4 | C12H38O5Si6
8 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.4791 | 10.751 | 404.6165 | 0.0070848 | 0.010036 | 995-82-4 | C12H38O5Si6
9 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.5592 | 23.7575 | 570.8596 | 0.015656 | 0.014159 | 995-82-4 | C12H38O5Si6
10 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.6851 | 12.9594 | 477.0121 | 0.0085401 | 0.011831 | 19095-24-0 | C16H50O7Si8
16 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.851 | 7.228 | 344.8614 | 0.0047632 | 0.0085535 | 19095-24-0 | C16H50O7Si8
11 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.851 | 7.228 | 344.8614 | 0.0047632 | 0.0085535 | 19095-24-0 | C16H50O7Si8
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.0513 | 24.9088 | 572.1768 | 0.016415 | 0.014192 | 19095-24-0 | C16H50O7Si8
10 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.0513 | 24.9088 | 572.1768 | 0.016415 | 0.014192 | 19095-24-0 | C16H50O7Si8
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1428 | 9.2917 | 480.5518 | 0.0061231 | 0.011919 | 995-82-4 | C12H38O5Si6
13 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2687 | 10.5723 | 366.0233 | 0.006967 | 0.0090784 | 995-82-4 | C12H38O5Si6
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3774 | 10.366 | 571.8568 | 0.0068311 | 0.014184 | 995-82-4 | C12H38O5Si6
16 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4919 | 20.1647 | 617.0842 | 0.013288 | 0.015305 | 19095-24-0 | C16H50O7Si8
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.5663 | 13.3047 | 580.8648 | 0.0087676 | 0.014407 | 19095-24-0 | C16H50O7Si8
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6521 | 17.1961 | 586.5 | 0.011332 | 0.014547 | 19095-24-0 | C16H50O7Si8
7 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.7208 | 15.6929 | 620.8386 | 0.010341 | 0.015399 | 995-82-4 | C12H38O5Si6
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7665 | 7.5006 | 651.5845 | 0.0049428 | 0.016161 | 19095-24-0 | C16H50O7Si8
17 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8867 | 24.3197 | 647.9182 | 0.016026 | 0.01607 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 34966.836 | 726137.7406 | 23.0427 | 0

## copy
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p11_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | MS Quantitation
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | p11_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-23 23:23 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
3 | 3-(4-Chlorophenyl)propen-2-yl 4-methylphenyl sulfone | 3.5562 | 1.138 | 69.4967 | 0.00074994 | 0.0017237 |  | C16H15ClO2S
7 | 3-(4-Chlorophenyl)propen-2-yl 4-methylphenyl sulfone | 3.6935 | 1.5344 | 171.0328 | 0.0010111 | 0.0042421 |  | C16H15ClO2S
5 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6993 | 4.2403 | 188.2535 | 0.0027943 | 0.0046692 | 375-43-9 | C4Cl6F4
11 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.8995 | 222.7645 | 2499 | 0.1468 | 0.061982 |  | C5H10O2S
4 | 1-Pentanol | 4.0197 | 2.3072 | 325.0738 | 0.0015204 | 0.0080627 | 71-41-0 | C5H12O
8 | 1,6-Anhydro-4-deoxy-4-(C-methyl)-β-D-glucopyranose | 4.0826 | 72.1282 | 2052 | 0.047532 | 0.050895 |  | C7H12O4
3 | 2-(1-hydroxy-2-methylpropan-2-yl)-5,5-dimethyl-1,3-dioxan-4-ol | 4.1971 | 6.6724 | 332 | 0.004397 | 0.0082345 | 46329-82-2 | C10H20O4
3 | (1S,2S,5R)-8-Methyl-8-azabicyclo[3.2.1]octan-2-ol | 4.4031 | 12.192 | 307.7684 | 0.0080343 | 0.0076335 |  | C8H15NO
4 | (1S,2S,5R)-8-Methyl-8-azabicyclo[3.2.1]octan-2-ol | 4.4603 | 1.7156 | 148.4196 | 0.0011306 | 0.0036812 |  | C8H15NO
3 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 4.8894 | 9.4466 | 245 | 0.0062252 | 0.0060767 |  | C5H7Br2FO
2 | 1,5-Hexadien-3-yne | 5.1297 | 87.7544 | 1988 | 0.057829 | 0.049308 | 821-08-9 | C6H6
2 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.2041 | 112.4932 | 1360 | 0.074132 | 0.033732 |  | C18H29DO5
7 | cis-1-Phenyl-1,2-difluorobenzocycloheptane | 5.3014 | 4.2656 | 282.0851 | 0.002811 | 0.0069965 |  | C17H16F2
8 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.3415 | 4.2316 | 237.7801 | 0.0027885 | 0.0058976 | 66728-04-9 | C9H11ClO
2 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 6.2112 | 0.916 | 160 | 0.00060363 | 0.0039684 |  | C5H7Br2FO
4 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 6.6518 | 0.92038 | 161 | 0.00060652 | 0.0039932 |  | C5H7Br2FO
1 | Benzyl (E)-1-hex-1-enyl sulfoxide | 7.0466 | 3.7259 | 239.8933 | 0.0024553 | 0.00595 |  | C13H18OS
2 | (5S)-5-(p-tolylsulfonylmethyl)pyrrolidin-2-one | 7.1038 | 8.4918 | 347 | 0.005596 | 0.0086066 |  | C12H15NO3S
2 | Cyclotrisiloxane, hexamethyl- | 7.5616 | 70.0283 | 2358 | 0.046148 | 0.058485 | 541-05-9 | C6H18O3Si3
6 | Arsenous acid, tris(trimethylsilyl) ester | 7.6703 | 13.7919 | 783.9827 | 0.0090887 | 0.019445 | 55429-29-3 | C9H27AsO3Si3
3 | 1-(3-Methylphenyl)-1H-indole | 7.7504 | 13.7668 | 559.4026 | 0.0090721 | 0.013875 |  | C15H13N
7 | Cyclotrisiloxane, hexamethyl- | 7.8362 | 40.8442 | 1142.2533 | 0.026916 | 0.028331 | 541-05-9 | C6H18O3Si3
7 | 2-(4-Methylphenyl)-1H-indole | 7.945 | 7.5084 | 372.7586 | 0.0049479 | 0.0092454 | 55577-25-8 | C15H13N
3 | 2-Methylallyl N,N-Dimethylselenocarbamate | 8.0365 | 2.0008 | 188 | 0.0013185 | 0.0046629 |  | C7H13NOSe
4 | Cyclohexene oxide carbonate | 8.1166 | 10.5577 | 610 | 0.0069574 | 0.01513 |  | C7H10O3
2 | 4-(pyridine-2-carbonyl)benzonitrile | 8.1738 | 6.559 | 420 | 0.0043223 | 0.010417 | 57954-94-6 | C13H8N2O
7 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.2368 | 0 | 0 | 0 | 0 |  | C15H11BrO
5 | Hexane, 3-ethyl- | 8.3054 | 4.8339 | 265 | 0.0031855 | 0.0065727 | 619-99-8 | C8H18
2 | 2H-Pentaleno[1,6-bc]furan-2-one, 2a,4a,5,6,6a,6b-hexahydro-, (.+ | 8.3569 | 9.2459 | 496 | 0.0060929 | 0.012302 | 127268-74-0 | C9H10O2
3 | (2S,3R)-3-Phenyl-2-butanol | 8.4714 | 37.0676 | 1230 | 0.024427 | 0.030507 |  | C10H14O
12 | Phenylethyne | 8.5515 | 97.2649 | 3916 | 0.064096 | 0.097128 | 536-74-3 | C8H6
7 | cis- and trans-3-Methylthio-2,2-Dimethyl-1-phenylcyclopropanethi | 8.6659 | 5.3495 | 243 | 0.0035253 | 0.0060271 | 76963-16-1 | C12H16S2
2 | Azetidine, 1-(cyanocarbonyl)-2,2-dimethyl-3-phenyl- | 8.7746 | 17.3001 | 584 | 0.011401 | 0.014485 | 66951-11-9 | C13H14N2O
11 | (4-oxidanylidene-6-phenyl-hexyl) ethanoate | 8.9635 | 2.8854 | 201 | 0.0019014 | 0.0049854 |  | C14H18O3
2 | p-Benzoquinone | 9.0607 | 13.611 | 467.7608 | 0.0089695 | 0.011602 | 106-51-4 | C6H4O2
5 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.1237 | 15.5872 | 433 | 0.010272 | 0.01074 |  | C16H20O
2 | (2S,4S)-2-Methyl-2-phenyl-1,3-dioxan-4-methanol | 9.2782 | 17.9916 | 644 | 0.011856 | 0.015973 |  | C12H16O3
9 | (R)-3-Benzamido-5-phenylpentanoic acid | 9.3468 | 1.1719 | 201.3311 | 0.00077227 | 0.0049936 |  | C18H19NO3
10 | (4aR*,7aR*)-3,3-Cyclohexyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl-7- | 9.4212 | 8.3555 | 232.5 | 0.0055062 | 0.0057666 |  | C22H22O4
3 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.4842 | 1.3567 | 134.0854 | 0.00089405 | 0.0033257 |  | C15H9NO2
11 | Te-Phenyl seleno(telluro)perbenzoate | 9.5471 | 7.673 | 213.6977 | 0.0050564 | 0.0053003 |  | C13H10OSeTe
7 | Benzaldehyde | 9.7302 | 1175.8357 | 43094.4861 | 0.77486 | 1.0689 | 100-52-7 | C7H6O
4 | Cyclotetrasiloxane, octamethyl- | 9.879 | 142.1575 | 4094.8603 | 0.09368 | 0.10156 | 556-67-2 | C8H24O4Si4
4 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9362 | 63.7928 | 1338.9679 | 0.042039 | 0.03321 | 103240-21-7 | C16H16N2O2Si
4 | Benzaldehyde, oxime, (Z)- | 10.022 | 56.0268 | 1900 | 0.036921 | 0.047125 | 622-32-2 | C7H7NO
6 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 10.1593 | 1.5903 | 195.9091 | 0.001048 | 0.0048591 | 103240-21-7 | C16H16N2O2Si
2 | 3-Buten-2-one, 3-(benzoyloxy)- | 10.1708 | 34.3078 | 998.6931 | 0.022608 | 0.02477 | 78209-92-4 | C11H10O3
3 | Ethyl 2-diazo-2-phenylacetate | 10.2623 | 2.0598 | 122.4836 | 0.0013574 | 0.0030379 |  | C10H10N2O2
3 | 2-(2-Nitrophenyl)-1-phenylethanone | 10.3081 | 5.2662 | 288.7473 | 0.0034703 | 0.0071617 |  | C14H11NO3
6 | 1-Phenylhexane-1,2-dione | 10.3539 | 11.1524 | 388.6644 | 0.0073493 | 0.00964 |  | C12H14O2
10 | (1-methyl-3,6-dihydro-2H-pyridin-4-yl) benzoate | 10.4226 | 9.1 | 340.7844 | 0.0059968 | 0.0084524 |  | C13H15NO2
9 | Benzene, 1,2-diethyl- | 10.5485 | 5.0465 | 242.6251 | 0.0033256 | 0.0060178 | 135-01-3 | C10H14
9 | N-(1-benzamido-3-phenyl-propyl)benzamide | 10.6171 | 2.6745 | 328.1411 | 0.0017625 | 0.0081388 |  | C23H22N2O2
12 | Benzeneacetaldehyde | 10.7487 | 852.4638 | 33367.5 | 0.56176 | 0.82761 | 122-78-1 | C8H8O
5 | (S)-(-)-N-Octyl-1-phenylethyl carbamate | 10.8059 | 6.5086 | 399.1473 | 0.0042891 | 0.0099 |  | C17H27NO2
4 | 1-Propanone, 2,2-dichloro-3-hydroxy-1-phenyl- | 10.8918 | 10.0063 | 715.2996 | 0.006594 | 0.017741 | 54824-08-7 | C9H8Cl2O2
3 | Ethanone, 2,2-dihydroxy-1-phenyl- | 10.9433 | 9.9046 | 471.3497 | 0.006527 | 0.011691 | 1075-06-5 | C8H8O3
11 | Acetophenone | 11.0463 | 4641.4264 | 178117.2629 | 3.0586 | 4.4178 | 98-86-2 | C8H8O
14 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1092 | 214.1588 | 6077.2 | 0.14113 | 0.15073 | 1075-06-5 | C8H8O3
4 | endo-6-Hydroxy-6-phenyl-1,3-diazabicyclo[3.2.0]heptan-2-one | 11.2694 | 9.0756 | 511 | 0.0059807 | 0.012674 |  | C11H12N2O2
9 | Nonanal | 11.3381 | 39.9414 | 1397 | 0.026321 | 0.034649 | 124-19-6 | C9H18O
5 | Cobalt, [3,3''-(ethylenedinitrilo)dibutyrophenonato(2-)]- | 11.464 | 4.8379 | 201.3388 | 0.0031881 | 0.0049938 | 36466-12-3 | C22H22CoN2O2
8 | 2,2-Dimethyl-1-phenyl-N-(1-phenylethoxy)propylamine | 11.6471 | 22.9207 | 1243.4705 | 0.015104 | 0.030842 |  | C19H25NO
2 | Cyclopentasiloxane, decamethyl- | 11.6986 | 205.2198 | 7747 | 0.13524 | 0.19215 | 541-02-6 | C10H30O5Si5
36 | Benzoic acid | 11.9847 | 19778.4965 | 172481.3643 | 13.0338 | 4.278 | 65-85-0 | C7H6O2
7 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1506 | 42.362 | 1776 | 0.027916 | 0.04405 | 513-20-2 | C9H14O
8 | 3-(Hydroxyphenylmethyl)-2-methyl-3-buten-1-ol | 12.3566 | 32.9419 | 1672 | 0.021708 | 0.04147 |  | C12H16O2
5 | Decanal | 12.4482 | 9.9605 | 604 | 0.0065638 | 0.014981 | 112-31-2 | C10H20O
5 | Methyl salicylate | 12.5282 | 29.0449 | 1169 | 0.01914 | 0.028994 | 119-36-8 | C8H8O3
2 | 3(2H)-Benzofuranone | 12.7113 | 24.2906 | 869 | 0.016007 | 0.021554 | 7169-34-8 | C8H6O2
14 | Acetic acid, phenyl- | 12.78 | 117.2123 | 3518.8218 | 0.077241 | 0.087277 | 103-82-2 | C8H8O2
4 | 2-Coumaranone | 12.9459 | 93.6185 | 2758 | 0.061693 | 0.068406 | 553-86-6 | C8H6O2
6 | 2,3-Dihydro-2-oxo-1H-indol-3-yl Benzoate | 13.0261 | 135.0748 | 2570.6968 | 0.089013 | 0.06376 |  | C15H11NO3
2 | 1-[(cis)-1',3'-Dimethylindan-5'-yl]butan-1-ol | 13.0833 | 20.7377 | 752 | 0.013666 | 0.018652 |  | C15H22O
7 | Cyclohexyl-(4-benzyl-5-methyl-2-phenyl-1,3-trans-dioxaolanyl)met | 13.2149 | 5.384 | 205.6667 | 0.003548 | 0.0051011 |  | C24H30O3
6 | 2-(2-Hydroxyethoxy)benzoic acid | 13.3179 | 27.8931 | 679 | 0.018381 | 0.016841 | 55211-84-2 | C9H10O4
6 | Hexadecane, 7,9-dimethyl- | 13.3636 | 21.9857 | 1052 | 0.014488 | 0.026093 | 21164-95-4 | C18H38
6 | Cyclohexasiloxane, dodecamethyl- | 13.4838 | 9.8466 | 389 | 0.0064888 | 0.0096483 | 540-97-6 | C12H36O6Si6
9 | 2-Phenyltetrahydrofuran | 13.5983 | 71.8175 | 2200.6641 | 0.047327 | 0.054583 |  | C10H12O
12 | Phthalic anhydride | 13.7985 | 321.8794 | 10114.5908 | 0.21211 | 0.25087 |  | C8H4O3
2 | Benzenecarboximidic acid, ethyl ester | 13.8558 | 3.1352 | 294 | 0.002066 | 0.007292 | 825-60-5 | C9H11NO
15 | 2-Phenyl-N-(1-phenylethyl)propanamide | 14.1705 | 65.9448 | 2084.8922 | 0.043457 | 0.051711 |  | C17H19NO
3 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 14.2506 | 14.7906 | 469.5074 | 0.0097468 | 0.011645 |  | C19H19N3O4
9 | 4-(2,4-Dichlorophenyl)-3-(3-trifluoromethylphenyl)-2,3-dihydroth | 14.3021 | 17.8501 | 502 | 0.011763 | 0.012451 |  | C16H8Cl2F3NS2
12 | Benzoylformic acid | 14.5023 | 563.0731 | 20739.9969 | 0.37106 | 0.51441 | 611-73-4 | C8H6O3
2 | 4-Methyl-N-(2-(thiophen-2-yl)ethyl)acridin-9-amine | 14.7884 | 63.2728 | 3052 | 0.041696 | 0.075698 |  | C20H18N2S
2 | 3-(Benzothiazol-2-thio)-3,5-dimethyl-5-hexen-2-one | 14.9315 | 15.9605 | 779 | 0.010518 | 0.019321 |  | C15H17NOS2
8 | 3-(4-Fluorophenyl)-1,6-dimethyl-3,4-dihydroisoquinoline | 15.1604 | 2.078 | 201.4107 | 0.0013694 | 0.0049955 |  | C17H16FN
3 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.2862 | 0.916 | 160 | 0.00060363 | 0.0039684 |  | C21H18BF2N5O
9 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.4407 | 2.9869 | 188 | 0.0019683 | 0.0046629 |  | C21H18BF2N5O
2 | Heptasiloxane, hexadecamethyl- | 15.5952 | 20.6083 | 1013 | 0.013581 | 0.025125 | 541-01-5 | C16H48O6Si7
5 | Phenylmaleic anhydride | 15.7726 | 3541.6509 | 132751.1093 | 2.3339 | 3.2926 | 36122-35-7 | C10H6O3
6 | 4-Methoxy-1,2-naphthoquinone | 16.0129 | 180.4981 | 6606.1383 | 0.11895 | 0.16385 | 18916-57-9 | C11H8O3
5 | 1,1,1,3,5,7,9,9,9-Nonamethylpentasiloxane | 16.196 | 25.368 | 596.161 | 0.016717 | 0.014786 | 84409-41-6 | C9H30O4Si5
3 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.2304 | 2.3635 | 137.8072 | 0.0015575 | 0.003418 |  | C34H59N
6 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.2761 | 68.0312 | 2655.7119 | 0.044832 | 0.065869 | 51306-96-8 | C11H8O2
7 | Hyocholic acid methylester | 16.3677 | 4.714 | 394.3357 | 0.0031064 | 0.0097806 |  | C25H42O5
4 | oxazole, 2-(4-azido-2-methylphenyl)-5-phenyl- | 16.6023 | 32.0515 | 854.1562 | 0.021122 | 0.021185 |  | C16H12N4O
10 | Benzophenone | 16.6595 | 256.5289 | 5997.7015 | 0.16905 | 0.14876 | 119-61-9 | C13H10O
14 | 7-oxohyocholic acid methyl ester | 16.6996 | 33.2224 | 663.6257 | 0.021893 | 0.01646 |  | C25H40O5
9 | 7-oxohyocholic acid methyl ester | 16.8541 | 22.5512 | 793.8913 | 0.014861 | 0.019691 |  | C25H40O5
10 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.9685 | 9.4949 | 576.7867 | 0.006257 | 0.014306 |  | C34H59N
12 | Hyocholic acid methylester | 17.0257 | 18.0142 | 636.3676 | 0.011871 | 0.015784 |  | C25H42O5
14 | Hyocholic acid methylester | 17.1058 | 31.2779 | 963.6756 | 0.020612 | 0.023902 |  | C25H42O5
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.1516 | 11.1914 | 830.2976 | 0.007375 | 0.020594 |  | C34H59N
10 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2489 | 20.5612 | 750.6696 | 0.01355 | 0.018619 |  | C34H59N
17 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4434 | 294.8387 | 12163.4275 | 0.19429 | 0.30169 |  | C21H26O2Si
10 | Hyocholic acid methylester | 17.535 | 5.2901 | 657.716 | 0.0034861 | 0.016313 |  | C25H42O5
6 | Hyocholic acid methylester | 17.6322 | 33.1354 | 1191.3333 | 0.021836 | 0.029548 |  | C25H42O5
9 | Hyocholic acid methylester | 17.7181 | 39.2634 | 1533.6282 | 0.025874 | 0.038038 |  | C25H42O5
9 | Hyocholic acid methylester | 17.8153 | 23.9674 | 853.6269 | 0.015794 | 0.021172 |  | C25H42O5
12 | Hyocholic acid methylester | 17.8897 | 1.6016 | 129.3843 | 0.0010554 | 0.0032091 |  | C25H42O5
12 | Hyocholic acid methylester | 17.9412 | 18.2383 | 938.6888 | 0.012019 | 0.023282 |  | C25H42O5
18 | Hyocholic acid methylester | 18.0728 | 17.4655 | 673.1419 | 0.01151 | 0.016696 |  | C25H42O5
13 | Hyocholic acid methylester | 18.2502 | 22.4327 | 1022.8573 | 0.014783 | 0.02537 |  | C25H42O5
12 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3303 | 5.6932 | 294.7145 | 0.0037517 | 0.0073097 | 19095-24-0 | C16H50O7Si8
9 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.4448 | 6.9143 | 373.8813 | 0.0045564 | 0.0092733 | 995-82-4 | C12H38O5Si6
8 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.4791 | 10.751 | 404.6165 | 0.0070848 | 0.010036 | 995-82-4 | C12H38O5Si6
9 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.5592 | 23.7575 | 570.8596 | 0.015656 | 0.014159 | 995-82-4 | C12H38O5Si6
10 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.6851 | 12.9594 | 477.0121 | 0.0085401 | 0.011831 | 19095-24-0 | C16H50O7Si8
16 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.851 | 7.228 | 344.8614 | 0.0047632 | 0.0085535 | 19095-24-0 | C16H50O7Si8
11 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.851 | 7.228 | 344.8614 | 0.0047632 | 0.0085535 | 19095-24-0 | C16H50O7Si8
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.0513 | 24.9088 | 572.1768 | 0.016415 | 0.014192 | 19095-24-0 | C16H50O7Si8
10 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.0513 | 24.9088 | 572.1768 | 0.016415 | 0.014192 | 19095-24-0 | C16H50O7Si8
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1428 | 9.2917 | 480.5518 | 0.0061231 | 0.011919 | 995-82-4 | C12H38O5Si6
13 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2687 | 10.5723 | 366.0233 | 0.006967 | 0.0090784 | 995-82-4 | C12H38O5Si6
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3774 | 10.366 | 571.8568 | 0.0068311 | 0.014184 | 995-82-4 | C12H38O5Si6
16 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4919 | 20.1647 | 617.0842 | 0.013288 | 0.015305 | 19095-24-0 | C16H50O7Si8
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.5663 | 13.3047 | 580.8648 | 0.0087676 | 0.014407 | 19095-24-0 | C16H50O7Si8
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6521 | 17.1961 | 586.5 | 0.011332 | 0.014547 | 19095-24-0 | C16H50O7Si8
7 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.7208 | 15.6929 | 620.8386 | 0.010341 | 0.015399 | 995-82-4 | C12H38O5Si6
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7665 | 7.5006 | 651.5845 | 0.0049428 | 0.016161 | 19095-24-0 | C16H50O7Si8
17 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8867 | 24.3197 | 647.9182 | 0.016026 | 0.01607 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 34966.836 | 726137.7406 | 23.0427 | 0

## Sheet2
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
3 | 3-(4-Chlorophenyl)propen-2-yl 4-methylphenyl sulfone | 3.5562 | 1.138 | 69.4967 | 0.00074994 | 0.0017237 |  | C16H15ClO2S
7 | 3-(4-Chlorophenyl)propen-2-yl 4-methylphenyl sulfone | 3.6935 | 1.5344 | 171.0328 | 0.0010111 | 0.0042421 |  | C16H15ClO2S
5 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6993 | 4.2403 | 188.2535 | 0.0027943 | 0.0046692 | 375-43-9 | C4Cl6F4
11 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.8995 | 222.7645 | 2499 | 0.1468 | 0.061982 |  | C5H10O2S
4 | 1-Pentanol | 4.0197 | 2.3072 | 325.0738 | 0.0015204 | 0.0080627 | 71-41-0 | C5H12O
8 | 1,6-Anhydro-4-deoxy-4-(C-methyl)-β-D-glucopyranose | 4.0826 | 72.1282 | 2052 | 0.047532 | 0.050895 |  | C7H12O4
3 | 2-(1-hydroxy-2-methylpropan-2-yl)-5,5-dimethyl-1,3-dioxan-4-ol | 4.1971 | 6.6724 | 332 | 0.004397 | 0.0082345 | 46329-82-2 | C10H20O4
3 | (1S,2S,5R)-8-Methyl-8-azabicyclo[3.2.1]octan-2-ol | 4.4031 | 12.192 | 307.7684 | 0.0080343 | 0.0076335 |  | C8H15NO
4 | (1S,2S,5R)-8-Methyl-8-azabicyclo[3.2.1]octan-2-ol | 4.4603 | 1.7156 | 148.4196 | 0.0011306 | 0.0036812 |  | C8H15NO
3 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 4.8894 | 9.4466 | 245 | 0.0062252 | 0.0060767 |  | C5H7Br2FO
2 | 1,5-Hexadien-3-yne | 5.1297 | 87.7544 | 1988 | 0.057829 | 0.049308 | 821-08-9 | C6H6
2 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.2041 | 112.4932 | 1360 | 0.074132 | 0.033732 |  | C18H29DO5
7 | cis-1-Phenyl-1,2-difluorobenzocycloheptane | 5.3014 | 4.2656 | 282.0851 | 0.002811 | 0.0069965 |  | C17H16F2
8 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.3415 | 4.2316 | 237.7801 | 0.0027885 | 0.0058976 | 66728-04-9 | C9H11ClO
2 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 6.2112 | 0.916 | 160 | 0.00060363 | 0.0039684 |  | C5H7Br2FO
4 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 6.6518 | 0.92038 | 161 | 0.00060652 | 0.0039932 |  | C5H7Br2FO
1 | Benzyl (E)-1-hex-1-enyl sulfoxide | 7.0466 | 3.7259 | 239.8933 | 0.0024553 | 0.00595 |  | C13H18OS
2 | (5S)-5-(p-tolylsulfonylmethyl)pyrrolidin-2-one | 7.1038 | 8.4918 | 347 | 0.005596 | 0.0086066 |  | C12H15NO3S
2 | Cyclotrisiloxane, hexamethyl- | 7.5616 | 70.0283 | 2358 | 0.046148 | 0.058485 | 541-05-9 | C6H18O3Si3
6 | Arsenous acid, tris(trimethylsilyl) ester | 7.6703 | 13.7919 | 783.9827 | 0.0090887 | 0.019445 | 55429-29-3 | C9H27AsO3Si3
3 | 1-(3-Methylphenyl)-1H-indole | 7.7504 | 13.7668 | 559.4026 | 0.0090721 | 0.013875 |  | C15H13N
7 | Cyclotrisiloxane, hexamethyl- | 7.8362 | 40.8442 | 1142.2533 | 0.026916 | 0.028331 | 541-05-9 | C6H18O3Si3
7 | 2-(4-Methylphenyl)-1H-indole | 7.945 | 7.5084 | 372.7586 | 0.0049479 | 0.0092454 | 55577-25-8 | C15H13N
3 | 2-Methylallyl N,N-Dimethylselenocarbamate | 8.0365 | 2.0008 | 188 | 0.0013185 | 0.0046629 |  | C7H13NOSe
4 | Cyclohexene oxide carbonate | 8.1166 | 10.5577 | 610 | 0.0069574 | 0.01513 |  | C7H10O3
2 | 4-(pyridine-2-carbonyl)benzonitrile | 8.1738 | 6.559 | 420 | 0.0043223 | 0.010417 | 57954-94-6 | C13H8N2O
7 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.2368 | 0 | 0 | 0 | 0 |  | C15H11BrO
5 | Hexane, 3-ethyl- | 8.3054 | 4.8339 | 265 | 0.0031855 | 0.0065727 | 619-99-8 | C8H18
2 | 2H-Pentaleno[1,6-bc]furan-2-one, 2a,4a,5,6,6a,6b-hexahydro-, (.+ | 8.3569 | 9.2459 | 496 | 0.0060929 | 0.012302 | 127268-74-0 | C9H10O2
3 | (2S,3R)-3-Phenyl-2-butanol | 8.4714 | 37.0676 | 1230 | 0.024427 | 0.030507 |  | C10H14O
12 | Phenylethyne | 8.5515 | 97.2649 | 3916 | 0.064096 | 0.097128 | 536-74-3 | C8H6
7 | cis- and trans-3-Methylthio-2,2-Dimethyl-1-phenylcyclopropanethi | 8.6659 | 5.3495 | 243 | 0.0035253 | 0.0060271 | 76963-16-1 | C12H16S2
2 | Azetidine, 1-(cyanocarbonyl)-2,2-dimethyl-3-phenyl- | 8.7746 | 17.3001 | 584 | 0.011401 | 0.014485 | 66951-11-9 | C13H14N2O
11 | (4-oxidanylidene-6-phenyl-hexyl) ethanoate | 8.9635 | 2.8854 | 201 | 0.0019014 | 0.0049854 |  | C14H18O3
2 | p-Benzoquinone | 9.0607 | 13.611 | 467.7608 | 0.0089695 | 0.011602 | 106-51-4 | C6H4O2
5 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.1237 | 15.5872 | 433 | 0.010272 | 0.01074 |  | C16H20O
2 | (2S,4S)-2-Methyl-2-phenyl-1,3-dioxan-4-methanol | 9.2782 | 17.9916 | 644 | 0.011856 | 0.015973 |  | C12H16O3
9 | (R)-3-Benzamido-5-phenylpentanoic acid | 9.3468 | 1.1719 | 201.3311 | 0.00077227 | 0.0049936 |  | C18H19NO3
10 | (4aR*,7aR*)-3,3-Cyclohexyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl-7- | 9.4212 | 8.3555 | 232.5 | 0.0055062 | 0.0057666 |  | C22H22O4
3 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.4842 | 1.3567 | 134.0854 | 0.00089405 | 0.0033257 |  | C15H9NO2
11 | Te-Phenyl seleno(telluro)perbenzoate | 9.5471 | 7.673 | 213.6977 | 0.0050564 | 0.0053003 |  | C13H10OSeTe
7 | Benzaldehyde | 9.7302 | 1175.8357 | 43094.4861 | 0.77486 | 1.0689 | 100-52-7 | C7H6O
4 | Cyclotetrasiloxane, octamethyl- | 9.879 | 142.1575 | 4094.8603 | 0.09368 | 0.10156 | 556-67-2 | C8H24O4Si4
4 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9362 | 63.7928 | 1338.9679 | 0.042039 | 0.03321 | 103240-21-7 | C16H16N2O2Si
4 | Benzaldehyde, oxime, (Z)- | 10.022 | 56.0268 | 1900 | 0.036921 | 0.047125 | 622-32-2 | C7H7NO
6 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 10.1593 | 1.5903 | 195.9091 | 0.001048 | 0.0048591 | 103240-21-7 | C16H16N2O2Si
2 | 3-Buten-2-one, 3-(benzoyloxy)- | 10.1708 | 34.3078 | 998.6931 | 0.022608 | 0.02477 | 78209-92-4 | C11H10O3
3 | Ethyl 2-diazo-2-phenylacetate | 10.2623 | 2.0598 | 122.4836 | 0.0013574 | 0.0030379 |  | C10H10N2O2
3 | 2-(2-Nitrophenyl)-1-phenylethanone | 10.3081 | 5.2662 | 288.7473 | 0.0034703 | 0.0071617 |  | C14H11NO3
6 | 1-Phenylhexane-1,2-dione | 10.3539 | 11.1524 | 388.6644 | 0.0073493 | 0.00964 |  | C12H14O2
10 | (1-methyl-3,6-dihydro-2H-pyridin-4-yl) benzoate | 10.4226 | 9.1 | 340.7844 | 0.0059968 | 0.0084524 |  | C13H15NO2
9 | Benzene, 1,2-diethyl- | 10.5485 | 5.0465 | 242.6251 | 0.0033256 | 0.0060178 | 135-01-3 | C10H14
9 | N-(1-benzamido-3-phenyl-propyl)benzamide | 10.6171 | 2.6745 | 328.1411 | 0.0017625 | 0.0081388 |  | C23H22N2O2
12 | Benzeneacetaldehyde | 10.7487 | 852.4638 | 33367.5 | 0.56176 | 0.82761 | 122-78-1 | C8H8O
5 | (S)-(-)-N-Octyl-1-phenylethyl carbamate | 10.8059 | 6.5086 | 399.1473 | 0.0042891 | 0.0099 |  | C17H27NO2
4 | 1-Propanone, 2,2-dichloro-3-hydroxy-1-phenyl- | 10.8918 | 10.0063 | 715.2996 | 0.006594 | 0.017741 | 54824-08-7 | C9H8Cl2O2
3 | Ethanone, 2,2-dihydroxy-1-phenyl- | 10.9433 | 9.9046 | 471.3497 | 0.006527 | 0.011691 | 1075-06-5 | C8H8O3
11 | Acetophenone | 11.0463 | 4641.4264 | 178117.2629 | 3.0586 | 4.4178 | 98-86-2 | C8H8O
14 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1092 | 214.1588 | 6077.2 | 0.14113 | 0.15073 | 1075-06-5 | C8H8O3
4 | endo-6-Hydroxy-6-phenyl-1,3-diazabicyclo[3.2.0]heptan-2-one | 11.2694 | 9.0756 | 511 | 0.0059807 | 0.012674 |  | C11H12N2O2
9 | Nonanal | 11.3381 | 39.9414 | 1397 | 0.026321 | 0.034649 | 124-19-6 | C9H18O
5 | Cobalt, [3,3''-(ethylenedinitrilo)dibutyrophenonato(2-)]- | 11.464 | 4.8379 | 201.3388 | 0.0031881 | 0.0049938 | 36466-12-3 | C22H22CoN2O2
8 | 2,2-Dimethyl-1-phenyl-N-(1-phenylethoxy)propylamine | 11.6471 | 22.9207 | 1243.4705 | 0.015104 | 0.030842 |  | C19H25NO
2 | Cyclopentasiloxane, decamethyl- | 11.6986 | 205.2198 | 7747 | 0.13524 | 0.19215 | 541-02-6 | C10H30O5Si5
36 | Benzoic acid | 11.9847 | 19778.4965 | 172481.3643 | 13.0338 | 4.278 | 65-85-0 | C7H6O2
7 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1506 | 42.362 | 1776 | 0.027916 | 0.04405 | 513-20-2 | C9H14O
8 | 3-(Hydroxyphenylmethyl)-2-methyl-3-buten-1-ol | 12.3566 | 32.9419 | 1672 | 0.021708 | 0.04147 |  | C12H16O2
5 | Decanal | 12.4482 | 9.9605 | 604 | 0.0065638 | 0.014981 | 112-31-2 | C10H20O
5 | Methyl salicylate | 12.5282 | 29.0449 | 1169 | 0.01914 | 0.028994 | 119-36-8 | C8H8O3
2 | 3(2H)-Benzofuranone | 12.7113 | 24.2906 | 869 | 0.016007 | 0.021554 | 7169-34-8 | C8H6O2
14 | Acetic acid, phenyl- | 12.78 | 117.2123 | 3518.8218 | 0.077241 | 0.087277 | 103-82-2 | C8H8O2
4 | 2-Coumaranone | 12.9459 | 93.6185 | 2758 | 0.061693 | 0.068406 | 553-86-6 | C8H6O2
6 | 2,3-Dihydro-2-oxo-1H-indol-3-yl Benzoate | 13.0261 | 135.0748 | 2570.6968 | 0.089013 | 0.06376 |  | C15H11NO3
2 | 1-[(cis)-1',3'-Dimethylindan-5'-yl]butan-1-ol | 13.0833 | 20.7377 | 752 | 0.013666 | 0.018652 |  | C15H22O
7 | Cyclohexyl-(4-benzyl-5-methyl-2-phenyl-1,3-trans-dioxaolanyl)met | 13.2149 | 5.384 | 205.6667 | 0.003548 | 0.0051011 |  | C24H30O3
6 | 2-(2-Hydroxyethoxy)benzoic acid | 13.3179 | 27.8931 | 679 | 0.018381 | 0.016841 | 55211-84-2 | C9H10O4
6 | Hexadecane, 7,9-dimethyl- | 13.3636 | 21.9857 | 1052 | 0.014488 | 0.026093 | 21164-95-4 | C18H38
6 | Cyclohexasiloxane, dodecamethyl- | 13.4838 | 9.8466 | 389 | 0.0064888 | 0.0096483 | 540-97-6 | C12H36O6Si6
9 | 2-Phenyltetrahydrofuran | 13.5983 | 71.8175 | 2200.6641 | 0.047327 | 0.054583 |  | C10H12O
12 | Phthalic anhydride | 13.7985 | 321.8794 | 10114.5908 | 0.21211 | 0.25087 |  | C8H4O3
2 | Benzenecarboximidic acid, ethyl ester | 13.8558 | 3.1352 | 294 | 0.002066 | 0.007292 | 825-60-5 | C9H11NO
15 | 2-Phenyl-N-(1-phenylethyl)propanamide | 14.1705 | 65.9448 | 2084.8922 | 0.043457 | 0.051711 |  | C17H19NO
3 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 14.2506 | 14.7906 | 469.5074 | 0.0097468 | 0.011645 |  | C19H19N3O4
9 | 4-(2,4-Dichlorophenyl)-3-(3-trifluoromethylphenyl)-2,3-dihydroth | 14.3021 | 17.8501 | 502 | 0.011763 | 0.012451 |  | C16H8Cl2F3NS2
12 | Benzoylformic acid | 14.5023 | 563.0731 | 20739.9969 | 0.37106 | 0.51441 | 611-73-4 | C8H6O3
2 | 4-Methyl-N-(2-(thiophen-2-yl)ethyl)acridin-9-amine | 14.7884 | 63.2728 | 3052 | 0.041696 | 0.075698 |  | C20H18N2S
2 | 3-(Benzothiazol-2-thio)-3,5-dimethyl-5-hexen-2-one | 14.9315 | 15.9605 | 779 | 0.010518 | 0.019321 |  | C15H17NOS2
8 | 3-(4-Fluorophenyl)-1,6-dimethyl-3,4-dihydroisoquinoline | 15.1604 | 2.078 | 201.4107 | 0.0013694 | 0.0049955 |  | C17H16FN
3 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.2862 | 0.916 | 160 | 0.00060363 | 0.0039684 |  | C21H18BF2N5O
9 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.4407 | 2.9869 | 188 | 0.0019683 | 0.0046629 |  | C21H18BF2N5O
2 | Heptasiloxane, hexadecamethyl- | 15.5952 | 20.6083 | 1013 | 0.013581 | 0.025125 | 541-01-5 | C16H48O6Si7
5 | Phenylmaleic anhydride | 15.7726 | 3541.6509 | 132751.1093 | 2.3339 | 3.2926 | 36122-35-7 | C10H6O3
6 | 4-Methoxy-1,2-naphthoquinone | 16.0129 | 180.4981 | 6606.1383 | 0.11895 | 0.16385 | 18916-57-9 | C11H8O3
5 | 1,1,1,3,5,7,9,9,9-Nonamethylpentasiloxane | 16.196 | 25.368 | 596.161 | 0.016717 | 0.014786 | 84409-41-6 | C9H30O4Si5
3 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.2304 | 2.3635 | 137.8072 | 0.0015575 | 0.003418 |  | C34H59N
6 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.2761 | 68.0312 | 2655.7119 | 0.044832 | 0.065869 | 51306-96-8 | C11H8O2
7 | Hyocholic acid methylester | 16.3677 | 4.714 | 394.3357 | 0.0031064 | 0.0097806 |  | C25H42O5
4 | oxazole, 2-(4-azido-2-methylphenyl)-5-phenyl- | 16.6023 | 32.0515 | 854.1562 | 0.021122 | 0.021185 |  | C16H12N4O
10 | Benzophenone | 16.6595 | 256.5289 | 5997.7015 | 0.16905 | 0.14876 | 119-61-9 | C13H10O
14 | 7-oxohyocholic acid methyl ester | 16.6996 | 33.2224 | 663.6257 | 0.021893 | 0.01646 |  | C25H40O5
9 | 7-oxohyocholic acid methyl ester | 16.8541 | 22.5512 | 793.8913 | 0.014861 | 0.019691 |  | C25H40O5
10 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.9685 | 9.4949 | 576.7867 | 0.006257 | 0.014306 |  | C34H59N
12 | Hyocholic acid methylester | 17.0257 | 18.0142 | 636.3676 | 0.011871 | 0.015784 |  | C25H42O5
14 | Hyocholic acid methylester | 17.1058 | 31.2779 | 963.6756 | 0.020612 | 0.023902 |  | C25H42O5
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.1516 | 11.1914 | 830.2976 | 0.007375 | 0.020594 |  | C34H59N
10 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2489 | 20.5612 | 750.6696 | 0.01355 | 0.018619 |  | C34H59N
17 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4434 | 294.8387 | 12163.4275 | 0.19429 | 0.30169 |  | C21H26O2Si
10 | Hyocholic acid methylester | 17.535 | 5.2901 | 657.716 | 0.0034861 | 0.016313 |  | C25H42O5
6 | Hyocholic acid methylester | 17.6322 | 33.1354 | 1191.3333 | 0.021836 | 0.029548 |  | C25H42O5
9 | Hyocholic acid methylester | 17.7181 | 39.2634 | 1533.6282 | 0.025874 | 0.038038 |  | C25H42O5
9 | Hyocholic acid methylester | 17.8153 | 23.9674 | 853.6269 | 0.015794 | 0.021172 |  | C25H42O5
12 | Hyocholic acid methylester | 17.8897 | 1.6016 | 129.3843 | 0.0010554 | 0.0032091 |  | C25H42O5
12 | Hyocholic acid methylester | 17.9412 | 18.2383 | 938.6888 | 0.012019 | 0.023282 |  | C25H42O5
18 | Hyocholic acid methylester | 18.0728 | 17.4655 | 673.1419 | 0.01151 | 0.016696 |  | C25H42O5
13 | Hyocholic acid methylester | 18.2502 | 22.4327 | 1022.8573 | 0.014783 | 0.02537 |  | C25H42O5
12 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3303 | 5.6932 | 294.7145 | 0.0037517 | 0.0073097 | 19095-24-0 | C16H50O7Si8
9 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.4448 | 6.9143 | 373.8813 | 0.0045564 | 0.0092733 | 995-82-4 | C12H38O5Si6
8 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.4791 | 10.751 | 404.6165 | 0.0070848 | 0.010036 | 995-82-4 | C12H38O5Si6
9 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.5592 | 23.7575 | 570.8596 | 0.015656 | 0.014159 | 995-82-4 | C12H38O5Si6
10 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.6851 | 12.9594 | 477.0121 | 0.0085401 | 0.011831 | 19095-24-0 | C16H50O7Si8
16 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.851 | 7.228 | 344.8614 | 0.0047632 | 0.0085535 | 19095-24-0 | C16H50O7Si8
11 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.851 | 7.228 | 344.8614 | 0.0047632 | 0.0085535 | 19095-24-0 | C16H50O7Si8
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.0513 | 24.9088 | 572.1768 | 0.016415 | 0.014192 | 19095-24-0 | C16H50O7Si8
10 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.0513 | 24.9088 | 572.1768 | 0.016415 | 0.014192 | 19095-24-0 | C16H50O7Si8
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1428 | 9.2917 | 480.5518 | 0.0061231 | 0.011919 | 995-82-4 | C12H38O5Si6
13 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2687 | 10.5723 | 366.0233 | 0.006967 | 0.0090784 | 995-82-4 | C12H38O5Si6
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3774 | 10.366 | 571.8568 | 0.0068311 | 0.014184 | 995-82-4 | C12H38O5Si6
16 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4919 | 20.1647 | 617.0842 | 0.013288 | 0.015305 | 19095-24-0 | C16H50O7Si8
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.5663 | 13.3047 | 580.8648 | 0.0087676 | 0.014407 | 19095-24-0 | C16H50O7Si8
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6521 | 17.1961 | 586.5 | 0.011332 | 0.014547 | 19095-24-0 | C16H50O7Si8
7 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.7208 | 15.6929 | 620.8386 | 0.010341 | 0.015399 | 995-82-4 | C12H38O5Si6
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7665 | 7.5006 | 651.5845 | 0.0049428 | 0.016161 | 19095-24-0 | C16H50O7Si8
17 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8867 | 24.3197 | 647.9182 | 0.016026 | 0.01607 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 34966.836 | 726137.7406 | 23.0427 | 0

## Calibration (hidden)
Calibration
Calibration Details |  | Acetanilide
Calibration Type |  | Lin, WithOffset |  |  | Offset (C0) |  | 0.0050568
Evaluation Type |  | Area |  |  | Slope (C1) |  | 0.034307
Number of Calibration Points |  | 6 |  |  | Curve (C2) |  | 0
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | 0.99999
Calibration Plot |  | Acetanilide
Calibration Results |  | Acetanilide
No. | Injection Name | Level | X Value | Y Value | Residual | Area | Height
|  |  | ng | mAU*min | % | mAU*min | mAU
|  |  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  |  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 01 | 20 | 0.69372 | 0.012576 | 0.69372 | 39.0107
2 | Alkylphenones 2 | 01 | 40 | 1.3699 | -0.018646 | 1.3699 | 73.7149
3 | Alkylphenones 3 | 01 | 80 | 2.7486 | -0.001345 | 2.7486 | 137.542
4 | Alkylphenones 4 | 01 | 120 | 4.1266 | 0.0039116 | 4.1266 | 194.9695
5 | Alkylphenones 5 | 01 | 160 | 5.5066 | 0.007722 | 5.5066 | 244.8088
6 | Alkylphenones 6 | 01 | 200 | 6.8555 | -0.0055149 | 6.8555 | 291.0862

## Peak Analysis (hidden)
Peak Analysis
Injection Details
Injection Name: |  | Alkylphenones 1 |  |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peakname | Ret.Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
1 | Acetanilide | 0.17017 | 0.016292 | M | 2.7203 | 1.4766 | 604
2 | Acetophenone | 0.24583 | 0.01653 | MB | 4.0275 | 1.4327 | 1225
3 | Propiophenone | 0.36283 | 0.017749 | M | n.a. | 1.3522 | 2315

## SST (hidden)
Chromatogram and SST Results
Injection Details
Injection Name: |  | Alkylphenones 1 |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Name
1 | System Suitability Test Case 1 | All Injections | Number: 2 | Not Executed | Alkylphenones 1
2 | System Suitability Test Case 2 | injection.name starts with "Alkylphenones" | Acetanilide | Not Executed | Alkylphenones 1
3 | System Suitability Test Case 3 | (injection.number>=1 AND injection.number<=7) | Highest: peak.area | Not Executed | Alkylphenones 1
4 | System Suitability Test Case 4 | All Injections | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
5 | System Suitability Test Case 5 | injection.position = RC9 |  | Not Executed | Alkylphenones 1
6 | System Suitability Test Case 6 | Injection Type: Unknown | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
| Number of executed test cases: | 0 | Total Result: | Not Executed

## Summary (hidden)
Summary
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
By Component |  | Acetanilide
No | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | mAU*min | mAU | ng | %
|  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 0.17017 | 0.69372 | 39.0107 | 20.0733 | 32.5524 | M
2 | Alkylphenones 2 | 0.17167 | 1.3699 | 73.7149 | 39.7826 | 32.508 | M
3 | Alkylphenones 3 | 0.174 | 2.7486 | 137.542 | 79.9686 | 32.3539 | M
4 | Alkylphenones 4 | 0.17583 | 4.1266 | 194.9695 | 120.1368 | 32.4486 | BM
5 | Alkylphenones 5 | 0.17817 | 5.5066 | 244.8088 | 160.3601 | 32.4887 | M
6 | Alkylphenones 6 | 0.17983 | 6.8555 | 291.0862 | 199.6785 | 32.5299 | BM
7 | Alkylphenones 7 | 0.1715 | 5.223 | 278.0937 | 152.0952 | 33.2915 | M

## Injection Audit Trail (hidden)
Injection Audit Trail
Injection Details
Injection Name: |  | Alkylphenones 1 | Run Time (min): | 0.45
Vial Number: |  | RA1 | Injection Volume: | 2
Injection Type: |  | Calibration Standard | Channel: | UV_VIS_1
Calibration Level: |  | 01 | Wavelength: | 244
Instrument Method: |  | CM_OQ | Bandwidth: | 4
Processing Method: |  | CM_OQ | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
(UTC+02:00) | min
13:14:22 |  | Audit trail of injection "chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/515.smp". Executed 7/12/2022 on instrument CM_OQ (instrument controller DEGER-6FWTXT2).
13:14:22 |  | Start of injection 1 "Alkylphenones 1", using instrument method "CM_OQ".
13:14:22 | 0.000 | Entered stage "Instrument Setup"
13:14:22 | 0.000 | UV.3DFIELD.MinWavelength = 190.0 nm
13:14:22 | 0.000 | UV.3DFIELD.MaxWavelength = 350.0 nm
13:14:22 | 0.000 | UV.3DFIELD.BunchWidth = 1 nm
13:14:22 | 0.000 | UV.ResponseTime = 0.030 s
13:14:22 | 0.000 | UV.Data_Collection_Rate = 100 Hz
13:14:22 | 0.000 | ColumnOven.Temperature.Nominal = 20.0 °C
13:14:22 | 0.000 | PumpModule.Pump.%A.Equate = "Water"
13:14:22 | 0.000 | PumpModule.Pump.%B.Equate = "Acetonitrile"
13:14:22 | 0.000 | PumpModule.Pump.%C.Equate = "%C"
13:14:22 | 0.000 | PumpModule.Pump.%D.Equate = "%D"
13:14:22 | 0.000 | PumpModule.Pump.Pressure.LowerLimit = 0 bar
13:14:22 | 0.000 | PumpModule.Pump.Pressure.UpperLimit = 800 bar
13:14:22 | 0.000 | UV.UV_VIS_1.Wavelength = 244.0 nm
13:14:22 | 0.000 | UV.UV_VIS_1.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_1.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_1.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.3DFIELD.RefWavelength = Off
13:14:22 | 0.000 | UV.3DFIELD.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Wavelength = 256.0 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_2.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_2.RefBandwidth = 1 nm
13:14:22 | 0.000 | Entered stage "Inject Preparation"
13:14:22 | 0.000 | UV.Autozero
13:14:22 | 0.000 | Wait ColumnOven.Ready And Sampler.Ready And UV.Ready
13:14:27 | 0.000 | Wait finished
13:14:27 | 0.000 | Entered stage "Inject"
13:14:27 | 0.000 | Sampler.Inject
13:14:27 | 0.000 | Injecting from vial position RA1.
13:14:27 | 0.000 | Injection Volume is 2.000 µl.
13:14:27 | 0.000 | Waiting for inject response on UM3WPSInjectState1.
13:14:29 | 0.000 | Got inject response.
13:14:29 | 0.000 | Entered stage "Start Run"
13:14:29 | 0.000 | UV.UV_VIS_1.AcqOn
13:14:29 | 0.000 | UV.UV_VIS_2.AcqOn
13:14:29 | 0.000 | UV.3DFIELD.AcqOn
13:14:29 | 0.000 | Entered stage "Run"
13:14:29 | 0.000 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:29 | 0.000 | PumpModule.Pump.%B.Value Gradient Start = 35.0 %, End = 90.0 %, Duration = 0.300 min
13:14:29 | 0.000 | PumpModule.Pump.%C.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.%D.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.Curve = 5
13:14:29 | 0.000 | Reading from simulation data file C:\Program Files (x86)\Thermo\Chromeleon\bin\DDK\V1\Drivers\Dionex\DAD3000\cmoq_1.dad3000.
13:14:47 | 0.300 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:47 | 0.300 | PumpModule.Pump.%B.Value = 90.0 %
13:14:47 | 0.300 | PumpModule.Pump.%C.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.%D.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:56 | 0.450 | PumpModule.Pump.%B.Value = 90.0 %
13:14:56 | 0.450 | PumpModule.Pump.%C.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.%D.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | UV.3DFIELD.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_1.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_2.AcqOff
13:14:56 | 0.450 | Entered stage "Stop Run"
13:14:56 | 0.450 | Terminating instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth. Waiting for instrument to finish processing of current injection ...
13:14:56 | 0.451 | Closing simulation data file.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 5": Injection specification criteria has not been met
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 6": Injection specification criteria has not been met
13:14:56 |  | End of injection "Alkylphenones 1".

## Chromatogram (hidden)
Chromatogram