## Overview (hidden)
Sequence Overview
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
Injection Details
No | Injection Name | Position | Type | Level | Inject Time | Status
1 | Alkylphenones 1 | RA1 | Calibration Standard | 01 | 2022-07-12 13:14 | Finished
2 | Alkylphenones 2 | RA1 | Calibration Standard | 01 | 2022-07-12 13:15 | Finished
3 | Alkylphenones 3 | RA1 | Calibration Standard | 01 | 2022-07-12 13:16 | Finished
4 | Alkylphenones 4 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
5 | Alkylphenones 5 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
6 | Alkylphenones 6 | RA1 | Calibration Standard | 01 | 2022-07-12 13:18 | Finished
7 | Alkylphenones 7 | RA2 | Unknown |  | 2022-07-12 13:19 | Finished

## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p9_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | TIC
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | p9_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 22:17 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC
1 | Isoprene | 3.1498 | 53.501 | 2495.2609 | 0.045054 | 0.094686 | 78-79-5 | C5H8
2 | Isoprene | 3.1956 | 13.7962 | 1507.7449 | 0.011618 | 0.057214 | 78-79-5 | C5H8
3 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.2471 | 11.2933 | 124.8569 | 0.0095102 | 0.0047379 | 375-43-9 | C4Cl6F4
4 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.3672 | 62.3632 | 1617.2039 | 0.052517 | 0.061367 | 375-43-9 | C4Cl6F4
5 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.5618 | 3.5521 | 313.634 | 0.0029912 | 0.011901 | 375-43-9 | C4Cl6F4
6 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.7449 | 243.3734 | 4120.4215 | 0.20495 | 0.15636 | 375-43-9 | C4Cl6F4
7 | N'-[(E)-but-2-enyl]acetohydrazide | 3.8822 | 34.9777 | 931.24 | 0.029455 | 0.035337 |  | C6H12N2O
8 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.9509 | 56.7514 | 959.8343 | 0.047791 | 0.036422 |  | C5H10O2S
10 | 4-Allyl-1,2,4-dithiazolidine-3,5-dione | 4.3342 | 0.3653 | 347.2389 | 0.00030762 | 0.013176 |  | C5H5NO2S2
11 | (1S,2S,5R)-8-Methyl-8-azabicyclo[3.2.1]octan-2-ol | 4.4201 | 21.1298 | 758.6801 | 0.017794 | 0.028789 |  | C8H15NO
15 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 4.7176 | 5.4201 | 256.2744 | 0.0045643 | 0.0097247 |  | C9H10I2O2
16 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 4.832 | 10.523 | 412.5481 | 0.0088615 | 0.015655 |  | C5H7Br2FO
17 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 4.9064 | 6.6439 | 288.1373 | 0.0055949 | 0.010934 |  | C9H10I2O2
18 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 4.9751 | 5.7397 | 433.2938 | 0.0048334 | 0.016442 |  | C5H7Br2FO
19 | 2-Chlorocyclohexyl-S-chlorothioformate | 5.1467 | 225.4296 | 3344.1621 | 0.18984 | 0.1269 | 105214-28-6 | C7H10Cl2OS
20 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.1925 | 235.541 | 4386.6484 | 0.19835 | 0.16646 | 66728-04-9 | C9H11ClO
21 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.2612 | 242.6269 | 4446.378 | 0.20432 | 0.16872 | 66728-04-9 | C9H11ClO
22 | cis-1-Phenyl-1,2-difluorobenzocycloheptane | 5.3184 | 261.0479 | 4137.4863 | 0.21983 | 0.157 |  | C17H16F2
23 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3756 | 158.9207 | 3148.5945 | 0.13383 | 0.11948 |  | C18H29DO5
24 | Propanoic acid | 5.5473 | 90.2715 | 1623.9951 | 0.076018 | 0.061625 | 79-09-4 | C3H6O2
25 | 2-(benzenesulfonyl)-4-bromo-3-pyrazolecarboxylic acid | 5.6961 | 15.1657 | 701.8531 | 0.012771 | 0.026633 | 130874-34-9 | C10H7BrN2O4S
26 | 2-(benzenesulfonyl)-4-bromo-3-pyrazolecarboxylic acid | 5.7991 | 1.8676 | 477.4578 | 0.0015727 | 0.018118 | 130874-34-9 | C10H7BrN2O4S
27 | Methyl 3-hydroxy-2-methyl-3-phenylpropionate | 5.8448 | 13.762 | 767.606 | 0.011589 | 0.029128 |  | C11H14O3
29 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 5.9249 | 1.6198 | 163.5946 | 0.0013641 | 0.0062078 |  | C9H10I2O2
34 | Hexadecane, 1-iodo- | 6.3083 | 12.5391 | 475.2629 | 0.010559 | 0.018035 | 544-77-4 | C16H33I
35 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 6.4342 | 6.1591 | 494.5451 | 0.0051866 | 0.018766 |  | C9H10I2O2
36 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 6.4571 | 9.8091 | 361.8824 | 0.0082603 | 0.013732 |  | C9H10I2O2
40 | 1,2,3,5-Cyclohexanetetrol | 6.8118 | 24.6937 | 944.355 | 0.020795 | 0.035835 |  | C6H12O4
41 | Benzyl (E)-1-hex-1-enyl sulfoxide | 6.892 | 205.7173 | 6296.3058 | 0.17324 | 0.23892 |  | C13H18OS
42 | 1-Azaspiro[2.4]hepta-1,4,6-triene | 7.0121 | 6.2755 | 409 | 0.0052846 | 0.01552 |  | C6H5N
43 | Propanoic acid, 2,2-dimethyl-, 3-hydroxy-2-(phenylmethoxy)propyl | 7.0808 | 3.8758 | 301.0296 | 0.0032638 | 0.011423 | 114935-07-8 | C15H22O4
46 | 2-(1-hydroxy-2-methylpropan-2-yl)-5,5-dimethyl-1,3-dioxan-4-ol | 7.3097 | 43.3421 | 1329 | 0.036499 | 0.050431 | 46329-82-2 | C10H20O4
47 | Cyclotrisiloxane, hexamethyl- | 7.5557 | 275.0713 | 5427.8661 | 0.23164 | 0.20597 | 541-05-9 | C6H18O3Si3
48 | Arsenous acid, tris(trimethylsilyl) ester | 7.6473 | 585.9268 | 4649.3951 | 0.49341 | 0.17643 | 55429-29-3 | C9H27AsO3Si3
49 | Cyclotrisiloxane, hexamethyl- | 7.8075 | 141.3438 | 2373.808 | 0.11903 | 0.090078 | 541-05-9 | C6H18O3Si3
51 | 1-(3-Methylphenyl)-1H-indole | 8.0077 | 35.4165 | 1085 | 0.029824 | 0.041172 |  | C15H13N
52 | (2R,3S,4R)-2,4,7-trimethyl-4-(phenylthio)octane-1,3-diol | 8.1222 | 77.8462 | 2401.8364 | 0.065555 | 0.091141 |  | C17H28O2S
53 | 2-Methylallyl N,N-Dimethylselenocarbamate | 8.1737 | 45.486 | 1816.9182 | 0.038304 | 0.068946 |  | C7H13NOSe
54 | (1Z,3Z)-1,4-Di(4-pyridyl)-1,3-butadiene | 8.2595 | 17.6917 | 721.7877 | 0.014898 | 0.027389 |  | C14H12N2
55 | 1-Benzyl-1H-indole | 8.3682 | 49.7629 | 1605.3117 | 0.041906 | 0.060916 |  | C15H13N
56 | 6,7-Diazabicyclo[3.2.2]nona-3,6-diene, 2-methylene- | 8.4655 | 60.1896 | 2081.6404 | 0.050686 | 0.078991 | 106362-91-8 | C8H10N2
57 | Phenylethyne | 8.5513 | 290.1364 | 8800.7414 | 0.24433 | 0.33396 | 536-74-3 | C8H6
58 | Tetrahydrorhombifoline | 8.6658 | 9.5771 | 333 | 0.008065 | 0.012636 |  | C15H24N2O
59 | 1-Anilino-3-(N,N-dimethylamino)cyclobutenediylium-2,4-diolate | 8.7917 | 106.3029 | 1863 | 0.089518 | 0.070694 |  | C12H12N2O2
61 | p-Benzoquinone | 9.072 | 88.8173 | 2933 | 0.074794 | 0.1113 | 106-51-4 | C6H4O2
62 | trans-3,6-Dimethoxy-1,2,3,4,5,6-hexamethylcyclohexa-1,4-diene | 9.2666 | 1.6545 | 264.232 | 0.0013933 | 0.010027 |  | C14H24O2
63 | 3-Methylenedihydro-2,5-furandione | 9.3181 | 112.3203 | 3999.0781 | 0.094586 | 0.15175 | 2170-03-8 | C5H4O3
64 | Propanoic acid, 2-(aminooxy)- | 9.5698 | 99.8517 | 2231 | 0.084086 | 0.084659 | 2786-22-3 | C3H7NO3
65 | Benzaldehyde | 9.7301 | 7899.9536 | 202080.6532 | 6.6526 | 7.6682 | 100-52-7 | C7H6O
66 | Cyclotetrasiloxane, octamethyl- | 9.8731 | 338.8564 | 11422.9585 | 0.28535 | 0.43346 | 556-67-2 | C8H24O4Si4
67 | 1,1,1,3,3,5,5,7,7-Nonamethyltetrasiloxane | 9.9589 | 5.2198 | 856.334 | 0.0043956 | 0.032495 |  | C9H28O3Si4
68 | Benzene, isocyano- | 10.0219 | 100.446 | 3790.8546 | 0.084586 | 0.14385 | 931-54-4 | C7H5N
70 | 1-Heptanol, 2-propyl- | 10.2164 | 8.7615 | 494.267 | 0.0073781 | 0.018756 | 10042-59-8 | C10H22O
71 | Benzofuran | 10.2565 | 4.945 | 699 | 0.0041642 | 0.026525 | 271-89-6 | C8H6O
72 | 4,4-Dimethylpentan-1-ol | 10.4338 | 56.8037 | 1489 | 0.047835 | 0.056502 |  | C7H16O
73 | 1,4-Cyclohexadiene, 1,6,6-trimethyl-3-methylene- | 10.5311 | 9.1208 | 1060.807 | 0.0076807 | 0.040254 | 94925-96-9 | C10H14
74 | 4H-Cyclopenta[b]furan, 5,6-dihydro- | 10.5941 | 75.1185 | 2254.8519 | 0.063258 | 0.085564 | 59953-84-3 | C7H8O
75 | Benzeneacetaldehyde | 10.7486 | 1934.6479 | 77533.3485 | 1.6292 | 2.9421 | 122-78-1 | C8H8O
77 | Acetophenone | 11.0518 | 12268.9091 | 495783.5 | 10.3317 | 18.8132 | 98-86-2 | C8H8O
78 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1148 | 499.3023 | 28644.7146 | 0.42047 | 1.087 | 1075-06-5 | C8H8O3
79 | Nonanal | 11.3379 | 317.671 | 9520.3683 | 0.26751 | 0.36126 | 124-19-6 | C9H18O
80 | 5-Benzoyl-2-(4-methylphenyl)-4-methylselenazole | 11.5783 | 69.8624 | 1477.5 | 0.058832 | 0.056066 |  | C18H15NOSe
81 | Cyclopentasiloxane, decamethyl- | 11.6984 | 450.6119 | 16244.5589 | 0.37946 | 0.61642 | 541-02-6 | C10H30O5Si5
82 | Benzoic acid | 12.0303 | 57511.9259 | 643730.2556 | 48.4312 | 24.4273 | 65-85-0 | C7H6O2
83 | Benzoic acid | 12.1791 | 606.081 | 12100.1419 | 0.51038 | 0.45916 | 65-85-0 | C7H6O2
84 | 2-Hydroxy-1-phenyl-3-(phenylsulfonyl)propan-1-one | 12.3507 | 52.8237 | 1659.5366 | 0.044483 | 0.062974 |  | C15H14O4S
85 | Decanal | 12.448 | 142.5365 | 5899.1673 | 0.12003 | 0.22385 | 112-31-2 | C10H20O
86 | Methyl salicylate | 12.5338 | 84.8278 | 3991.98 | 0.071434 | 0.15148 | 119-36-8 | C8H8O3
87 | 4H-1,3-benzothiazin-2-yl(phenyl)methanone | 12.5853 | 4.3764 | 647.7932 | 0.0036854 | 0.024581 |  | C15H11NOS
88 | 3(2H)-Benzofuranone | 12.7112 | 150.826 | 4955.6667 | 0.12701 | 0.18805 | 7169-34-8 | C8H6O2
89 | Benzeneacetic acid | 12.7913 | 229.5867 | 8408.1507 | 0.19334 | 0.31906 | 103-82-2 | C8H8O2
90 | 1-Benzofuran-2(3H)-one | 12.9458 | 406.5822 | 12038.8571 | 0.34239 | 0.45683 | 553-86-6 | C8H6O2
91 | Benz[b]1,4-oxazin-3(2H)-one, 4-benzoyl- | 13.0316 | 171.2387 | 6526.143 | 0.1442 | 0.24764 | 337470-63-0 | C15H11NO3
92 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.0889 | 1.9923 | 0 | 0.0016777 | 0 | 65128-29-2 | C11H15Br
94 | (E)-3-iodanyl-2-nitro-3-phenyl-prop-2-en-1-ol | 13.3063 | 111.8029 | 2876.6048 | 0.09415 | 0.10916 |  | C9H8INO3
95 | 1,7-Dioxaspiro[5.5]undecane-4,5-diol, 2-ethyl-3-methyl-10-(pheny | 13.3578 | 72.3818 | 2070.8372 | 0.060953 | 0.078581 | 116315-51-6 | C29H38O7
96 | Cyclohexasiloxane, dodecamethyl- | 13.4894 | 102.6821 | 3444.7466 | 0.086469 | 0.13072 | 540-97-6 | C12H36O6Si6
97 | 2-Phenyltetrahydrofuran | 13.5981 | 658.6185 | 17741.7248 | 0.55463 | 0.67324 |  | C10H12O
98 | 1,2-Benzenedicarboxylic acid | 13.8041 | 1562.3757 | 55514.8761 | 1.3157 | 2.1066 | 88-99-3 | C8H6O4
99 | 5-Acetoxy-1,5-diphenyl-pentan-1-one | 13.9529 | 63.934 | 1637.4265 | 0.053839 | 0.062135 |  | C19H20O3
101 | 1(3H)-Isobenzofuranone | 14.1703 | 425.7184 | 9886.6659 | 0.3585 | 0.37516 | 87-41-2 | C8H6O2
104 | Benzoyl bromide | 14.5022 | 1205.5135 | 43612.7792 | 1.0152 | 1.655 | 618-32-6 | C7H5BrO
107 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.7883 | 184.8736 | 7118.151 | 0.15568 | 0.27011 |  | C15H38O2Si3
109 | (R)-3-(4,7-dihydro-1H-indol-2-yl)-3-(4-nitrophenyl)propanal | 15.0114 | 0.98574 | 492.5117 | 0.0008301 | 0.018689 |  | C17H16N2O3
111 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.206 | 0.81748 | 81.6667 | 0.00068841 | 0.003099 |  | C21H18BF2N5O
112 | 3-Iodo-2-(4-methoxyphenyl)-4H-thieno[3,2-b]indole | 15.3033 | 5.3331 | 848.1126 | 0.004491 | 0.032183 |  | C17H12INOS
113 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.349 | 28.0409 | 1071.212 | 0.023613 | 0.040649 |  | C34H59N
114 | 7-oxohyocholic acid methyl ester | 15.3948 | 15.0127 | 998.0268 | 0.012642 | 0.037872 |  | C25H40O5
115 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.4806 | 85.3135 | 3263.3009 | 0.071843 | 0.12383 |  | C34H59N
116 | 2-Ethoxybenzoic acid ethyl ester | 15.5608 | 378.06 | 6706.8435 | 0.31837 | 0.2545 | 75333-22-1 | C11H14O3
118 | Phenylmaleic anhydride | 15.7725 | 9570.4684 | 380298.4286 | 8.0594 | 14.431 | 36122-35-7 | C10H6O3
121 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.1844 | 110.1424 | 4207.7713 | 0.092752 | 0.15967 | 19095-23-9 | C14H44O6Si7
122 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.2817 | 565.3449 | 15499.4575 | 0.47608 | 0.58815 | 51306-96-8 | C11H8O2
123 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3618 | 51.2863 | 1597.1236 | 0.043189 | 0.060605 |  | C34H59N
125 | Benzophenone | 16.6594 | 1687.6267 | 30898.8186 | 1.4212 | 1.1725 | 119-61-9 | C13H10O
126 | 7-oxohyocholic acid methyl ester | 16.7452 | 53.4998 | 2508.4682 | 0.045053 | 0.095187 |  | C25H40O5
127 | Heptasiloxane, hexadecamethyl- | 16.8425 | 492.0258 | 15955.7116 | 0.41434 | 0.60546 | 541-01-5 | C16H48O6Si7
128 | 1,1,1,3,5,7,9,9,9-Nonamethylpentasiloxane | 16.934 | 272.5221 | 8330.2884 | 0.22949 | 0.3161 | 84409-41-6 | C9H30O4Si5
129 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.0084 | 285.6994 | 8148.4764 | 0.24059 | 0.30921 |  | C34H59N
130 | Hyocholic acid methylester | 17.1228 | 444.6534 | 9290.7358 | 0.37445 | 0.35255 |  | C25H42O5
131 | 7-oxohyocholic acid methyl ester | 17.1743 | 190.9924 | 6673.7735 | 0.16084 | 0.25325 |  | C25H40O5
132 | Hyocholic acid methylester | 17.2545 | 227.7476 | 5110.7113 | 0.19179 | 0.19393 |  | C25H42O5
133 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 1468.1174 | 39517.0825 | 1.2363 | 1.4995 |  | C21H26O2Si
134 | Hyocholic acid methylester | 17.5291 | 161.2393 | 5312 | 0.13578 | 0.20157 |  | C25H42O5
135 | Hyocholic acid methylester | 17.6435 | 32.7496 | 1557.1382 | 0.027579 | 0.059088 |  | C25H42O5
136 | 7-oxohyocholic acid methyl ester | 17.7523 | 119.4743 | 2763.254 | 0.10061 | 0.10486 |  | C25H40O5
137 | Hyocholic acid methylester | 17.7923 | 115.2211 | 3725.7689 | 0.097028 | 0.14138 |  | C25H42O5
139 | Hyocholic acid methylester | 17.9525 | 756.0821 | 31841.8118 | 0.6367 | 1.2083 |  | C25H42O5
140 | Hyocholic acid methylester | 18.067 | 597.6835 | 21360.1777 | 0.50331 | 0.81054 |  | C25H42O5
141 | Hyocholic acid methylester | 18.2215 | 1016.6356 | 32765.3153 | 0.85612 | 1.2433 |  | C25H42O5
142 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3302 | 84.6723 | 3469.4641 | 0.071303 | 0.13165 | 19095-24-0 | C16H50O7Si8
143 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.4561 | 167.4836 | 5087.8049 | 0.14104 | 0.19306 | 19095-24-0 | C16H50O7Si8
144 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.5762 | 507.6593 | 9648.1589 | 0.4275 | 0.36611 | 19095-24-0 | C16H50O7Si8
145 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.6449 | 195.6983 | 5917.947 | 0.1648 | 0.22457 | 19095-24-0 | C16H50O7Si8
146 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.7078 | 108.0362 | 4153.5142 | 0.090978 | 0.15761 | 19095-24-0 | C16H50O7Si8
147 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8051 | 508.1355 | 10066.8954 | 0.4279 | 0.382 | 19095-24-0 | C16H50O7Si8
148 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9024 | 880.5189 | 25792.1512 | 0.74149 | 0.97872 | 995-82-4 | C12H38O5Si6
149 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.0683 | 734.4923 | 21214.1453 | 0.61852 | 0.805 | 19095-24-0 | C16H50O7Si8
150 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1541 | 10.0752 | 253.1624 | 0.0084844 | 0.0096066 | 995-82-4 | C12H38O5Si6
151 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2571 | 193.3678 | 5876.6438 | 0.16284 | 0.223 | 995-82-4 | C12H38O5Si6
152 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3888 | 363.0859 | 7081.0492 | 0.30576 | 0.2687 | 19095-24-0 | C16H50O7Si8
153 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4574 | 401.7955 | 8546.3875 | 0.33835 | 0.32431 | 19095-24-0 | C16H50O7Si8
155 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6577 | 107.4428 | 4303.5267 | 0.090478 | 0.1633 | 19095-24-0 | C16H50O7Si8
156 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7664 | 84.7931 | 3847.233 | 0.071405 | 0.14599 | 19095-24-0 | C16H50O7Si8
157 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.898 | 484.8289 | 8532.2942 | 0.40828 | 0.32377 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 115441.2788 | 2552791.7263 | 97.2139 | 0

## copy
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p9_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | TIC
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | p9_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 22:17 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC
1 | Isoprene | 3.1498 | 53.501 | 2495.2609 | 0.045054 | 0.094686 | 78-79-5 | C5H8
2 | Isoprene | 3.1956 | 13.7962 | 1507.7449 | 0.011618 | 0.057214 | 78-79-5 | C5H8
3 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.2471 | 11.2933 | 124.8569 | 0.0095102 | 0.0047379 | 375-43-9 | C4Cl6F4
4 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.3672 | 62.3632 | 1617.2039 | 0.052517 | 0.061367 | 375-43-9 | C4Cl6F4
5 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.5618 | 3.5521 | 313.634 | 0.0029912 | 0.011901 | 375-43-9 | C4Cl6F4
6 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.7449 | 243.3734 | 4120.4215 | 0.20495 | 0.15636 | 375-43-9 | C4Cl6F4
7 | N'-[(E)-but-2-enyl]acetohydrazide | 3.8822 | 34.9777 | 931.24 | 0.029455 | 0.035337 |  | C6H12N2O
8 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.9509 | 56.7514 | 959.8343 | 0.047791 | 0.036422 |  | C5H10O2S
10 | 4-Allyl-1,2,4-dithiazolidine-3,5-dione | 4.3342 | 0.3653 | 347.2389 | 0.00030762 | 0.013176 |  | C5H5NO2S2
11 | (1S,2S,5R)-8-Methyl-8-azabicyclo[3.2.1]octan-2-ol | 4.4201 | 21.1298 | 758.6801 | 0.017794 | 0.028789 |  | C8H15NO
15 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 4.7176 | 5.4201 | 256.2744 | 0.0045643 | 0.0097247 |  | C9H10I2O2
16 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 4.832 | 10.523 | 412.5481 | 0.0088615 | 0.015655 |  | C5H7Br2FO
17 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 4.9064 | 6.6439 | 288.1373 | 0.0055949 | 0.010934 |  | C9H10I2O2
18 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 4.9751 | 5.7397 | 433.2938 | 0.0048334 | 0.016442 |  | C5H7Br2FO
19 | 2-Chlorocyclohexyl-S-chlorothioformate | 5.1467 | 225.4296 | 3344.1621 | 0.18984 | 0.1269 | 105214-28-6 | C7H10Cl2OS
20 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.1925 | 235.541 | 4386.6484 | 0.19835 | 0.16646 | 66728-04-9 | C9H11ClO
21 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.2612 | 242.6269 | 4446.378 | 0.20432 | 0.16872 | 66728-04-9 | C9H11ClO
22 | cis-1-Phenyl-1,2-difluorobenzocycloheptane | 5.3184 | 261.0479 | 4137.4863 | 0.21983 | 0.157 |  | C17H16F2
23 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3756 | 158.9207 | 3148.5945 | 0.13383 | 0.11948 |  | C18H29DO5
24 | Propanoic acid | 5.5473 | 90.2715 | 1623.9951 | 0.076018 | 0.061625 | 79-09-4 | C3H6O2
25 | 2-(benzenesulfonyl)-4-bromo-3-pyrazolecarboxylic acid | 5.6961 | 15.1657 | 701.8531 | 0.012771 | 0.026633 | 130874-34-9 | C10H7BrN2O4S
26 | 2-(benzenesulfonyl)-4-bromo-3-pyrazolecarboxylic acid | 5.7991 | 1.8676 | 477.4578 | 0.0015727 | 0.018118 | 130874-34-9 | C10H7BrN2O4S
27 | Methyl 3-hydroxy-2-methyl-3-phenylpropionate | 5.8448 | 13.762 | 767.606 | 0.011589 | 0.029128 |  | C11H14O3
29 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 5.9249 | 1.6198 | 163.5946 | 0.0013641 | 0.0062078 |  | C9H10I2O2
34 | Hexadecane, 1-iodo- | 6.3083 | 12.5391 | 475.2629 | 0.010559 | 0.018035 | 544-77-4 | C16H33I
35 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 6.4342 | 6.1591 | 494.5451 | 0.0051866 | 0.018766 |  | C9H10I2O2
36 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 6.4571 | 9.8091 | 361.8824 | 0.0082603 | 0.013732 |  | C9H10I2O2
40 | 1,2,3,5-Cyclohexanetetrol | 6.8118 | 24.6937 | 944.355 | 0.020795 | 0.035835 |  | C6H12O4
41 | Benzyl (E)-1-hex-1-enyl sulfoxide | 6.892 | 205.7173 | 6296.3058 | 0.17324 | 0.23892 |  | C13H18OS
42 | 1-Azaspiro[2.4]hepta-1,4,6-triene | 7.0121 | 6.2755 | 409 | 0.0052846 | 0.01552 |  | C6H5N
43 | Propanoic acid, 2,2-dimethyl-, 3-hydroxy-2-(phenylmethoxy)propyl | 7.0808 | 3.8758 | 301.0296 | 0.0032638 | 0.011423 | 114935-07-8 | C15H22O4
46 | 2-(1-hydroxy-2-methylpropan-2-yl)-5,5-dimethyl-1,3-dioxan-4-ol | 7.3097 | 43.3421 | 1329 | 0.036499 | 0.050431 | 46329-82-2 | C10H20O4
47 | Cyclotrisiloxane, hexamethyl- | 7.5557 | 275.0713 | 5427.8661 | 0.23164 | 0.20597 | 541-05-9 | C6H18O3Si3
48 | Arsenous acid, tris(trimethylsilyl) ester | 7.6473 | 585.9268 | 4649.3951 | 0.49341 | 0.17643 | 55429-29-3 | C9H27AsO3Si3
49 | Cyclotrisiloxane, hexamethyl- | 7.8075 | 141.3438 | 2373.808 | 0.11903 | 0.090078 | 541-05-9 | C6H18O3Si3
51 | 1-(3-Methylphenyl)-1H-indole | 8.0077 | 35.4165 | 1085 | 0.029824 | 0.041172 |  | C15H13N
52 | (2R,3S,4R)-2,4,7-trimethyl-4-(phenylthio)octane-1,3-diol | 8.1222 | 77.8462 | 2401.8364 | 0.065555 | 0.091141 |  | C17H28O2S
53 | 2-Methylallyl N,N-Dimethylselenocarbamate | 8.1737 | 45.486 | 1816.9182 | 0.038304 | 0.068946 |  | C7H13NOSe
54 | (1Z,3Z)-1,4-Di(4-pyridyl)-1,3-butadiene | 8.2595 | 17.6917 | 721.7877 | 0.014898 | 0.027389 |  | C14H12N2
55 | 1-Benzyl-1H-indole | 8.3682 | 49.7629 | 1605.3117 | 0.041906 | 0.060916 |  | C15H13N
56 | 6,7-Diazabicyclo[3.2.2]nona-3,6-diene, 2-methylene- | 8.4655 | 60.1896 | 2081.6404 | 0.050686 | 0.078991 | 106362-91-8 | C8H10N2
57 | Phenylethyne | 8.5513 | 290.1364 | 8800.7414 | 0.24433 | 0.33396 | 536-74-3 | C8H6
58 | Tetrahydrorhombifoline | 8.6658 | 9.5771 | 333 | 0.008065 | 0.012636 |  | C15H24N2O
59 | 1-Anilino-3-(N,N-dimethylamino)cyclobutenediylium-2,4-diolate | 8.7917 | 106.3029 | 1863 | 0.089518 | 0.070694 |  | C12H12N2O2
61 | p-Benzoquinone | 9.072 | 88.8173 | 2933 | 0.074794 | 0.1113 | 106-51-4 | C6H4O2
62 | trans-3,6-Dimethoxy-1,2,3,4,5,6-hexamethylcyclohexa-1,4-diene | 9.2666 | 1.6545 | 264.232 | 0.0013933 | 0.010027 |  | C14H24O2
63 | 3-Methylenedihydro-2,5-furandione | 9.3181 | 112.3203 | 3999.0781 | 0.094586 | 0.15175 | 2170-03-8 | C5H4O3
64 | Propanoic acid, 2-(aminooxy)- | 9.5698 | 99.8517 | 2231 | 0.084086 | 0.084659 | 2786-22-3 | C3H7NO3
65 | Benzaldehyde | 9.7301 | 7899.9536 | 202080.6532 | 6.6526 | 7.6682 | 100-52-7 | C7H6O
66 | Cyclotetrasiloxane, octamethyl- | 9.8731 | 338.8564 | 11422.9585 | 0.28535 | 0.43346 | 556-67-2 | C8H24O4Si4
67 | 1,1,1,3,3,5,5,7,7-Nonamethyltetrasiloxane | 9.9589 | 5.2198 | 856.334 | 0.0043956 | 0.032495 |  | C9H28O3Si4
68 | Benzene, isocyano- | 10.0219 | 100.446 | 3790.8546 | 0.084586 | 0.14385 | 931-54-4 | C7H5N
70 | 1-Heptanol, 2-propyl- | 10.2164 | 8.7615 | 494.267 | 0.0073781 | 0.018756 | 10042-59-8 | C10H22O
71 | Benzofuran | 10.2565 | 4.945 | 699 | 0.0041642 | 0.026525 | 271-89-6 | C8H6O
72 | 4,4-Dimethylpentan-1-ol | 10.4338 | 56.8037 | 1489 | 0.047835 | 0.056502 |  | C7H16O
73 | 1,4-Cyclohexadiene, 1,6,6-trimethyl-3-methylene- | 10.5311 | 9.1208 | 1060.807 | 0.0076807 | 0.040254 | 94925-96-9 | C10H14
74 | 4H-Cyclopenta[b]furan, 5,6-dihydro- | 10.5941 | 75.1185 | 2254.8519 | 0.063258 | 0.085564 | 59953-84-3 | C7H8O
75 | Benzeneacetaldehyde | 10.7486 | 1934.6479 | 77533.3485 | 1.6292 | 2.9421 | 122-78-1 | C8H8O
77 | Acetophenone | 11.0518 | 12268.9091 | 495783.5 | 10.3317 | 18.8132 | 98-86-2 | C8H8O
78 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1148 | 499.3023 | 28644.7146 | 0.42047 | 1.087 | 1075-06-5 | C8H8O3
79 | Nonanal | 11.3379 | 317.671 | 9520.3683 | 0.26751 | 0.36126 | 124-19-6 | C9H18O
80 | 5-Benzoyl-2-(4-methylphenyl)-4-methylselenazole | 11.5783 | 69.8624 | 1477.5 | 0.058832 | 0.056066 |  | C18H15NOSe
81 | Cyclopentasiloxane, decamethyl- | 11.6984 | 450.6119 | 16244.5589 | 0.37946 | 0.61642 | 541-02-6 | C10H30O5Si5
82 | Benzoic acid | 12.0303 | 57511.9259 | 643730.2556 | 48.4312 | 24.4273 | 65-85-0 | C7H6O2
83 | Benzoic acid | 12.1791 | 606.081 | 12100.1419 | 0.51038 | 0.45916 | 65-85-0 | C7H6O2
84 | 2-Hydroxy-1-phenyl-3-(phenylsulfonyl)propan-1-one | 12.3507 | 52.8237 | 1659.5366 | 0.044483 | 0.062974 |  | C15H14O4S
85 | Decanal | 12.448 | 142.5365 | 5899.1673 | 0.12003 | 0.22385 | 112-31-2 | C10H20O
86 | Methyl salicylate | 12.5338 | 84.8278 | 3991.98 | 0.071434 | 0.15148 | 119-36-8 | C8H8O3
87 | 4H-1,3-benzothiazin-2-yl(phenyl)methanone | 12.5853 | 4.3764 | 647.7932 | 0.0036854 | 0.024581 |  | C15H11NOS
88 | 3(2H)-Benzofuranone | 12.7112 | 150.826 | 4955.6667 | 0.12701 | 0.18805 | 7169-34-8 | C8H6O2
89 | Benzeneacetic acid | 12.7913 | 229.5867 | 8408.1507 | 0.19334 | 0.31906 | 103-82-2 | C8H8O2
90 | 1-Benzofuran-2(3H)-one | 12.9458 | 406.5822 | 12038.8571 | 0.34239 | 0.45683 | 553-86-6 | C8H6O2
91 | Benz[b]1,4-oxazin-3(2H)-one, 4-benzoyl- | 13.0316 | 171.2387 | 6526.143 | 0.1442 | 0.24764 | 337470-63-0 | C15H11NO3
92 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.0889 | 1.9923 | 0 | 0.0016777 | 0 | 65128-29-2 | C11H15Br
94 | (E)-3-iodanyl-2-nitro-3-phenyl-prop-2-en-1-ol | 13.3063 | 111.8029 | 2876.6048 | 0.09415 | 0.10916 |  | C9H8INO3
95 | 1,7-Dioxaspiro[5.5]undecane-4,5-diol, 2-ethyl-3-methyl-10-(pheny | 13.3578 | 72.3818 | 2070.8372 | 0.060953 | 0.078581 | 116315-51-6 | C29H38O7
96 | Cyclohexasiloxane, dodecamethyl- | 13.4894 | 102.6821 | 3444.7466 | 0.086469 | 0.13072 | 540-97-6 | C12H36O6Si6
97 | 2-Phenyltetrahydrofuran | 13.5981 | 658.6185 | 17741.7248 | 0.55463 | 0.67324 |  | C10H12O
98 | 1,2-Benzenedicarboxylic acid | 13.8041 | 1562.3757 | 55514.8761 | 1.3157 | 2.1066 | 88-99-3 | C8H6O4
99 | 5-Acetoxy-1,5-diphenyl-pentan-1-one | 13.9529 | 63.934 | 1637.4265 | 0.053839 | 0.062135 |  | C19H20O3
101 | 1(3H)-Isobenzofuranone | 14.1703 | 425.7184 | 9886.6659 | 0.3585 | 0.37516 | 87-41-2 | C8H6O2
104 | Benzoyl bromide | 14.5022 | 1205.5135 | 43612.7792 | 1.0152 | 1.655 | 618-32-6 | C7H5BrO
107 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.7883 | 184.8736 | 7118.151 | 0.15568 | 0.27011 |  | C15H38O2Si3
109 | (R)-3-(4,7-dihydro-1H-indol-2-yl)-3-(4-nitrophenyl)propanal | 15.0114 | 0.98574 | 492.5117 | 0.0008301 | 0.018689 |  | C17H16N2O3
111 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.206 | 0.81748 | 81.6667 | 0.00068841 | 0.003099 |  | C21H18BF2N5O
112 | 3-Iodo-2-(4-methoxyphenyl)-4H-thieno[3,2-b]indole | 15.3033 | 5.3331 | 848.1126 | 0.004491 | 0.032183 |  | C17H12INOS
113 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.349 | 28.0409 | 1071.212 | 0.023613 | 0.040649 |  | C34H59N
114 | 7-oxohyocholic acid methyl ester | 15.3948 | 15.0127 | 998.0268 | 0.012642 | 0.037872 |  | C25H40O5
115 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.4806 | 85.3135 | 3263.3009 | 0.071843 | 0.12383 |  | C34H59N
116 | 2-Ethoxybenzoic acid ethyl ester | 15.5608 | 378.06 | 6706.8435 | 0.31837 | 0.2545 | 75333-22-1 | C11H14O3
118 | Phenylmaleic anhydride | 15.7725 | 9570.4684 | 380298.4286 | 8.0594 | 14.431 | 36122-35-7 | C10H6O3
121 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.1844 | 110.1424 | 4207.7713 | 0.092752 | 0.15967 | 19095-23-9 | C14H44O6Si7
122 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.2817 | 565.3449 | 15499.4575 | 0.47608 | 0.58815 | 51306-96-8 | C11H8O2
123 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3618 | 51.2863 | 1597.1236 | 0.043189 | 0.060605 |  | C34H59N
125 | Benzophenone | 16.6594 | 1687.6267 | 30898.8186 | 1.4212 | 1.1725 | 119-61-9 | C13H10O
126 | 7-oxohyocholic acid methyl ester | 16.7452 | 53.4998 | 2508.4682 | 0.045053 | 0.095187 |  | C25H40O5
127 | Heptasiloxane, hexadecamethyl- | 16.8425 | 492.0258 | 15955.7116 | 0.41434 | 0.60546 | 541-01-5 | C16H48O6Si7
128 | 1,1,1,3,5,7,9,9,9-Nonamethylpentasiloxane | 16.934 | 272.5221 | 8330.2884 | 0.22949 | 0.3161 | 84409-41-6 | C9H30O4Si5
129 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.0084 | 285.6994 | 8148.4764 | 0.24059 | 0.30921 |  | C34H59N
130 | Hyocholic acid methylester | 17.1228 | 444.6534 | 9290.7358 | 0.37445 | 0.35255 |  | C25H42O5
131 | 7-oxohyocholic acid methyl ester | 17.1743 | 190.9924 | 6673.7735 | 0.16084 | 0.25325 |  | C25H40O5
132 | Hyocholic acid methylester | 17.2545 | 227.7476 | 5110.7113 | 0.19179 | 0.19393 |  | C25H42O5
133 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 1468.1174 | 39517.0825 | 1.2363 | 1.4995 |  | C21H26O2Si
134 | Hyocholic acid methylester | 17.5291 | 161.2393 | 5312 | 0.13578 | 0.20157 |  | C25H42O5
135 | Hyocholic acid methylester | 17.6435 | 32.7496 | 1557.1382 | 0.027579 | 0.059088 |  | C25H42O5
136 | 7-oxohyocholic acid methyl ester | 17.7523 | 119.4743 | 2763.254 | 0.10061 | 0.10486 |  | C25H40O5
137 | Hyocholic acid methylester | 17.7923 | 115.2211 | 3725.7689 | 0.097028 | 0.14138 |  | C25H42O5
139 | Hyocholic acid methylester | 17.9525 | 756.0821 | 31841.8118 | 0.6367 | 1.2083 |  | C25H42O5
140 | Hyocholic acid methylester | 18.067 | 597.6835 | 21360.1777 | 0.50331 | 0.81054 |  | C25H42O5
141 | Hyocholic acid methylester | 18.2215 | 1016.6356 | 32765.3153 | 0.85612 | 1.2433 |  | C25H42O5
142 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3302 | 84.6723 | 3469.4641 | 0.071303 | 0.13165 | 19095-24-0 | C16H50O7Si8
143 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.4561 | 167.4836 | 5087.8049 | 0.14104 | 0.19306 | 19095-24-0 | C16H50O7Si8
144 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.5762 | 507.6593 | 9648.1589 | 0.4275 | 0.36611 | 19095-24-0 | C16H50O7Si8
145 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.6449 | 195.6983 | 5917.947 | 0.1648 | 0.22457 | 19095-24-0 | C16H50O7Si8
146 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.7078 | 108.0362 | 4153.5142 | 0.090978 | 0.15761 | 19095-24-0 | C16H50O7Si8
147 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8051 | 508.1355 | 10066.8954 | 0.4279 | 0.382 | 19095-24-0 | C16H50O7Si8
148 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9024 | 880.5189 | 25792.1512 | 0.74149 | 0.97872 | 995-82-4 | C12H38O5Si6
149 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.0683 | 734.4923 | 21214.1453 | 0.61852 | 0.805 | 19095-24-0 | C16H50O7Si8
150 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1541 | 10.0752 | 253.1624 | 0.0084844 | 0.0096066 | 995-82-4 | C12H38O5Si6
151 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2571 | 193.3678 | 5876.6438 | 0.16284 | 0.223 | 995-82-4 | C12H38O5Si6
152 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3888 | 363.0859 | 7081.0492 | 0.30576 | 0.2687 | 19095-24-0 | C16H50O7Si8
153 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4574 | 401.7955 | 8546.3875 | 0.33835 | 0.32431 | 19095-24-0 | C16H50O7Si8
155 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6577 | 107.4428 | 4303.5267 | 0.090478 | 0.1633 | 19095-24-0 | C16H50O7Si8
156 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7664 | 84.7931 | 3847.233 | 0.071405 | 0.14599 | 19095-24-0 | C16H50O7Si8
157 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.898 | 484.8289 | 8532.2942 | 0.40828 | 0.32377 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 115441.2788 | 2552791.7263 | 97.2139 | 0

## Sheet2
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
1 | Isoprene | 3.1498 | 53.501 | 2495.2609 | 0.045054 | 0.094686 | 78-79-5 | C5H8
2 | Isoprene | 3.1956 | 13.7962 | 1507.7449 | 0.011618 | 0.057214 | 78-79-5 | C5H8
3 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.2471 | 11.2933 | 124.8569 | 0.0095102 | 0.0047379 | 375-43-9 | C4Cl6F4
4 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.3672 | 62.3632 | 1617.2039 | 0.052517 | 0.061367 | 375-43-9 | C4Cl6F4
5 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.5618 | 3.5521 | 313.634 | 0.0029912 | 0.011901 | 375-43-9 | C4Cl6F4
6 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.7449 | 243.3734 | 4120.4215 | 0.20495 | 0.15636 | 375-43-9 | C4Cl6F4
7 | N'-[(E)-but-2-enyl]acetohydrazide | 3.8822 | 34.9777 | 931.24 | 0.029455 | 0.035337 |  | C6H12N2O
8 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.9509 | 56.7514 | 959.8343 | 0.047791 | 0.036422 |  | C5H10O2S
10 | 4-Allyl-1,2,4-dithiazolidine-3,5-dione | 4.3342 | 0.3653 | 347.2389 | 0.00030762 | 0.013176 |  | C5H5NO2S2
11 | (1S,2S,5R)-8-Methyl-8-azabicyclo[3.2.1]octan-2-ol | 4.4201 | 21.1298 | 758.6801 | 0.017794 | 0.028789 |  | C8H15NO
15 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 4.7176 | 5.4201 | 256.2744 | 0.0045643 | 0.0097247 |  | C9H10I2O2
16 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 4.832 | 10.523 | 412.5481 | 0.0088615 | 0.015655 |  | C5H7Br2FO
17 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 4.9064 | 6.6439 | 288.1373 | 0.0055949 | 0.010934 |  | C9H10I2O2
18 | (E,Z)-2-Bromo-2-bromomethyl-1-fluoro-1-hydroxymethylcyclopropane | 4.9751 | 5.7397 | 433.2938 | 0.0048334 | 0.016442 |  | C5H7Br2FO
19 | 2-Chlorocyclohexyl-S-chlorothioformate | 5.1467 | 225.4296 | 3344.1621 | 0.18984 | 0.1269 | 105214-28-6 | C7H10Cl2OS
20 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.1925 | 235.541 | 4386.6484 | 0.19835 | 0.16646 | 66728-04-9 | C9H11ClO
21 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.2612 | 242.6269 | 4446.378 | 0.20432 | 0.16872 | 66728-04-9 | C9H11ClO
22 | cis-1-Phenyl-1,2-difluorobenzocycloheptane | 5.3184 | 261.0479 | 4137.4863 | 0.21983 | 0.157 |  | C17H16F2
23 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3756 | 158.9207 | 3148.5945 | 0.13383 | 0.11948 |  | C18H29DO5
24 | Propanoic acid | 5.5473 | 90.2715 | 1623.9951 | 0.076018 | 0.061625 | 79-09-4 | C3H6O2
25 | 2-(benzenesulfonyl)-4-bromo-3-pyrazolecarboxylic acid | 5.6961 | 15.1657 | 701.8531 | 0.012771 | 0.026633 | 130874-34-9 | C10H7BrN2O4S
26 | 2-(benzenesulfonyl)-4-bromo-3-pyrazolecarboxylic acid | 5.7991 | 1.8676 | 477.4578 | 0.0015727 | 0.018118 | 130874-34-9 | C10H7BrN2O4S
27 | Methyl 3-hydroxy-2-methyl-3-phenylpropionate | 5.8448 | 13.762 | 767.606 | 0.011589 | 0.029128 |  | C11H14O3
29 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 5.9249 | 1.6198 | 163.5946 | 0.0013641 | 0.0062078 |  | C9H10I2O2
34 | Hexadecane, 1-iodo- | 6.3083 | 12.5391 | 475.2629 | 0.010559 | 0.018035 | 544-77-4 | C16H33I
35 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 6.4342 | 6.1591 | 494.5451 | 0.0051866 | 0.018766 |  | C9H10I2O2
36 | (2aS*,4aS*,6S*,6aS*,6bS*)-4,6-Diiodo-octahydro-1-oxacyclopenta[c | 6.4571 | 9.8091 | 361.8824 | 0.0082603 | 0.013732 |  | C9H10I2O2
40 | 1,2,3,5-Cyclohexanetetrol | 6.8118 | 24.6937 | 944.355 | 0.020795 | 0.035835 |  | C6H12O4
41 | Benzyl (E)-1-hex-1-enyl sulfoxide | 6.892 | 205.7173 | 6296.3058 | 0.17324 | 0.23892 |  | C13H18OS
42 | 1-Azaspiro[2.4]hepta-1,4,6-triene | 7.0121 | 6.2755 | 409 | 0.0052846 | 0.01552 |  | C6H5N
43 | Propanoic acid, 2,2-dimethyl-, 3-hydroxy-2-(phenylmethoxy)propyl | 7.0808 | 3.8758 | 301.0296 | 0.0032638 | 0.011423 | 114935-07-8 | C15H22O4
46 | 2-(1-hydroxy-2-methylpropan-2-yl)-5,5-dimethyl-1,3-dioxan-4-ol | 7.3097 | 43.3421 | 1329 | 0.036499 | 0.050431 | 46329-82-2 | C10H20O4
47 | Cyclotrisiloxane, hexamethyl- | 7.5557 | 275.0713 | 5427.8661 | 0.23164 | 0.20597 | 541-05-9 | C6H18O3Si3
48 | Arsenous acid, tris(trimethylsilyl) ester | 7.6473 | 585.9268 | 4649.3951 | 0.49341 | 0.17643 | 55429-29-3 | C9H27AsO3Si3
49 | Cyclotrisiloxane, hexamethyl- | 7.8075 | 141.3438 | 2373.808 | 0.11903 | 0.090078 | 541-05-9 | C6H18O3Si3
51 | 1-(3-Methylphenyl)-1H-indole | 8.0077 | 35.4165 | 1085 | 0.029824 | 0.041172 |  | C15H13N
52 | (2R,3S,4R)-2,4,7-trimethyl-4-(phenylthio)octane-1,3-diol | 8.1222 | 77.8462 | 2401.8364 | 0.065555 | 0.091141 |  | C17H28O2S
53 | 2-Methylallyl N,N-Dimethylselenocarbamate | 8.1737 | 45.486 | 1816.9182 | 0.038304 | 0.068946 |  | C7H13NOSe
54 | (1Z,3Z)-1,4-Di(4-pyridyl)-1,3-butadiene | 8.2595 | 17.6917 | 721.7877 | 0.014898 | 0.027389 |  | C14H12N2
55 | 1-Benzyl-1H-indole | 8.3682 | 49.7629 | 1605.3117 | 0.041906 | 0.060916 |  | C15H13N
56 | 6,7-Diazabicyclo[3.2.2]nona-3,6-diene, 2-methylene- | 8.4655 | 60.1896 | 2081.6404 | 0.050686 | 0.078991 | 106362-91-8 | C8H10N2
57 | Phenylethyne | 8.5513 | 290.1364 | 8800.7414 | 0.24433 | 0.33396 | 536-74-3 | C8H6
58 | Tetrahydrorhombifoline | 8.6658 | 9.5771 | 333 | 0.008065 | 0.012636 |  | C15H24N2O
59 | 1-Anilino-3-(N,N-dimethylamino)cyclobutenediylium-2,4-diolate | 8.7917 | 106.3029 | 1863 | 0.089518 | 0.070694 |  | C12H12N2O2
61 | p-Benzoquinone | 9.072 | 88.8173 | 2933 | 0.074794 | 0.1113 | 106-51-4 | C6H4O2
62 | trans-3,6-Dimethoxy-1,2,3,4,5,6-hexamethylcyclohexa-1,4-diene | 9.2666 | 1.6545 | 264.232 | 0.0013933 | 0.010027 |  | C14H24O2
63 | 3-Methylenedihydro-2,5-furandione | 9.3181 | 112.3203 | 3999.0781 | 0.094586 | 0.15175 | 2170-03-8 | C5H4O3
64 | Propanoic acid, 2-(aminooxy)- | 9.5698 | 99.8517 | 2231 | 0.084086 | 0.084659 | 2786-22-3 | C3H7NO3
65 | Benzaldehyde | 9.7301 | 7899.9536 | 202080.6532 | 6.6526 | 7.6682 | 100-52-7 | C7H6O
66 | Cyclotetrasiloxane, octamethyl- | 9.8731 | 338.8564 | 11422.9585 | 0.28535 | 0.43346 | 556-67-2 | C8H24O4Si4
67 | 1,1,1,3,3,5,5,7,7-Nonamethyltetrasiloxane | 9.9589 | 5.2198 | 856.334 | 0.0043956 | 0.032495 |  | C9H28O3Si4
68 | Benzene, isocyano- | 10.0219 | 100.446 | 3790.8546 | 0.084586 | 0.14385 | 931-54-4 | C7H5N
70 | 1-Heptanol, 2-propyl- | 10.2164 | 8.7615 | 494.267 | 0.0073781 | 0.018756 | 10042-59-8 | C10H22O
71 | Benzofuran | 10.2565 | 4.945 | 699 | 0.0041642 | 0.026525 | 271-89-6 | C8H6O
72 | 4,4-Dimethylpentan-1-ol | 10.4338 | 56.8037 | 1489 | 0.047835 | 0.056502 |  | C7H16O
73 | 1,4-Cyclohexadiene, 1,6,6-trimethyl-3-methylene- | 10.5311 | 9.1208 | 1060.807 | 0.0076807 | 0.040254 | 94925-96-9 | C10H14
74 | 4H-Cyclopenta[b]furan, 5,6-dihydro- | 10.5941 | 75.1185 | 2254.8519 | 0.063258 | 0.085564 | 59953-84-3 | C7H8O
75 | Benzeneacetaldehyde | 10.7486 | 1934.6479 | 77533.3485 | 1.6292 | 2.9421 | 122-78-1 | C8H8O
77 | Acetophenone | 11.0518 | 12268.9091 | 495783.5 | 10.3317 | 18.8132 | 98-86-2 | C8H8O
78 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1148 | 499.3023 | 28644.7146 | 0.42047 | 1.087 | 1075-06-5 | C8H8O3
79 | Nonanal | 11.3379 | 317.671 | 9520.3683 | 0.26751 | 0.36126 | 124-19-6 | C9H18O
80 | 5-Benzoyl-2-(4-methylphenyl)-4-methylselenazole | 11.5783 | 69.8624 | 1477.5 | 0.058832 | 0.056066 |  | C18H15NOSe
81 | Cyclopentasiloxane, decamethyl- | 11.6984 | 450.6119 | 16244.5589 | 0.37946 | 0.61642 | 541-02-6 | C10H30O5Si5
82 | Benzoic acid | 12.0303 | 57511.9259 | 643730.2556 | 48.4312 | 24.4273 | 65-85-0 | C7H6O2
83 | Benzoic acid | 12.1791 | 606.081 | 12100.1419 | 0.51038 | 0.45916 | 65-85-0 | C7H6O2
84 | 2-Hydroxy-1-phenyl-3-(phenylsulfonyl)propan-1-one | 12.3507 | 52.8237 | 1659.5366 | 0.044483 | 0.062974 |  | C15H14O4S
85 | Decanal | 12.448 | 142.5365 | 5899.1673 | 0.12003 | 0.22385 | 112-31-2 | C10H20O
86 | Methyl salicylate | 12.5338 | 84.8278 | 3991.98 | 0.071434 | 0.15148 | 119-36-8 | C8H8O3
87 | 4H-1,3-benzothiazin-2-yl(phenyl)methanone | 12.5853 | 4.3764 | 647.7932 | 0.0036854 | 0.024581 |  | C15H11NOS
88 | 3(2H)-Benzofuranone | 12.7112 | 150.826 | 4955.6667 | 0.12701 | 0.18805 | 7169-34-8 | C8H6O2
89 | Benzeneacetic acid | 12.7913 | 229.5867 | 8408.1507 | 0.19334 | 0.31906 | 103-82-2 | C8H8O2
90 | 1-Benzofuran-2(3H)-one | 12.9458 | 406.5822 | 12038.8571 | 0.34239 | 0.45683 | 553-86-6 | C8H6O2
91 | Benz[b]1,4-oxazin-3(2H)-one, 4-benzoyl- | 13.0316 | 171.2387 | 6526.143 | 0.1442 | 0.24764 | 337470-63-0 | C15H11NO3
92 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.0889 | 1.9923 | 0 | 0.0016777 | 0 | 65128-29-2 | C11H15Br
94 | (E)-3-iodanyl-2-nitro-3-phenyl-prop-2-en-1-ol | 13.3063 | 111.8029 | 2876.6048 | 0.09415 | 0.10916 |  | C9H8INO3
95 | 1,7-Dioxaspiro[5.5]undecane-4,5-diol, 2-ethyl-3-methyl-10-(pheny | 13.3578 | 72.3818 | 2070.8372 | 0.060953 | 0.078581 | 116315-51-6 | C29H38O7
96 | Cyclohexasiloxane, dodecamethyl- | 13.4894 | 102.6821 | 3444.7466 | 0.086469 | 0.13072 | 540-97-6 | C12H36O6Si6
97 | 2-Phenyltetrahydrofuran | 13.5981 | 658.6185 | 17741.7248 | 0.55463 | 0.67324 |  | C10H12O
98 | 1,2-Benzenedicarboxylic acid | 13.8041 | 1562.3757 | 55514.8761 | 1.3157 | 2.1066 | 88-99-3 | C8H6O4
99 | 5-Acetoxy-1,5-diphenyl-pentan-1-one | 13.9529 | 63.934 | 1637.4265 | 0.053839 | 0.062135 |  | C19H20O3
101 | 1(3H)-Isobenzofuranone | 14.1703 | 425.7184 | 9886.6659 | 0.3585 | 0.37516 | 87-41-2 | C8H6O2
104 | Benzoyl bromide | 14.5022 | 1205.5135 | 43612.7792 | 1.0152 | 1.655 | 618-32-6 | C7H5BrO
107 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.7883 | 184.8736 | 7118.151 | 0.15568 | 0.27011 |  | C15H38O2Si3
109 | (R)-3-(4,7-dihydro-1H-indol-2-yl)-3-(4-nitrophenyl)propanal | 15.0114 | 0.98574 | 492.5117 | 0.0008301 | 0.018689 |  | C17H16N2O3
111 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.206 | 0.81748 | 81.6667 | 0.00068841 | 0.003099 |  | C21H18BF2N5O
112 | 3-Iodo-2-(4-methoxyphenyl)-4H-thieno[3,2-b]indole | 15.3033 | 5.3331 | 848.1126 | 0.004491 | 0.032183 |  | C17H12INOS
113 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.349 | 28.0409 | 1071.212 | 0.023613 | 0.040649 |  | C34H59N
114 | 7-oxohyocholic acid methyl ester | 15.3948 | 15.0127 | 998.0268 | 0.012642 | 0.037872 |  | C25H40O5
115 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.4806 | 85.3135 | 3263.3009 | 0.071843 | 0.12383 |  | C34H59N
116 | 2-Ethoxybenzoic acid ethyl ester | 15.5608 | 378.06 | 6706.8435 | 0.31837 | 0.2545 | 75333-22-1 | C11H14O3
118 | Phenylmaleic anhydride | 15.7725 | 9570.4684 | 380298.4286 | 8.0594 | 14.431 | 36122-35-7 | C10H6O3
121 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.1844 | 110.1424 | 4207.7713 | 0.092752 | 0.15967 | 19095-23-9 | C14H44O6Si7
122 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.2817 | 565.3449 | 15499.4575 | 0.47608 | 0.58815 | 51306-96-8 | C11H8O2
123 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3618 | 51.2863 | 1597.1236 | 0.043189 | 0.060605 |  | C34H59N
125 | Benzophenone | 16.6594 | 1687.6267 | 30898.8186 | 1.4212 | 1.1725 | 119-61-9 | C13H10O
126 | 7-oxohyocholic acid methyl ester | 16.7452 | 53.4998 | 2508.4682 | 0.045053 | 0.095187 |  | C25H40O5
127 | Heptasiloxane, hexadecamethyl- | 16.8425 | 492.0258 | 15955.7116 | 0.41434 | 0.60546 | 541-01-5 | C16H48O6Si7
128 | 1,1,1,3,5,7,9,9,9-Nonamethylpentasiloxane | 16.934 | 272.5221 | 8330.2884 | 0.22949 | 0.3161 | 84409-41-6 | C9H30O4Si5
129 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.0084 | 285.6994 | 8148.4764 | 0.24059 | 0.30921 |  | C34H59N
130 | Hyocholic acid methylester | 17.1228 | 444.6534 | 9290.7358 | 0.37445 | 0.35255 |  | C25H42O5
131 | 7-oxohyocholic acid methyl ester | 17.1743 | 190.9924 | 6673.7735 | 0.16084 | 0.25325 |  | C25H40O5
132 | Hyocholic acid methylester | 17.2545 | 227.7476 | 5110.7113 | 0.19179 | 0.19393 |  | C25H42O5
133 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 1468.1174 | 39517.0825 | 1.2363 | 1.4995 |  | C21H26O2Si
134 | Hyocholic acid methylester | 17.5291 | 161.2393 | 5312 | 0.13578 | 0.20157 |  | C25H42O5
135 | Hyocholic acid methylester | 17.6435 | 32.7496 | 1557.1382 | 0.027579 | 0.059088 |  | C25H42O5
136 | 7-oxohyocholic acid methyl ester | 17.7523 | 119.4743 | 2763.254 | 0.10061 | 0.10486 |  | C25H40O5
137 | Hyocholic acid methylester | 17.7923 | 115.2211 | 3725.7689 | 0.097028 | 0.14138 |  | C25H42O5
139 | Hyocholic acid methylester | 17.9525 | 756.0821 | 31841.8118 | 0.6367 | 1.2083 |  | C25H42O5
140 | Hyocholic acid methylester | 18.067 | 597.6835 | 21360.1777 | 0.50331 | 0.81054 |  | C25H42O5
141 | Hyocholic acid methylester | 18.2215 | 1016.6356 | 32765.3153 | 0.85612 | 1.2433 |  | C25H42O5
142 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3302 | 84.6723 | 3469.4641 | 0.071303 | 0.13165 | 19095-24-0 | C16H50O7Si8
143 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.4561 | 167.4836 | 5087.8049 | 0.14104 | 0.19306 | 19095-24-0 | C16H50O7Si8
144 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.5762 | 507.6593 | 9648.1589 | 0.4275 | 0.36611 | 19095-24-0 | C16H50O7Si8
145 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.6449 | 195.6983 | 5917.947 | 0.1648 | 0.22457 | 19095-24-0 | C16H50O7Si8
146 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.7078 | 108.0362 | 4153.5142 | 0.090978 | 0.15761 | 19095-24-0 | C16H50O7Si8
147 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8051 | 508.1355 | 10066.8954 | 0.4279 | 0.382 | 19095-24-0 | C16H50O7Si8
148 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9024 | 880.5189 | 25792.1512 | 0.74149 | 0.97872 | 995-82-4 | C12H38O5Si6
149 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.0683 | 734.4923 | 21214.1453 | 0.61852 | 0.805 | 19095-24-0 | C16H50O7Si8
150 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1541 | 10.0752 | 253.1624 | 0.0084844 | 0.0096066 | 995-82-4 | C12H38O5Si6
151 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2571 | 193.3678 | 5876.6438 | 0.16284 | 0.223 | 995-82-4 | C12H38O5Si6
152 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3888 | 363.0859 | 7081.0492 | 0.30576 | 0.2687 | 19095-24-0 | C16H50O7Si8
153 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4574 | 401.7955 | 8546.3875 | 0.33835 | 0.32431 | 19095-24-0 | C16H50O7Si8
155 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6577 | 107.4428 | 4303.5267 | 0.090478 | 0.1633 | 19095-24-0 | C16H50O7Si8
156 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7664 | 84.7931 | 3847.233 | 0.071405 | 0.14599 | 19095-24-0 | C16H50O7Si8
157 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.898 | 484.8289 | 8532.2942 | 0.40828 | 0.32377 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 115441.2788 | 2552791.7263 | 97.2139 | 0

## Calibration (hidden)
Calibration
Calibration Details |  | Acetanilide
Calibration Type |  | Lin, WithOffset |  |  | Offset (C0) |  | 0.0050568
Evaluation Type |  | Area |  |  | Slope (C1) |  | 0.034307
Number of Calibration Points |  | 6 |  |  | Curve (C2) |  | 0
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | 0.99999
Calibration Plot |  | Acetanilide
Calibration Results |  | Acetanilide
No. | Injection Name | Level | X Value | Y Value | Residual | Area | Height
|  |  | ng | mAU*min | % | mAU*min | mAU
|  |  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  |  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 01 | 20 | 0.69372 | 0.012576 | 0.69372 | 39.0107
2 | Alkylphenones 2 | 01 | 40 | 1.3699 | -0.018646 | 1.3699 | 73.7149
3 | Alkylphenones 3 | 01 | 80 | 2.7486 | -0.001345 | 2.7486 | 137.542
4 | Alkylphenones 4 | 01 | 120 | 4.1266 | 0.0039116 | 4.1266 | 194.9695
5 | Alkylphenones 5 | 01 | 160 | 5.5066 | 0.007722 | 5.5066 | 244.8088
6 | Alkylphenones 6 | 01 | 200 | 6.8555 | -0.0055149 | 6.8555 | 291.0862

## Peak Analysis (hidden)
Peak Analysis
Injection Details
Injection Name: |  | Alkylphenones 1 |  |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peakname | Ret.Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
1 | Acetanilide | 0.17017 | 0.016292 | M | 2.7203 | 1.4766 | 604
2 | Acetophenone | 0.24583 | 0.01653 | MB | 4.0275 | 1.4327 | 1225
3 | Propiophenone | 0.36283 | 0.017749 | M | n.a. | 1.3522 | 2315

## SST (hidden)
Chromatogram and SST Results
Injection Details
Injection Name: |  | Alkylphenones 1 |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Name
1 | System Suitability Test Case 1 | All Injections | Number: 2 | Not Executed | Alkylphenones 1
2 | System Suitability Test Case 2 | injection.name starts with "Alkylphenones" | Acetanilide | Not Executed | Alkylphenones 1
3 | System Suitability Test Case 3 | (injection.number>=1 AND injection.number<=7) | Highest: peak.area | Not Executed | Alkylphenones 1
4 | System Suitability Test Case 4 | All Injections | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
5 | System Suitability Test Case 5 | injection.position = RC9 |  | Not Executed | Alkylphenones 1
6 | System Suitability Test Case 6 | Injection Type: Unknown | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
| Number of executed test cases: | 0 | Total Result: | Not Executed

## Summary (hidden)
Summary
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
By Component |  | Acetanilide
No | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | mAU*min | mAU | ng | %
|  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 0.17017 | 0.69372 | 39.0107 | 20.0733 | 32.5524 | M
2 | Alkylphenones 2 | 0.17167 | 1.3699 | 73.7149 | 39.7826 | 32.508 | M
3 | Alkylphenones 3 | 0.174 | 2.7486 | 137.542 | 79.9686 | 32.3539 | M
4 | Alkylphenones 4 | 0.17583 | 4.1266 | 194.9695 | 120.1368 | 32.4486 | BM
5 | Alkylphenones 5 | 0.17817 | 5.5066 | 244.8088 | 160.3601 | 32.4887 | M
6 | Alkylphenones 6 | 0.17983 | 6.8555 | 291.0862 | 199.6785 | 32.5299 | BM
7 | Alkylphenones 7 | 0.1715 | 5.223 | 278.0937 | 152.0952 | 33.2915 | M

## Injection Audit Trail (hidden)
Injection Audit Trail
Injection Details
Injection Name: |  | Alkylphenones 1 | Run Time (min): | 0.45
Vial Number: |  | RA1 | Injection Volume: | 2
Injection Type: |  | Calibration Standard | Channel: | UV_VIS_1
Calibration Level: |  | 01 | Wavelength: | 244
Instrument Method: |  | CM_OQ | Bandwidth: | 4
Processing Method: |  | CM_OQ | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
(UTC+02:00) | min
13:14:22 |  | Audit trail of injection "chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/515.smp". Executed 7/12/2022 on instrument CM_OQ (instrument controller DEGER-6FWTXT2).
13:14:22 |  | Start of injection 1 "Alkylphenones 1", using instrument method "CM_OQ".
13:14:22 | 0.000 | Entered stage "Instrument Setup"
13:14:22 | 0.000 | UV.3DFIELD.MinWavelength = 190.0 nm
13:14:22 | 0.000 | UV.3DFIELD.MaxWavelength = 350.0 nm
13:14:22 | 0.000 | UV.3DFIELD.BunchWidth = 1 nm
13:14:22 | 0.000 | UV.ResponseTime = 0.030 s
13:14:22 | 0.000 | UV.Data_Collection_Rate = 100 Hz
13:14:22 | 0.000 | ColumnOven.Temperature.Nominal = 20.0 °C
13:14:22 | 0.000 | PumpModule.Pump.%A.Equate = "Water"
13:14:22 | 0.000 | PumpModule.Pump.%B.Equate = "Acetonitrile"
13:14:22 | 0.000 | PumpModule.Pump.%C.Equate = "%C"
13:14:22 | 0.000 | PumpModule.Pump.%D.Equate = "%D"
13:14:22 | 0.000 | PumpModule.Pump.Pressure.LowerLimit = 0 bar
13:14:22 | 0.000 | PumpModule.Pump.Pressure.UpperLimit = 800 bar
13:14:22 | 0.000 | UV.UV_VIS_1.Wavelength = 244.0 nm
13:14:22 | 0.000 | UV.UV_VIS_1.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_1.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_1.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.3DFIELD.RefWavelength = Off
13:14:22 | 0.000 | UV.3DFIELD.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Wavelength = 256.0 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_2.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_2.RefBandwidth = 1 nm
13:14:22 | 0.000 | Entered stage "Inject Preparation"
13:14:22 | 0.000 | UV.Autozero
13:14:22 | 0.000 | Wait ColumnOven.Ready And Sampler.Ready And UV.Ready
13:14:27 | 0.000 | Wait finished
13:14:27 | 0.000 | Entered stage "Inject"
13:14:27 | 0.000 | Sampler.Inject
13:14:27 | 0.000 | Injecting from vial position RA1.
13:14:27 | 0.000 | Injection Volume is 2.000 µl.
13:14:27 | 0.000 | Waiting for inject response on UM3WPSInjectState1.
13:14:29 | 0.000 | Got inject response.
13:14:29 | 0.000 | Entered stage "Start Run"
13:14:29 | 0.000 | UV.UV_VIS_1.AcqOn
13:14:29 | 0.000 | UV.UV_VIS_2.AcqOn
13:14:29 | 0.000 | UV.3DFIELD.AcqOn
13:14:29 | 0.000 | Entered stage "Run"
13:14:29 | 0.000 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:29 | 0.000 | PumpModule.Pump.%B.Value Gradient Start = 35.0 %, End = 90.0 %, Duration = 0.300 min
13:14:29 | 0.000 | PumpModule.Pump.%C.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.%D.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.Curve = 5
13:14:29 | 0.000 | Reading from simulation data file C:\Program Files (x86)\Thermo\Chromeleon\bin\DDK\V1\Drivers\Dionex\DAD3000\cmoq_1.dad3000.
13:14:47 | 0.300 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:47 | 0.300 | PumpModule.Pump.%B.Value = 90.0 %
13:14:47 | 0.300 | PumpModule.Pump.%C.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.%D.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:56 | 0.450 | PumpModule.Pump.%B.Value = 90.0 %
13:14:56 | 0.450 | PumpModule.Pump.%C.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.%D.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | UV.3DFIELD.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_1.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_2.AcqOff
13:14:56 | 0.450 | Entered stage "Stop Run"
13:14:56 | 0.450 | Terminating instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth. Waiting for instrument to finish processing of current injection ...
13:14:56 | 0.451 | Closing simulation data file.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 5": Injection specification criteria has not been met
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 6": Injection specification criteria has not been met
13:14:56 |  | End of injection "Alkylphenones 1".

## Chromatogram (hidden)
Chromatogram