## Overview (hidden)
Sequence Overview
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
Injection Details
No | Injection Name | Position | Type | Level | Inject Time | Status
1 | Alkylphenones 1 | RA1 | Calibration Standard | 01 | 2022-07-12 13:14 | Finished
2 | Alkylphenones 2 | RA1 | Calibration Standard | 01 | 2022-07-12 13:15 | Finished
3 | Alkylphenones 3 | RA1 | Calibration Standard | 01 | 2022-07-12 13:16 | Finished
4 | Alkylphenones 4 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
5 | Alkylphenones 5 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
6 | Alkylphenones 6 | RA1 | Calibration Standard | 01 | 2022-07-12 13:18 | Finished
7 | Alkylphenones 7 | RA2 | Unknown |  | 2022-07-12 13:19 | Finished

## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | Blk_2_092126 |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | MS Quantitation
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | blk_2_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 17:56 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
5 | 2-(1-cyclopenta-1,4-dienyl)acetic acid | 3.4186 | 55.6108 | 974 | 0.34886 | 0.15551 | 78729-68-7 | C7H8O2
3 | 2-Butenedinitrile, (E)- | 5.1581 | 8.9954 | 533 | 0.05643 | 0.085101 | 764-42-1 | C4H2N2
2 | Cyclotrisiloxane, hexamethyl- | 7.5728 | 218.1 | 4002 | 1.3682 | 0.63898 | 541-05-9 | C6H18O3Si3
3 | Arsenous acid, tris(trimethylsilyl) ester | 7.6414 | 246.3403 | 2888 | 1.5453 | 0.46111 | 55429-29-3 | C9H27AsO3Si3
4 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.7044 | 3.2488 | 206 | 0.02038 | 0.032891 |  | C7H22O2Si3
3 | Benzoic acid, 3-[(2,4-dimethoxy-6-propylbenzoyl)oxy]-2-hydroxy-4 | 7.7731 | 103.1541 | 1879.1105 | 0.64711 | 0.30003 | 69563-42-4 | C23H28O8
6 | 1,1,1,3,5,5,5-Heptamethyltrisiloxane | 7.8646 | 115.5086 | 1942 | 0.72461 | 0.31007 | 1873-88-7 | C7H22O2Si3
6 | 2(e),4(a)-di-t-butyladamantan-2(a)-ol | 8.5856 | 4.9653 | 333 | 0.031148 | 0.053168 | 130942-20-0 | C18H32O
2 | N-benzylidene-dimethylammonium chloride | 9.73 | 64.3161 | 2277 | 0.40347 | 0.36356 |  | C9H12ClN
5 | Cyclotetrasiloxane, octamethyl- | 9.8787 | 109.3941 | 3355 | 0.68625 | 0.53567 | 556-67-2 | C8H24O4Si4
4 | 1-Hexanol, 2-ethyl- | 10.4338 | 54.6343 | 1953 | 0.34273 | 0.31182 | 104-76-7 | C8H18O
4 | Benzeneacetaldehyde | 10.7542 | 22.5831 | 1208 | 0.14167 | 0.19287 | 122-78-1 | C8H8O
4 | Hexane, 2,3,4-trimethyl- | 10.8114 | 8.9548 | 375 | 0.056175 | 0.059874 | 921-47-1 | C9H20
2 | Acetophenone | 11.0517 | 168.9525 | 5339 | 1.0599 | 0.85245 | 98-86-2 | C8H8O
4 | Hexane, 2,3,4-trimethyl- | 11.3264 | 14.0434 | 525 | 0.088097 | 0.083824 | 921-47-1 | C9H20
3 | 3,3-Bis(methoxymethyl)oxetane | 11.3893 | 2.0995 | 186 | 0.013171 | 0.029698 |  | C7H14O3
2 | Cyclopentasiloxane, decamethyl- | 11.6983 | 289.5204 | 11030 | 1.8162 | 1.7611 | 541-02-6 | C10H30O5Si5
11 | Benzoic acid | 11.8299 | 156.131 | 3009.2915 | 0.97944 | 0.48048 | 65-85-0 | C7H6O2
12 | Benzoic acid | 11.8757 | 376.4774 | 9913.7042 | 2.3617 | 1.5829 | 65-85-0 | C7H6O2
6 | 2-Hydroxy-1-phenyl-3-(phenylsulfonyl)propan-1-one | 12.0702 | 4.0251 | 167.5 | 0.025251 | 0.026744 |  | C15H14O4S
1 | N-(1-benzamidooctyl)benzamide | 12.1103 | 0.62325 | 83.934 | 0.0039098 | 0.013401 |  | C22H28N2O2
13 | 3-Benzoyl-2,5-dichloro-p-quinone | 12.179 | 13.6049 | 571.8178 | 0.085346 | 0.091299 |  | C13H6Cl2O3
4 | 3-(4-Mercaptophenyl)-1-methyl-3-phenylindolin-2-one | 12.385 | 8.9817 | 369 | 0.056344 | 0.058916 |  | C21H17NOS
9 | 2,6-Dimethylphenyl tert-butyldiphenylsilylethynyl ether | 12.5967 | 1.9451 | 176 | 0.012202 | 0.028101 |  | C26H28OSi
8 | Ethyl 5-(5-oxo-1-(2-oxo-2H-chromene-3-carbonyl)-3-phenyl-1H-pyra | 12.7283 | 7.3589 | 342 | 0.046164 | 0.054605 |  | C30H20N4O6S
4 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 12.8713 | 0.89882 | 157 | 0.0056385 | 0.025067 |  | C17H17N3O2S
16 | Ethyl (Z)-4-(tert-Butyldiphenylsilyloxy)-3-hydroxybut-2-enoate | 12.9686 | 2.1509 | 200 | 0.013493 | 0.031933 |  | C22H28O4Si
2 | Cyclohexasiloxane, dodecamethyl- | 13.4836 | 4.8188 | 257 | 0.030229 | 0.041034 | 540-97-6 | C12H36O6Si6
5 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 13.9184 | 0 | 0 | 0 | 0 |  | C21H18BF2N5O
3 | Ethyl (Z)-4-(tert-Butyldiphenylsilyloxy)-3-hydroxybut-2-enoate | 14.1073 | 3.7027 | 331 | 0.023228 | 0.052849 |  | C22H28O4Si
23 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 14.1702 | 0.76071 | 94.6709 | 0.0047721 | 0.015116 |  | C19H19N3O4
4 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 14.771 | 0.93317 | 163 | 0.005854 | 0.026025 |  | C21H18BF2N5O
3 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 14.8568 | 0.8575 | 150 | 0.0053793 | 0.02395 |  | C21H18BF2N5O
5 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.0972 | 1.0648 | 186 | 0.00668 | 0.029698 |  | C21H18BF2N5O
6 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.2231 | 4.4468 | 207 | 0.027895 | 0.03305 |  | C34H59N
4 | 7-oxohyocholic acid methyl ester | 15.3604 | 1.036 | 91.4247 | 0.0064992 | 0.014597 |  | C25H40O5
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.4806 | 5.408 | 203.2896 | 0.033925 | 0.032458 |  | C34H59N
16 | 3-Iodo-2-(4-methoxyphenyl)-4H-thieno[3,2-b]indole | 15.6179 | 7.8979 | 257.5465 | 0.049545 | 0.041121 |  | C17H12INOS
9 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.7037 | 1.802 | 163 | 0.011304 | 0.026025 |  | C21H18BF2N5O
6 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.9211 | 1.1851 | 207 | 0.0074342 | 0.03305 |  | C21H18BF2N5O
7 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.007 | 2.2996 | 219 | 0.014426 | 0.034966 |  | C21H18BF2N5O
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.11 | 4.7547 | 380.4257 | 0.029827 | 0.06074 |  | C34H59N
9 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.1901 | 10.1758 | 284 | 0.063835 | 0.045345 |  | C21H18BF2N5O
7 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.2702 | 2.9813 | 182 | 0.018702 | 0.029059 |  | C21H18BF2N5O
8 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.356 | 3.8457 | 183 | 0.024125 | 0.029219 |  | C21H18BF2N5O
6 | Hyocholic acid methylester | 16.8939 | 11.3131 | 665 | 0.070969 | 0.10618 |  | C25H42O5
5 | Hyocholic acid methylester | 16.9625 | 13.0058 | 705.4412 | 0.081588 | 0.11263 |  | C25H42O5
9 | Hyocholic acid methylester | 17.117 | 19.6645 | 894.6378 | 0.12336 | 0.14284 |  | C25H42O5
5 | Hyocholic acid methylester | 17.1743 | 20.3616 | 615.3712 | 0.12773 | 0.098253 |  | C25H42O5
5 | Hyocholic acid methylester | 17.2429 | 9.7396 | 515.4147 | 0.061098 | 0.082293 |  | C25H42O5
8 | Hyocholic acid methylester | 17.4089 | 21.4903 | 875.0078 | 0.13481 | 0.13971 |  | C25H42O5
11 | Hyocholic acid methylester | 17.4775 | 16.4602 | 864 | 0.10326 | 0.13795 |  | C25H42O5
9 | Hyocholic acid methylester | 17.5462 | 42.8359 | 1340.906 | 0.26872 | 0.21409 |  | C25H42O5
6 | Hyocholic acid methylester | 17.5977 | 32.0717 | 1024.0486 | 0.20119 | 0.1635 |  | C25H42O5
3 | Hyocholic acid methylester | 17.6377 | 10.9399 | 651.8218 | 0.068628 | 0.10407 |  | C25H42O5
13 | Hyocholic acid methylester | 17.8208 | 3.4338 | 580.5427 | 0.021541 | 0.092692 |  | C25H42O5
13 | Hyocholic acid methylester | 17.9124 | 30.9746 | 1210.246 | 0.19431 | 0.19323 |  | C25H42O5
10 | Hyocholic acid methylester | 18.0154 | 1.0635 | 533.0191 | 0.0066712 | 0.085104 |  | C25H42O5
11 | Hyocholic acid methylester | 18.0554 | 30.1277 | 848.2283 | 0.189 | 0.13543 |  | C25H42O5
8 | Hyocholic acid methylester | 18.1069 | 30.4635 | 1063.9707 | 0.1911 | 0.16988 |  | C25H42O5
12 | Hyocholic acid methylester | 18.2672 | 11.2764 | 811.9114 | 0.070739 | 0.12963 |  | C25H42O5
11 | Hyocholic acid methylester | 18.3301 | 12.7556 | 1336.9126 | 0.080019 | 0.21346 |  | C25H42O5
11 | Hyocholic acid methylester | 18.4045 | 30.5439 | 1162.3052 | 0.19161 | 0.18558 |  | C25H42O5
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.5761 | 8.1295 | 265.0076 | 0.050998 | 0.042312 | 19095-24-0 | C16H50O7Si8
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.702 | 8.2621 | 324.9113 | 0.05183 | 0.051877 | 19095-24-0 | C16H50O7Si8
18 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8279 | 10.3199 | 721.9814 | 0.064739 | 0.11527 | 19095-24-0 | C16H50O7Si8
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9309 | 5.4354 | 310.9942 | 0.034097 | 0.049655 | 995-82-4 | C12H38O5Si6
10 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9938 | 1.5632 | 325.7611 | 0.0098063 | 0.052012 | 995-82-4 | C12H38O5Si6
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1083 | 8.6985 | 365.469 | 0.054567 | 0.058352 | 995-82-4 | C12H38O5Si6
10 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1083 | 8.6985 | 365.469 | 0.054567 | 0.058352 | 995-82-4 | C12H38O5Si6
7 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2799 | 29.6211 | 539.0042 | 0.18582 | 0.08606 | 995-82-4 | C12H38O5Si6
6 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3772 | 3.5158 | 305.2158 | 0.022055 | 0.048732 | 19095-24-0 | C16H50O7Si8
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4287 | 12.2004 | 327.1944 | 0.076535 | 0.052241 | 19095-24-0 | C16H50O7Si8
9 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6576 | 5.3853 | 245.2534 | 0.033783 | 0.039158 | 19095-24-0 | C16H50O7Si8
7 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.7663 | 22.8336 | 651.4576 | 0.14324 | 0.10401 | 995-82-4 | C12H38O5Si6
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8064 | 10.2547 | 513.732 | 0.06433 | 0.082025 | 19095-24-0 | C16H50O7Si8
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8865 | 19.6613 | 476.1782 | 0.12334 | 0.076029 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 2623.69 | 78991.1297 | 16.4589 | 0

## copy
Chromatogram and Results
Injection Details
Injection Name: |  | Blk_2_092126 |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | MS Quantitation
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | blk_2_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 17:56 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
5 | 2-(1-cyclopenta-1,4-dienyl)acetic acid | 3.4186 | 55.6108 | 974 | 0.34886 | 0.15551 | 78729-68-7 | C7H8O2
3 | 2-Butenedinitrile, (E)- | 5.1581 | 8.9954 | 533 | 0.05643 | 0.085101 | 764-42-1 | C4H2N2
2 | Cyclotrisiloxane, hexamethyl- | 7.5728 | 218.1 | 4002 | 1.3682 | 0.63898 | 541-05-9 | C6H18O3Si3
3 | Arsenous acid, tris(trimethylsilyl) ester | 7.6414 | 246.3403 | 2888 | 1.5453 | 0.46111 | 55429-29-3 | C9H27AsO3Si3
4 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.7044 | 3.2488 | 206 | 0.02038 | 0.032891 |  | C7H22O2Si3
3 | Benzoic acid, 3-[(2,4-dimethoxy-6-propylbenzoyl)oxy]-2-hydroxy-4 | 7.7731 | 103.1541 | 1879.1105 | 0.64711 | 0.30003 | 69563-42-4 | C23H28O8
6 | 1,1,1,3,5,5,5-Heptamethyltrisiloxane | 7.8646 | 115.5086 | 1942 | 0.72461 | 0.31007 | 1873-88-7 | C7H22O2Si3
6 | 2(e),4(a)-di-t-butyladamantan-2(a)-ol | 8.5856 | 4.9653 | 333 | 0.031148 | 0.053168 | 130942-20-0 | C18H32O
2 | N-benzylidene-dimethylammonium chloride | 9.73 | 64.3161 | 2277 | 0.40347 | 0.36356 |  | C9H12ClN
5 | Cyclotetrasiloxane, octamethyl- | 9.8787 | 109.3941 | 3355 | 0.68625 | 0.53567 | 556-67-2 | C8H24O4Si4
4 | 1-Hexanol, 2-ethyl- | 10.4338 | 54.6343 | 1953 | 0.34273 | 0.31182 | 104-76-7 | C8H18O
4 | Benzeneacetaldehyde | 10.7542 | 22.5831 | 1208 | 0.14167 | 0.19287 | 122-78-1 | C8H8O
4 | Hexane, 2,3,4-trimethyl- | 10.8114 | 8.9548 | 375 | 0.056175 | 0.059874 | 921-47-1 | C9H20
2 | Acetophenone | 11.0517 | 168.9525 | 5339 | 1.0599 | 0.85245 | 98-86-2 | C8H8O
4 | Hexane, 2,3,4-trimethyl- | 11.3264 | 14.0434 | 525 | 0.088097 | 0.083824 | 921-47-1 | C9H20
3 | 3,3-Bis(methoxymethyl)oxetane | 11.3893 | 2.0995 | 186 | 0.013171 | 0.029698 |  | C7H14O3
2 | Cyclopentasiloxane, decamethyl- | 11.6983 | 289.5204 | 11030 | 1.8162 | 1.7611 | 541-02-6 | C10H30O5Si5
11 | Benzoic acid | 11.8299 | 156.131 | 3009.2915 | 0.97944 | 0.48048 | 65-85-0 | C7H6O2
12 | Benzoic acid | 11.8757 | 376.4774 | 9913.7042 | 2.3617 | 1.5829 | 65-85-0 | C7H6O2
6 | 2-Hydroxy-1-phenyl-3-(phenylsulfonyl)propan-1-one | 12.0702 | 4.0251 | 167.5 | 0.025251 | 0.026744 |  | C15H14O4S
1 | N-(1-benzamidooctyl)benzamide | 12.1103 | 0.62325 | 83.934 | 0.0039098 | 0.013401 |  | C22H28N2O2
13 | 3-Benzoyl-2,5-dichloro-p-quinone | 12.179 | 13.6049 | 571.8178 | 0.085346 | 0.091299 |  | C13H6Cl2O3
4 | 3-(4-Mercaptophenyl)-1-methyl-3-phenylindolin-2-one | 12.385 | 8.9817 | 369 | 0.056344 | 0.058916 |  | C21H17NOS
9 | 2,6-Dimethylphenyl tert-butyldiphenylsilylethynyl ether | 12.5967 | 1.9451 | 176 | 0.012202 | 0.028101 |  | C26H28OSi
8 | Ethyl 5-(5-oxo-1-(2-oxo-2H-chromene-3-carbonyl)-3-phenyl-1H-pyra | 12.7283 | 7.3589 | 342 | 0.046164 | 0.054605 |  | C30H20N4O6S
4 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 12.8713 | 0.89882 | 157 | 0.0056385 | 0.025067 |  | C17H17N3O2S
16 | Ethyl (Z)-4-(tert-Butyldiphenylsilyloxy)-3-hydroxybut-2-enoate | 12.9686 | 2.1509 | 200 | 0.013493 | 0.031933 |  | C22H28O4Si
2 | Cyclohexasiloxane, dodecamethyl- | 13.4836 | 4.8188 | 257 | 0.030229 | 0.041034 | 540-97-6 | C12H36O6Si6
5 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 13.9184 | 0 | 0 | 0 | 0 |  | C21H18BF2N5O
3 | Ethyl (Z)-4-(tert-Butyldiphenylsilyloxy)-3-hydroxybut-2-enoate | 14.1073 | 3.7027 | 331 | 0.023228 | 0.052849 |  | C22H28O4Si
23 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 14.1702 | 0.76071 | 94.6709 | 0.0047721 | 0.015116 |  | C19H19N3O4
4 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 14.771 | 0.93317 | 163 | 0.005854 | 0.026025 |  | C21H18BF2N5O
3 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 14.8568 | 0.8575 | 150 | 0.0053793 | 0.02395 |  | C21H18BF2N5O
5 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.0972 | 1.0648 | 186 | 0.00668 | 0.029698 |  | C21H18BF2N5O
6 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.2231 | 4.4468 | 207 | 0.027895 | 0.03305 |  | C34H59N
4 | 7-oxohyocholic acid methyl ester | 15.3604 | 1.036 | 91.4247 | 0.0064992 | 0.014597 |  | C25H40O5
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.4806 | 5.408 | 203.2896 | 0.033925 | 0.032458 |  | C34H59N
16 | 3-Iodo-2-(4-methoxyphenyl)-4H-thieno[3,2-b]indole | 15.6179 | 7.8979 | 257.5465 | 0.049545 | 0.041121 |  | C17H12INOS
9 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.7037 | 1.802 | 163 | 0.011304 | 0.026025 |  | C21H18BF2N5O
6 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.9211 | 1.1851 | 207 | 0.0074342 | 0.03305 |  | C21H18BF2N5O
7 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.007 | 2.2996 | 219 | 0.014426 | 0.034966 |  | C21H18BF2N5O
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.11 | 4.7547 | 380.4257 | 0.029827 | 0.06074 |  | C34H59N
9 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.1901 | 10.1758 | 284 | 0.063835 | 0.045345 |  | C21H18BF2N5O
7 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.2702 | 2.9813 | 182 | 0.018702 | 0.029059 |  | C21H18BF2N5O
8 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.356 | 3.8457 | 183 | 0.024125 | 0.029219 |  | C21H18BF2N5O
6 | Hyocholic acid methylester | 16.8939 | 11.3131 | 665 | 0.070969 | 0.10618 |  | C25H42O5
5 | Hyocholic acid methylester | 16.9625 | 13.0058 | 705.4412 | 0.081588 | 0.11263 |  | C25H42O5
9 | Hyocholic acid methylester | 17.117 | 19.6645 | 894.6378 | 0.12336 | 0.14284 |  | C25H42O5
5 | Hyocholic acid methylester | 17.1743 | 20.3616 | 615.3712 | 0.12773 | 0.098253 |  | C25H42O5
5 | Hyocholic acid methylester | 17.2429 | 9.7396 | 515.4147 | 0.061098 | 0.082293 |  | C25H42O5
8 | Hyocholic acid methylester | 17.4089 | 21.4903 | 875.0078 | 0.13481 | 0.13971 |  | C25H42O5
11 | Hyocholic acid methylester | 17.4775 | 16.4602 | 864 | 0.10326 | 0.13795 |  | C25H42O5
9 | Hyocholic acid methylester | 17.5462 | 42.8359 | 1340.906 | 0.26872 | 0.21409 |  | C25H42O5
6 | Hyocholic acid methylester | 17.5977 | 32.0717 | 1024.0486 | 0.20119 | 0.1635 |  | C25H42O5
3 | Hyocholic acid methylester | 17.6377 | 10.9399 | 651.8218 | 0.068628 | 0.10407 |  | C25H42O5
13 | Hyocholic acid methylester | 17.8208 | 3.4338 | 580.5427 | 0.021541 | 0.092692 |  | C25H42O5
13 | Hyocholic acid methylester | 17.9124 | 30.9746 | 1210.246 | 0.19431 | 0.19323 |  | C25H42O5
10 | Hyocholic acid methylester | 18.0154 | 1.0635 | 533.0191 | 0.0066712 | 0.085104 |  | C25H42O5
11 | Hyocholic acid methylester | 18.0554 | 30.1277 | 848.2283 | 0.189 | 0.13543 |  | C25H42O5
8 | Hyocholic acid methylester | 18.1069 | 30.4635 | 1063.9707 | 0.1911 | 0.16988 |  | C25H42O5
12 | Hyocholic acid methylester | 18.2672 | 11.2764 | 811.9114 | 0.070739 | 0.12963 |  | C25H42O5
11 | Hyocholic acid methylester | 18.3301 | 12.7556 | 1336.9126 | 0.080019 | 0.21346 |  | C25H42O5
11 | Hyocholic acid methylester | 18.4045 | 30.5439 | 1162.3052 | 0.19161 | 0.18558 |  | C25H42O5
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.5761 | 8.1295 | 265.0076 | 0.050998 | 0.042312 | 19095-24-0 | C16H50O7Si8
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.702 | 8.2621 | 324.9113 | 0.05183 | 0.051877 | 19095-24-0 | C16H50O7Si8
18 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8279 | 10.3199 | 721.9814 | 0.064739 | 0.11527 | 19095-24-0 | C16H50O7Si8
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9309 | 5.4354 | 310.9942 | 0.034097 | 0.049655 | 995-82-4 | C12H38O5Si6
10 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9938 | 1.5632 | 325.7611 | 0.0098063 | 0.052012 | 995-82-4 | C12H38O5Si6
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1083 | 8.6985 | 365.469 | 0.054567 | 0.058352 | 995-82-4 | C12H38O5Si6
10 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1083 | 8.6985 | 365.469 | 0.054567 | 0.058352 | 995-82-4 | C12H38O5Si6
7 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2799 | 29.6211 | 539.0042 | 0.18582 | 0.08606 | 995-82-4 | C12H38O5Si6
6 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3772 | 3.5158 | 305.2158 | 0.022055 | 0.048732 | 19095-24-0 | C16H50O7Si8
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4287 | 12.2004 | 327.1944 | 0.076535 | 0.052241 | 19095-24-0 | C16H50O7Si8
9 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6576 | 5.3853 | 245.2534 | 0.033783 | 0.039158 | 19095-24-0 | C16H50O7Si8
7 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.7663 | 22.8336 | 651.4576 | 0.14324 | 0.10401 | 995-82-4 | C12H38O5Si6
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8064 | 10.2547 | 513.732 | 0.06433 | 0.082025 | 19095-24-0 | C16H50O7Si8
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8865 | 19.6613 | 476.1782 | 0.12334 | 0.076029 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 2623.69 | 78991.1297 | 16.4589 | 0

## Sheet2
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
5 | 2-(1-cyclopenta-1,4-dienyl)acetic acid | 3.4186 | 55.6108 | 974 | 0.34886 | 0.15551 | 78729-68-7 | C7H8O2
3 | 2-Butenedinitrile, (E)- | 5.1581 | 8.9954 | 533 | 0.05643 | 0.085101 | 764-42-1 | C4H2N2
2 | Cyclotrisiloxane, hexamethyl- | 7.5728 | 218.1 | 4002 | 1.3682 | 0.63898 | 541-05-9 | C6H18O3Si3
3 | Arsenous acid, tris(trimethylsilyl) ester | 7.6414 | 246.3403 | 2888 | 1.5453 | 0.46111 | 55429-29-3 | C9H27AsO3Si3
4 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.7044 | 3.2488 | 206 | 0.02038 | 0.032891 |  | C7H22O2Si3
3 | Benzoic acid, 3-[(2,4-dimethoxy-6-propylbenzoyl)oxy]-2-hydroxy-4 | 7.7731 | 103.1541 | 1879.1105 | 0.64711 | 0.30003 | 69563-42-4 | C23H28O8
6 | 1,1,1,3,5,5,5-Heptamethyltrisiloxane | 7.8646 | 115.5086 | 1942 | 0.72461 | 0.31007 | 1873-88-7 | C7H22O2Si3
6 | 2(e),4(a)-di-t-butyladamantan-2(a)-ol | 8.5856 | 4.9653 | 333 | 0.031148 | 0.053168 | 130942-20-0 | C18H32O
2 | N-benzylidene-dimethylammonium chloride | 9.73 | 64.3161 | 2277 | 0.40347 | 0.36356 |  | C9H12ClN
5 | Cyclotetrasiloxane, octamethyl- | 9.8787 | 109.3941 | 3355 | 0.68625 | 0.53567 | 556-67-2 | C8H24O4Si4
4 | 1-Hexanol, 2-ethyl- | 10.4338 | 54.6343 | 1953 | 0.34273 | 0.31182 | 104-76-7 | C8H18O
4 | Benzeneacetaldehyde | 10.7542 | 22.5831 | 1208 | 0.14167 | 0.19287 | 122-78-1 | C8H8O
4 | Hexane, 2,3,4-trimethyl- | 10.8114 | 8.9548 | 375 | 0.056175 | 0.059874 | 921-47-1 | C9H20
2 | Acetophenone | 11.0517 | 168.9525 | 5339 | 1.0599 | 0.85245 | 98-86-2 | C8H8O
4 | Hexane, 2,3,4-trimethyl- | 11.3264 | 14.0434 | 525 | 0.088097 | 0.083824 | 921-47-1 | C9H20
3 | 3,3-Bis(methoxymethyl)oxetane | 11.3893 | 2.0995 | 186 | 0.013171 | 0.029698 |  | C7H14O3
2 | Cyclopentasiloxane, decamethyl- | 11.6983 | 289.5204 | 11030 | 1.8162 | 1.7611 | 541-02-6 | C10H30O5Si5
11 | Benzoic acid | 11.8299 | 156.131 | 3009.2915 | 0.97944 | 0.48048 | 65-85-0 | C7H6O2
12 | Benzoic acid | 11.8757 | 376.4774 | 9913.7042 | 2.3617 | 1.5829 | 65-85-0 | C7H6O2
6 | 2-Hydroxy-1-phenyl-3-(phenylsulfonyl)propan-1-one | 12.0702 | 4.0251 | 167.5 | 0.025251 | 0.026744 |  | C15H14O4S
1 | N-(1-benzamidooctyl)benzamide | 12.1103 | 0.62325 | 83.934 | 0.0039098 | 0.013401 |  | C22H28N2O2
13 | 3-Benzoyl-2,5-dichloro-p-quinone | 12.179 | 13.6049 | 571.8178 | 0.085346 | 0.091299 |  | C13H6Cl2O3
4 | 3-(4-Mercaptophenyl)-1-methyl-3-phenylindolin-2-one | 12.385 | 8.9817 | 369 | 0.056344 | 0.058916 |  | C21H17NOS
9 | 2,6-Dimethylphenyl tert-butyldiphenylsilylethynyl ether | 12.5967 | 1.9451 | 176 | 0.012202 | 0.028101 |  | C26H28OSi
8 | Ethyl 5-(5-oxo-1-(2-oxo-2H-chromene-3-carbonyl)-3-phenyl-1H-pyra | 12.7283 | 7.3589 | 342 | 0.046164 | 0.054605 |  | C30H20N4O6S
4 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 12.8713 | 0.89882 | 157 | 0.0056385 | 0.025067 |  | C17H17N3O2S
16 | Ethyl (Z)-4-(tert-Butyldiphenylsilyloxy)-3-hydroxybut-2-enoate | 12.9686 | 2.1509 | 200 | 0.013493 | 0.031933 |  | C22H28O4Si
2 | Cyclohexasiloxane, dodecamethyl- | 13.4836 | 4.8188 | 257 | 0.030229 | 0.041034 | 540-97-6 | C12H36O6Si6
5 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 13.9184 | 0 | 0 | 0 | 0 |  | C21H18BF2N5O
3 | Ethyl (Z)-4-(tert-Butyldiphenylsilyloxy)-3-hydroxybut-2-enoate | 14.1073 | 3.7027 | 331 | 0.023228 | 0.052849 |  | C22H28O4Si
23 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 14.1702 | 0.76071 | 94.6709 | 0.0047721 | 0.015116 |  | C19H19N3O4
4 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 14.771 | 0.93317 | 163 | 0.005854 | 0.026025 |  | C21H18BF2N5O
3 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 14.8568 | 0.8575 | 150 | 0.0053793 | 0.02395 |  | C21H18BF2N5O
5 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.0972 | 1.0648 | 186 | 0.00668 | 0.029698 |  | C21H18BF2N5O
6 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.2231 | 4.4468 | 207 | 0.027895 | 0.03305 |  | C34H59N
4 | 7-oxohyocholic acid methyl ester | 15.3604 | 1.036 | 91.4247 | 0.0064992 | 0.014597 |  | C25H40O5
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.4806 | 5.408 | 203.2896 | 0.033925 | 0.032458 |  | C34H59N
16 | 3-Iodo-2-(4-methoxyphenyl)-4H-thieno[3,2-b]indole | 15.6179 | 7.8979 | 257.5465 | 0.049545 | 0.041121 |  | C17H12INOS
9 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.7037 | 1.802 | 163 | 0.011304 | 0.026025 |  | C21H18BF2N5O
6 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 15.9211 | 1.1851 | 207 | 0.0074342 | 0.03305 |  | C21H18BF2N5O
7 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.007 | 2.2996 | 219 | 0.014426 | 0.034966 |  | C21H18BF2N5O
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.11 | 4.7547 | 380.4257 | 0.029827 | 0.06074 |  | C34H59N
9 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.1901 | 10.1758 | 284 | 0.063835 | 0.045345 |  | C21H18BF2N5O
7 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.2702 | 2.9813 | 182 | 0.018702 | 0.029059 |  | C21H18BF2N5O
8 | 3-cyano-1,1-difluoro-2-{[4-(morpholin-4-yl)phenyl]imino}-1H,2H-2 | 16.356 | 3.8457 | 183 | 0.024125 | 0.029219 |  | C21H18BF2N5O
6 | Hyocholic acid methylester | 16.8939 | 11.3131 | 665 | 0.070969 | 0.10618 |  | C25H42O5
5 | Hyocholic acid methylester | 16.9625 | 13.0058 | 705.4412 | 0.081588 | 0.11263 |  | C25H42O5
9 | Hyocholic acid methylester | 17.117 | 19.6645 | 894.6378 | 0.12336 | 0.14284 |  | C25H42O5
5 | Hyocholic acid methylester | 17.1743 | 20.3616 | 615.3712 | 0.12773 | 0.098253 |  | C25H42O5
5 | Hyocholic acid methylester | 17.2429 | 9.7396 | 515.4147 | 0.061098 | 0.082293 |  | C25H42O5
8 | Hyocholic acid methylester | 17.4089 | 21.4903 | 875.0078 | 0.13481 | 0.13971 |  | C25H42O5
11 | Hyocholic acid methylester | 17.4775 | 16.4602 | 864 | 0.10326 | 0.13795 |  | C25H42O5
9 | Hyocholic acid methylester | 17.5462 | 42.8359 | 1340.906 | 0.26872 | 0.21409 |  | C25H42O5
6 | Hyocholic acid methylester | 17.5977 | 32.0717 | 1024.0486 | 0.20119 | 0.1635 |  | C25H42O5
3 | Hyocholic acid methylester | 17.6377 | 10.9399 | 651.8218 | 0.068628 | 0.10407 |  | C25H42O5
13 | Hyocholic acid methylester | 17.8208 | 3.4338 | 580.5427 | 0.021541 | 0.092692 |  | C25H42O5
13 | Hyocholic acid methylester | 17.9124 | 30.9746 | 1210.246 | 0.19431 | 0.19323 |  | C25H42O5
10 | Hyocholic acid methylester | 18.0154 | 1.0635 | 533.0191 | 0.0066712 | 0.085104 |  | C25H42O5
11 | Hyocholic acid methylester | 18.0554 | 30.1277 | 848.2283 | 0.189 | 0.13543 |  | C25H42O5
8 | Hyocholic acid methylester | 18.1069 | 30.4635 | 1063.9707 | 0.1911 | 0.16988 |  | C25H42O5
12 | Hyocholic acid methylester | 18.2672 | 11.2764 | 811.9114 | 0.070739 | 0.12963 |  | C25H42O5
11 | Hyocholic acid methylester | 18.3301 | 12.7556 | 1336.9126 | 0.080019 | 0.21346 |  | C25H42O5
11 | Hyocholic acid methylester | 18.4045 | 30.5439 | 1162.3052 | 0.19161 | 0.18558 |  | C25H42O5
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.5761 | 8.1295 | 265.0076 | 0.050998 | 0.042312 | 19095-24-0 | C16H50O7Si8
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.702 | 8.2621 | 324.9113 | 0.05183 | 0.051877 | 19095-24-0 | C16H50O7Si8
18 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8279 | 10.3199 | 721.9814 | 0.064739 | 0.11527 | 19095-24-0 | C16H50O7Si8
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9309 | 5.4354 | 310.9942 | 0.034097 | 0.049655 | 995-82-4 | C12H38O5Si6
10 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9938 | 1.5632 | 325.7611 | 0.0098063 | 0.052012 | 995-82-4 | C12H38O5Si6
11 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1083 | 8.6985 | 365.469 | 0.054567 | 0.058352 | 995-82-4 | C12H38O5Si6
10 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1083 | 8.6985 | 365.469 | 0.054567 | 0.058352 | 995-82-4 | C12H38O5Si6
7 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2799 | 29.6211 | 539.0042 | 0.18582 | 0.08606 | 995-82-4 | C12H38O5Si6
6 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3772 | 3.5158 | 305.2158 | 0.022055 | 0.048732 | 19095-24-0 | C16H50O7Si8
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4287 | 12.2004 | 327.1944 | 0.076535 | 0.052241 | 19095-24-0 | C16H50O7Si8
9 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6576 | 5.3853 | 245.2534 | 0.033783 | 0.039158 | 19095-24-0 | C16H50O7Si8
7 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.7663 | 22.8336 | 651.4576 | 0.14324 | 0.10401 | 995-82-4 | C12H38O5Si6
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8064 | 10.2547 | 513.732 | 0.06433 | 0.082025 | 19095-24-0 | C16H50O7Si8
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8865 | 19.6613 | 476.1782 | 0.12334 | 0.076029 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 2623.69 | 78991.1297 | 16.4589 | 0

## Calibration (hidden)
Calibration
Calibration Details |  | Acetanilide
Calibration Type |  | Lin, WithOffset |  |  | Offset (C0) |  | 0.0050568
Evaluation Type |  | Area |  |  | Slope (C1) |  | 0.034307
Number of Calibration Points |  | 6 |  |  | Curve (C2) |  | 0
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | 0.99999
Calibration Plot |  | Acetanilide
Calibration Results |  | Acetanilide
No. | Injection Name | Level | X Value | Y Value | Residual | Area | Height
|  |  | ng | mAU*min | % | mAU*min | mAU
|  |  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  |  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 01 | 20 | 0.69372 | 0.012576 | 0.69372 | 39.0107
2 | Alkylphenones 2 | 01 | 40 | 1.3699 | -0.018646 | 1.3699 | 73.7149
3 | Alkylphenones 3 | 01 | 80 | 2.7486 | -0.001345 | 2.7486 | 137.542
4 | Alkylphenones 4 | 01 | 120 | 4.1266 | 0.0039116 | 4.1266 | 194.9695
5 | Alkylphenones 5 | 01 | 160 | 5.5066 | 0.007722 | 5.5066 | 244.8088
6 | Alkylphenones 6 | 01 | 200 | 6.8555 | -0.0055149 | 6.8555 | 291.0862

## Peak Analysis (hidden)
Peak Analysis
Injection Details
Injection Name: |  | Alkylphenones 1 |  |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peakname | Ret.Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
1 | Acetanilide | 0.17017 | 0.016292 | M | 2.7203 | 1.4766 | 604
2 | Acetophenone | 0.24583 | 0.01653 | MB | 4.0275 | 1.4327 | 1225
3 | Propiophenone | 0.36283 | 0.017749 | M | n.a. | 1.3522 | 2315

## SST (hidden)
Chromatogram and SST Results
Injection Details
Injection Name: |  | Alkylphenones 1 |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Name
1 | System Suitability Test Case 1 | All Injections | Number: 2 | Not Executed | Alkylphenones 1
2 | System Suitability Test Case 2 | injection.name starts with "Alkylphenones" | Acetanilide | Not Executed | Alkylphenones 1
3 | System Suitability Test Case 3 | (injection.number>=1 AND injection.number<=7) | Highest: peak.area | Not Executed | Alkylphenones 1
4 | System Suitability Test Case 4 | All Injections | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
5 | System Suitability Test Case 5 | injection.position = RC9 |  | Not Executed | Alkylphenones 1
6 | System Suitability Test Case 6 | Injection Type: Unknown | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
| Number of executed test cases: | 0 | Total Result: | Not Executed

## Summary (hidden)
Summary
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
By Component |  | Acetanilide
No | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | mAU*min | mAU | ng | %
|  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 0.17017 | 0.69372 | 39.0107 | 20.0733 | 32.5524 | M
2 | Alkylphenones 2 | 0.17167 | 1.3699 | 73.7149 | 39.7826 | 32.508 | M
3 | Alkylphenones 3 | 0.174 | 2.7486 | 137.542 | 79.9686 | 32.3539 | M
4 | Alkylphenones 4 | 0.17583 | 4.1266 | 194.9695 | 120.1368 | 32.4486 | BM
5 | Alkylphenones 5 | 0.17817 | 5.5066 | 244.8088 | 160.3601 | 32.4887 | M
6 | Alkylphenones 6 | 0.17983 | 6.8555 | 291.0862 | 199.6785 | 32.5299 | BM
7 | Alkylphenones 7 | 0.1715 | 5.223 | 278.0937 | 152.0952 | 33.2915 | M

## Injection Audit Trail (hidden)
Injection Audit Trail
Injection Details
Injection Name: |  | Alkylphenones 1 | Run Time (min): | 0.45
Vial Number: |  | RA1 | Injection Volume: | 2
Injection Type: |  | Calibration Standard | Channel: | UV_VIS_1
Calibration Level: |  | 01 | Wavelength: | 244
Instrument Method: |  | CM_OQ | Bandwidth: | 4
Processing Method: |  | CM_OQ | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
(UTC+02:00) | min
13:14:22 |  | Audit trail of injection "chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/515.smp". Executed 7/12/2022 on instrument CM_OQ (instrument controller DEGER-6FWTXT2).
13:14:22 |  | Start of injection 1 "Alkylphenones 1", using instrument method "CM_OQ".
13:14:22 | 0.000 | Entered stage "Instrument Setup"
13:14:22 | 0.000 | UV.3DFIELD.MinWavelength = 190.0 nm
13:14:22 | 0.000 | UV.3DFIELD.MaxWavelength = 350.0 nm
13:14:22 | 0.000 | UV.3DFIELD.BunchWidth = 1 nm
13:14:22 | 0.000 | UV.ResponseTime = 0.030 s
13:14:22 | 0.000 | UV.Data_Collection_Rate = 100 Hz
13:14:22 | 0.000 | ColumnOven.Temperature.Nominal = 20.0 °C
13:14:22 | 0.000 | PumpModule.Pump.%A.Equate = "Water"
13:14:22 | 0.000 | PumpModule.Pump.%B.Equate = "Acetonitrile"
13:14:22 | 0.000 | PumpModule.Pump.%C.Equate = "%C"
13:14:22 | 0.000 | PumpModule.Pump.%D.Equate = "%D"
13:14:22 | 0.000 | PumpModule.Pump.Pressure.LowerLimit = 0 bar
13:14:22 | 0.000 | PumpModule.Pump.Pressure.UpperLimit = 800 bar
13:14:22 | 0.000 | UV.UV_VIS_1.Wavelength = 244.0 nm
13:14:22 | 0.000 | UV.UV_VIS_1.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_1.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_1.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.3DFIELD.RefWavelength = Off
13:14:22 | 0.000 | UV.3DFIELD.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Wavelength = 256.0 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_2.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_2.RefBandwidth = 1 nm
13:14:22 | 0.000 | Entered stage "Inject Preparation"
13:14:22 | 0.000 | UV.Autozero
13:14:22 | 0.000 | Wait ColumnOven.Ready And Sampler.Ready And UV.Ready
13:14:27 | 0.000 | Wait finished
13:14:27 | 0.000 | Entered stage "Inject"
13:14:27 | 0.000 | Sampler.Inject
13:14:27 | 0.000 | Injecting from vial position RA1.
13:14:27 | 0.000 | Injection Volume is 2.000 µl.
13:14:27 | 0.000 | Waiting for inject response on UM3WPSInjectState1.
13:14:29 | 0.000 | Got inject response.
13:14:29 | 0.000 | Entered stage "Start Run"
13:14:29 | 0.000 | UV.UV_VIS_1.AcqOn
13:14:29 | 0.000 | UV.UV_VIS_2.AcqOn
13:14:29 | 0.000 | UV.3DFIELD.AcqOn
13:14:29 | 0.000 | Entered stage "Run"
13:14:29 | 0.000 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:29 | 0.000 | PumpModule.Pump.%B.Value Gradient Start = 35.0 %, End = 90.0 %, Duration = 0.300 min
13:14:29 | 0.000 | PumpModule.Pump.%C.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.%D.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.Curve = 5
13:14:29 | 0.000 | Reading from simulation data file C:\Program Files (x86)\Thermo\Chromeleon\bin\DDK\V1\Drivers\Dionex\DAD3000\cmoq_1.dad3000.
13:14:47 | 0.300 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:47 | 0.300 | PumpModule.Pump.%B.Value = 90.0 %
13:14:47 | 0.300 | PumpModule.Pump.%C.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.%D.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:56 | 0.450 | PumpModule.Pump.%B.Value = 90.0 %
13:14:56 | 0.450 | PumpModule.Pump.%C.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.%D.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | UV.3DFIELD.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_1.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_2.AcqOff
13:14:56 | 0.450 | Entered stage "Stop Run"
13:14:56 | 0.450 | Terminating instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth. Waiting for instrument to finish processing of current injection ...
13:14:56 | 0.451 | Closing simulation data file.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 5": Injection specification criteria has not been met
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 6": Injection specification criteria has not been met
13:14:56 |  | End of injection "Alkylphenones 1".

## Chromatogram (hidden)
Chromatogram