## Overview (hidden)
Sequence Overview
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
Injection Details
No | Injection Name | Position | Type | Level | Inject Time | Status
1 | Alkylphenones 1 | RA1 | Calibration Standard | 01 | 2022-07-12 13:14 | Finished
2 | Alkylphenones 2 | RA1 | Calibration Standard | 01 | 2022-07-12 13:15 | Finished
3 | Alkylphenones 3 | RA1 | Calibration Standard | 01 | 2022-07-12 13:16 | Finished
4 | Alkylphenones 4 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
5 | Alkylphenones 5 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
6 | Alkylphenones 6 | RA1 | Calibration Standard | 01 | 2022-07-12 13:18 | Finished
7 | Alkylphenones 7 | RA2 | Unknown |  | 2022-07-12 13:19 | Finished

## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p14_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | MS Quantitation
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | p14_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 23:44 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
1 | Bicyclo[3.2.1]octane, 2,4-dimethoxy- | 3.1383 | 20.4251 | 1018.4136 | 0.0087896 | 0.018347 | 79692-84-5 | C10H18O2
3 | Isoprene | 3.1956 | 7.5202 | 592.9752 | 0.0032362 | 0.010683 | 78-79-5 | C5H8
5 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.3157 | 5.4255 | 332.5816 | 0.0023348 | 0.0059916 | 375-43-9 | C4Cl6F4
7 | Isoprene | 3.3443 | 2.7179 | 268.1084 | 0.0011696 | 0.0048301 | 78-79-5 | C5H8
10 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.5274 | 5.0184 | 259.0243 | 0.0021596 | 0.0046664 | 375-43-9 | C4Cl6F4
3 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6076 | 7.1137 | 421.3359 | 0.0030613 | 0.0075905 | 375-43-9 | C4Cl6F4
4 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6705 | 6.9312 | 251.596 | 0.0029827 | 0.0045326 | 375-43-9 | C4Cl6F4
12 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.8937 | 316.5036 | 3300 | 0.1362 | 0.059451 |  | C5H10O2S
6 | 1-Pentanol | 4.0653 | 1.1963 | 88.4001 | 0.0005148 | 0.0015926 | 71-41-0 | C5H12O
6 | N-(diethylcarbamothioyl)benzamide | 4.2484 | 3.3859 | 400 | 0.0014571 | 0.0072061 |  | C12H16N2OS
15 | rac-1-Benzoyl-1,3,3a,6,7,7a-hexahydro-3-methyl-2H-indol-2-one | 4.5517 | 1.9837 | 181 | 0.00085365 | 0.0032608 |  | C16H17NO2
3 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.2154 | 51.286 | 1159.0909 | 0.02207 | 0.020881 | 66728-04-9 | C9H11ClO
2 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.2211 | 144.1703 | 1416.2574 | 0.062041 | 0.025514 |  | C18H29DO5
3 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3127 | 61.6161 | 820.0615 | 0.026515 | 0.014774 |  | C18H29DO5
3 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3127 | 61.6161 | 820.0615 | 0.026515 | 0.014774 |  | C18H29DO5
2 | (1R,2S)-1-phenyl-2-(propylamino)-1-propanol | 6.6459 | 0.85875 | 150 | 0.00036955 | 0.0027023 |  | C12H19NO
2 | Benzyl (E)-1-hex-1-enyl sulfoxide | 6.892 | 99.5142 | 2814 | 0.042824 | 0.050695 |  | C13H18OS
3 | [(2R,3S,4R,5S)-3,4-bis(oxidanyl)-5-(8-phenylmethoxy-[1,2,4]triaz | 7.0064 | 6.7114 | 290 | 0.0028882 | 0.0052245 |  | C24H22N4O6
9 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 1.069 | 187 | 0.00046003 | 0.0033689 |  | C13H17F2IOSi
1 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.304 | 5.8821 | 382 | 0.0025313 | 0.0068819 |  | C7H13NOSe
8 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 192.2831 | 3054.3831 | 0.082746 | 0.055026 | 541-05-9 | C6H18O3Si3
11 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6931 | 0.916 | 160 | 0.00039419 | 0.0028825 |  | C7H22O2Si3
9 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 3.835 | 248.5958 | 0.0016503 | 0.0044785 | 55577-25-8 | C15H13N
6 | 2-(4-Methylphenyl)-1H-indole | 7.8876 | 8.5167 | 266.655 | 0.003665 | 0.0048039 | 55577-25-8 | C15H13N
7 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 5.9007 | 407.4057 | 0.0025393 | 0.0073396 | 130293-33-3 | C19H16CrO6
5 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 6.8111 | 236 | 0.002931 | 0.0042516 |  | C15H11BrO
8 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1565 | 6.4084 | 312 | 0.0027578 | 0.0056208 |  | C15H11BrO
2 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1737 | 9.9054 | 504 | 0.0042626 | 0.0090797 | 98-15-7 | C7H4ClF3
2 | o-Xylene | 8.3682 | 28.6509 | 1116 | 0.012329 | 0.020105 | 95-47-6 | C8H10
10 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4312 | 5.2576 | 271 | 0.0022625 | 0.0048822 |  | C25H21NO2S2
3 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4655 | 32.1186 | 1258 | 0.013822 | 0.022663 |  | C17H15NO3
13 | Phenylethyne | 8.5513 | 115.78 | 4547.5 | 0.049824 | 0.081925 | 536-74-3 | C8H6
5 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6315 | 3.4361 | 220.4902 | 0.0014787 | 0.0039722 |  | C25H21NO2S2
14 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.6944 | 11.1911 | 277.9902 | 0.0048159 | 0.0050081 |  | C17H26N2S
11 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.7802 | 2.1281 | 193 | 0.00091579 | 0.003477 |  | C13H19N
2 | 3,4-dimethyl-Heptane | 8.7917 | 12.8762 | 481 | 0.0055411 | 0.0086654 |  | C9H20
7 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.969 | 3.4974 | 235.0064 | 0.001505 | 0.0042337 |  | C12H13NO2S
6 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.0034 | 3.2351 | 251.2702 | 0.0013922 | 0.0045267 |  | C16H20O
7 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.072 | 14.2971 | 311.9291 | 0.0061525 | 0.0056195 |  | C14H13NO2S
9 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1636 | 10.5908 | 297.227 | 0.0045576 | 0.0053547 |  | C15H9NO2
12 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 2.7386 | 312.3272 | 0.0011785 | 0.0056267 | 113631-70-2 | C16H12N4O3
6 | 2,4-Diphenyl-2-oxazolin-5-one | 9.3009 | 1.4423 | 48 | 0.00062067 | 0.00086474 | 28687-81-2 | C15H11NO2
9 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0056482 | 0.005358 | 113631-70-2 | C16H12N4O3
10 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0056482 | 0.005358 | 113631-70-2 | C16H12N4O3
18 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.5985 | 5.5329 | 325.8864 | 0.002381 | 0.005871 |  | C18H20N2O3
11 | Benzaldehyde | 9.7301 | 1256.9901 | 47433.9536 | 0.54093 | 0.85454 | 100-52-7 | C7H6O
7 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 127.4766 | 4843.7431 | 0.054857 | 0.087262 | 556-67-2 | C8H24O4Si4
5 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9475 | 10.3107 | 361.716 | 0.004437 | 0.0065164 |  | C24H26N2OS
8 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9475 | 10.3107 | 361.716 | 0.004437 | 0.0065164 | 103240-21-7 | C16H16N2O2Si
4 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 65.3822 | 2445 | 0.028136 | 0.044048 |  | C32H30I2N6Pd
7 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1077 | 9.1217 | 346.8672 | 0.0039254 | 0.0062489 |  | C18H18N2O4
8 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1649 | 9.5557 | 420.4696 | 0.0041122 | 0.0075749 |  | C7H12F2
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 3.5819 | 382.3456 | 0.0015414 | 0.0068881 |  | C21H22O4
6 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 0.83318 | 233.8001 | 0.00035855 | 0.004212 |  | C22H21NO2
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4453 | 3.2908 | 362.2149 | 0.0014161 | 0.0065254 |  | C21H22O4
4 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 29.4046 | 1034 | 0.012654 | 0.018628 |  | C10H14O2
7 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 9.3187 | 447.6103 | 0.0040102 | 0.0080639 |  | C21H18O2
6 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.6341 | 2.1802 | 144.211 | 0.0009382 | 0.002598 | 74597-12-9 | C15H14O
9 | Benzeneacetaldehyde | 10.7486 | 995.8866 | 39484.1783 | 0.42856 | 0.71132 | 122-78-1 | C8H8O
2 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 47.6942 | 1972 | 0.020524 | 0.035526 | 67177-15-5 | C15H18O3
9 | 2,4-Difluorophenyl Benzoate | 10.9145 | 12.2165 | 738.6345 | 0.0052572 | 0.013307 |  | C13H8F2O2
7 | Benzenecarbothioic acid | 10.9145 | 12.2165 | 738.6345 | 0.0052572 | 0.013307 | 98-91-9 | C7H6OS
20 | Acetophenone | 11.0518 | 5344.0506 | 200814.1925 | 2.2997 | 3.6177 | 98-86-2 | C8H8O
13 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1205 | 80.6742 | 2482.3975 | 0.034717 | 0.044721 | 1075-06-5 | C8H8O3
3 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.172 | 6.25 | 267.7976 | 0.0026896 | 0.0048245 |  | C16H13NOS
4 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2063 | 12.5429 | 372.6697 | 0.0053976 | 0.0067138 |  | C18H18O3
4 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.2979 | 12.417 | 538.0012 | 0.0053435 | 0.0096923 |  | C11H11NO2
6 | Nonanal | 11.3379 | 31.2481 | 1290 | 0.013447 | 0.02324 | 124-19-6 | C9H18O
2 | Cyclopentasiloxane, decamethyl- | 11.7042 | 145.0471 | 5117 | 0.062419 | 0.092185 | 541-02-6 | C10H30O5Si5
3 | Benzoic acid | 11.9788 | 16209.6528 | 183384.6427 | 6.9756 | 3.3037 | 65-85-0 | C7H6O2
4 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0703 | 6.1664 | 695.7049 | 0.0026536 | 0.012533 | 71127-22-5 | C25H23NO10
4 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 56.8567 | 2216 | 0.024467 | 0.039922 | 513-20-2 | C9H14O
4 | N'-methylbenzohydrazide | 12.1791 | 163.4905 | 6554.7457 | 0.070355 | 0.11809 | 1660-24-8 | C8H10N2O
5 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2706 | 3.2007 | 299.1877 | 0.0013774 | 0.00539 | 71127-22-5 | C25H23NO10
5 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.3793 | 1.9857 | 193.9548 | 0.00085454 | 0.0034942 |  | C8H5NO3
5 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3793 | 1.9857 | 193.9548 | 0.00085454 | 0.0034942 |  | C21H22O4
9 | Decanal | 12.4709 | 7.2489 | 350.5818 | 0.0031194 | 0.0063159 | 112-31-2 | C10H20O
7 | Methyl salicylate | 12.5338 | 37.0445 | 1506 | 0.015942 | 0.027131 | 119-36-8 | C8H8O3
12 | Benzoic acid, 2-formyl- | 12.7226 | 26.5025 | 790.0005 | 0.011405 | 0.014232 | 119-67-5 | C8H6O3
17 | Acetic acid, phenyl- | 12.7799 | 105.7369 | 3667.6643 | 0.045502 | 0.066074 | 103-82-2 | C8H8O2
4 | (2-nitroanilino) benzoate | 12.8543 | 3.448 | 276.2664 | 0.0014838 | 0.004977 | 127526-86-7 | C13H10N2O4
5 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.9 | 5.7398 | 192.0362 | 0.00247 | 0.0034596 |  | C19H19NO3
9 | 2-Coumaranone | 12.9458 | 116.1596 | 3362 | 0.049987 | 0.060568 | 553-86-6 | C8H6O2
10 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 199.2986 | 3195.9771 | 0.085765 | 0.057577 | 70-11-1 | C8H7BrO
9 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.1175 | 38.315 | 671.2732 | 0.016488 | 0.012093 | 65128-29-2 | C11H15Br
2 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1346 | 2.947 | 112.975 | 0.0012682 | 0.0020353 |  | C14H13NO5
6 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1919 | 2.6893 | 191.0102 | 0.0011573 | 0.0034411 |  | C19H19N3O4
7 | Salicylic acid | 13.312 | 56.9662 | 1262 | 0.024514 | 0.022735 | 69-72-7 | C7H6O3
6 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 10.3066 | 385 | 0.0044353 | 0.0069359 | 540-97-6 | C12H36O6Si6
5 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 155.7315 | 5349.116 | 0.067017 | 0.096366 | 5779-72-6 | C10H12O
6 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6382 | 48.8653 | 1876 | 0.021028 | 0.033797 | 55211-84-2 | C9H10O4
19 | Phthalic anhydride | 13.7984 | 261.4074 | 7035 | 0.11249 | 0.12674 | 85-44-9 | C8H4O3
6 | 1,2-Bis(benzoylmethylene)adamantane | 13.8442 | 50.6811 | 1355.1251 | 0.02181 | 0.024413 |  | C26H28O2
11 | 1(3H)-Isobenzofuranone | 14.1646 | 115.7959 | 2789.6641 | 0.049831 | 0.050257 | 87-41-2 | C8H6O2
8 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2504 | 3.7142 | 306 | 0.0015984 | 0.0055127 |  | C17H17N3O2S
7 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.382 | 7.4226 | 231 | 0.0031942 | 0.0041616 |  | C17H17N3O2S
19 | Benzoylformic acid | 14.5022 | 705.7744 | 26754.2295 | 0.30372 | 0.48199 | 611-73-4 | C8H6O3
2 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.7883 | 56.3532 | 2766 | 0.024251 | 0.049831 |  | C15H38O2Si3
4 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 7.1261 | 456 | 0.0030666 | 0.008215 |  | C9H10O2
2 | Vinyl benzhydryl sulfide | 14.9313 | 16.0381 | 730 | 0.0069017 | 0.013151 | 54663-82-0 | C15H14S
5 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3204 | 1.0409 | 186.6961 | 0.00044793 | 0.0033634 |  | C34H59N
2 | Heptasiloxane, hexadecamethyl- | 15.5894 | 26.6342 | 1240 | 0.011462 | 0.022339 | 541-01-5 | C16H48O6Si7
12 | Phenylmaleic anhydride | 15.7725 | 4119.8789 | 151764.4862 | 1.7729 | 2.7341 | 36122-35-7 | C10H6O3
9 | 4-Methoxy-1,2-naphthoquinone | 16.0128 | 232.4741 | 8113.4731 | 0.10004 | 0.14617 | 18916-57-9 | C11H8O3
6 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.07 | 5.5109 | 233.9534 | 0.0023715 | 0.0042148 |  | C34H59N
5 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.2016 | 9.6873 | 358 | 0.0041688 | 0.0064495 | 19095-23-9 | C14H44O6Si7
11 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 91.5973 | 4124.9767 | 0.039417 | 0.074313 | 51306-96-8 | C11H8O2
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3332 | 0.61885 | 363.8864 | 0.00026631 | 0.0065555 |  | C34H59N
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3904 | 1.2204 | 195.9701 | 0.00052518 | 0.0035305 |  | C34H59N
10 | Benzophenone | 16.6594 | 229.7901 | 7836.1261 | 0.098886 | 0.14117 | 119-61-9 | C13H10O
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7109 | 20.9912 | 731.3542 | 0.0090332 | 0.013176 |  | C34H59N
11 | 7-oxohyocholic acid methyl ester | 16.7109 | 20.9912 | 731.3542 | 0.0090332 | 0.013176 |  | C25H40O5
4 | Hyocholic acid methylester | 16.7967 | 10.9851 | 653.6733 | 0.0047272 | 0.011776 |  | C25H42O5
10 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 37.4233 | 1882 | 0.016105 | 0.033905 | 556-69-4 | C18H54O7Si8
8 | 7-oxohyocholic acid methyl ester | 16.9111 | 13.349 | 693.8672 | 0.0057445 | 0.0125 |  | C25H40O5
5 | Hyocholic acid methylester | 16.9111 | 13.349 | 693.8672 | 0.0057445 | 0.0125 |  | C25H42O5
13 | 7-oxohyocholic acid methyl ester | 17.0199 | 20.1795 | 920.412 | 0.0086839 | 0.016582 |  | C25H40O5
8 | Hyocholic acid methylester | 17.2144 | 16.1295 | 667.5647 | 0.0069411 | 0.012026 |  | C25H42O5
8 | Hyocholic acid methylester | 17.2831 | 21.531 | 693.7789 | 0.0092655 | 0.012499 |  | C25H42O5
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2831 | 21.531 | 693.7789 | 0.0092655 | 0.012499 |  | C34H59N
8 | Hyocholic acid methylester | 17.3918 | 8.9779 | 606.5257 | 0.0038635 | 0.010927 |  | C25H42O5
23 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 419.9197 | 17408.2817 | 0.18071 | 0.31362 |  | C21H26O2Si
15 | Hyocholic acid methylester | 17.5177 | 6.2936 | 495.8324 | 0.0027083 | 0.0089326 |  | C25H42O5
7 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.007101 | 0.018241 |  | C25H42O5
9 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.007101 | 0.018241 |  | C25H42O5
6 | Hyocholic acid methylester | 17.6836 | 21.216 | 815.8013 | 0.00913 | 0.014697 |  | C25H42O5
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. |  | C25H42O5
12 | Hyocholic acid methylester | 17.7923 | 0.37068 | 104.8974 | 0.00015952 | 0.0018898 |  | C25H42O5
2 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049291 | 0.019672 |  | C25H42O5
14 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049291 | 0.019672 |  | C25H42O5
9 | Hyocholic acid methylester | 17.964 | 34.3742 | 1212.5 | 0.014792 | 0.021844 |  | C25H42O5
7 | Hyocholic acid methylester | 18.0613 | 4.7689 | 436.6757 | 0.0020522 | 0.0078669 |  | C25H42O5
14 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 292.4014 | 12702.3828 | 0.12583 | 0.22884 |  | C21H26O2Si
6 | Hyocholic acid methylester | 18.1013 | 7.4856 | 644.332 | 0.0032213 | 0.011608 |  | C25H42O5
9 | Hyocholic acid methylester | 18.1814 | 49.1974 | 1938.8832 | 0.021171 | 0.03493 |  | C25H42O5
5 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032309 | 0.035428 |  | C25H42O5
7 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032309 | 0.035428 |  | C25H42O5
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 6.7692 | 343.8681 | 0.002913 | 0.0061949 | 19095-24-0 | C16H50O7Si8
5 | Hyocholic acid methylester | 18.3473 | 7.5738 | 999.5389 | 0.0032593 | 0.018007 |  | C25H42O5
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3817 | 10.4723 | 408.6667 | 0.0045066 | 0.0073623 | 19095-24-0 | C16H50O7Si8
6 | Hyocholic acid methylester | 18.4504 | 74.9208 | 1893.2529 | 0.032241 | 0.034108 |  | C25H42O5
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.4904 | 7.5432 | 519.1846 | 0.0032461 | 0.0093533 | 19095-24-0 | C16H50O7Si8
10 | Hyocholic acid methylester | 18.5648 | 23.3119 | 1049.6567 | 0.010032 | 0.01891 |  | C25H42O5
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. |  | C25H42O5
9 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 29.6583 | 919.6147 | 0.012763 | 0.016567 | 19095-24-0 | C16H50O7Si8
n.a. | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | n.a. | n.a. | n.a. | n.a. | n.a. | 995-82-4 | C12H38O5Si6
17 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8223 | 15.1154 | 425.4068 | 0.0065047 | 0.0076639 | 19095-24-0 | C16H50O7Si8
14 | Hyocholic acid methylester | 18.8566 | 46.0034 | 2006.0812 | 0.019797 | 0.03614 |  | C25H42O5
2 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 1.9224 | 211.0097 | 0.00082726 | 0.0038014 | 995-82-4 | C12H38O5Si6
n.a. | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | n.a. | n.a. | n.a. | n.a. | n.a. | 995-82-4 | C12H38O5Si6
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. |  | C25H42O5
15 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 3.3499 | 193.6912 | 0.0014416 | 0.0034894 | 19095-24-0 | C16H50O7Si8
13 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.137 | 8.0699 | 445.2709 | 0.0034728 | 0.0080217 | 995-82-4 | C12H38O5Si6
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | 19095-24-0 | C16H50O7Si8
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2057 | 2.8144 | 319.0204 | 0.0012111 | 0.0057473 | 995-82-4 | C12H38O5Si6
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.28 | 0.87577 | 437.1056 | 0.00037687 | 0.0078746 | 19095-24-0 | C16H50O7Si8
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. |  | C25H42O5
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | 19095-24-0 | C16H50O7Si8
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3659 | 8.9544 | 374.2497 | 0.0038534 | 0.0067422 | 995-82-4 | C12H38O5Si6
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077065 | 0.0030568 | 19095-24-0 | C16H50O7Si8
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077065 | 0.0030568 | 19095-24-0 | C16H50O7Si8
9 | Hyocholic acid methylester | 19.5089 | 29.1144 | 1520.1581 | 0.012529 | 0.027386 |  | C25H42O5
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | 19095-24-0 | C16H50O7Si8
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.0034621 | 0.0080969 | 19095-24-0 | C16H50O7Si8
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.0034621 | 0.0080969 | 19095-24-0 | C16H50O7Si8
6 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7779 | 0.79462 | 87.3333 | 0.00034195 | 0.0015733 | 19095-24-0 | C16H50O7Si8
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8294 | 4.5441 | 594 | 0.0019555 | 0.010701 | 19095-24-0 | C16H50O7Si8
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.898 | 23.2687 | 793.1998 | 0.010013 | 0.01429 | 19095-24-0 | C16H50O7Si8
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9838 | 8.7677 | 328.0599 | 0.003773 | 0.0059101 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 34346.7011 | 845258.7113 | 14.7805 | 0

## copy
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p14_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | MS Quantitation
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | p14_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 23:44 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
1 | Bicyclo[3.2.1]octane, 2,4-dimethoxy- | 3.1383 | 20.4251 | 1018.4136 | 0.0087896 | 0.018347 | 79692-84-5 | C10H18O2
3 | Isoprene | 3.1956 | 7.5202 | 592.9752 | 0.0032362 | 0.010683 | 78-79-5 | C5H8
5 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.3157 | 5.4255 | 332.5816 | 0.0023348 | 0.0059916 | 375-43-9 | C4Cl6F4
7 | Isoprene | 3.3443 | 2.7179 | 268.1084 | 0.0011696 | 0.0048301 | 78-79-5 | C5H8
10 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.5274 | 5.0184 | 259.0243 | 0.0021596 | 0.0046664 | 375-43-9 | C4Cl6F4
3 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6076 | 7.1137 | 421.3359 | 0.0030613 | 0.0075905 | 375-43-9 | C4Cl6F4
4 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6705 | 6.9312 | 251.596 | 0.0029827 | 0.0045326 | 375-43-9 | C4Cl6F4
12 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.8937 | 316.5036 | 3300 | 0.1362 | 0.059451 |  | C5H10O2S
6 | 1-Pentanol | 4.0653 | 1.1963 | 88.4001 | 0.0005148 | 0.0015926 | 71-41-0 | C5H12O
6 | N-(diethylcarbamothioyl)benzamide | 4.2484 | 3.3859 | 400 | 0.0014571 | 0.0072061 |  | C12H16N2OS
15 | rac-1-Benzoyl-1,3,3a,6,7,7a-hexahydro-3-methyl-2H-indol-2-one | 4.5517 | 1.9837 | 181 | 0.00085365 | 0.0032608 |  | C16H17NO2
3 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.2154 | 51.286 | 1159.0909 | 0.02207 | 0.020881 | 66728-04-9 | C9H11ClO
2 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.2211 | 144.1703 | 1416.2574 | 0.062041 | 0.025514 |  | C18H29DO5
3 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3127 | 61.6161 | 820.0615 | 0.026515 | 0.014774 |  | C18H29DO5
3 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3127 | 61.6161 | 820.0615 | 0.026515 | 0.014774 |  | C18H29DO5
2 | (1R,2S)-1-phenyl-2-(propylamino)-1-propanol | 6.6459 | 0.85875 | 150 | 0.00036955 | 0.0027023 |  | C12H19NO
2 | Benzyl (E)-1-hex-1-enyl sulfoxide | 6.892 | 99.5142 | 2814 | 0.042824 | 0.050695 |  | C13H18OS
3 | [(2R,3S,4R,5S)-3,4-bis(oxidanyl)-5-(8-phenylmethoxy-[1,2,4]triaz | 7.0064 | 6.7114 | 290 | 0.0028882 | 0.0052245 |  | C24H22N4O6
9 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 1.069 | 187 | 0.00046003 | 0.0033689 |  | C13H17F2IOSi
1 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.304 | 5.8821 | 382 | 0.0025313 | 0.0068819 |  | C7H13NOSe
8 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 192.2831 | 3054.3831 | 0.082746 | 0.055026 | 541-05-9 | C6H18O3Si3
11 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6931 | 0.916 | 160 | 0.00039419 | 0.0028825 |  | C7H22O2Si3
9 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 3.835 | 248.5958 | 0.0016503 | 0.0044785 | 55577-25-8 | C15H13N
6 | 2-(4-Methylphenyl)-1H-indole | 7.8876 | 8.5167 | 266.655 | 0.003665 | 0.0048039 | 55577-25-8 | C15H13N
7 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 5.9007 | 407.4057 | 0.0025393 | 0.0073396 | 130293-33-3 | C19H16CrO6
5 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 6.8111 | 236 | 0.002931 | 0.0042516 |  | C15H11BrO
8 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1565 | 6.4084 | 312 | 0.0027578 | 0.0056208 |  | C15H11BrO
2 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1737 | 9.9054 | 504 | 0.0042626 | 0.0090797 | 98-15-7 | C7H4ClF3
2 | o-Xylene | 8.3682 | 28.6509 | 1116 | 0.012329 | 0.020105 | 95-47-6 | C8H10
10 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4312 | 5.2576 | 271 | 0.0022625 | 0.0048822 |  | C25H21NO2S2
3 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4655 | 32.1186 | 1258 | 0.013822 | 0.022663 |  | C17H15NO3
13 | Phenylethyne | 8.5513 | 115.78 | 4547.5 | 0.049824 | 0.081925 | 536-74-3 | C8H6
5 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6315 | 3.4361 | 220.4902 | 0.0014787 | 0.0039722 |  | C25H21NO2S2
14 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.6944 | 11.1911 | 277.9902 | 0.0048159 | 0.0050081 |  | C17H26N2S
11 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.7802 | 2.1281 | 193 | 0.00091579 | 0.003477 |  | C13H19N
2 | 3,4-dimethyl-Heptane | 8.7917 | 12.8762 | 481 | 0.0055411 | 0.0086654 |  | C9H20
7 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.969 | 3.4974 | 235.0064 | 0.001505 | 0.0042337 |  | C12H13NO2S
6 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.0034 | 3.2351 | 251.2702 | 0.0013922 | 0.0045267 |  | C16H20O
7 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.072 | 14.2971 | 311.9291 | 0.0061525 | 0.0056195 |  | C14H13NO2S
9 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1636 | 10.5908 | 297.227 | 0.0045576 | 0.0053547 |  | C15H9NO2
12 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 2.7386 | 312.3272 | 0.0011785 | 0.0056267 | 113631-70-2 | C16H12N4O3
6 | 2,4-Diphenyl-2-oxazolin-5-one | 9.3009 | 1.4423 | 48 | 0.00062067 | 0.00086474 | 28687-81-2 | C15H11NO2
9 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0056482 | 0.005358 | 113631-70-2 | C16H12N4O3
10 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0056482 | 0.005358 | 113631-70-2 | C16H12N4O3
18 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.5985 | 5.5329 | 325.8864 | 0.002381 | 0.005871 |  | C18H20N2O3
11 | Benzaldehyde | 9.7301 | 1256.9901 | 47433.9536 | 0.54093 | 0.85454 | 100-52-7 | C7H6O
7 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 127.4766 | 4843.7431 | 0.054857 | 0.087262 | 556-67-2 | C8H24O4Si4
5 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9475 | 10.3107 | 361.716 | 0.004437 | 0.0065164 |  | C24H26N2OS
8 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9475 | 10.3107 | 361.716 | 0.004437 | 0.0065164 | 103240-21-7 | C16H16N2O2Si
4 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 65.3822 | 2445 | 0.028136 | 0.044048 |  | C32H30I2N6Pd
7 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1077 | 9.1217 | 346.8672 | 0.0039254 | 0.0062489 |  | C18H18N2O4
8 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1649 | 9.5557 | 420.4696 | 0.0041122 | 0.0075749 |  | C7H12F2
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 3.5819 | 382.3456 | 0.0015414 | 0.0068881 |  | C21H22O4
6 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 0.83318 | 233.8001 | 0.00035855 | 0.004212 |  | C22H21NO2
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4453 | 3.2908 | 362.2149 | 0.0014161 | 0.0065254 |  | C21H22O4
4 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 29.4046 | 1034 | 0.012654 | 0.018628 |  | C10H14O2
7 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 9.3187 | 447.6103 | 0.0040102 | 0.0080639 |  | C21H18O2
6 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.6341 | 2.1802 | 144.211 | 0.0009382 | 0.002598 | 74597-12-9 | C15H14O
9 | Benzeneacetaldehyde | 10.7486 | 995.8866 | 39484.1783 | 0.42856 | 0.71132 | 122-78-1 | C8H8O
2 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 47.6942 | 1972 | 0.020524 | 0.035526 | 67177-15-5 | C15H18O3
9 | 2,4-Difluorophenyl Benzoate | 10.9145 | 12.2165 | 738.6345 | 0.0052572 | 0.013307 |  | C13H8F2O2
7 | Benzenecarbothioic acid | 10.9145 | 12.2165 | 738.6345 | 0.0052572 | 0.013307 | 98-91-9 | C7H6OS
20 | Acetophenone | 11.0518 | 5344.0506 | 200814.1925 | 2.2997 | 3.6177 | 98-86-2 | C8H8O
13 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1205 | 80.6742 | 2482.3975 | 0.034717 | 0.044721 | 1075-06-5 | C8H8O3
3 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.172 | 6.25 | 267.7976 | 0.0026896 | 0.0048245 |  | C16H13NOS
4 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2063 | 12.5429 | 372.6697 | 0.0053976 | 0.0067138 |  | C18H18O3
4 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.2979 | 12.417 | 538.0012 | 0.0053435 | 0.0096923 |  | C11H11NO2
6 | Nonanal | 11.3379 | 31.2481 | 1290 | 0.013447 | 0.02324 | 124-19-6 | C9H18O
2 | Cyclopentasiloxane, decamethyl- | 11.7042 | 145.0471 | 5117 | 0.062419 | 0.092185 | 541-02-6 | C10H30O5Si5
3 | Benzoic acid | 11.9788 | 16209.6528 | 183384.6427 | 6.9756 | 3.3037 | 65-85-0 | C7H6O2
4 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0703 | 6.1664 | 695.7049 | 0.0026536 | 0.012533 | 71127-22-5 | C25H23NO10
4 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 56.8567 | 2216 | 0.024467 | 0.039922 | 513-20-2 | C9H14O
4 | N'-methylbenzohydrazide | 12.1791 | 163.4905 | 6554.7457 | 0.070355 | 0.11809 | 1660-24-8 | C8H10N2O
5 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2706 | 3.2007 | 299.1877 | 0.0013774 | 0.00539 | 71127-22-5 | C25H23NO10
5 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.3793 | 1.9857 | 193.9548 | 0.00085454 | 0.0034942 |  | C8H5NO3
5 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3793 | 1.9857 | 193.9548 | 0.00085454 | 0.0034942 |  | C21H22O4
9 | Decanal | 12.4709 | 7.2489 | 350.5818 | 0.0031194 | 0.0063159 | 112-31-2 | C10H20O
7 | Methyl salicylate | 12.5338 | 37.0445 | 1506 | 0.015942 | 0.027131 | 119-36-8 | C8H8O3
12 | Benzoic acid, 2-formyl- | 12.7226 | 26.5025 | 790.0005 | 0.011405 | 0.014232 | 119-67-5 | C8H6O3
17 | Acetic acid, phenyl- | 12.7799 | 105.7369 | 3667.6643 | 0.045502 | 0.066074 | 103-82-2 | C8H8O2
4 | (2-nitroanilino) benzoate | 12.8543 | 3.448 | 276.2664 | 0.0014838 | 0.004977 | 127526-86-7 | C13H10N2O4
5 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.9 | 5.7398 | 192.0362 | 0.00247 | 0.0034596 |  | C19H19NO3
9 | 2-Coumaranone | 12.9458 | 116.1596 | 3362 | 0.049987 | 0.060568 | 553-86-6 | C8H6O2
10 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 199.2986 | 3195.9771 | 0.085765 | 0.057577 | 70-11-1 | C8H7BrO
9 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.1175 | 38.315 | 671.2732 | 0.016488 | 0.012093 | 65128-29-2 | C11H15Br
2 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1346 | 2.947 | 112.975 | 0.0012682 | 0.0020353 |  | C14H13NO5
6 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1919 | 2.6893 | 191.0102 | 0.0011573 | 0.0034411 |  | C19H19N3O4
7 | Salicylic acid | 13.312 | 56.9662 | 1262 | 0.024514 | 0.022735 | 69-72-7 | C7H6O3
6 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 10.3066 | 385 | 0.0044353 | 0.0069359 | 540-97-6 | C12H36O6Si6
5 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 155.7315 | 5349.116 | 0.067017 | 0.096366 | 5779-72-6 | C10H12O
6 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6382 | 48.8653 | 1876 | 0.021028 | 0.033797 | 55211-84-2 | C9H10O4
19 | Phthalic anhydride | 13.7984 | 261.4074 | 7035 | 0.11249 | 0.12674 | 85-44-9 | C8H4O3
6 | 1,2-Bis(benzoylmethylene)adamantane | 13.8442 | 50.6811 | 1355.1251 | 0.02181 | 0.024413 |  | C26H28O2
11 | 1(3H)-Isobenzofuranone | 14.1646 | 115.7959 | 2789.6641 | 0.049831 | 0.050257 | 87-41-2 | C8H6O2
8 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2504 | 3.7142 | 306 | 0.0015984 | 0.0055127 |  | C17H17N3O2S
7 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.382 | 7.4226 | 231 | 0.0031942 | 0.0041616 |  | C17H17N3O2S
19 | Benzoylformic acid | 14.5022 | 705.7744 | 26754.2295 | 0.30372 | 0.48199 | 611-73-4 | C8H6O3
2 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.7883 | 56.3532 | 2766 | 0.024251 | 0.049831 |  | C15H38O2Si3
4 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 7.1261 | 456 | 0.0030666 | 0.008215 |  | C9H10O2
2 | Vinyl benzhydryl sulfide | 14.9313 | 16.0381 | 730 | 0.0069017 | 0.013151 | 54663-82-0 | C15H14S
5 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3204 | 1.0409 | 186.6961 | 0.00044793 | 0.0033634 |  | C34H59N
2 | Heptasiloxane, hexadecamethyl- | 15.5894 | 26.6342 | 1240 | 0.011462 | 0.022339 | 541-01-5 | C16H48O6Si7
12 | Phenylmaleic anhydride | 15.7725 | 4119.8789 | 151764.4862 | 1.7729 | 2.7341 | 36122-35-7 | C10H6O3
9 | 4-Methoxy-1,2-naphthoquinone | 16.0128 | 232.4741 | 8113.4731 | 0.10004 | 0.14617 | 18916-57-9 | C11H8O3
6 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.07 | 5.5109 | 233.9534 | 0.0023715 | 0.0042148 |  | C34H59N
5 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.2016 | 9.6873 | 358 | 0.0041688 | 0.0064495 | 19095-23-9 | C14H44O6Si7
11 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 91.5973 | 4124.9767 | 0.039417 | 0.074313 | 51306-96-8 | C11H8O2
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3332 | 0.61885 | 363.8864 | 0.00026631 | 0.0065555 |  | C34H59N
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3904 | 1.2204 | 195.9701 | 0.00052518 | 0.0035305 |  | C34H59N
10 | Benzophenone | 16.6594 | 229.7901 | 7836.1261 | 0.098886 | 0.14117 | 119-61-9 | C13H10O
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7109 | 20.9912 | 731.3542 | 0.0090332 | 0.013176 |  | C34H59N
11 | 7-oxohyocholic acid methyl ester | 16.7109 | 20.9912 | 731.3542 | 0.0090332 | 0.013176 |  | C25H40O5
4 | Hyocholic acid methylester | 16.7967 | 10.9851 | 653.6733 | 0.0047272 | 0.011776 |  | C25H42O5
10 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 37.4233 | 1882 | 0.016105 | 0.033905 | 556-69-4 | C18H54O7Si8
8 | 7-oxohyocholic acid methyl ester | 16.9111 | 13.349 | 693.8672 | 0.0057445 | 0.0125 |  | C25H40O5
5 | Hyocholic acid methylester | 16.9111 | 13.349 | 693.8672 | 0.0057445 | 0.0125 |  | C25H42O5
13 | 7-oxohyocholic acid methyl ester | 17.0199 | 20.1795 | 920.412 | 0.0086839 | 0.016582 |  | C25H40O5
8 | Hyocholic acid methylester | 17.2144 | 16.1295 | 667.5647 | 0.0069411 | 0.012026 |  | C25H42O5
8 | Hyocholic acid methylester | 17.2831 | 21.531 | 693.7789 | 0.0092655 | 0.012499 |  | C25H42O5
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2831 | 21.531 | 693.7789 | 0.0092655 | 0.012499 |  | C34H59N
8 | Hyocholic acid methylester | 17.3918 | 8.9779 | 606.5257 | 0.0038635 | 0.010927 |  | C25H42O5
23 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 419.9197 | 17408.2817 | 0.18071 | 0.31362 |  | C21H26O2Si
15 | Hyocholic acid methylester | 17.5177 | 6.2936 | 495.8324 | 0.0027083 | 0.0089326 |  | C25H42O5
7 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.007101 | 0.018241 |  | C25H42O5
9 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.007101 | 0.018241 |  | C25H42O5
6 | Hyocholic acid methylester | 17.6836 | 21.216 | 815.8013 | 0.00913 | 0.014697 |  | C25H42O5
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. |  | C25H42O5
12 | Hyocholic acid methylester | 17.7923 | 0.37068 | 104.8974 | 0.00015952 | 0.0018898 |  | C25H42O5
2 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049291 | 0.019672 |  | C25H42O5
14 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049291 | 0.019672 |  | C25H42O5
9 | Hyocholic acid methylester | 17.964 | 34.3742 | 1212.5 | 0.014792 | 0.021844 |  | C25H42O5
7 | Hyocholic acid methylester | 18.0613 | 4.7689 | 436.6757 | 0.0020522 | 0.0078669 |  | C25H42O5
14 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 292.4014 | 12702.3828 | 0.12583 | 0.22884 |  | C21H26O2Si
6 | Hyocholic acid methylester | 18.1013 | 7.4856 | 644.332 | 0.0032213 | 0.011608 |  | C25H42O5
9 | Hyocholic acid methylester | 18.1814 | 49.1974 | 1938.8832 | 0.021171 | 0.03493 |  | C25H42O5
5 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032309 | 0.035428 |  | C25H42O5
7 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032309 | 0.035428 |  | C25H42O5
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 6.7692 | 343.8681 | 0.002913 | 0.0061949 | 19095-24-0 | C16H50O7Si8
5 | Hyocholic acid methylester | 18.3473 | 7.5738 | 999.5389 | 0.0032593 | 0.018007 |  | C25H42O5
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3817 | 10.4723 | 408.6667 | 0.0045066 | 0.0073623 | 19095-24-0 | C16H50O7Si8
6 | Hyocholic acid methylester | 18.4504 | 74.9208 | 1893.2529 | 0.032241 | 0.034108 |  | C25H42O5
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.4904 | 7.5432 | 519.1846 | 0.0032461 | 0.0093533 | 19095-24-0 | C16H50O7Si8
10 | Hyocholic acid methylester | 18.5648 | 23.3119 | 1049.6567 | 0.010032 | 0.01891 |  | C25H42O5
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. |  | C25H42O5
9 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 29.6583 | 919.6147 | 0.012763 | 0.016567 | 19095-24-0 | C16H50O7Si8
n.a. | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | n.a. | n.a. | n.a. | n.a. | n.a. | 995-82-4 | C12H38O5Si6
17 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8223 | 15.1154 | 425.4068 | 0.0065047 | 0.0076639 | 19095-24-0 | C16H50O7Si8
14 | Hyocholic acid methylester | 18.8566 | 46.0034 | 2006.0812 | 0.019797 | 0.03614 |  | C25H42O5
2 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 1.9224 | 211.0097 | 0.00082726 | 0.0038014 | 995-82-4 | C12H38O5Si6
n.a. | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | n.a. | n.a. | n.a. | n.a. | n.a. | 995-82-4 | C12H38O5Si6
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. |  | C25H42O5
15 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 3.3499 | 193.6912 | 0.0014416 | 0.0034894 | 19095-24-0 | C16H50O7Si8
13 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.137 | 8.0699 | 445.2709 | 0.0034728 | 0.0080217 | 995-82-4 | C12H38O5Si6
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | 19095-24-0 | C16H50O7Si8
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2057 | 2.8144 | 319.0204 | 0.0012111 | 0.0057473 | 995-82-4 | C12H38O5Si6
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.28 | 0.87577 | 437.1056 | 0.00037687 | 0.0078746 | 19095-24-0 | C16H50O7Si8
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. |  | C25H42O5
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | 19095-24-0 | C16H50O7Si8
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3659 | 8.9544 | 374.2497 | 0.0038534 | 0.0067422 | 995-82-4 | C12H38O5Si6
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077065 | 0.0030568 | 19095-24-0 | C16H50O7Si8
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077065 | 0.0030568 | 19095-24-0 | C16H50O7Si8
9 | Hyocholic acid methylester | 19.5089 | 29.1144 | 1520.1581 | 0.012529 | 0.027386 |  | C25H42O5
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | 19095-24-0 | C16H50O7Si8
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.0034621 | 0.0080969 | 19095-24-0 | C16H50O7Si8
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.0034621 | 0.0080969 | 19095-24-0 | C16H50O7Si8
6 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7779 | 0.79462 | 87.3333 | 0.00034195 | 0.0015733 | 19095-24-0 | C16H50O7Si8
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8294 | 4.5441 | 594 | 0.0019555 | 0.010701 | 19095-24-0 | C16H50O7Si8
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.898 | 23.2687 | 793.1998 | 0.010013 | 0.01429 | 19095-24-0 | C16H50O7Si8
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9838 | 8.7677 | 328.0599 | 0.003773 | 0.0059101 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 34346.7011 | 845258.7113 | 14.7805 | 0

## Sheet2
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
1 | Bicyclo[3.2.1]octane, 2,4-dimethoxy- | 3.1383 | 20.4251 | 1018.4136 | 0.0087896 | 0.018347 | 79692-84-5 | C10H18O2
3 | Isoprene | 3.1956 | 7.5202 | 592.9752 | 0.0032362 | 0.010683 | 78-79-5 | C5H8
5 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.3157 | 5.4255 | 332.5816 | 0.0023348 | 0.0059916 | 375-43-9 | C4Cl6F4
7 | Isoprene | 3.3443 | 2.7179 | 268.1084 | 0.0011696 | 0.0048301 | 78-79-5 | C5H8
10 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.5274 | 5.0184 | 259.0243 | 0.0021596 | 0.0046664 | 375-43-9 | C4Cl6F4
3 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6076 | 7.1137 | 421.3359 | 0.0030613 | 0.0075905 | 375-43-9 | C4Cl6F4
4 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6705 | 6.9312 | 251.596 | 0.0029827 | 0.0045326 | 375-43-9 | C4Cl6F4
12 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.8937 | 316.5036 | 3300 | 0.1362 | 0.059451 |  | C5H10O2S
6 | 1-Pentanol | 4.0653 | 1.1963 | 88.4001 | 0.0005148 | 0.0015926 | 71-41-0 | C5H12O
6 | N-(diethylcarbamothioyl)benzamide | 4.2484 | 3.3859 | 400 | 0.0014571 | 0.0072061 |  | C12H16N2OS
15 | rac-1-Benzoyl-1,3,3a,6,7,7a-hexahydro-3-methyl-2H-indol-2-one | 4.5517 | 1.9837 | 181 | 0.00085365 | 0.0032608 |  | C16H17NO2
3 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.2154 | 51.286 | 1159.0909 | 0.02207 | 0.020881 | 66728-04-9 | C9H11ClO
2 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.2211 | 144.1703 | 1416.2574 | 0.062041 | 0.025514 |  | C18H29DO5
3 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3127 | 61.6161 | 820.0615 | 0.026515 | 0.014774 |  | C18H29DO5
3 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3127 | 61.6161 | 820.0615 | 0.026515 | 0.014774 |  | C18H29DO5
2 | (1R,2S)-1-phenyl-2-(propylamino)-1-propanol | 6.6459 | 0.85875 | 150 | 0.00036955 | 0.0027023 |  | C12H19NO
2 | Benzyl (E)-1-hex-1-enyl sulfoxide | 6.892 | 99.5142 | 2814 | 0.042824 | 0.050695 |  | C13H18OS
3 | [(2R,3S,4R,5S)-3,4-bis(oxidanyl)-5-(8-phenylmethoxy-[1,2,4]triaz | 7.0064 | 6.7114 | 290 | 0.0028882 | 0.0052245 |  | C24H22N4O6
9 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 1.069 | 187 | 0.00046003 | 0.0033689 |  | C13H17F2IOSi
1 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.304 | 5.8821 | 382 | 0.0025313 | 0.0068819 |  | C7H13NOSe
8 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 192.2831 | 3054.3831 | 0.082746 | 0.055026 | 541-05-9 | C6H18O3Si3
11 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6931 | 0.916 | 160 | 0.00039419 | 0.0028825 |  | C7H22O2Si3
9 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 3.835 | 248.5958 | 0.0016503 | 0.0044785 | 55577-25-8 | C15H13N
6 | 2-(4-Methylphenyl)-1H-indole | 7.8876 | 8.5167 | 266.655 | 0.003665 | 0.0048039 | 55577-25-8 | C15H13N
7 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 5.9007 | 407.4057 | 0.0025393 | 0.0073396 | 130293-33-3 | C19H16CrO6
5 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 6.8111 | 236 | 0.002931 | 0.0042516 |  | C15H11BrO
8 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1565 | 6.4084 | 312 | 0.0027578 | 0.0056208 |  | C15H11BrO
2 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1737 | 9.9054 | 504 | 0.0042626 | 0.0090797 | 98-15-7 | C7H4ClF3
2 | o-Xylene | 8.3682 | 28.6509 | 1116 | 0.012329 | 0.020105 | 95-47-6 | C8H10
10 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4312 | 5.2576 | 271 | 0.0022625 | 0.0048822 |  | C25H21NO2S2
3 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4655 | 32.1186 | 1258 | 0.013822 | 0.022663 |  | C17H15NO3
13 | Phenylethyne | 8.5513 | 115.78 | 4547.5 | 0.049824 | 0.081925 | 536-74-3 | C8H6
5 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6315 | 3.4361 | 220.4902 | 0.0014787 | 0.0039722 |  | C25H21NO2S2
14 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.6944 | 11.1911 | 277.9902 | 0.0048159 | 0.0050081 |  | C17H26N2S
11 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.7802 | 2.1281 | 193 | 0.00091579 | 0.003477 |  | C13H19N
2 | 3,4-dimethyl-Heptane | 8.7917 | 12.8762 | 481 | 0.0055411 | 0.0086654 |  | C9H20
7 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.969 | 3.4974 | 235.0064 | 0.001505 | 0.0042337 |  | C12H13NO2S
6 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.0034 | 3.2351 | 251.2702 | 0.0013922 | 0.0045267 |  | C16H20O
7 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.072 | 14.2971 | 311.9291 | 0.0061525 | 0.0056195 |  | C14H13NO2S
9 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1636 | 10.5908 | 297.227 | 0.0045576 | 0.0053547 |  | C15H9NO2
12 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 2.7386 | 312.3272 | 0.0011785 | 0.0056267 | 113631-70-2 | C16H12N4O3
6 | 2,4-Diphenyl-2-oxazolin-5-one | 9.3009 | 1.4423 | 48 | 0.00062067 | 0.00086474 | 28687-81-2 | C15H11NO2
9 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0056482 | 0.005358 | 113631-70-2 | C16H12N4O3
10 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0056482 | 0.005358 | 113631-70-2 | C16H12N4O3
18 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.5985 | 5.5329 | 325.8864 | 0.002381 | 0.005871 |  | C18H20N2O3
11 | Benzaldehyde | 9.7301 | 1256.9901 | 47433.9536 | 0.54093 | 0.85454 | 100-52-7 | C7H6O
7 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 127.4766 | 4843.7431 | 0.054857 | 0.087262 | 556-67-2 | C8H24O4Si4
5 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9475 | 10.3107 | 361.716 | 0.004437 | 0.0065164 |  | C24H26N2OS
8 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9475 | 10.3107 | 361.716 | 0.004437 | 0.0065164 | 103240-21-7 | C16H16N2O2Si
4 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 65.3822 | 2445 | 0.028136 | 0.044048 |  | C32H30I2N6Pd
7 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1077 | 9.1217 | 346.8672 | 0.0039254 | 0.0062489 |  | C18H18N2O4
8 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1649 | 9.5557 | 420.4696 | 0.0041122 | 0.0075749 |  | C7H12F2
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 3.5819 | 382.3456 | 0.0015414 | 0.0068881 |  | C21H22O4
6 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 0.83318 | 233.8001 | 0.00035855 | 0.004212 |  | C22H21NO2
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4453 | 3.2908 | 362.2149 | 0.0014161 | 0.0065254 |  | C21H22O4
4 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 29.4046 | 1034 | 0.012654 | 0.018628 |  | C10H14O2
7 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 9.3187 | 447.6103 | 0.0040102 | 0.0080639 |  | C21H18O2
6 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.6341 | 2.1802 | 144.211 | 0.0009382 | 0.002598 | 74597-12-9 | C15H14O
9 | Benzeneacetaldehyde | 10.7486 | 995.8866 | 39484.1783 | 0.42856 | 0.71132 | 122-78-1 | C8H8O
2 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 47.6942 | 1972 | 0.020524 | 0.035526 | 67177-15-5 | C15H18O3
9 | 2,4-Difluorophenyl Benzoate | 10.9145 | 12.2165 | 738.6345 | 0.0052572 | 0.013307 |  | C13H8F2O2
7 | Benzenecarbothioic acid | 10.9145 | 12.2165 | 738.6345 | 0.0052572 | 0.013307 | 98-91-9 | C7H6OS
20 | Acetophenone | 11.0518 | 5344.0506 | 200814.1925 | 2.2997 | 3.6177 | 98-86-2 | C8H8O
13 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1205 | 80.6742 | 2482.3975 | 0.034717 | 0.044721 | 1075-06-5 | C8H8O3
3 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.172 | 6.25 | 267.7976 | 0.0026896 | 0.0048245 |  | C16H13NOS
4 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2063 | 12.5429 | 372.6697 | 0.0053976 | 0.0067138 |  | C18H18O3
4 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.2979 | 12.417 | 538.0012 | 0.0053435 | 0.0096923 |  | C11H11NO2
6 | Nonanal | 11.3379 | 31.2481 | 1290 | 0.013447 | 0.02324 | 124-19-6 | C9H18O
2 | Cyclopentasiloxane, decamethyl- | 11.7042 | 145.0471 | 5117 | 0.062419 | 0.092185 | 541-02-6 | C10H30O5Si5
3 | Benzoic acid | 11.9788 | 16209.6528 | 183384.6427 | 6.9756 | 3.3037 | 65-85-0 | C7H6O2
4 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0703 | 6.1664 | 695.7049 | 0.0026536 | 0.012533 | 71127-22-5 | C25H23NO10
4 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 56.8567 | 2216 | 0.024467 | 0.039922 | 513-20-2 | C9H14O
4 | N'-methylbenzohydrazide | 12.1791 | 163.4905 | 6554.7457 | 0.070355 | 0.11809 | 1660-24-8 | C8H10N2O
5 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2706 | 3.2007 | 299.1877 | 0.0013774 | 0.00539 | 71127-22-5 | C25H23NO10
5 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.3793 | 1.9857 | 193.9548 | 0.00085454 | 0.0034942 |  | C8H5NO3
5 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3793 | 1.9857 | 193.9548 | 0.00085454 | 0.0034942 |  | C21H22O4
9 | Decanal | 12.4709 | 7.2489 | 350.5818 | 0.0031194 | 0.0063159 | 112-31-2 | C10H20O
7 | Methyl salicylate | 12.5338 | 37.0445 | 1506 | 0.015942 | 0.027131 | 119-36-8 | C8H8O3
12 | Benzoic acid, 2-formyl- | 12.7226 | 26.5025 | 790.0005 | 0.011405 | 0.014232 | 119-67-5 | C8H6O3
17 | Acetic acid, phenyl- | 12.7799 | 105.7369 | 3667.6643 | 0.045502 | 0.066074 | 103-82-2 | C8H8O2
4 | (2-nitroanilino) benzoate | 12.8543 | 3.448 | 276.2664 | 0.0014838 | 0.004977 | 127526-86-7 | C13H10N2O4
5 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.9 | 5.7398 | 192.0362 | 0.00247 | 0.0034596 |  | C19H19NO3
9 | 2-Coumaranone | 12.9458 | 116.1596 | 3362 | 0.049987 | 0.060568 | 553-86-6 | C8H6O2
10 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 199.2986 | 3195.9771 | 0.085765 | 0.057577 | 70-11-1 | C8H7BrO
9 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.1175 | 38.315 | 671.2732 | 0.016488 | 0.012093 | 65128-29-2 | C11H15Br
2 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1346 | 2.947 | 112.975 | 0.0012682 | 0.0020353 |  | C14H13NO5
6 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1919 | 2.6893 | 191.0102 | 0.0011573 | 0.0034411 |  | C19H19N3O4
7 | Salicylic acid | 13.312 | 56.9662 | 1262 | 0.024514 | 0.022735 | 69-72-7 | C7H6O3
6 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 10.3066 | 385 | 0.0044353 | 0.0069359 | 540-97-6 | C12H36O6Si6
5 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 155.7315 | 5349.116 | 0.067017 | 0.096366 | 5779-72-6 | C10H12O
6 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6382 | 48.8653 | 1876 | 0.021028 | 0.033797 | 55211-84-2 | C9H10O4
19 | Phthalic anhydride | 13.7984 | 261.4074 | 7035 | 0.11249 | 0.12674 | 85-44-9 | C8H4O3
6 | 1,2-Bis(benzoylmethylene)adamantane | 13.8442 | 50.6811 | 1355.1251 | 0.02181 | 0.024413 |  | C26H28O2
11 | 1(3H)-Isobenzofuranone | 14.1646 | 115.7959 | 2789.6641 | 0.049831 | 0.050257 | 87-41-2 | C8H6O2
8 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2504 | 3.7142 | 306 | 0.0015984 | 0.0055127 |  | C17H17N3O2S
7 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.382 | 7.4226 | 231 | 0.0031942 | 0.0041616 |  | C17H17N3O2S
19 | Benzoylformic acid | 14.5022 | 705.7744 | 26754.2295 | 0.30372 | 0.48199 | 611-73-4 | C8H6O3
2 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.7883 | 56.3532 | 2766 | 0.024251 | 0.049831 |  | C15H38O2Si3
4 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 7.1261 | 456 | 0.0030666 | 0.008215 |  | C9H10O2
2 | Vinyl benzhydryl sulfide | 14.9313 | 16.0381 | 730 | 0.0069017 | 0.013151 | 54663-82-0 | C15H14S
5 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3204 | 1.0409 | 186.6961 | 0.00044793 | 0.0033634 |  | C34H59N
2 | Heptasiloxane, hexadecamethyl- | 15.5894 | 26.6342 | 1240 | 0.011462 | 0.022339 | 541-01-5 | C16H48O6Si7
12 | Phenylmaleic anhydride | 15.7725 | 4119.8789 | 151764.4862 | 1.7729 | 2.7341 | 36122-35-7 | C10H6O3
9 | 4-Methoxy-1,2-naphthoquinone | 16.0128 | 232.4741 | 8113.4731 | 0.10004 | 0.14617 | 18916-57-9 | C11H8O3
6 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.07 | 5.5109 | 233.9534 | 0.0023715 | 0.0042148 |  | C34H59N
5 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.2016 | 9.6873 | 358 | 0.0041688 | 0.0064495 | 19095-23-9 | C14H44O6Si7
11 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 91.5973 | 4124.9767 | 0.039417 | 0.074313 | 51306-96-8 | C11H8O2
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3332 | 0.61885 | 363.8864 | 0.00026631 | 0.0065555 |  | C34H59N
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3904 | 1.2204 | 195.9701 | 0.00052518 | 0.0035305 |  | C34H59N
10 | Benzophenone | 16.6594 | 229.7901 | 7836.1261 | 0.098886 | 0.14117 | 119-61-9 | C13H10O
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7109 | 20.9912 | 731.3542 | 0.0090332 | 0.013176 |  | C34H59N
11 | 7-oxohyocholic acid methyl ester | 16.7109 | 20.9912 | 731.3542 | 0.0090332 | 0.013176 |  | C25H40O5
4 | Hyocholic acid methylester | 16.7967 | 10.9851 | 653.6733 | 0.0047272 | 0.011776 |  | C25H42O5
10 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 37.4233 | 1882 | 0.016105 | 0.033905 | 556-69-4 | C18H54O7Si8
8 | 7-oxohyocholic acid methyl ester | 16.9111 | 13.349 | 693.8672 | 0.0057445 | 0.0125 |  | C25H40O5
5 | Hyocholic acid methylester | 16.9111 | 13.349 | 693.8672 | 0.0057445 | 0.0125 |  | C25H42O5
13 | 7-oxohyocholic acid methyl ester | 17.0199 | 20.1795 | 920.412 | 0.0086839 | 0.016582 |  | C25H40O5
8 | Hyocholic acid methylester | 17.2144 | 16.1295 | 667.5647 | 0.0069411 | 0.012026 |  | C25H42O5
8 | Hyocholic acid methylester | 17.2831 | 21.531 | 693.7789 | 0.0092655 | 0.012499 |  | C25H42O5
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2831 | 21.531 | 693.7789 | 0.0092655 | 0.012499 |  | C34H59N
8 | Hyocholic acid methylester | 17.3918 | 8.9779 | 606.5257 | 0.0038635 | 0.010927 |  | C25H42O5
23 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 419.9197 | 17408.2817 | 0.18071 | 0.31362 |  | C21H26O2Si
15 | Hyocholic acid methylester | 17.5177 | 6.2936 | 495.8324 | 0.0027083 | 0.0089326 |  | C25H42O5
7 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.007101 | 0.018241 |  | C25H42O5
9 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.007101 | 0.018241 |  | C25H42O5
6 | Hyocholic acid methylester | 17.6836 | 21.216 | 815.8013 | 0.00913 | 0.014697 |  | C25H42O5
12 | Hyocholic acid methylester | 17.7923 | 0.37068 | 104.8974 | 0.00015952 | 0.0018898 |  | C25H42O5
2 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049291 | 0.019672 |  | C25H42O5
14 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049291 | 0.019672 |  | C25H42O5
9 | Hyocholic acid methylester | 17.964 | 34.3742 | 1212.5 | 0.014792 | 0.021844 |  | C25H42O5
7 | Hyocholic acid methylester | 18.0613 | 4.7689 | 436.6757 | 0.0020522 | 0.0078669 |  | C25H42O5
14 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 292.4014 | 12702.3828 | 0.12583 | 0.22884 |  | C21H26O2Si
6 | Hyocholic acid methylester | 18.1013 | 7.4856 | 644.332 | 0.0032213 | 0.011608 |  | C25H42O5
9 | Hyocholic acid methylester | 18.1814 | 49.1974 | 1938.8832 | 0.021171 | 0.03493 |  | C25H42O5
5 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032309 | 0.035428 |  | C25H42O5
7 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032309 | 0.035428 |  | C25H42O5
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 6.7692 | 343.8681 | 0.002913 | 0.0061949 | 19095-24-0 | C16H50O7Si8
5 | Hyocholic acid methylester | 18.3473 | 7.5738 | 999.5389 | 0.0032593 | 0.018007 |  | C25H42O5
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3817 | 10.4723 | 408.6667 | 0.0045066 | 0.0073623 | 19095-24-0 | C16H50O7Si8
6 | Hyocholic acid methylester | 18.4504 | 74.9208 | 1893.2529 | 0.032241 | 0.034108 |  | C25H42O5
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.4904 | 7.5432 | 519.1846 | 0.0032461 | 0.0093533 | 19095-24-0 | C16H50O7Si8
10 | Hyocholic acid methylester | 18.5648 | 23.3119 | 1049.6567 | 0.010032 | 0.01891 |  | C25H42O5
9 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 29.6583 | 919.6147 | 0.012763 | 0.016567 | 19095-24-0 | C16H50O7Si8
17 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8223 | 15.1154 | 425.4068 | 0.0065047 | 0.0076639 | 19095-24-0 | C16H50O7Si8
14 | Hyocholic acid methylester | 18.8566 | 46.0034 | 2006.0812 | 0.019797 | 0.03614 |  | C25H42O5
2 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 1.9224 | 211.0097 | 0.00082726 | 0.0038014 | 995-82-4 | C12H38O5Si6
15 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 3.3499 | 193.6912 | 0.0014416 | 0.0034894 | 19095-24-0 | C16H50O7Si8
13 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.137 | 8.0699 | 445.2709 | 0.0034728 | 0.0080217 | 995-82-4 | C12H38O5Si6
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2057 | 2.8144 | 319.0204 | 0.0012111 | 0.0057473 | 995-82-4 | C12H38O5Si6
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.28 | 0.87577 | 437.1056 | 0.00037687 | 0.0078746 | 19095-24-0 | C16H50O7Si8
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3659 | 8.9544 | 374.2497 | 0.0038534 | 0.0067422 | 995-82-4 | C12H38O5Si6
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077065 | 0.0030568 | 19095-24-0 | C16H50O7Si8
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077065 | 0.0030568 | 19095-24-0 | C16H50O7Si8
9 | Hyocholic acid methylester | 19.5089 | 29.1144 | 1520.1581 | 0.012529 | 0.027386 |  | C25H42O5
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.0034621 | 0.0080969 | 19095-24-0 | C16H50O7Si8
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.0034621 | 0.0080969 | 19095-24-0 | C16H50O7Si8
6 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7779 | 0.79462 | 87.3333 | 0.00034195 | 0.0015733 | 19095-24-0 | C16H50O7Si8
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8294 | 4.5441 | 594 | 0.0019555 | 0.010701 | 19095-24-0 | C16H50O7Si8
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.898 | 23.2687 | 793.1998 | 0.010013 | 0.01429 | 19095-24-0 | C16H50O7Si8
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9838 | 8.7677 | 328.0599 | 0.003773 | 0.0059101 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 34346.7011 | 845258.7113 | 14.7805 | 0

## Calibration (hidden)
Calibration
Calibration Details |  | Acetanilide
Calibration Type |  | Lin, WithOffset |  |  | Offset (C0) |  | 0.0050568
Evaluation Type |  | Area |  |  | Slope (C1) |  | 0.034307
Number of Calibration Points |  | 6 |  |  | Curve (C2) |  | 0
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | 0.99999
Calibration Plot |  | Acetanilide
Calibration Results |  | Acetanilide
No. | Injection Name | Level | X Value | Y Value | Residual | Area | Height
|  |  | ng | mAU*min | % | mAU*min | mAU
|  |  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  |  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 01 | 20 | 0.69372 | 0.012576 | 0.69372 | 39.0107
2 | Alkylphenones 2 | 01 | 40 | 1.3699 | -0.018646 | 1.3699 | 73.7149
3 | Alkylphenones 3 | 01 | 80 | 2.7486 | -0.001345 | 2.7486 | 137.542
4 | Alkylphenones 4 | 01 | 120 | 4.1266 | 0.0039116 | 4.1266 | 194.9695
5 | Alkylphenones 5 | 01 | 160 | 5.5066 | 0.007722 | 5.5066 | 244.8088
6 | Alkylphenones 6 | 01 | 200 | 6.8555 | -0.0055149 | 6.8555 | 291.0862

## Peak Analysis (hidden)
Peak Analysis
Injection Details
Injection Name: |  | Alkylphenones 1 |  |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peakname | Ret.Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
1 | Acetanilide | 0.17017 | 0.016292 | M | 2.7203 | 1.4766 | 604
2 | Acetophenone | 0.24583 | 0.01653 | MB | 4.0275 | 1.4327 | 1225
3 | Propiophenone | 0.36283 | 0.017749 | M | n.a. | 1.3522 | 2315

## SST (hidden)
Chromatogram and SST Results
Injection Details
Injection Name: |  | Alkylphenones 1 |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Name
1 | System Suitability Test Case 1 | All Injections | Number: 2 | Not Executed | Alkylphenones 1
2 | System Suitability Test Case 2 | injection.name starts with "Alkylphenones" | Acetanilide | Not Executed | Alkylphenones 1
3 | System Suitability Test Case 3 | (injection.number>=1 AND injection.number<=7) | Highest: peak.area | Not Executed | Alkylphenones 1
4 | System Suitability Test Case 4 | All Injections | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
5 | System Suitability Test Case 5 | injection.position = RC9 |  | Not Executed | Alkylphenones 1
6 | System Suitability Test Case 6 | Injection Type: Unknown | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
| Number of executed test cases: | 0 | Total Result: | Not Executed

## Summary (hidden)
Summary
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
By Component |  | Acetanilide
No | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | mAU*min | mAU | ng | %
|  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 0.17017 | 0.69372 | 39.0107 | 20.0733 | 32.5524 | M
2 | Alkylphenones 2 | 0.17167 | 1.3699 | 73.7149 | 39.7826 | 32.508 | M
3 | Alkylphenones 3 | 0.174 | 2.7486 | 137.542 | 79.9686 | 32.3539 | M
4 | Alkylphenones 4 | 0.17583 | 4.1266 | 194.9695 | 120.1368 | 32.4486 | BM
5 | Alkylphenones 5 | 0.17817 | 5.5066 | 244.8088 | 160.3601 | 32.4887 | M
6 | Alkylphenones 6 | 0.17983 | 6.8555 | 291.0862 | 199.6785 | 32.5299 | BM
7 | Alkylphenones 7 | 0.1715 | 5.223 | 278.0937 | 152.0952 | 33.2915 | M

## Injection Audit Trail (hidden)
Injection Audit Trail
Injection Details
Injection Name: |  | Alkylphenones 1 | Run Time (min): | 0.45
Vial Number: |  | RA1 | Injection Volume: | 2
Injection Type: |  | Calibration Standard | Channel: | UV_VIS_1
Calibration Level: |  | 01 | Wavelength: | 244
Instrument Method: |  | CM_OQ | Bandwidth: | 4
Processing Method: |  | CM_OQ | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
(UTC+02:00) | min
13:14:22 |  | Audit trail of injection "chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/515.smp". Executed 7/12/2022 on instrument CM_OQ (instrument controller DEGER-6FWTXT2).
13:14:22 |  | Start of injection 1 "Alkylphenones 1", using instrument method "CM_OQ".
13:14:22 | 0.000 | Entered stage "Instrument Setup"
13:14:22 | 0.000 | UV.3DFIELD.MinWavelength = 190.0 nm
13:14:22 | 0.000 | UV.3DFIELD.MaxWavelength = 350.0 nm
13:14:22 | 0.000 | UV.3DFIELD.BunchWidth = 1 nm
13:14:22 | 0.000 | UV.ResponseTime = 0.030 s
13:14:22 | 0.000 | UV.Data_Collection_Rate = 100 Hz
13:14:22 | 0.000 | ColumnOven.Temperature.Nominal = 20.0 °C
13:14:22 | 0.000 | PumpModule.Pump.%A.Equate = "Water"
13:14:22 | 0.000 | PumpModule.Pump.%B.Equate = "Acetonitrile"
13:14:22 | 0.000 | PumpModule.Pump.%C.Equate = "%C"
13:14:22 | 0.000 | PumpModule.Pump.%D.Equate = "%D"
13:14:22 | 0.000 | PumpModule.Pump.Pressure.LowerLimit = 0 bar
13:14:22 | 0.000 | PumpModule.Pump.Pressure.UpperLimit = 800 bar
13:14:22 | 0.000 | UV.UV_VIS_1.Wavelength = 244.0 nm
13:14:22 | 0.000 | UV.UV_VIS_1.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_1.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_1.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.3DFIELD.RefWavelength = Off
13:14:22 | 0.000 | UV.3DFIELD.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Wavelength = 256.0 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_2.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_2.RefBandwidth = 1 nm
13:14:22 | 0.000 | Entered stage "Inject Preparation"
13:14:22 | 0.000 | UV.Autozero
13:14:22 | 0.000 | Wait ColumnOven.Ready And Sampler.Ready And UV.Ready
13:14:27 | 0.000 | Wait finished
13:14:27 | 0.000 | Entered stage "Inject"
13:14:27 | 0.000 | Sampler.Inject
13:14:27 | 0.000 | Injecting from vial position RA1.
13:14:27 | 0.000 | Injection Volume is 2.000 µl.
13:14:27 | 0.000 | Waiting for inject response on UM3WPSInjectState1.
13:14:29 | 0.000 | Got inject response.
13:14:29 | 0.000 | Entered stage "Start Run"
13:14:29 | 0.000 | UV.UV_VIS_1.AcqOn
13:14:29 | 0.000 | UV.UV_VIS_2.AcqOn
13:14:29 | 0.000 | UV.3DFIELD.AcqOn
13:14:29 | 0.000 | Entered stage "Run"
13:14:29 | 0.000 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:29 | 0.000 | PumpModule.Pump.%B.Value Gradient Start = 35.0 %, End = 90.0 %, Duration = 0.300 min
13:14:29 | 0.000 | PumpModule.Pump.%C.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.%D.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.Curve = 5
13:14:29 | 0.000 | Reading from simulation data file C:\Program Files (x86)\Thermo\Chromeleon\bin\DDK\V1\Drivers\Dionex\DAD3000\cmoq_1.dad3000.
13:14:47 | 0.300 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:47 | 0.300 | PumpModule.Pump.%B.Value = 90.0 %
13:14:47 | 0.300 | PumpModule.Pump.%C.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.%D.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:56 | 0.450 | PumpModule.Pump.%B.Value = 90.0 %
13:14:56 | 0.450 | PumpModule.Pump.%C.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.%D.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | UV.3DFIELD.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_1.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_2.AcqOff
13:14:56 | 0.450 | Entered stage "Stop Run"
13:14:56 | 0.450 | Terminating instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth. Waiting for instrument to finish processing of current injection ...
13:14:56 | 0.451 | Closing simulation data file.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 5": Injection specification criteria has not been met
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 6": Injection specification criteria has not been met
13:14:56 |  | End of injection "Alkylphenones 1".

## Chromatogram (hidden)
Chromatogram