## Overview (hidden)
Sequence Overview
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
Injection Details
No | Injection Name | Position | Type | Level | Inject Time | Status
1 | Alkylphenones 1 | RA1 | Calibration Standard | 01 | 2022-07-12 13:14 | Finished
2 | Alkylphenones 2 | RA1 | Calibration Standard | 01 | 2022-07-12 13:15 | Finished
3 | Alkylphenones 3 | RA1 | Calibration Standard | 01 | 2022-07-12 13:16 | Finished
4 | Alkylphenones 4 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
5 | Alkylphenones 5 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
6 | Alkylphenones 6 | RA1 | Calibration Standard | 01 | 2022-07-12 13:18 | Finished
7 | Alkylphenones 7 | RA2 | Unknown |  | 2022-07-12 13:19 | Finished

## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p14_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | TIC
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | p14_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 23:44 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC
1 | Bicyclo[3.2.1]octane, 2,4-dimethoxy- | 3.1212 | 17.0949 | 1873.8379 | 0.010848 | 0.041295 | 79692-84-5 | C10H18O2
2 | Isoprene | 3.1727 | 402.8868 | 2400.0811 | 0.25565 | 0.052892 | 78-79-5 | C5H8
3 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.3043 | 35.5654 | 2317.6014 | 0.022568 | 0.051074 | 375-43-9 | C4Cl6F4
4 | Isoprene | 3.3386 | 63.4278 | 2068.9068 | 0.040248 | 0.045593 | 78-79-5 | C5H8
6 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.516 | 83.0423 | 2273.2254 | 0.052695 | 0.050096 | 375-43-9 | C4Cl6F4
7 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6018 | 11.86 | 1585.9728 | 0.0075258 | 0.034951 | 375-43-9 | C4Cl6F4
8 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6762 | 15.5805 | 1237.6402 | 0.0098867 | 0.027274 | 375-43-9 | C4Cl6F4
9 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.8593 | 155.4701 | 2713.9113 | 0.098654 | 0.059808 |  | C5H10O2S
10 | 1-Pentanol | 4.071 | 18.9552 | 894.2659 | 0.012028 | 0.019707 | 71-41-0 | C5H12O
12 | N-(diethylcarbamothioyl)benzamide | 4.2484 | 12.3544 | 852.9209 | 0.0078395 | 0.018796 |  | C12H16N2OS
13 | rac-1-Benzoyl-1,3,3a,6,7,7a-hexahydro-3-methyl-2H-indol-2-one | 4.5517 | 21.8987 | 465.9906 | 0.013896 | 0.010269 |  | C16H17NO2
16 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.1868 | 670.0942 | 8033.8527 | 0.42521 | 0.17705 |  | C18H29DO5
17 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.2154 | 237.7991 | 6740.7292 | 0.1509 | 0.14855 | 66728-04-9 | C9H11ClO
19 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3184 | 283.4235 | 5079.696 | 0.17985 | 0.11194 |  | C18H29DO5
20 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3642 | 141.7537 | 3361.9097 | 0.08995 | 0.074088 |  | C18H29DO5
24 | (1R,2S)-1-phenyl-2-(propylamino)-1-propanol | 6.6459 | 12.3132 | 526.299 | 0.0078134 | 0.011598 |  | C12H19NO
25 | Benzyl (E)-1-hex-1-enyl sulfoxide | 6.8977 | 189.1668 | 5527.4496 | 0.12004 | 0.12181 |  | C13H18OS
26 | [(2R,3S,4R,5S)-3,4-bis(oxidanyl)-5-(8-phenylmethoxy-[1,2,4]triaz | 7.0007 | 11.7231 | 692.5676 | 0.007439 | 0.015262 |  | C24H22N4O6
27 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 18.3555 | 639.6406 | 0.011648 | 0.014096 |  | C13H17F2IOSi
28 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.3097 | 56.2503 | 2237 | 0.035694 | 0.049298 |  | C7H13NOSe
29 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 355.4006 | 4751.3717 | 0.22552 | 0.10471 | 541-05-9 | C6H18O3Si3
30 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6816 | 213.5086 | 2485.667 | 0.13548 | 0.054778 |  | C7H22O2Si3
31 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 69.4463 | 1256.8524 | 0.044067 | 0.027698 | 55577-25-8 | C15H13N
32 | 2-(4-Methylphenyl)-1H-indole | 7.8819 | 17.7279 | 748.1589 | 0.011249 | 0.016488 | 55577-25-8 | C15H13N
33 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 13.7739 | 812.8653 | 0.0087403 | 0.017913 | 130293-33-3 | C19H16CrO6
34 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 14.7713 | 1112.227 | 0.0093732 | 0.024511 |  | C15H11BrO
35 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1222 | 36.2711 | 1885.546 | 0.023016 | 0.041553 |  | C15H11BrO
36 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1794 | 28.2482 | 1547.5133 | 0.017925 | 0.034103 | 98-15-7 | C7H4ClF3
38 | o-Xylene | 8.3625 | 52.296 | 2064.5 | 0.033185 | 0.045496 | 95-47-6 | C8H10
39 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4254 | 16.9547 | 673 | 0.010759 | 0.014831 |  | C25H21NO2S2
40 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4712 | 97.9104 | 3259 | 0.062129 | 0.07182 |  | C17H15NO3
41 | Phenylethyne | 8.5513 | 275.3784 | 9633.2572 | 0.17474 | 0.21229 | 536-74-3 | C8H6
42 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6257 | 10.9765 | 494.6495 | 0.0069652 | 0.010901 |  | C25H21NO2S2
43 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.7116 | 15.2077 | 837.9796 | 0.0096501 | 0.018467 |  | C17H26N2S
44 | 3,4-dimethyl-Heptane | 8.7917 | 75.9481 | 2391.2109 | 0.048193 | 0.052696 |  | C9H20
45 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.8203 | 85.4727 | 2378.0507 | 0.054237 | 0.052406 |  | C13H19N
46 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.9633 | 10.4057 | 622.8826 | 0.006603 | 0.013727 |  | C12H13NO2S
47 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.032 | 22.9681 | 748.4638 | 0.014575 | 0.016494 |  | C16H20O
48 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.0663 | 34.6817 | 1725.3914 | 0.022007 | 0.038023 |  | C14H13NO2S
49 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1235 | 28.9275 | 1020.5417 | 0.018356 | 0.02249 |  | C15H9NO2
51 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 115.4327 | 2427.783 | 0.073248 | 0.053502 | 113631-70-2 | C16H12N4O3
52 | 2,4-Diphenyl-2-oxazolin-5-one | 9.341 | 43.4929 | 1375.6349 | 0.027599 | 0.030315 | 28687-81-2 | C15H11NO2
53 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.3925 | 34.0515 | 1026.9047 | 0.021608 | 0.02263 | 113631-70-2 | C16H12N4O3
54 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.444 | 23.3355 | 930.0414 | 0.014808 | 0.020496 | 113631-70-2 | C16H12N4O3
55 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.6042 | 346.3457 | 6406.8678 | 0.21978 | 0.14119 |  | C18H20N2O3
56 | Benzaldehyde | 9.7301 | 8864.5707 | 237427.5207 | 5.6251 | 5.2323 | 100-52-7 | C7H6O
57 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 263.385 | 9541.8104 | 0.16713 | 0.21028 | 556-67-2 | C8H24O4Si4
58 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9246 | 117.059 | 2909.8881 | 0.07428 | 0.064126 | 103240-21-7 | C16H16N2O2Si
59 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9589 | 13.307 | 832.636 | 0.008444 | 0.018349 |  | C24H26N2OS
60 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 127.1735 | 4439.1896 | 0.080699 | 0.097828 |  | C32H30I2N6Pd
61 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1363 | 66.8089 | 3601.3404 | 0.042394 | 0.079364 |  | C18H18N2O4
62 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1764 | 17.143 | 823.2 | 0.010878 | 0.018141 |  | C7H12F2
63 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 15.9199 | 1107.3906 | 0.010102 | 0.024404 |  | C21H22O4
64 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 12.2534 | 616.7329 | 0.0077754 | 0.013591 |  | C22H21NO2
65 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4339 | 97.5701 | 3224.2307 | 0.061914 | 0.071054 |  | C21H22O4
66 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 85.69 | 2579.9188 | 0.054375 | 0.056855 |  | C10H14O2
67 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 47.6138 | 2071.4054 | 0.030214 | 0.045648 |  | C21H18O2
68 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.657 | 31.9127 | 1093.117 | 0.02025 | 0.024089 | 74597-12-9 | C15H14O
69 | Benzeneacetaldehyde | 10.7486 | 2446.2024 | 92753.9163 | 1.5522 | 2.0441 | 122-78-1 | C8H8O
70 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 240.6879 | 7768.3514 | 0.15273 | 0.17119 | 67177-15-5 | C15H18O3
71 | Benzenecarbothioic acid | 10.8859 | 43.2167 | 1708.5229 | 0.027423 | 0.037651 | 98-91-9 | C7H6OS
72 | 2,4-Difluorophenyl Benzoate | 10.9145 | 90.7171 | 2304.841 | 0.057565 | 0.050793 |  | C13H8F2O2
73 | Acetophenone | 11.0518 | 15777.0191 | 563045.4476 | 10.0114 | 12.4081 | 98-86-2 | C8H8O
74 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1148 | 513.2068 | 11783.9288 | 0.32566 | 0.25969 | 1075-06-5 | C8H8O3
75 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.1777 | 39.2346 | 1717.3639 | 0.024896 | 0.037846 |  | C16H13NOS
76 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2235 | 11.7055 | 430.2635 | 0.0074278 | 0.0094819 |  | C18H18O3
77 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.275 | 19.7827 | 1441.5641 | 0.012553 | 0.031768 |  | C11H11NO2
78 | Nonanal | 11.3379 | 242.2127 | 8993.857 | 0.1537 | 0.1982 | 124-19-6 | C9H18O
80 | Cyclopentasiloxane, decamethyl- | 11.6984 | 2199.847 | 47950.0172 | 1.3959 | 1.0567 | 541-02-6 | C10H30O5Si5
86 | Benzoic acid | 11.9845 | 21959.6328 | 670109.1378 | 13.9346 | 14.7675 | 65-85-0 | C7H6O2
87 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0875 | 90.4214 | 3238.6028 | 0.057377 | 0.071371 | 71127-22-5 | C25H23NO10
88 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 472.9888 | 15431.2773 | 0.30014 | 0.34007 | 513-20-2 | C9H14O
89 | N'-methylbenzohydrazide | 12.1848 | 425.6901 | 16090.112 | 0.27012 | 0.35458 | 1660-24-8 | C8H10N2O
90 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2992 | 26.5442 | 1426.3453 | 0.016844 | 0.031433 | 71127-22-5 | C25H23NO10
91 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3622 | 30.1166 | 1926.2675 | 0.019111 | 0.04245 |  | C21H22O4
92 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.4022 | 23.5606 | 1371.718 | 0.01495 | 0.030229 |  | C8H5NO3
93 | Decanal | 12.4423 | 149.8693 | 5645.359 | 0.0951 | 0.12441 | 112-31-2 | C10H20O
94 | Methyl salicylate | 12.5338 | 231.5009 | 6999.3333 | 0.1469 | 0.15425 | 119-36-8 | C8H8O3
97 | Benzoic acid, 2-formyl- | 12.7112 | 226.8668 | 4789.7002 | 0.14396 | 0.10555 | 119-67-5 | C8H6O3
98 | Acetic acid, phenyl- | 12.7799 | 417.6074 | 10857.4003 | 0.26499 | 0.23927 | 103-82-2 | C8H8O2
99 | (2-nitroanilino) benzoate | 12.8543 | 6.1848 | 504.0204 | 0.0039246 | 0.011107 | 127526-86-7 | C13H10N2O4
100 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.8943 | 99.7474 | 4276.2201 | 0.063295 | 0.094237 |  | C19H19NO3
101 | 2-Coumaranone | 12.9401 | 520.4146 | 14730.3397 | 0.33023 | 0.32462 | 553-86-6 | C8H6O2
102 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 447.8666 | 7901.4649 | 0.2842 | 0.17413 | 70-11-1 | C8H7BrO
103 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.0946 | 152.6253 | 3234.1651 | 0.096849 | 0.071273 | 65128-29-2 | C11H15Br
104 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1518 | 27.8964 | 1231.575 | 0.017702 | 0.027141 |  | C14H13NO5
105 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1861 | 25.9063 | 1086.2985 | 0.016439 | 0.023939 |  | C19H19N3O4
108 | Salicylic acid | 13.3063 | 354.4313 | 7968.3878 | 0.22491 | 0.1756 | 69-72-7 | C7H6O3
111 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 76.9156 | 2789.7429 | 0.048807 | 0.061479 | 540-97-6 | C12H36O6Si6
113 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 910.9481 | 30093.3722 | 0.57805 | 0.66318 | 5779-72-6 | C10H12O
114 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6267 | 158.1473 | 6312.6976 | 0.10035 | 0.13912 | 55211-84-2 | C9H10O4
116 | Phthalic anhydride | 13.7984 | 1229.7398 | 26763.3259 | 0.78034 | 0.5898 | 85-44-9 | C8H4O3
117 | 1,2-Bis(benzoylmethylene)adamantane | 13.8613 | 56.5026 | 1854.3265 | 0.035854 | 0.040865 |  | C26H28O2
120 | 1(3H)-Isobenzofuranone | 14.1646 | 346.2749 | 7894.4813 | 0.21973 | 0.17397 | 87-41-2 | C8H6O2
121 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2619 | 21.866 | 965.4438 | 0.013875 | 0.021276 |  | C17H17N3O2S
123 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.3763 | 33.5814 | 1118.8078 | 0.021309 | 0.024656 |  | C17H17N3O2S
125 | Benzoylformic acid | 14.5022 | 2183.4685 | 70747.255 | 1.3855 | 1.5591 | 611-73-4 | C8H6O3
128 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.794 | 172.3021 | 7167.4264 | 0.10934 | 0.15795 |  | C15H38O2Si3
130 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 115.1319 | 4189.9161 | 0.073057 | 0.092335 |  | C9H10O2
131 | Vinyl benzhydryl sulfide | 14.9313 | 99.096 | 3650.4195 | 0.062882 | 0.080446 | 54663-82-0 | C15H14S
136 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3319 | 31.8324 | 1081.1464 | 0.020199 | 0.023826 |  | C34H59N
141 | Heptasiloxane, hexadecamethyl- | 15.5951 | 142.1603 | 5411.2131 | 0.090208 | 0.11925 | 541-01-5 | C16H48O6Si7
144 | Phenylmaleic anhydride | 15.7725 | 9521.4491 | 329094.3622 | 6.0419 | 7.2524 | 36122-35-7 | C10H6O3
147 | 4-Methoxy-1,2-naphthoquinone | 16.0071 | 1617.3028 | 35553.7 | 1.0263 | 0.78351 | 18916-57-9 | C11H8O3
148 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.0872 | 70.4237 | 2244.6013 | 0.044688 | 0.049465 |  | C34H59N
149 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.1902 | 59.9051 | 4649.6197 | 0.038013 | 0.10247 | 19095-23-9 | C14H44O6Si7
151 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 481.382 | 16891.4 | 0.30546 | 0.37224 | 51306-96-8 | C11H8O2
152 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3504 | 53.2758 | 1851.3935 | 0.033806 | 0.0408 |  | C34H59N
153 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.4305 | 80.0114 | 4197.8827 | 0.050772 | 0.092511 |  | C34H59N
157 | Benzophenone | 16.6594 | 1604.3197 | 44617.4469 | 1.018 | 0.98325 | 119-61-9 | C13H10O
158 | 7-oxohyocholic acid methyl ester | 16.7109 | 357.4837 | 9129.8352 | 0.22684 | 0.2012 |  | C25H40O5
159 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7452 | 66.511 | 2886.5637 | 0.042205 | 0.063612 |  | C34H59N
160 | Hyocholic acid methylester | 16.7967 | 55.3883 | 2069.4823 | 0.035147 | 0.045606 |  | C25H42O5
161 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 559.1041 | 22721.1178 | 0.35478 | 0.50072 | 556-69-4 | C18H54O7Si8
162 | Hyocholic acid methylester | 16.8825 | 38.6639 | 1970.2801 | 0.024534 | 0.04342 |  | C25H42O5
163 | 7-oxohyocholic acid methyl ester | 16.9398 | 240.1206 | 11266.1173 | 0.15237 | 0.24828 |  | C25H40O5
164 | 7-oxohyocholic acid methyl ester | 17.0199 | 295.3516 | 8638.7765 | 0.18742 | 0.19038 |  | C25H40O5
168 | Hyocholic acid methylester | 17.2087 | 116.546 | 5470.8524 | 0.073955 | 0.12056 |  | C25H42O5
169 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2545 | 139.3026 | 5228.0604 | 0.088395 | 0.11521 |  | C34H59N
170 | Hyocholic acid methylester | 17.2774 | 58.0804 | 3044.6175 | 0.036855 | 0.067096 |  | C25H42O5
171 | Hyocholic acid methylester | 17.3975 | 85.6908 | 3986.6712 | 0.054376 | 0.087856 |  | C25H42O5
172 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 1848.0777 | 50042 | 1.1727 | 1.1028 |  | C21H26O2Si
173 | Hyocholic acid methylester | 17.5234 | 237.426 | 5278.5243 | 0.15066 | 0.11633 |  | C25H42O5
174 | Hyocholic acid methylester | 17.615 | 18.7968 | 1936.4972 | 0.011928 | 0.042675 |  | C25H42O5
175 | Hyocholic acid methylester | 17.6493 | 71.9834 | 2839.7784 | 0.045677 | 0.062581 |  | C25H42O5
176 | Hyocholic acid methylester | 17.7065 | 47.4404 | 3377.6776 | 0.030103 | 0.074435 |  | C25H42O5
177 | Hyocholic acid methylester | 17.7465 | 71.0489 | 3468.3224 | 0.045084 | 0.076433 |  | C25H42O5
178 | Hyocholic acid methylester | 17.8095 | 147.6156 | 4350.0005 | 0.09367 | 0.095863 |  | C25H42O5
179 | Hyocholic acid methylester | 17.8667 | 275.2462 | 10704.999 | 0.17466 | 0.23591 |  | C25H42O5
180 | Hyocholic acid methylester | 17.9068 | 12.2572 | 1096.6942 | 0.0077779 | 0.024168 |  | C25H42O5
181 | Hyocholic acid methylester | 17.9525 | 1060.478 | 41084.8934 | 0.67293 | 0.90541 |  | C25H42O5
182 | Hyocholic acid methylester | 18.0212 | 69.3361 | 3572.9199 | 0.043998 | 0.078738 |  | C25H42O5
183 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 700.2484 | 29758.3193 | 0.44435 | 0.6558 |  | C21H26O2Si
184 | Hyocholic acid methylester | 18.1299 | 35.8952 | 2504.1072 | 0.022777 | 0.055184 |  | C25H42O5
185 | Hyocholic acid methylester | 18.2043 | 242.1797 | 7956.1568 | 0.15368 | 0.17533 |  | C25H42O5
186 | Hyocholic acid methylester | 18.2272 | 149.3536 | 6499.3705 | 0.094773 | 0.14323 |  | C25H42O5
187 | Hyocholic acid methylester | 18.2558 | 214.2877 | 6241.1045 | 0.13598 | 0.13754 |  | C25H42O5
188 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 187.4105 | 6615.0523 | 0.11892 | 0.14578 | 19095-24-0 | C16H50O7Si8
189 | Hyocholic acid methylester | 18.3359 | 176.9913 | 7545.475 | 0.11231 | 0.16628 |  | C25H42O5
190 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3702 | 116.8543 | 4454.7775 | 0.07415 | 0.098172 | 19095-24-0 | C16H50O7Si8
191 | Hyocholic acid methylester | 18.4504 | 145.5284 | 5736.8052 | 0.092346 | 0.12642 |  | C25H42O5
192 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.479 | 29.1609 | 1867.0466 | 0.018504 | 0.041145 | 19095-24-0 | C16H50O7Si8
193 | Hyocholic acid methylester | 18.5762 | 450.6909 | 11688.4584 | 0.28599 | 0.25758 |  | C25H42O5
194 | Hyocholic acid methylester | 18.6449 | 59.9161 | 4223.5694 | 0.03802 | 0.093077 |  | C25H42O5
195 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 117.3239 | 5627.6802 | 0.074448 | 0.12402 | 19095-24-0 | C16H50O7Si8
196 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.7307 | 93.202 | 4140.647 | 0.059142 | 0.091249 | 995-82-4 | C12H38O5Si6
197 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8051 | 611.2381 | 9879.3124 | 0.38786 | 0.21771 | 19095-24-0 | C16H50O7Si8
198 | Hyocholic acid methylester | 18.891 | 427.6931 | 10049.6212 | 0.27139 | 0.22147 |  | C25H42O5
199 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 13.9586 | 1935.6984 | 0.0088575 | 0.042658 | 995-82-4 | C12H38O5Si6
200 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9825 | 31.3705 | 2551.4774 | 0.019906 | 0.056228 | 995-82-4 | C12H38O5Si6
201 | Hyocholic acid methylester | 18.9997 | 14.1423 | 1891.0291 | 0.008974 | 0.041673 |  | C25H42O5
202 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 1089.4787 | 28169.8694 | 0.69133 | 0.62079 | 19095-24-0 | C16H50O7Si8
203 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1141 | 526.3117 | 10341.0452 | 0.33397 | 0.22789 | 995-82-4 | C12H38O5Si6
204 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.1656 | 14.3404 | 2671.7553 | 0.0090998 | 0.058879 | 19095-24-0 | C16H50O7Si8
205 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1999 | 112.5752 | 3188.6398 | 0.071435 | 0.070269 | 995-82-4 | C12H38O5Si6
206 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.2514 | 148.8389 | 4889.9099 | 0.094446 | 0.10776 | 19095-24-0 | C16H50O7Si8
207 | Hyocholic acid methylester | 19.2915 | 44.6728 | 2573.8287 | 0.028347 | 0.056721 |  | C25H42O5
208 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3315 | 31.9382 | 1944.1101 | 0.020267 | 0.042843 | 19095-24-0 | C16H50O7Si8
209 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3773 | 179.5033 | 6340.8947 | 0.1139 | 0.13974 | 995-82-4 | C12H38O5Si6
210 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4002 | 71.6548 | 4571.4473 | 0.045469 | 0.10074 | 19095-24-0 | C16H50O7Si8
211 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4574 | 385.3706 | 8962.2857 | 0.24454 | 0.19751 | 19095-24-0 | C16H50O7Si8
212 | Hyocholic acid methylester | 19.486 | 267.1091 | 8009.8316 | 0.1695 | 0.17652 |  | C25H42O5
213 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.589 | 63.1842 | 4444.3826 | 0.040094 | 0.097943 | 19095-24-0 | C16H50O7Si8
214 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6405 | 76.6431 | 6625.6278 | 0.048634 | 0.14601 | 19095-24-0 | C16H50O7Si8
215 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6691 | 74.6617 | 5263.88 | 0.047377 | 0.116 | 19095-24-0 | C16H50O7Si8
216 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7893 | 50.2199 | 3078.3163 | 0.031867 | 0.067838 | 19095-24-0 | C16H50O7Si8
217 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8236 | 37.5279 | 2658.4479 | 0.023814 | 0.058585 | 19095-24-0 | C16H50O7Si8
218 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9037 | 554.8099 | 10939.0517 | 0.35206 | 0.24107 | 19095-24-0 | C16H50O7Si8
219 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9896 | 157.8432 | 7521.6989 | 0.10016 | 0.16576 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 94214.1755 | 2959789.4328 | 59.784 | 0

## copy
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p14_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | TIC
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | p14_forest_4hr_UT |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 23:44 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
|  | min | counts*min | counts | % | %
TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC
1 | Bicyclo[3.2.1]octane, 2,4-dimethoxy- | 3.1212 | 17.0949 | 1873.8379 | 0.010848 | 0.041295 | 79692-84-5 | C10H18O2
2 | Isoprene | 3.1727 | 402.8868 | 2400.0811 | 0.25565 | 0.052892 | 78-79-5 | C5H8
3 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.3043 | 35.5654 | 2317.6014 | 0.022568 | 0.051074 | 375-43-9 | C4Cl6F4
4 | Isoprene | 3.3386 | 63.4278 | 2068.9068 | 0.040248 | 0.045593 | 78-79-5 | C5H8
6 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.516 | 83.0423 | 2273.2254 | 0.052695 | 0.050096 | 375-43-9 | C4Cl6F4
7 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6018 | 11.86 | 1585.9728 | 0.0075258 | 0.034951 | 375-43-9 | C4Cl6F4
8 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6762 | 15.5805 | 1237.6402 | 0.0098867 | 0.027274 | 375-43-9 | C4Cl6F4
9 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.8593 | 155.4701 | 2713.9113 | 0.098654 | 0.059808 |  | C5H10O2S
10 | 1-Pentanol | 4.071 | 18.9552 | 894.2659 | 0.012028 | 0.019707 | 71-41-0 | C5H12O
12 | N-(diethylcarbamothioyl)benzamide | 4.2484 | 12.3544 | 852.9209 | 0.0078395 | 0.018796 |  | C12H16N2OS
13 | rac-1-Benzoyl-1,3,3a,6,7,7a-hexahydro-3-methyl-2H-indol-2-one | 4.5517 | 21.8987 | 465.9906 | 0.013896 | 0.010269 |  | C16H17NO2
16 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.1868 | 670.0942 | 8033.8527 | 0.42521 | 0.17705 |  | C18H29DO5
17 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.2154 | 237.7991 | 6740.7292 | 0.1509 | 0.14855 | 66728-04-9 | C9H11ClO
19 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3184 | 283.4235 | 5079.696 | 0.17985 | 0.11194 |  | C18H29DO5
20 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3642 | 141.7537 | 3361.9097 | 0.08995 | 0.074088 |  | C18H29DO5
24 | (1R,2S)-1-phenyl-2-(propylamino)-1-propanol | 6.6459 | 12.3132 | 526.299 | 0.0078134 | 0.011598 |  | C12H19NO
25 | Benzyl (E)-1-hex-1-enyl sulfoxide | 6.8977 | 189.1668 | 5527.4496 | 0.12004 | 0.12181 |  | C13H18OS
26 | [(2R,3S,4R,5S)-3,4-bis(oxidanyl)-5-(8-phenylmethoxy-[1,2,4]triaz | 7.0007 | 11.7231 | 692.5676 | 0.007439 | 0.015262 |  | C24H22N4O6
27 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 18.3555 | 639.6406 | 0.011648 | 0.014096 |  | C13H17F2IOSi
28 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.3097 | 56.2503 | 2237 | 0.035694 | 0.049298 |  | C7H13NOSe
29 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 355.4006 | 4751.3717 | 0.22552 | 0.10471 | 541-05-9 | C6H18O3Si3
30 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6816 | 213.5086 | 2485.667 | 0.13548 | 0.054778 |  | C7H22O2Si3
31 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 69.4463 | 1256.8524 | 0.044067 | 0.027698 | 55577-25-8 | C15H13N
32 | 2-(4-Methylphenyl)-1H-indole | 7.8819 | 17.7279 | 748.1589 | 0.011249 | 0.016488 | 55577-25-8 | C15H13N
33 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 13.7739 | 812.8653 | 0.0087403 | 0.017913 | 130293-33-3 | C19H16CrO6
34 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 14.7713 | 1112.227 | 0.0093732 | 0.024511 |  | C15H11BrO
35 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1222 | 36.2711 | 1885.546 | 0.023016 | 0.041553 |  | C15H11BrO
36 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1794 | 28.2482 | 1547.5133 | 0.017925 | 0.034103 | 98-15-7 | C7H4ClF3
38 | o-Xylene | 8.3625 | 52.296 | 2064.5 | 0.033185 | 0.045496 | 95-47-6 | C8H10
39 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4254 | 16.9547 | 673 | 0.010759 | 0.014831 |  | C25H21NO2S2
40 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4712 | 97.9104 | 3259 | 0.062129 | 0.07182 |  | C17H15NO3
41 | Phenylethyne | 8.5513 | 275.3784 | 9633.2572 | 0.17474 | 0.21229 | 536-74-3 | C8H6
42 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6257 | 10.9765 | 494.6495 | 0.0069652 | 0.010901 |  | C25H21NO2S2
43 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.7116 | 15.2077 | 837.9796 | 0.0096501 | 0.018467 |  | C17H26N2S
44 | 3,4-dimethyl-Heptane | 8.7917 | 75.9481 | 2391.2109 | 0.048193 | 0.052696 |  | C9H20
45 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.8203 | 85.4727 | 2378.0507 | 0.054237 | 0.052406 |  | C13H19N
46 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.9633 | 10.4057 | 622.8826 | 0.006603 | 0.013727 |  | C12H13NO2S
47 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.032 | 22.9681 | 748.4638 | 0.014575 | 0.016494 |  | C16H20O
48 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.0663 | 34.6817 | 1725.3914 | 0.022007 | 0.038023 |  | C14H13NO2S
49 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1235 | 28.9275 | 1020.5417 | 0.018356 | 0.02249 |  | C15H9NO2
51 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 115.4327 | 2427.783 | 0.073248 | 0.053502 | 113631-70-2 | C16H12N4O3
52 | 2,4-Diphenyl-2-oxazolin-5-one | 9.341 | 43.4929 | 1375.6349 | 0.027599 | 0.030315 | 28687-81-2 | C15H11NO2
53 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.3925 | 34.0515 | 1026.9047 | 0.021608 | 0.02263 | 113631-70-2 | C16H12N4O3
54 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.444 | 23.3355 | 930.0414 | 0.014808 | 0.020496 | 113631-70-2 | C16H12N4O3
55 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.6042 | 346.3457 | 6406.8678 | 0.21978 | 0.14119 |  | C18H20N2O3
56 | Benzaldehyde | 9.7301 | 8864.5707 | 237427.5207 | 5.6251 | 5.2323 | 100-52-7 | C7H6O
57 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 263.385 | 9541.8104 | 0.16713 | 0.21028 | 556-67-2 | C8H24O4Si4
58 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9246 | 117.059 | 2909.8881 | 0.07428 | 0.064126 | 103240-21-7 | C16H16N2O2Si
59 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9589 | 13.307 | 832.636 | 0.008444 | 0.018349 |  | C24H26N2OS
60 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 127.1735 | 4439.1896 | 0.080699 | 0.097828 |  | C32H30I2N6Pd
61 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1363 | 66.8089 | 3601.3404 | 0.042394 | 0.079364 |  | C18H18N2O4
62 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1764 | 17.143 | 823.2 | 0.010878 | 0.018141 |  | C7H12F2
63 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 15.9199 | 1107.3906 | 0.010102 | 0.024404 |  | C21H22O4
64 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 12.2534 | 616.7329 | 0.0077754 | 0.013591 |  | C22H21NO2
65 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4339 | 97.5701 | 3224.2307 | 0.061914 | 0.071054 |  | C21H22O4
66 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 85.69 | 2579.9188 | 0.054375 | 0.056855 |  | C10H14O2
67 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 47.6138 | 2071.4054 | 0.030214 | 0.045648 |  | C21H18O2
68 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.657 | 31.9127 | 1093.117 | 0.02025 | 0.024089 | 74597-12-9 | C15H14O
69 | Benzeneacetaldehyde | 10.7486 | 2446.2024 | 92753.9163 | 1.5522 | 2.0441 | 122-78-1 | C8H8O
70 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 240.6879 | 7768.3514 | 0.15273 | 0.17119 | 67177-15-5 | C15H18O3
71 | Benzenecarbothioic acid | 10.8859 | 43.2167 | 1708.5229 | 0.027423 | 0.037651 | 98-91-9 | C7H6OS
72 | 2,4-Difluorophenyl Benzoate | 10.9145 | 90.7171 | 2304.841 | 0.057565 | 0.050793 |  | C13H8F2O2
73 | Acetophenone | 11.0518 | 15777.0191 | 563045.4476 | 10.0114 | 12.4081 | 98-86-2 | C8H8O
74 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1148 | 513.2068 | 11783.9288 | 0.32566 | 0.25969 | 1075-06-5 | C8H8O3
75 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.1777 | 39.2346 | 1717.3639 | 0.024896 | 0.037846 |  | C16H13NOS
76 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2235 | 11.7055 | 430.2635 | 0.0074278 | 0.0094819 |  | C18H18O3
77 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.275 | 19.7827 | 1441.5641 | 0.012553 | 0.031768 |  | C11H11NO2
78 | Nonanal | 11.3379 | 242.2127 | 8993.857 | 0.1537 | 0.1982 | 124-19-6 | C9H18O
80 | Cyclopentasiloxane, decamethyl- | 11.6984 | 2199.847 | 47950.0172 | 1.3959 | 1.0567 | 541-02-6 | C10H30O5Si5
86 | Benzoic acid | 11.9845 | 21959.6328 | 670109.1378 | 13.9346 | 14.7675 | 65-85-0 | C7H6O2
87 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0875 | 90.4214 | 3238.6028 | 0.057377 | 0.071371 | 71127-22-5 | C25H23NO10
88 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 472.9888 | 15431.2773 | 0.30014 | 0.34007 | 513-20-2 | C9H14O
89 | N'-methylbenzohydrazide | 12.1848 | 425.6901 | 16090.112 | 0.27012 | 0.35458 | 1660-24-8 | C8H10N2O
90 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2992 | 26.5442 | 1426.3453 | 0.016844 | 0.031433 | 71127-22-5 | C25H23NO10
91 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3622 | 30.1166 | 1926.2675 | 0.019111 | 0.04245 |  | C21H22O4
92 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.4022 | 23.5606 | 1371.718 | 0.01495 | 0.030229 |  | C8H5NO3
93 | Decanal | 12.4423 | 149.8693 | 5645.359 | 0.0951 | 0.12441 | 112-31-2 | C10H20O
94 | Methyl salicylate | 12.5338 | 231.5009 | 6999.3333 | 0.1469 | 0.15425 | 119-36-8 | C8H8O3
97 | Benzoic acid, 2-formyl- | 12.7112 | 226.8668 | 4789.7002 | 0.14396 | 0.10555 | 119-67-5 | C8H6O3
98 | Acetic acid, phenyl- | 12.7799 | 417.6074 | 10857.4003 | 0.26499 | 0.23927 | 103-82-2 | C8H8O2
99 | (2-nitroanilino) benzoate | 12.8543 | 6.1848 | 504.0204 | 0.0039246 | 0.011107 | 127526-86-7 | C13H10N2O4
100 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.8943 | 99.7474 | 4276.2201 | 0.063295 | 0.094237 |  | C19H19NO3
101 | 2-Coumaranone | 12.9401 | 520.4146 | 14730.3397 | 0.33023 | 0.32462 | 553-86-6 | C8H6O2
102 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 447.8666 | 7901.4649 | 0.2842 | 0.17413 | 70-11-1 | C8H7BrO
103 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.0946 | 152.6253 | 3234.1651 | 0.096849 | 0.071273 | 65128-29-2 | C11H15Br
104 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1518 | 27.8964 | 1231.575 | 0.017702 | 0.027141 |  | C14H13NO5
105 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1861 | 25.9063 | 1086.2985 | 0.016439 | 0.023939 |  | C19H19N3O4
108 | Salicylic acid | 13.3063 | 354.4313 | 7968.3878 | 0.22491 | 0.1756 | 69-72-7 | C7H6O3
111 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 76.9156 | 2789.7429 | 0.048807 | 0.061479 | 540-97-6 | C12H36O6Si6
113 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 910.9481 | 30093.3722 | 0.57805 | 0.66318 | 5779-72-6 | C10H12O
114 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6267 | 158.1473 | 6312.6976 | 0.10035 | 0.13912 | 55211-84-2 | C9H10O4
116 | Phthalic anhydride | 13.7984 | 1229.7398 | 26763.3259 | 0.78034 | 0.5898 | 85-44-9 | C8H4O3
117 | 1,2-Bis(benzoylmethylene)adamantane | 13.8613 | 56.5026 | 1854.3265 | 0.035854 | 0.040865 |  | C26H28O2
120 | 1(3H)-Isobenzofuranone | 14.1646 | 346.2749 | 7894.4813 | 0.21973 | 0.17397 | 87-41-2 | C8H6O2
121 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2619 | 21.866 | 965.4438 | 0.013875 | 0.021276 |  | C17H17N3O2S
123 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.3763 | 33.5814 | 1118.8078 | 0.021309 | 0.024656 |  | C17H17N3O2S
125 | Benzoylformic acid | 14.5022 | 2183.4685 | 70747.255 | 1.3855 | 1.5591 | 611-73-4 | C8H6O3
128 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.794 | 172.3021 | 7167.4264 | 0.10934 | 0.15795 |  | C15H38O2Si3
130 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 115.1319 | 4189.9161 | 0.073057 | 0.092335 |  | C9H10O2
131 | Vinyl benzhydryl sulfide | 14.9313 | 99.096 | 3650.4195 | 0.062882 | 0.080446 | 54663-82-0 | C15H14S
136 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3319 | 31.8324 | 1081.1464 | 0.020199 | 0.023826 |  | C34H59N
141 | Heptasiloxane, hexadecamethyl- | 15.5951 | 142.1603 | 5411.2131 | 0.090208 | 0.11925 | 541-01-5 | C16H48O6Si7
144 | Phenylmaleic anhydride | 15.7725 | 9521.4491 | 329094.3622 | 6.0419 | 7.2524 | 36122-35-7 | C10H6O3
147 | 4-Methoxy-1,2-naphthoquinone | 16.0071 | 1617.3028 | 35553.7 | 1.0263 | 0.78351 | 18916-57-9 | C11H8O3
148 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.0872 | 70.4237 | 2244.6013 | 0.044688 | 0.049465 |  | C34H59N
149 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.1902 | 59.9051 | 4649.6197 | 0.038013 | 0.10247 | 19095-23-9 | C14H44O6Si7
151 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 481.382 | 16891.4 | 0.30546 | 0.37224 | 51306-96-8 | C11H8O2
152 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3504 | 53.2758 | 1851.3935 | 0.033806 | 0.0408 |  | C34H59N
153 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.4305 | 80.0114 | 4197.8827 | 0.050772 | 0.092511 |  | C34H59N
157 | Benzophenone | 16.6594 | 1604.3197 | 44617.4469 | 1.018 | 0.98325 | 119-61-9 | C13H10O
158 | 7-oxohyocholic acid methyl ester | 16.7109 | 357.4837 | 9129.8352 | 0.22684 | 0.2012 |  | C25H40O5
159 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7452 | 66.511 | 2886.5637 | 0.042205 | 0.063612 |  | C34H59N
160 | Hyocholic acid methylester | 16.7967 | 55.3883 | 2069.4823 | 0.035147 | 0.045606 |  | C25H42O5
161 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 559.1041 | 22721.1178 | 0.35478 | 0.50072 | 556-69-4 | C18H54O7Si8
162 | Hyocholic acid methylester | 16.8825 | 38.6639 | 1970.2801 | 0.024534 | 0.04342 |  | C25H42O5
163 | 7-oxohyocholic acid methyl ester | 16.9398 | 240.1206 | 11266.1173 | 0.15237 | 0.24828 |  | C25H40O5
164 | 7-oxohyocholic acid methyl ester | 17.0199 | 295.3516 | 8638.7765 | 0.18742 | 0.19038 |  | C25H40O5
168 | Hyocholic acid methylester | 17.2087 | 116.546 | 5470.8524 | 0.073955 | 0.12056 |  | C25H42O5
169 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2545 | 139.3026 | 5228.0604 | 0.088395 | 0.11521 |  | C34H59N
170 | Hyocholic acid methylester | 17.2774 | 58.0804 | 3044.6175 | 0.036855 | 0.067096 |  | C25H42O5
171 | Hyocholic acid methylester | 17.3975 | 85.6908 | 3986.6712 | 0.054376 | 0.087856 |  | C25H42O5
172 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 1848.0777 | 50042 | 1.1727 | 1.1028 |  | C21H26O2Si
173 | Hyocholic acid methylester | 17.5234 | 237.426 | 5278.5243 | 0.15066 | 0.11633 |  | C25H42O5
174 | Hyocholic acid methylester | 17.615 | 18.7968 | 1936.4972 | 0.011928 | 0.042675 |  | C25H42O5
175 | Hyocholic acid methylester | 17.6493 | 71.9834 | 2839.7784 | 0.045677 | 0.062581 |  | C25H42O5
176 | Hyocholic acid methylester | 17.7065 | 47.4404 | 3377.6776 | 0.030103 | 0.074435 |  | C25H42O5
177 | Hyocholic acid methylester | 17.7465 | 71.0489 | 3468.3224 | 0.045084 | 0.076433 |  | C25H42O5
178 | Hyocholic acid methylester | 17.8095 | 147.6156 | 4350.0005 | 0.09367 | 0.095863 |  | C25H42O5
179 | Hyocholic acid methylester | 17.8667 | 275.2462 | 10704.999 | 0.17466 | 0.23591 |  | C25H42O5
180 | Hyocholic acid methylester | 17.9068 | 12.2572 | 1096.6942 | 0.0077779 | 0.024168 |  | C25H42O5
181 | Hyocholic acid methylester | 17.9525 | 1060.478 | 41084.8934 | 0.67293 | 0.90541 |  | C25H42O5
182 | Hyocholic acid methylester | 18.0212 | 69.3361 | 3572.9199 | 0.043998 | 0.078738 |  | C25H42O5
183 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 700.2484 | 29758.3193 | 0.44435 | 0.6558 |  | C21H26O2Si
184 | Hyocholic acid methylester | 18.1299 | 35.8952 | 2504.1072 | 0.022777 | 0.055184 |  | C25H42O5
185 | Hyocholic acid methylester | 18.2043 | 242.1797 | 7956.1568 | 0.15368 | 0.17533 |  | C25H42O5
186 | Hyocholic acid methylester | 18.2272 | 149.3536 | 6499.3705 | 0.094773 | 0.14323 |  | C25H42O5
187 | Hyocholic acid methylester | 18.2558 | 214.2877 | 6241.1045 | 0.13598 | 0.13754 |  | C25H42O5
188 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 187.4105 | 6615.0523 | 0.11892 | 0.14578 | 19095-24-0 | C16H50O7Si8
189 | Hyocholic acid methylester | 18.3359 | 176.9913 | 7545.475 | 0.11231 | 0.16628 |  | C25H42O5
190 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3702 | 116.8543 | 4454.7775 | 0.07415 | 0.098172 | 19095-24-0 | C16H50O7Si8
191 | Hyocholic acid methylester | 18.4504 | 145.5284 | 5736.8052 | 0.092346 | 0.12642 |  | C25H42O5
192 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.479 | 29.1609 | 1867.0466 | 0.018504 | 0.041145 | 19095-24-0 | C16H50O7Si8
193 | Hyocholic acid methylester | 18.5762 | 450.6909 | 11688.4584 | 0.28599 | 0.25758 |  | C25H42O5
194 | Hyocholic acid methylester | 18.6449 | 59.9161 | 4223.5694 | 0.03802 | 0.093077 |  | C25H42O5
195 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 117.3239 | 5627.6802 | 0.074448 | 0.12402 | 19095-24-0 | C16H50O7Si8
196 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.7307 | 93.202 | 4140.647 | 0.059142 | 0.091249 | 995-82-4 | C12H38O5Si6
197 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8051 | 611.2381 | 9879.3124 | 0.38786 | 0.21771 | 19095-24-0 | C16H50O7Si8
198 | Hyocholic acid methylester | 18.891 | 427.6931 | 10049.6212 | 0.27139 | 0.22147 |  | C25H42O5
199 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 13.9586 | 1935.6984 | 0.0088575 | 0.042658 | 995-82-4 | C12H38O5Si6
200 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9825 | 31.3705 | 2551.4774 | 0.019906 | 0.056228 | 995-82-4 | C12H38O5Si6
201 | Hyocholic acid methylester | 18.9997 | 14.1423 | 1891.0291 | 0.008974 | 0.041673 |  | C25H42O5
202 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 1089.4787 | 28169.8694 | 0.69133 | 0.62079 | 19095-24-0 | C16H50O7Si8
203 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1141 | 526.3117 | 10341.0452 | 0.33397 | 0.22789 | 995-82-4 | C12H38O5Si6
204 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.1656 | 14.3404 | 2671.7553 | 0.0090998 | 0.058879 | 19095-24-0 | C16H50O7Si8
205 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1999 | 112.5752 | 3188.6398 | 0.071435 | 0.070269 | 995-82-4 | C12H38O5Si6
206 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.2514 | 148.8389 | 4889.9099 | 0.094446 | 0.10776 | 19095-24-0 | C16H50O7Si8
207 | Hyocholic acid methylester | 19.2915 | 44.6728 | 2573.8287 | 0.028347 | 0.056721 |  | C25H42O5
208 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3315 | 31.9382 | 1944.1101 | 0.020267 | 0.042843 | 19095-24-0 | C16H50O7Si8
209 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3773 | 179.5033 | 6340.8947 | 0.1139 | 0.13974 | 995-82-4 | C12H38O5Si6
210 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4002 | 71.6548 | 4571.4473 | 0.045469 | 0.10074 | 19095-24-0 | C16H50O7Si8
211 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4574 | 385.3706 | 8962.2857 | 0.24454 | 0.19751 | 19095-24-0 | C16H50O7Si8
212 | Hyocholic acid methylester | 19.486 | 267.1091 | 8009.8316 | 0.1695 | 0.17652 |  | C25H42O5
213 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.589 | 63.1842 | 4444.3826 | 0.040094 | 0.097943 | 19095-24-0 | C16H50O7Si8
214 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6405 | 76.6431 | 6625.6278 | 0.048634 | 0.14601 | 19095-24-0 | C16H50O7Si8
215 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6691 | 74.6617 | 5263.88 | 0.047377 | 0.116 | 19095-24-0 | C16H50O7Si8
216 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7893 | 50.2199 | 3078.3163 | 0.031867 | 0.067838 | 19095-24-0 | C16H50O7Si8
217 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8236 | 37.5279 | 2658.4479 | 0.023814 | 0.058585 | 19095-24-0 | C16H50O7Si8
218 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9037 | 554.8099 | 10939.0517 | 0.35206 | 0.24107 | 19095-24-0 | C16H50O7Si8
219 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9896 | 157.8432 | 7521.6989 | 0.10016 | 0.16576 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 94214.1755 | 2959789.4328 | 59.784 | 0

## Sheet2
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Chem.Formula
1 | Bicyclo[3.2.1]octane, 2,4-dimethoxy- | 3.1212 | 17.0949 | 1873.8379 | 0.010848 | 0.041295 | 79692-84-5 | C10H18O2
2 | Isoprene | 3.1727 | 402.8868 | 2400.0811 | 0.25565 | 0.052892 | 78-79-5 | C5H8
3 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.3043 | 35.5654 | 2317.6014 | 0.022568 | 0.051074 | 375-43-9 | C4Cl6F4
4 | Isoprene | 3.3386 | 63.4278 | 2068.9068 | 0.040248 | 0.045593 | 78-79-5 | C5H8
6 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.516 | 83.0423 | 2273.2254 | 0.052695 | 0.050096 | 375-43-9 | C4Cl6F4
7 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6018 | 11.86 | 1585.9728 | 0.0075258 | 0.034951 | 375-43-9 | C4Cl6F4
8 | Butane, 1,1,2,3,4,4-hexachloro-1,2,3,4-tetrafluoro- | 3.6762 | 15.5805 | 1237.6402 | 0.0098867 | 0.027274 | 375-43-9 | C4Cl6F4
9 | 2-Ethyl-3-methylthiirane 1,1-dioxide | 3.8593 | 155.4701 | 2713.9113 | 0.098654 | 0.059808 |  | C5H10O2S
10 | 1-Pentanol | 4.071 | 18.9552 | 894.2659 | 0.012028 | 0.019707 | 71-41-0 | C5H12O
12 | N-(diethylcarbamothioyl)benzamide | 4.2484 | 12.3544 | 852.9209 | 0.0078395 | 0.018796 |  | C12H16N2OS
13 | rac-1-Benzoyl-1,3,3a,6,7,7a-hexahydro-3-methyl-2H-indol-2-one | 4.5517 | 21.8987 | 465.9906 | 0.013896 | 0.010269 |  | C16H17NO2
16 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.1868 | 670.0942 | 8033.8527 | 0.42521 | 0.17705 |  | C18H29DO5
17 | Tricyclo[2.2.1.0(2,6)]heptan-3-ol, 1-(chloromethyl)-7-methylene- | 5.2154 | 237.7991 | 6740.7292 | 0.1509 | 0.14855 | 66728-04-9 | C9H11ClO
19 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3184 | 283.4235 | 5079.696 | 0.17985 | 0.11194 |  | C18H29DO5
20 | 4α-tert-Butyl-1α,7β,8α-trihydro-2β-methyl-4β-(deuteriomethyl)-3, | 5.3642 | 141.7537 | 3361.9097 | 0.08995 | 0.074088 |  | C18H29DO5
24 | (1R,2S)-1-phenyl-2-(propylamino)-1-propanol | 6.6459 | 12.3132 | 526.299 | 0.0078134 | 0.011598 |  | C12H19NO
25 | Benzyl (E)-1-hex-1-enyl sulfoxide | 6.8977 | 189.1668 | 5527.4496 | 0.12004 | 0.12181 |  | C13H18OS
26 | [(2R,3S,4R,5S)-3,4-bis(oxidanyl)-5-(8-phenylmethoxy-[1,2,4]triaz | 7.0007 | 11.7231 | 692.5676 | 0.007439 | 0.015262 |  | C24H22N4O6
27 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 18.3555 | 639.6406 | 0.011648 | 0.014096 |  | C13H17F2IOSi
28 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.3097 | 56.2503 | 2237 | 0.035694 | 0.049298 |  | C7H13NOSe
29 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 355.4006 | 4751.3717 | 0.22552 | 0.10471 | 541-05-9 | C6H18O3Si3
30 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6816 | 213.5086 | 2485.667 | 0.13548 | 0.054778 |  | C7H22O2Si3
31 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 69.4463 | 1256.8524 | 0.044067 | 0.027698 | 55577-25-8 | C15H13N
32 | 2-(4-Methylphenyl)-1H-indole | 7.8819 | 17.7279 | 748.1589 | 0.011249 | 0.016488 | 55577-25-8 | C15H13N
33 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 13.7739 | 812.8653 | 0.0087403 | 0.017913 | 130293-33-3 | C19H16CrO6
34 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 14.7713 | 1112.227 | 0.0093732 | 0.024511 |  | C15H11BrO
35 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1222 | 36.2711 | 1885.546 | 0.023016 | 0.041553 |  | C15H11BrO
36 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1794 | 28.2482 | 1547.5133 | 0.017925 | 0.034103 | 98-15-7 | C7H4ClF3
38 | o-Xylene | 8.3625 | 52.296 | 2064.5 | 0.033185 | 0.045496 | 95-47-6 | C8H10
39 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4254 | 16.9547 | 673 | 0.010759 | 0.014831 |  | C25H21NO2S2
40 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4712 | 97.9104 | 3259 | 0.062129 | 0.07182 |  | C17H15NO3
41 | Phenylethyne | 8.5513 | 275.3784 | 9633.2572 | 0.17474 | 0.21229 | 536-74-3 | C8H6
42 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6257 | 10.9765 | 494.6495 | 0.0069652 | 0.010901 |  | C25H21NO2S2
43 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.7116 | 15.2077 | 837.9796 | 0.0096501 | 0.018467 |  | C17H26N2S
44 | 3,4-dimethyl-Heptane | 8.7917 | 75.9481 | 2391.2109 | 0.048193 | 0.052696 |  | C9H20
45 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.8203 | 85.4727 | 2378.0507 | 0.054237 | 0.052406 |  | C13H19N
46 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.9633 | 10.4057 | 622.8826 | 0.006603 | 0.013727 |  | C12H13NO2S
47 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.032 | 22.9681 | 748.4638 | 0.014575 | 0.016494 |  | C16H20O
48 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.0663 | 34.6817 | 1725.3914 | 0.022007 | 0.038023 |  | C14H13NO2S
49 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1235 | 28.9275 | 1020.5417 | 0.018356 | 0.02249 |  | C15H9NO2
51 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 115.4327 | 2427.783 | 0.073248 | 0.053502 | 113631-70-2 | C16H12N4O3
52 | 2,4-Diphenyl-2-oxazolin-5-one | 9.341 | 43.4929 | 1375.6349 | 0.027599 | 0.030315 | 28687-81-2 | C15H11NO2
53 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.3925 | 34.0515 | 1026.9047 | 0.021608 | 0.02263 | 113631-70-2 | C16H12N4O3
54 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.444 | 23.3355 | 930.0414 | 0.014808 | 0.020496 | 113631-70-2 | C16H12N4O3
55 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.6042 | 346.3457 | 6406.8678 | 0.21978 | 0.14119 |  | C18H20N2O3
56 | Benzaldehyde | 9.7301 | 8864.5707 | 237427.5207 | 5.6251 | 5.2323 | 100-52-7 | C7H6O
57 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 263.385 | 9541.8104 | 0.16713 | 0.21028 | 556-67-2 | C8H24O4Si4
58 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9246 | 117.059 | 2909.8881 | 0.07428 | 0.064126 | 103240-21-7 | C16H16N2O2Si
59 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9589 | 13.307 | 832.636 | 0.008444 | 0.018349 |  | C24H26N2OS
60 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 127.1735 | 4439.1896 | 0.080699 | 0.097828 |  | C32H30I2N6Pd
61 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1363 | 66.8089 | 3601.3404 | 0.042394 | 0.079364 |  | C18H18N2O4
62 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1764 | 17.143 | 823.2 | 0.010878 | 0.018141 |  | C7H12F2
63 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 15.9199 | 1107.3906 | 0.010102 | 0.024404 |  | C21H22O4
64 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 12.2534 | 616.7329 | 0.0077754 | 0.013591 |  | C22H21NO2
65 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4339 | 97.5701 | 3224.2307 | 0.061914 | 0.071054 |  | C21H22O4
66 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 85.69 | 2579.9188 | 0.054375 | 0.056855 |  | C10H14O2
67 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 47.6138 | 2071.4054 | 0.030214 | 0.045648 |  | C21H18O2
68 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.657 | 31.9127 | 1093.117 | 0.02025 | 0.024089 | 74597-12-9 | C15H14O
69 | Benzeneacetaldehyde | 10.7486 | 2446.2024 | 92753.9163 | 1.5522 | 2.0441 | 122-78-1 | C8H8O
70 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 240.6879 | 7768.3514 | 0.15273 | 0.17119 | 67177-15-5 | C15H18O3
71 | Benzenecarbothioic acid | 10.8859 | 43.2167 | 1708.5229 | 0.027423 | 0.037651 | 98-91-9 | C7H6OS
72 | 2,4-Difluorophenyl Benzoate | 10.9145 | 90.7171 | 2304.841 | 0.057565 | 0.050793 |  | C13H8F2O2
73 | Acetophenone | 11.0518 | 15777.0191 | 563045.4476 | 10.0114 | 12.4081 | 98-86-2 | C8H8O
74 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1148 | 513.2068 | 11783.9288 | 0.32566 | 0.25969 | 1075-06-5 | C8H8O3
75 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.1777 | 39.2346 | 1717.3639 | 0.024896 | 0.037846 |  | C16H13NOS
76 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2235 | 11.7055 | 430.2635 | 0.0074278 | 0.0094819 |  | C18H18O3
77 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.275 | 19.7827 | 1441.5641 | 0.012553 | 0.031768 |  | C11H11NO2
78 | Nonanal | 11.3379 | 242.2127 | 8993.857 | 0.1537 | 0.1982 | 124-19-6 | C9H18O
80 | Cyclopentasiloxane, decamethyl- | 11.6984 | 2199.847 | 47950.0172 | 1.3959 | 1.0567 | 541-02-6 | C10H30O5Si5
86 | Benzoic acid | 11.9845 | 21959.6328 | 670109.1378 | 13.9346 | 14.7675 | 65-85-0 | C7H6O2
87 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0875 | 90.4214 | 3238.6028 | 0.057377 | 0.071371 | 71127-22-5 | C25H23NO10
88 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 472.9888 | 15431.2773 | 0.30014 | 0.34007 | 513-20-2 | C9H14O
89 | N'-methylbenzohydrazide | 12.1848 | 425.6901 | 16090.112 | 0.27012 | 0.35458 | 1660-24-8 | C8H10N2O
90 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2992 | 26.5442 | 1426.3453 | 0.016844 | 0.031433 | 71127-22-5 | C25H23NO10
91 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3622 | 30.1166 | 1926.2675 | 0.019111 | 0.04245 |  | C21H22O4
92 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.4022 | 23.5606 | 1371.718 | 0.01495 | 0.030229 |  | C8H5NO3
93 | Decanal | 12.4423 | 149.8693 | 5645.359 | 0.0951 | 0.12441 | 112-31-2 | C10H20O
94 | Methyl salicylate | 12.5338 | 231.5009 | 6999.3333 | 0.1469 | 0.15425 | 119-36-8 | C8H8O3
97 | Benzoic acid, 2-formyl- | 12.7112 | 226.8668 | 4789.7002 | 0.14396 | 0.10555 | 119-67-5 | C8H6O3
98 | Acetic acid, phenyl- | 12.7799 | 417.6074 | 10857.4003 | 0.26499 | 0.23927 | 103-82-2 | C8H8O2
99 | (2-nitroanilino) benzoate | 12.8543 | 6.1848 | 504.0204 | 0.0039246 | 0.011107 | 127526-86-7 | C13H10N2O4
100 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.8943 | 99.7474 | 4276.2201 | 0.063295 | 0.094237 |  | C19H19NO3
101 | 2-Coumaranone | 12.9401 | 520.4146 | 14730.3397 | 0.33023 | 0.32462 | 553-86-6 | C8H6O2
102 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 447.8666 | 7901.4649 | 0.2842 | 0.17413 | 70-11-1 | C8H7BrO
103 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.0946 | 152.6253 | 3234.1651 | 0.096849 | 0.071273 | 65128-29-2 | C11H15Br
104 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1518 | 27.8964 | 1231.575 | 0.017702 | 0.027141 |  | C14H13NO5
105 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1861 | 25.9063 | 1086.2985 | 0.016439 | 0.023939 |  | C19H19N3O4
108 | Salicylic acid | 13.3063 | 354.4313 | 7968.3878 | 0.22491 | 0.1756 | 69-72-7 | C7H6O3
111 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 76.9156 | 2789.7429 | 0.048807 | 0.061479 | 540-97-6 | C12H36O6Si6
113 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 910.9481 | 30093.3722 | 0.57805 | 0.66318 | 5779-72-6 | C10H12O
114 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6267 | 158.1473 | 6312.6976 | 0.10035 | 0.13912 | 55211-84-2 | C9H10O4
116 | Phthalic anhydride | 13.7984 | 1229.7398 | 26763.3259 | 0.78034 | 0.5898 | 85-44-9 | C8H4O3
117 | 1,2-Bis(benzoylmethylene)adamantane | 13.8613 | 56.5026 | 1854.3265 | 0.035854 | 0.040865 |  | C26H28O2
120 | 1(3H)-Isobenzofuranone | 14.1646 | 346.2749 | 7894.4813 | 0.21973 | 0.17397 | 87-41-2 | C8H6O2
121 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2619 | 21.866 | 965.4438 | 0.013875 | 0.021276 |  | C17H17N3O2S
123 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.3763 | 33.5814 | 1118.8078 | 0.021309 | 0.024656 |  | C17H17N3O2S
125 | Benzoylformic acid | 14.5022 | 2183.4685 | 70747.255 | 1.3855 | 1.5591 | 611-73-4 | C8H6O3
128 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.794 | 172.3021 | 7167.4264 | 0.10934 | 0.15795 |  | C15H38O2Si3
130 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 115.1319 | 4189.9161 | 0.073057 | 0.092335 |  | C9H10O2
131 | Vinyl benzhydryl sulfide | 14.9313 | 99.096 | 3650.4195 | 0.062882 | 0.080446 | 54663-82-0 | C15H14S
136 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3319 | 31.8324 | 1081.1464 | 0.020199 | 0.023826 |  | C34H59N
141 | Heptasiloxane, hexadecamethyl- | 15.5951 | 142.1603 | 5411.2131 | 0.090208 | 0.11925 | 541-01-5 | C16H48O6Si7
144 | Phenylmaleic anhydride | 15.7725 | 9521.4491 | 329094.3622 | 6.0419 | 7.2524 | 36122-35-7 | C10H6O3
147 | 4-Methoxy-1,2-naphthoquinone | 16.0071 | 1617.3028 | 35553.7 | 1.0263 | 0.78351 | 18916-57-9 | C11H8O3
148 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.0872 | 70.4237 | 2244.6013 | 0.044688 | 0.049465 |  | C34H59N
149 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.1902 | 59.9051 | 4649.6197 | 0.038013 | 0.10247 | 19095-23-9 | C14H44O6Si7
151 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 481.382 | 16891.4 | 0.30546 | 0.37224 | 51306-96-8 | C11H8O2
152 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3504 | 53.2758 | 1851.3935 | 0.033806 | 0.0408 |  | C34H59N
153 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.4305 | 80.0114 | 4197.8827 | 0.050772 | 0.092511 |  | C34H59N
157 | Benzophenone | 16.6594 | 1604.3197 | 44617.4469 | 1.018 | 0.98325 | 119-61-9 | C13H10O
158 | 7-oxohyocholic acid methyl ester | 16.7109 | 357.4837 | 9129.8352 | 0.22684 | 0.2012 |  | C25H40O5
159 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7452 | 66.511 | 2886.5637 | 0.042205 | 0.063612 |  | C34H59N
160 | Hyocholic acid methylester | 16.7967 | 55.3883 | 2069.4823 | 0.035147 | 0.045606 |  | C25H42O5
161 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 559.1041 | 22721.1178 | 0.35478 | 0.50072 | 556-69-4 | C18H54O7Si8
162 | Hyocholic acid methylester | 16.8825 | 38.6639 | 1970.2801 | 0.024534 | 0.04342 |  | C25H42O5
163 | 7-oxohyocholic acid methyl ester | 16.9398 | 240.1206 | 11266.1173 | 0.15237 | 0.24828 |  | C25H40O5
164 | 7-oxohyocholic acid methyl ester | 17.0199 | 295.3516 | 8638.7765 | 0.18742 | 0.19038 |  | C25H40O5
168 | Hyocholic acid methylester | 17.2087 | 116.546 | 5470.8524 | 0.073955 | 0.12056 |  | C25H42O5
169 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2545 | 139.3026 | 5228.0604 | 0.088395 | 0.11521 |  | C34H59N
170 | Hyocholic acid methylester | 17.2774 | 58.0804 | 3044.6175 | 0.036855 | 0.067096 |  | C25H42O5
171 | Hyocholic acid methylester | 17.3975 | 85.6908 | 3986.6712 | 0.054376 | 0.087856 |  | C25H42O5
172 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 1848.0777 | 50042 | 1.1727 | 1.1028 |  | C21H26O2Si
173 | Hyocholic acid methylester | 17.5234 | 237.426 | 5278.5243 | 0.15066 | 0.11633 |  | C25H42O5
174 | Hyocholic acid methylester | 17.615 | 18.7968 | 1936.4972 | 0.011928 | 0.042675 |  | C25H42O5
175 | Hyocholic acid methylester | 17.6493 | 71.9834 | 2839.7784 | 0.045677 | 0.062581 |  | C25H42O5
176 | Hyocholic acid methylester | 17.7065 | 47.4404 | 3377.6776 | 0.030103 | 0.074435 |  | C25H42O5
177 | Hyocholic acid methylester | 17.7465 | 71.0489 | 3468.3224 | 0.045084 | 0.076433 |  | C25H42O5
178 | Hyocholic acid methylester | 17.8095 | 147.6156 | 4350.0005 | 0.09367 | 0.095863 |  | C25H42O5
179 | Hyocholic acid methylester | 17.8667 | 275.2462 | 10704.999 | 0.17466 | 0.23591 |  | C25H42O5
180 | Hyocholic acid methylester | 17.9068 | 12.2572 | 1096.6942 | 0.0077779 | 0.024168 |  | C25H42O5
181 | Hyocholic acid methylester | 17.9525 | 1060.478 | 41084.8934 | 0.67293 | 0.90541 |  | C25H42O5
182 | Hyocholic acid methylester | 18.0212 | 69.3361 | 3572.9199 | 0.043998 | 0.078738 |  | C25H42O5
183 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 700.2484 | 29758.3193 | 0.44435 | 0.6558 |  | C21H26O2Si
184 | Hyocholic acid methylester | 18.1299 | 35.8952 | 2504.1072 | 0.022777 | 0.055184 |  | C25H42O5
185 | Hyocholic acid methylester | 18.2043 | 242.1797 | 7956.1568 | 0.15368 | 0.17533 |  | C25H42O5
186 | Hyocholic acid methylester | 18.2272 | 149.3536 | 6499.3705 | 0.094773 | 0.14323 |  | C25H42O5
187 | Hyocholic acid methylester | 18.2558 | 214.2877 | 6241.1045 | 0.13598 | 0.13754 |  | C25H42O5
188 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 187.4105 | 6615.0523 | 0.11892 | 0.14578 | 19095-24-0 | C16H50O7Si8
189 | Hyocholic acid methylester | 18.3359 | 176.9913 | 7545.475 | 0.11231 | 0.16628 |  | C25H42O5
190 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3702 | 116.8543 | 4454.7775 | 0.07415 | 0.098172 | 19095-24-0 | C16H50O7Si8
191 | Hyocholic acid methylester | 18.4504 | 145.5284 | 5736.8052 | 0.092346 | 0.12642 |  | C25H42O5
192 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.479 | 29.1609 | 1867.0466 | 0.018504 | 0.041145 | 19095-24-0 | C16H50O7Si8
193 | Hyocholic acid methylester | 18.5762 | 450.6909 | 11688.4584 | 0.28599 | 0.25758 |  | C25H42O5
194 | Hyocholic acid methylester | 18.6449 | 59.9161 | 4223.5694 | 0.03802 | 0.093077 |  | C25H42O5
195 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 117.3239 | 5627.6802 | 0.074448 | 0.12402 | 19095-24-0 | C16H50O7Si8
196 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.7307 | 93.202 | 4140.647 | 0.059142 | 0.091249 | 995-82-4 | C12H38O5Si6
197 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8051 | 611.2381 | 9879.3124 | 0.38786 | 0.21771 | 19095-24-0 | C16H50O7Si8
198 | Hyocholic acid methylester | 18.891 | 427.6931 | 10049.6212 | 0.27139 | 0.22147 |  | C25H42O5
199 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 13.9586 | 1935.6984 | 0.0088575 | 0.042658 | 995-82-4 | C12H38O5Si6
200 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9825 | 31.3705 | 2551.4774 | 0.019906 | 0.056228 | 995-82-4 | C12H38O5Si6
201 | Hyocholic acid methylester | 18.9997 | 14.1423 | 1891.0291 | 0.008974 | 0.041673 |  | C25H42O5
202 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 1089.4787 | 28169.8694 | 0.69133 | 0.62079 | 19095-24-0 | C16H50O7Si8
203 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1141 | 526.3117 | 10341.0452 | 0.33397 | 0.22789 | 995-82-4 | C12H38O5Si6
204 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.1656 | 14.3404 | 2671.7553 | 0.0090998 | 0.058879 | 19095-24-0 | C16H50O7Si8
205 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1999 | 112.5752 | 3188.6398 | 0.071435 | 0.070269 | 995-82-4 | C12H38O5Si6
206 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.2514 | 148.8389 | 4889.9099 | 0.094446 | 0.10776 | 19095-24-0 | C16H50O7Si8
207 | Hyocholic acid methylester | 19.2915 | 44.6728 | 2573.8287 | 0.028347 | 0.056721 |  | C25H42O5
208 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3315 | 31.9382 | 1944.1101 | 0.020267 | 0.042843 | 19095-24-0 | C16H50O7Si8
209 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3773 | 179.5033 | 6340.8947 | 0.1139 | 0.13974 | 995-82-4 | C12H38O5Si6
210 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4002 | 71.6548 | 4571.4473 | 0.045469 | 0.10074 | 19095-24-0 | C16H50O7Si8
211 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4574 | 385.3706 | 8962.2857 | 0.24454 | 0.19751 | 19095-24-0 | C16H50O7Si8
212 | Hyocholic acid methylester | 19.486 | 267.1091 | 8009.8316 | 0.1695 | 0.17652 |  | C25H42O5
213 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.589 | 63.1842 | 4444.3826 | 0.040094 | 0.097943 | 19095-24-0 | C16H50O7Si8
214 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6405 | 76.6431 | 6625.6278 | 0.048634 | 0.14601 | 19095-24-0 | C16H50O7Si8
215 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6691 | 74.6617 | 5263.88 | 0.047377 | 0.116 | 19095-24-0 | C16H50O7Si8
216 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7893 | 50.2199 | 3078.3163 | 0.031867 | 0.067838 | 19095-24-0 | C16H50O7Si8
217 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8236 | 37.5279 | 2658.4479 | 0.023814 | 0.058585 | 19095-24-0 | C16H50O7Si8
218 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9037 | 554.8099 | 10939.0517 | 0.35206 | 0.24107 | 19095-24-0 | C16H50O7Si8
219 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9896 | 157.8432 | 7521.6989 | 0.10016 | 0.16576 | 19095-24-0 | C16H50O7Si8
Total: |  |  | 94214.1755 | 2959789.4328 | 59.784 | 0

## Calibration (hidden)
Calibration
Calibration Details |  | Acetanilide
Calibration Type |  | Lin, WithOffset |  |  | Offset (C0) |  | 0.0050568
Evaluation Type |  | Area |  |  | Slope (C1) |  | 0.034307
Number of Calibration Points |  | 6 |  |  | Curve (C2) |  | 0
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | 0.99999
Calibration Plot |  | Acetanilide
Calibration Results |  | Acetanilide
No. | Injection Name | Level | X Value | Y Value | Residual | Area | Height
|  |  | ng | mAU*min | % | mAU*min | mAU
|  |  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  |  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 01 | 20 | 0.69372 | 0.012576 | 0.69372 | 39.0107
2 | Alkylphenones 2 | 01 | 40 | 1.3699 | -0.018646 | 1.3699 | 73.7149
3 | Alkylphenones 3 | 01 | 80 | 2.7486 | -0.001345 | 2.7486 | 137.542
4 | Alkylphenones 4 | 01 | 120 | 4.1266 | 0.0039116 | 4.1266 | 194.9695
5 | Alkylphenones 5 | 01 | 160 | 5.5066 | 0.007722 | 5.5066 | 244.8088
6 | Alkylphenones 6 | 01 | 200 | 6.8555 | -0.0055149 | 6.8555 | 291.0862

## Peak Analysis (hidden)
Peak Analysis
Injection Details
Injection Name: |  | Alkylphenones 1 |  |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peakname | Ret.Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
1 | Acetanilide | 0.17017 | 0.016292 | M | 2.7203 | 1.4766 | 604
2 | Acetophenone | 0.24583 | 0.01653 | MB | 4.0275 | 1.4327 | 1225
3 | Propiophenone | 0.36283 | 0.017749 | M | n.a. | 1.3522 | 2315

## SST (hidden)
Chromatogram and SST Results
Injection Details
Injection Name: |  | Alkylphenones 1 |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Name
1 | System Suitability Test Case 1 | All Injections | Number: 2 | Not Executed | Alkylphenones 1
2 | System Suitability Test Case 2 | injection.name starts with "Alkylphenones" | Acetanilide | Not Executed | Alkylphenones 1
3 | System Suitability Test Case 3 | (injection.number>=1 AND injection.number<=7) | Highest: peak.area | Not Executed | Alkylphenones 1
4 | System Suitability Test Case 4 | All Injections | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
5 | System Suitability Test Case 5 | injection.position = RC9 |  | Not Executed | Alkylphenones 1
6 | System Suitability Test Case 6 | Injection Type: Unknown | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
| Number of executed test cases: | 0 | Total Result: | Not Executed

## Summary (hidden)
Summary
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
By Component |  | Acetanilide
No | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | mAU*min | mAU | ng | %
|  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 0.17017 | 0.69372 | 39.0107 | 20.0733 | 32.5524 | M
2 | Alkylphenones 2 | 0.17167 | 1.3699 | 73.7149 | 39.7826 | 32.508 | M
3 | Alkylphenones 3 | 0.174 | 2.7486 | 137.542 | 79.9686 | 32.3539 | M
4 | Alkylphenones 4 | 0.17583 | 4.1266 | 194.9695 | 120.1368 | 32.4486 | BM
5 | Alkylphenones 5 | 0.17817 | 5.5066 | 244.8088 | 160.3601 | 32.4887 | M
6 | Alkylphenones 6 | 0.17983 | 6.8555 | 291.0862 | 199.6785 | 32.5299 | BM
7 | Alkylphenones 7 | 0.1715 | 5.223 | 278.0937 | 152.0952 | 33.2915 | M

## Injection Audit Trail (hidden)
Injection Audit Trail
Injection Details
Injection Name: |  | Alkylphenones 1 | Run Time (min): | 0.45
Vial Number: |  | RA1 | Injection Volume: | 2
Injection Type: |  | Calibration Standard | Channel: | UV_VIS_1
Calibration Level: |  | 01 | Wavelength: | 244
Instrument Method: |  | CM_OQ | Bandwidth: | 4
Processing Method: |  | CM_OQ | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
(UTC+02:00) | min
13:14:22 |  | Audit trail of injection "chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/515.smp". Executed 7/12/2022 on instrument CM_OQ (instrument controller DEGER-6FWTXT2).
13:14:22 |  | Start of injection 1 "Alkylphenones 1", using instrument method "CM_OQ".
13:14:22 | 0.000 | Entered stage "Instrument Setup"
13:14:22 | 0.000 | UV.3DFIELD.MinWavelength = 190.0 nm
13:14:22 | 0.000 | UV.3DFIELD.MaxWavelength = 350.0 nm
13:14:22 | 0.000 | UV.3DFIELD.BunchWidth = 1 nm
13:14:22 | 0.000 | UV.ResponseTime = 0.030 s
13:14:22 | 0.000 | UV.Data_Collection_Rate = 100 Hz
13:14:22 | 0.000 | ColumnOven.Temperature.Nominal = 20.0 °C
13:14:22 | 0.000 | PumpModule.Pump.%A.Equate = "Water"
13:14:22 | 0.000 | PumpModule.Pump.%B.Equate = "Acetonitrile"
13:14:22 | 0.000 | PumpModule.Pump.%C.Equate = "%C"
13:14:22 | 0.000 | PumpModule.Pump.%D.Equate = "%D"
13:14:22 | 0.000 | PumpModule.Pump.Pressure.LowerLimit = 0 bar
13:14:22 | 0.000 | PumpModule.Pump.Pressure.UpperLimit = 800 bar
13:14:22 | 0.000 | UV.UV_VIS_1.Wavelength = 244.0 nm
13:14:22 | 0.000 | UV.UV_VIS_1.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_1.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_1.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.3DFIELD.RefWavelength = Off
13:14:22 | 0.000 | UV.3DFIELD.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Wavelength = 256.0 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_2.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_2.RefBandwidth = 1 nm
13:14:22 | 0.000 | Entered stage "Inject Preparation"
13:14:22 | 0.000 | UV.Autozero
13:14:22 | 0.000 | Wait ColumnOven.Ready And Sampler.Ready And UV.Ready
13:14:27 | 0.000 | Wait finished
13:14:27 | 0.000 | Entered stage "Inject"
13:14:27 | 0.000 | Sampler.Inject
13:14:27 | 0.000 | Injecting from vial position RA1.
13:14:27 | 0.000 | Injection Volume is 2.000 µl.
13:14:27 | 0.000 | Waiting for inject response on UM3WPSInjectState1.
13:14:29 | 0.000 | Got inject response.
13:14:29 | 0.000 | Entered stage "Start Run"
13:14:29 | 0.000 | UV.UV_VIS_1.AcqOn
13:14:29 | 0.000 | UV.UV_VIS_2.AcqOn
13:14:29 | 0.000 | UV.3DFIELD.AcqOn
13:14:29 | 0.000 | Entered stage "Run"
13:14:29 | 0.000 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:29 | 0.000 | PumpModule.Pump.%B.Value Gradient Start = 35.0 %, End = 90.0 %, Duration = 0.300 min
13:14:29 | 0.000 | PumpModule.Pump.%C.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.%D.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.Curve = 5
13:14:29 | 0.000 | Reading from simulation data file C:\Program Files (x86)\Thermo\Chromeleon\bin\DDK\V1\Drivers\Dionex\DAD3000\cmoq_1.dad3000.
13:14:47 | 0.300 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:47 | 0.300 | PumpModule.Pump.%B.Value = 90.0 %
13:14:47 | 0.300 | PumpModule.Pump.%C.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.%D.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:56 | 0.450 | PumpModule.Pump.%B.Value = 90.0 %
13:14:56 | 0.450 | PumpModule.Pump.%C.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.%D.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | UV.3DFIELD.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_1.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_2.AcqOff
13:14:56 | 0.450 | Entered stage "Stop Run"
13:14:56 | 0.450 | Terminating instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth. Waiting for instrument to finish processing of current injection ...
13:14:56 | 0.451 | Closing simulation data file.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 5": Injection specification criteria has not been met
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 6": Injection specification criteria has not been met
13:14:56 |  | End of injection "Alkylphenones 1".

## Chromatogram (hidden)
Chromatogram