## Overview (hidden)
Sequence Overview
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
Injection Details
No | Injection Name | Position | Type | Level | Inject Time | Status
1 | Alkylphenones 1 | RA1 | Calibration Standard | 01 | 2022-07-12 13:14 | Finished
2 | Alkylphenones 2 | RA1 | Calibration Standard | 01 | 2022-07-12 13:15 | Finished
3 | Alkylphenones 3 | RA1 | Calibration Standard | 01 | 2022-07-12 13:16 | Finished
4 | Alkylphenones 4 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
5 | Alkylphenones 5 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
6 | Alkylphenones 6 | RA1 | Calibration Standard | 01 | 2022-07-12 13:18 | Finished
7 | Alkylphenones 7 | RA2 | Unknown |  | 2022-07-12 13:19 | Finished

## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | fto_alkane_mix |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | MS Quantitation
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | alkane_mix |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-02 03:50 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Peak Width
|  | min | counts*min | counts | % | % |  | min
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
2 | Octane | 7.3382 | 205.4803 | 2652 | 1.5999 | 0.49719 | 111-65-9 | 0.12791
22 | Nonane | 8.7916 | 578.2643 | 14922 | 4.5024 | 2.7976 | 111-84-2 | 0.058901
2 | Decane | 10.0962 | 708.4118 | 29664 | 5.5157 | 5.5614 | 124-18-5 | 0.038569
4 | Undecane | 11.2749 | 839.8097 | 35400 | 6.5388 | 6.6368 | 1120-21-4 | 0.037533
2 | Dodecane | 12.3564 | 909.561 | 40752 | 7.0818 | 7.6402 | 112-40-3 | 0.034376
4 | Tridecane | 13.3692 | 940.1179 | 41664 | 7.3198 | 7.8111 | 629-50-5 | 0.036292
2 | Tetradecane | 14.3076 | 963.8174 | 42632 | 7.5043 | 7.9926 | 629-59-4 | 0.036192
4 | Pentadecane | 15.1945 | 1011.1788 | 45560 | 7.873 | 8.5416 | 629-62-9 | 0.03671
4 | Hexadecane | 16.0356 | 1011.4639 | 46768 | 7.8753 | 8.768 | 544-76-3 | 0.036715
2 | Heptadecane | 16.8253 | 1070.8454 | 47528 | 8.3376 | 8.9105 | 629-78-7 | 0.035456
2 | Octadecane | 17.5748 | 1073.2806 | 48773.024 | 8.3566 | 9.1439 | 593-45-3 | 0.034773
2 | Nonadecane | 18.2901 | 1078.9304 | 47327.5313 | 8.4005 | 8.8729 | 629-92-5 | 0.036863
2 | Eicosane | 19.011 | 1096.135 | 42866.5411 | 8.5345 | 8.0366 | 629-92-5 | 0.040576
Total: |  |  | 11487.2967 | 486509.0964 | 89.44 | 91.2103

## copy
Chromatogram and Results
Injection Details
Injection Name: |  | fto_alkane_mix |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | MS Quantitation
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | alkane_mix |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-02 03:50 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Peak Width
|  | min | counts*min | counts | % | % |  | min
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
2 | Octane | 7.3382 | 205.4803 | 2652 | 1.5999 | 0.49719 | 111-65-9 | 0.12791
22 | Nonane | 8.7916 | 578.2643 | 14922 | 4.5024 | 2.7976 | 111-84-2 | 0.058901
2 | Decane | 10.0962 | 708.4118 | 29664 | 5.5157 | 5.5614 | 124-18-5 | 0.038569
4 | Undecane | 11.2749 | 839.8097 | 35400 | 6.5388 | 6.6368 | 1120-21-4 | 0.037533
2 | Dodecane | 12.3564 | 909.561 | 40752 | 7.0818 | 7.6402 | 112-40-3 | 0.034376
4 | Tridecane | 13.3692 | 940.1179 | 41664 | 7.3198 | 7.8111 | 629-50-5 | 0.036292
2 | Tetradecane | 14.3076 | 963.8174 | 42632 | 7.5043 | 7.9926 | 629-59-4 | 0.036192
4 | Pentadecane | 15.1945 | 1011.1788 | 45560 | 7.873 | 8.5416 | 629-62-9 | 0.03671
4 | Hexadecane | 16.0356 | 1011.4639 | 46768 | 7.8753 | 8.768 | 544-76-3 | 0.036715
2 | Heptadecane | 16.8253 | 1070.8454 | 47528 | 8.3376 | 8.9105 | 629-78-7 | 0.035456
2 | Octadecane | 17.5748 | 1073.2806 | 48773.024 | 8.3566 | 9.1439 | 593-45-3 | 0.034773
2 | Nonadecane | 18.2901 | 1078.9304 | 47327.5313 | 8.4005 | 8.8729 | 629-92-5 | 0.036863
2 | Eicosane | 19.011 | 1096.135 | 42866.5411 | 8.5345 | 8.0366 | 629-92-5 | 0.040576
Total: |  |  | 11487.2967 | 486509.0964 | 89.44 | 91.2103

## Sheet2
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | CAS | Peak Width
2 | Octane | 7.3382 | 205.4803 | 2652 | 1.5999 | 0.49719 | 111-65-9 | 0.12791
22 | Nonane | 8.7916 | 578.2643 | 14922 | 4.5024 | 2.7976 | 111-84-2 | 0.058901
2 | Decane | 10.0962 | 708.4118 | 29664 | 5.5157 | 5.5614 | 124-18-5 | 0.038569
4 | Undecane | 11.2749 | 839.8097 | 35400 | 6.5388 | 6.6368 | 1120-21-4 | 0.037533
2 | Dodecane | 12.3564 | 909.561 | 40752 | 7.0818 | 7.6402 | 112-40-3 | 0.034376
4 | Tridecane | 13.3692 | 940.1179 | 41664 | 7.3198 | 7.8111 | 629-50-5 | 0.036292
2 | Tetradecane | 14.3076 | 963.8174 | 42632 | 7.5043 | 7.9926 | 629-59-4 | 0.036192
4 | Pentadecane | 15.1945 | 1011.1788 | 45560 | 7.873 | 8.5416 | 629-62-9 | 0.03671
4 | Hexadecane | 16.0356 | 1011.4639 | 46768 | 7.8753 | 8.768 | 544-76-3 | 0.036715
2 | Heptadecane | 16.8253 | 1070.8454 | 47528 | 8.3376 | 8.9105 | 629-78-7 | 0.035456
2 | Octadecane | 17.5748 | 1073.2806 | 48773.024 | 8.3566 | 9.1439 | 593-45-3 | 0.034773
2 | Nonadecane | 18.2901 | 1078.9304 | 47327.5313 | 8.4005 | 8.8729 | 629-92-5 | 0.036863
2 | Eicosane | 19.011 | 1096.135 | 42866.5411 | 8.5345 | 8.0366 | 629-92-5 | 0.040576
Total: |  |  | 11487.2967 | 486509.0964 | 89.44 | 91.2103

## Calibration (hidden)
Calibration
Calibration Details |  | Heptadecane
Calibration Type |  | Lin, WithOffset |  |  | Offset (C0) |  | n.a.
Evaluation Type |  | Area |  |  | Slope (C1) |  | n.a.
Number of Calibration Points |  | 0 |  |  | Curve (C2) |  | n.a.
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | n.a.
Calibration Plot |  | Heptadecane
Calibration Results |  | Heptadecane
No. | Injection Name | Level | X Value | Y Value | Residual | Area | Height
|  |  |  | Unit? | % | counts*min | counts
|  |  | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
|  |  | Heptadecane | Heptadecane | Heptadecane | Heptadecane | Heptadecane
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.

## Peak Analysis (hidden)
Peak Analysis
Injection Details
Injection Name: |  | fto_alkane_mix |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | MS Quantitation
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | alkane_mix |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-02 03:50 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peakname | Ret.Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
2 | Octane | 7.3382 | 0.069257 | BMB | 17.9501 | 3.484 | 62197
22 | Nonane | 8.7916 | 0.028319 | MB | 7.0351 | 2.5505 | 533926
2 | Decane | 10.0962 | 0.021725 | M | n.a. | 1.2296 | 1196478
4 | Undecane | 11.2749 | 0.022678 | BMB | 1.902 | 0.90208 | 1369353
2 | Dodecane | 12.3564 | 0.020841 | BMB | n.a. | 1.0744 | 1947469
4 | Tridecane | 13.3692 | 0.02115 | BM | n.a. | 0.90154 | 2213664
2 | Tetradecane | 14.3076 | 0.021082 | BM | n.a. | 1.1509 | 2551563
4 | Pentadecane | 15.1945 | 0.021155 | BM | 2.0098 | 1.1163 | 2857933
4 | Hexadecane | 16.0356 | 0.020557 | BMB | 3.0829 | 0.93428 | 3370955
2 | Heptadecane | 16.8253 | 0.021082 | M | n.a. | 0.97996 | 3528664
2 | Octadecane | 17.5748 | 0.020662 | BMB | n.a. | 1.0038 | 4008104
2 | Nonadecane | 18.2901 | 0.021722 | BMB | n.a. | 0.92212 | 3927597
2 | Eicosane | 19.011 | 0.024142 | BMB | n.a. | 0.96063 | 3435367

## SST (hidden)
Chromatogram and SST Results
Injection Details
Injection Name: |  | fto_alkane_mix |  | Run Time (min): | 25.2396
Vial Number: |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  | Channel: | MS Quantitation
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  | Bandwidth: | n.a.
Processing Method: |  | alkane_mix |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-02 03:50 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Name
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
| Number of executed test cases: | n.a. | Total Result: | n.a.

## Summary (hidden)
Summary
Sequence Details
Name: |  | alkane_mix.AIA |  |  | Created On: | 2026-09-28 14:42
Directory: |  | Ruth\Phytoncides\Missouri_Phyto_2026 |  |  | Created By: | Thermo
Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2026-09-28 15:27
No. of Injections: |  | 1 |  |  | Updated By: | ISQ7610
By Component |  | Heptadecane
No | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | counts*min | counts |  | %
|  | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
|  | Heptadecane | Heptadecane | Heptadecane | Heptadecane | Heptadecane | Heptadecane
1 | fto_alkane_mix | 16.8253 | 1070.8454 | 47528 | n.a. | 8.3376 | M
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.

## Injection Audit Trail (hidden)
Injection Audit Trail
Injection Details
Injection Name: |  | fto_alkane_mix |  | Run Time (min): | 25.2396
Vial Number: |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  | Channel: | MS Quantitation
Calibration Level: |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  | Bandwidth: | n.a.
Processing Method: |  | alkane_mix |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-02 03:50 |  | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
min
No audit trail available for the current injection.
n.a. | n.a. | n.a. | n.a.

## Chromatogram (hidden)
Chromatogram