## Overview (hidden)
Sequence Overview
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
Injection Details
No | Injection Name | Position | Type | Level | Inject Time | Status
1 | Alkylphenones 1 | RA1 | Calibration Standard | 01 | 2022-07-12 13:14 | Finished
2 | Alkylphenones 2 | RA1 | Calibration Standard | 01 | 2022-07-12 13:15 | Finished
3 | Alkylphenones 3 | RA1 | Calibration Standard | 01 | 2022-07-12 13:16 | Finished
4 | Alkylphenones 4 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
5 | Alkylphenones 5 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
6 | Alkylphenones 6 | RA1 | Calibration Standard | 01 | 2022-07-12 13:18 | Finished
7 | Alkylphenones 7 | RA2 | Unknown |  | 2022-07-12 13:19 | Finished

## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p14_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | MS Quantitation
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | MS Quantitative test |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 23:44 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | Retention (DETECTED) | Amount
|  | min | counts*min | counts | % | % | min
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
2 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 1.069 | 187 | 0.00046453 | 0.0034108 | 7.1094 | n.a.
1 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.304 | 5.8821 | 382 | 0.002556 | 0.0069675 | 7.304 | n.a.
5 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 192.2831 | 3054.3831 | 0.083555 | 0.055711 | 7.5672 | n.a.
4 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6931 | 0.916 | 160 | 0.00039804 | 0.0029183 | 7.6931 | n.a.
9 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 3.835 | 248.5958 | 0.0016664 | 0.0045343 | 7.8018 | n.a.
6 | 2-(4-Methylphenyl)-1H-indole | 7.8876 | 8.5167 | 266.655 | 0.0037009 | 0.0048637 | 7.8876 | n.a.
7 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 5.9007 | 407.4057 | 0.0025641 | 0.0074309 | 8.0135 | n.a.
5 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 6.8111 | 236 | 0.0029597 | 0.0043045 | 8.0707 | n.a.
8 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1565 | 6.4084 | 312 | 0.0027847 | 0.0056907 | 8.1565 | n.a.
2 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1737 | 9.9054 | 504 | 0.0043043 | 0.0091927 | 8.1737 | n.a.
2 | o-Xylene | 8.3682 | 28.6509 | 1116 | 0.01245 | 0.020355 | 8.3682 | n.a.
10 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4312 | 5.2576 | 271 | 0.0022847 | 0.0049429 | 8.4312 | n.a.
3 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4655 | 32.1186 | 1258 | 0.013957 | 0.022945 | 8.4655 | n.a.
13 | Phenylethyne | 8.5513 | 115.78 | 4547.5 | 0.050311 | 0.082944 | 8.5513 | n.a.
5 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6315 | 3.4361 | 220.4902 | 0.0014931 | 0.0040216 | 8.6315 | n.a.
14 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.6944 | 11.1911 | 277.9902 | 0.004863 | 0.0050704 | 8.6944 | n.a.
11 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.7802 | 2.1281 | 193 | 0.00092475 | 0.0035202 | 8.7802 | n.a.
2 | 3,4-dimethyl-Heptane | 8.7917 | 12.8762 | 481 | 0.0055953 | 0.0087732 | 8.7917 | n.a.
7 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.969 | 3.4974 | 235.0064 | 0.0015198 | 0.0042864 | 8.969 | n.a.
6 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.0034 | 3.2351 | 251.2702 | 0.0014058 | 0.0045831 | 9.0034 | n.a.
7 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.072 | 14.2971 | 311.9291 | 0.0062127 | 0.0056895 | 9.072 | n.a.
9 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1636 | 10.5908 | 297.227 | 0.0046022 | 0.0054213 | 9.1636 | n.a.
12 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 2.7386 | 312.3272 | 0.00119 | 0.0056967 | 9.2837 | n.a.
6 | 2,4-Diphenyl-2-oxazolin-5-one | 9.3009 | 1.4423 | 48 | 0.00062674 | 0.0008755 | 9.3009 | n.a.
9 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0057035 | 0.0054247 | 9.4383 | n.a.
10 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0057035 | 0.0054247 | 9.4383 | n.a.
18 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.5985 | 5.5329 | 325.8864 | 0.0024043 | 0.005944 | 9.5985 | n.a.
11 | Benzaldehyde | 9.7301 | 1256.9901 | 47433.9536 | 0.54622 | 0.86517 | 9.7301 | n.a.
7 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 127.4766 | 4843.7431 | 0.055394 | 0.088348 | 9.8788 | n.a.
8 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9475 | 10.3107 | 361.716 | 0.0044804 | 0.0065975 | 9.9475 | n.a.
5 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9475 | 10.3107 | 361.716 | 0.0044804 | 0.0065975 | 9.9475 | n.a.
4 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 65.3822 | 2445 | 0.028411 | 0.044596 | 10.0219 | n.a.
7 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1077 | 9.1217 | 346.8672 | 0.0039638 | 0.0063267 | 10.1077 | n.a.
8 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1649 | 9.5557 | 420.4696 | 0.0041524 | 0.0076692 | 10.1649 | n.a.
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 3.5819 | 382.3456 | 0.0015565 | 0.0069738 | 10.2451 | n.a.
6 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 0.83318 | 233.8001 | 0.00036205 | 0.0042644 | 10.3423 | n.a.
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4453 | 3.2908 | 362.2149 | 0.00143 | 0.0066066 | 10.4453 | n.a.
4 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 29.4046 | 1034 | 0.012778 | 0.01886 | 10.5311 | n.a.
7 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 9.3187 | 447.6103 | 0.0040494 | 0.0081642 | 10.5712 | n.a.
6 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.6341 | 2.1802 | 144.211 | 0.00094737 | 0.0026303 | 10.6341 | n.a.
9 | Benzeneacetaldehyde | 10.7486 | 995.8866 | 39484.1783 | 0.43276 | 0.72017 | 10.7486 | n.a.
2 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 47.6942 | 1972 | 0.020725 | 0.035968 | 10.8115 | n.a.
9 | 2,4-Difluorophenyl Benzoate | 10.9145 | 12.2165 | 738.6345 | 0.0053086 | 0.013472 | 10.9145 | n.a.
7 | Benzenecarbothioic acid | 10.9145 | 12.2165 | 738.6345 | 0.0053086 | 0.013472 | 10.9145 | n.a.
20 | Acetophenone | 11.0518 | 5344.0506 | 200814.1925 | 2.3222 | 3.6628 | 11.0518 | n.a.
13 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1205 | 80.6742 | 2482.3975 | 0.035056 | 0.045278 | 11.1205 | n.a.
3 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.172 | 6.25 | 267.7976 | 0.0027159 | 0.0048845 | 11.172 | n.a.
4 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2063 | 12.5429 | 372.6697 | 0.0054504 | 0.0067973 | 11.2063 | n.a.
4 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.2979 | 12.417 | 538.0012 | 0.0053957 | 0.0098129 | 11.2979 | n.a.
6 | Nonanal | 11.3379 | 31.2481 | 1290 | 0.013579 | 0.023529 | 11.3379 | n.a.
2 | Cyclopentasiloxane, decamethyl- | 11.7042 | 145.0471 | 5117 | 0.063029 | 0.093332 | 11.7042 | n.a.
3 | Benzoic acid | 11.9788 | 16209.6528 | 183384.6427 | 7.0438 | 3.3449 | 11.9788 | n.a.
4 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0703 | 6.1664 | 695.7049 | 0.0026796 | 0.012689 | 12.0703 | n.a.
4 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 56.8567 | 2216 | 0.024707 | 0.040419 | 12.1505 | n.a.
4 | N'-methylbenzohydrazide | 12.1791 | 163.4905 | 6554.7457 | 0.071044 | 0.11956 | 12.1791 | n.a.
5 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2706 | 3.2007 | 299.1877 | 0.0013908 | 0.0054571 | 12.2706 | n.a.
5 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.3793 | 1.9857 | 193.9548 | 0.00086289 | 0.0035377 | 12.3793 | n.a.
5 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3793 | 1.9857 | 193.9548 | 0.00086289 | 0.0035377 | 12.3793 | n.a.
9 | Decanal | 12.4709 | 7.2489 | 350.5818 | 0.0031499 | 0.0063945 | 12.4709 | n.a.
7 | Methyl salicylate | 12.5338 | 37.0445 | 1506 | 0.016097 | 0.027469 | 12.5338 | n.a.
12 | Benzoic acid, 2-formyl- | 12.7226 | 26.5025 | 790.0005 | 0.011516 | 0.014409 | 12.7226 | n.a.
17 | Acetic acid, phenyl- | 12.7799 | 105.7369 | 3667.6643 | 0.045947 | 0.066897 | 12.7799 | n.a.
4 | (2-nitroanilino) benzoate | 12.8543 | 3.448 | 276.2664 | 0.0014983 | 0.005039 | 12.8543 | n.a.
5 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.9 | 5.7398 | 192.0362 | 0.0024942 | 0.0035027 | 12.9 | n.a.
9 | 2-Coumaranone | 12.9458 | 116.1596 | 3362 | 0.050476 | 0.061321 | 12.9458 | n.a.
10 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 199.2986 | 3195.9771 | 0.086604 | 0.058293 | 13.0259 | n.a.
9 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.1175 | 38.315 | 671.2732 | 0.016649 | 0.012244 | 13.1175 | n.a.
2 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1346 | 2.947 | 112.975 | 0.0012806 | 0.0020606 | 13.1346 | n.a.
6 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1919 | 2.6893 | 191.0102 | 0.0011686 | 0.0034839 | 13.1919 | n.a.
7 | Salicylic acid | 13.312 | 56.9662 | 1262 | 0.024754 | 0.023018 | 13.312 | n.a.
6 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 10.3066 | 385 | 0.0044787 | 0.0070222 | 13.4837 | n.a.
5 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 155.7315 | 5349.116 | 0.067672 | 0.097566 | 13.5924 | n.a.
6 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6382 | 48.8653 | 1876 | 0.021234 | 0.034217 | 13.6382 | n.a.
19 | Phthalic anhydride | 13.7984 | 261.4074 | 7035 | 0.11359 | 0.12832 | 13.7984 | n.a.
6 | 1,2-Bis(benzoylmethylene)adamantane | 13.8442 | 50.6811 | 1355.1251 | 0.022023 | 0.024717 | 13.8442 | n.a.
11 | 1(3H)-Isobenzofuranone | 14.1646 | 115.7959 | 2789.6641 | 0.050318 | 0.050882 | 14.1646 | n.a.
8 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2504 | 3.7142 | 306 | 0.001614 | 0.0055813 | 14.2504 | n.a.
7 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.382 | 7.4226 | 231 | 0.0032254 | 0.0042133 | 14.382 | n.a.
19 | Benzoylformic acid | 14.5022 | 705.7744 | 26754.2295 | 0.30669 | 0.48799 | 14.5022 | n.a.
2 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.7883 | 56.3532 | 2766 | 0.024488 | 0.050451 | 14.7883 | n.a.
4 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 7.1261 | 456 | 0.0030966 | 0.0083172 | 14.897 | n.a.
2 | Vinyl benzhydryl sulfide | 14.9313 | 16.0381 | 730 | 0.0069692 | 0.013315 | 14.9313 | n.a.
5 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3204 | 1.0409 | 186.6961 | 0.00045232 | 0.0034053 | 15.3204 | n.a.
2 | Heptasiloxane, hexadecamethyl- | 15.5894 | 26.6342 | 1240 | 0.011574 | 0.022617 | 15.5894 | n.a.
12 | Phenylmaleic anhydride | 15.7725 | 4119.8789 | 151764.4862 | 1.7903 | 2.7681 | 15.7725 | n.a.
9 | 4-Methoxy-1,2-naphthoquinone | 16.0128 | 232.4741 | 8113.4731 | 0.10102 | 0.14799 | 16.0128 | n.a.
6 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.07 | 5.5109 | 233.9534 | 0.0023947 | 0.0042672 | 16.07 | n.a.
5 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.2016 | 9.6873 | 358 | 0.0042096 | 0.0065298 | 16.2016 | n.a.
11 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 91.5973 | 4124.9767 | 0.039803 | 0.075238 | 16.276 | n.a.
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3332 | 0.61885 | 363.8864 | 0.00026892 | 0.0066371 | 16.3332 | n.a.
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3904 | 1.2204 | 195.9701 | 0.00053032 | 0.0035744 | 16.3904 | n.a.
10 | Benzophenone | 16.6594 | 229.7901 | 7836.1261 | 0.099854 | 0.14293 | 16.6594 | n.a.
11 | 7-oxohyocholic acid methyl ester | 16.7109 | 20.9912 | 731.3542 | 0.0091216 | 0.01334 | 16.7109 | n.a.
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7109 | 20.9912 | 731.3542 | 0.0091216 | 0.01334 | 16.7109 | n.a.
4 | Hyocholic acid methylester | 16.7967 | 10.9851 | 653.6733 | 0.0047735 | 0.011923 | 16.7967 | n.a.
10 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 37.4233 | 1882 | 0.016262 | 0.034327 | 16.8425 | n.a.
8 | 7-oxohyocholic acid methyl ester | 16.9111 | 13.349 | 693.8672 | 0.0058007 | 0.012656 | 16.9111 | n.a.
5 | Hyocholic acid methylester | 16.9111 | 13.349 | 693.8672 | 0.0058007 | 0.012656 | 16.9111 | n.a.
13 | 7-oxohyocholic acid methyl ester | 17.0199 | 20.1795 | 920.412 | 0.0087688 | 0.016788 | 17.0199 | n.a.
8 | Hyocholic acid methylester | 17.2144 | 16.1295 | 667.5647 | 0.007009 | 0.012176 | 17.2144 | n.a.
8 | Hyocholic acid methylester | 17.2831 | 21.531 | 693.7789 | 0.0093561 | 0.012654 | 17.2831 | n.a.
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2831 | 21.531 | 693.7789 | 0.0093561 | 0.012654 | 17.2831 | n.a.
8 | Hyocholic acid methylester | 17.3918 | 8.9779 | 606.5257 | 0.0039013 | 0.011063 | 17.3918 | n.a.
23 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 419.9197 | 17408.2817 | 0.18247 | 0.31752 | 17.4433 | n.a.
15 | Hyocholic acid methylester | 17.5177 | 6.2936 | 495.8324 | 0.0027348 | 0.0090438 | 17.5177 | n.a.
7 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.0071705 | 0.018468 | 17.6378 | n.a.
9 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.0071705 | 0.018468 | 17.6378 | n.a.
6 | Hyocholic acid methylester | 17.6836 | 21.216 | 815.8013 | 0.0092193 | 0.01488 | 17.6836 | n.a.
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
12 | Hyocholic acid methylester | 17.7923 | 0.37068 | 104.8974 | 0.00016108 | 0.0019133 | 17.7923 | n.a.
2 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049773 | 0.019917 | 17.9239 | n.a.
14 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049773 | 0.019917 | 17.9239 | n.a.
9 | Hyocholic acid methylester | 17.964 | 34.3742 | 1212.5 | 0.014937 | 0.022115 | 17.964 | n.a.
7 | Hyocholic acid methylester | 18.0613 | 4.7689 | 436.6757 | 0.0020723 | 0.0079648 | 18.0613 | n.a.
14 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 292.4014 | 12702.3828 | 0.12706 | 0.23169 | 18.067 | n.a.
6 | Hyocholic acid methylester | 18.1013 | 7.4856 | 644.332 | 0.0032528 | 0.011752 | 18.1013 | n.a.
9 | Hyocholic acid methylester | 18.1814 | 49.1974 | 1938.8832 | 0.021378 | 0.035364 | 18.1814 | n.a.
5 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032625 | 0.035869 | 18.2272 | n.a.
7 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032625 | 0.035869 | 18.2272 | n.a.
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 6.7692 | 343.8681 | 0.0029415 | 0.006272 | 18.3073 | n.a.
5 | Hyocholic acid methylester | 18.3473 | 7.5738 | 999.5389 | 0.0032912 | 0.018231 | 18.3473 | n.a.
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3817 | 10.4723 | 408.6667 | 0.0045506 | 0.0074539 | 18.3817 | n.a.
6 | Hyocholic acid methylester | 18.4504 | 74.9208 | 1893.2529 | 0.032556 | 0.034532 | 18.4504 | n.a.
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.4904 | 7.5432 | 519.1846 | 0.0032778 | 0.0094697 | 18.4904 | n.a.
10 | Hyocholic acid methylester | 18.5648 | 23.3119 | 1049.6567 | 0.01013 | 0.019145 | 18.5648 | n.a.
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 29.6583 | 919.6147 | 0.012888 | 0.016773 | 18.685 | n.a.
n.a. | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
17 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8223 | 15.1154 | 425.4068 | 0.0065683 | 0.0077592 | 18.8223 | n.a.
14 | Hyocholic acid methylester | 18.8566 | 46.0034 | 2006.0812 | 0.01999 | 0.03659 | 18.8566 | n.a.
2 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 1.9224 | 211.0097 | 0.00083535 | 0.0038487 | 18.9539 | n.a.
n.a. | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
15 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 3.3499 | 193.6912 | 0.0014557 | 0.0035328 | 19.074 | n.a.
13 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.137 | 8.0699 | 445.2709 | 0.0035067 | 0.0081215 | 19.137 | n.a.
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2057 | 2.8144 | 319.0204 | 0.001223 | 0.0058188 | 19.2057 | n.a.
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.28 | 0.87577 | 437.1056 | 0.00038056 | 0.0079726 | 19.28 | n.a.
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3659 | 8.9544 | 374.2497 | 0.0038911 | 0.0068262 | 19.3659 | n.a.
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077819 | 0.0030948 | 19.4288 | n.a.
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077819 | 0.0030948 | 19.4288 | n.a.
9 | Hyocholic acid methylester | 19.5089 | 29.1144 | 1520.1581 | 0.012651 | 0.027727 | 19.5089 | n.a.
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.003496 | 0.0081977 | 19.6634 | n.a.
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.003496 | 0.0081977 | 19.6634 | n.a.
6 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7779 | 0.79462 | 87.3333 | 0.00034529 | 0.0015929 | 19.7779 | n.a.
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8294 | 4.5441 | 594 | 0.0019746 | 0.010834 | 19.8294 | n.a.
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.898 | 23.2687 | 793.1998 | 0.010111 | 0.014468 | 19.898 | n.a.
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9838 | 8.7677 | 328.0599 | 0.0038099 | 0.0059837 | 19.9838 | n.a.
Total: |  |  | 33542.7067 | 830675.8049 | 14.5757 | 15.1512

## copy
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p14_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | MS Quantitation
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | MS Quantitative test |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 23:44 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | Retention (DETECTED) | Amount
|  | min | counts*min | counts | % | % | min
MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak | MS Quantitation Peak
2 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 1.069 | 187 | 0.00046453 | 0.0034108 | 7.1094 | n.a.
1 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.304 | 5.8821 | 382 | 0.002556 | 0.0069675 | 7.304 | n.a.
5 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 192.2831 | 3054.3831 | 0.083555 | 0.055711 | 7.5672 | n.a.
4 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6931 | 0.916 | 160 | 0.00039804 | 0.0029183 | 7.6931 | n.a.
9 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 3.835 | 248.5958 | 0.0016664 | 0.0045343 | 7.8018 | n.a.
6 | 2-(4-Methylphenyl)-1H-indole | 7.8876 | 8.5167 | 266.655 | 0.0037009 | 0.0048637 | 7.8876 | n.a.
7 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 5.9007 | 407.4057 | 0.0025641 | 0.0074309 | 8.0135 | n.a.
5 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 6.8111 | 236 | 0.0029597 | 0.0043045 | 8.0707 | n.a.
8 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1565 | 6.4084 | 312 | 0.0027847 | 0.0056907 | 8.1565 | n.a.
2 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1737 | 9.9054 | 504 | 0.0043043 | 0.0091927 | 8.1737 | n.a.
2 | o-Xylene | 8.3682 | 28.6509 | 1116 | 0.01245 | 0.020355 | 8.3682 | n.a.
10 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4312 | 5.2576 | 271 | 0.0022847 | 0.0049429 | 8.4312 | n.a.
3 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4655 | 32.1186 | 1258 | 0.013957 | 0.022945 | 8.4655 | n.a.
13 | Phenylethyne | 8.5513 | 115.78 | 4547.5 | 0.050311 | 0.082944 | 8.5513 | n.a.
5 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6315 | 3.4361 | 220.4902 | 0.0014931 | 0.0040216 | 8.6315 | n.a.
14 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.6944 | 11.1911 | 277.9902 | 0.004863 | 0.0050704 | 8.6944 | n.a.
11 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.7802 | 2.1281 | 193 | 0.00092475 | 0.0035202 | 8.7802 | n.a.
2 | 3,4-dimethyl-Heptane | 8.7917 | 12.8762 | 481 | 0.0055953 | 0.0087732 | 8.7917 | n.a.
7 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.969 | 3.4974 | 235.0064 | 0.0015198 | 0.0042864 | 8.969 | n.a.
6 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.0034 | 3.2351 | 251.2702 | 0.0014058 | 0.0045831 | 9.0034 | n.a.
7 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.072 | 14.2971 | 311.9291 | 0.0062127 | 0.0056895 | 9.072 | n.a.
9 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1636 | 10.5908 | 297.227 | 0.0046022 | 0.0054213 | 9.1636 | n.a.
12 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 2.7386 | 312.3272 | 0.00119 | 0.0056967 | 9.2837 | n.a.
6 | 2,4-Diphenyl-2-oxazolin-5-one | 9.3009 | 1.4423 | 48 | 0.00062674 | 0.0008755 | 9.3009 | n.a.
9 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0057035 | 0.0054247 | 9.4383 | n.a.
10 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0057035 | 0.0054247 | 9.4383 | n.a.
18 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.5985 | 5.5329 | 325.8864 | 0.0024043 | 0.005944 | 9.5985 | n.a.
11 | Benzaldehyde | 9.7301 | 1256.9901 | 47433.9536 | 0.54622 | 0.86517 | 9.7301 | n.a.
7 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 127.4766 | 4843.7431 | 0.055394 | 0.088348 | 9.8788 | n.a.
8 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9475 | 10.3107 | 361.716 | 0.0044804 | 0.0065975 | 9.9475 | n.a.
5 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9475 | 10.3107 | 361.716 | 0.0044804 | 0.0065975 | 9.9475 | n.a.
4 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 65.3822 | 2445 | 0.028411 | 0.044596 | 10.0219 | n.a.
7 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1077 | 9.1217 | 346.8672 | 0.0039638 | 0.0063267 | 10.1077 | n.a.
8 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1649 | 9.5557 | 420.4696 | 0.0041524 | 0.0076692 | 10.1649 | n.a.
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 3.5819 | 382.3456 | 0.0015565 | 0.0069738 | 10.2451 | n.a.
6 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 0.83318 | 233.8001 | 0.00036205 | 0.0042644 | 10.3423 | n.a.
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4453 | 3.2908 | 362.2149 | 0.00143 | 0.0066066 | 10.4453 | n.a.
4 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 29.4046 | 1034 | 0.012778 | 0.01886 | 10.5311 | n.a.
7 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 9.3187 | 447.6103 | 0.0040494 | 0.0081642 | 10.5712 | n.a.
6 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.6341 | 2.1802 | 144.211 | 0.00094737 | 0.0026303 | 10.6341 | n.a.
9 | Benzeneacetaldehyde | 10.7486 | 995.8866 | 39484.1783 | 0.43276 | 0.72017 | 10.7486 | n.a.
2 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 47.6942 | 1972 | 0.020725 | 0.035968 | 10.8115 | n.a.
9 | 2,4-Difluorophenyl Benzoate | 10.9145 | 12.2165 | 738.6345 | 0.0053086 | 0.013472 | 10.9145 | n.a.
7 | Benzenecarbothioic acid | 10.9145 | 12.2165 | 738.6345 | 0.0053086 | 0.013472 | 10.9145 | n.a.
20 | Acetophenone | 11.0518 | 5344.0506 | 200814.1925 | 2.3222 | 3.6628 | 11.0518 | n.a.
13 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1205 | 80.6742 | 2482.3975 | 0.035056 | 0.045278 | 11.1205 | n.a.
3 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.172 | 6.25 | 267.7976 | 0.0027159 | 0.0048845 | 11.172 | n.a.
4 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2063 | 12.5429 | 372.6697 | 0.0054504 | 0.0067973 | 11.2063 | n.a.
4 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.2979 | 12.417 | 538.0012 | 0.0053957 | 0.0098129 | 11.2979 | n.a.
6 | Nonanal | 11.3379 | 31.2481 | 1290 | 0.013579 | 0.023529 | 11.3379 | n.a.
2 | Cyclopentasiloxane, decamethyl- | 11.7042 | 145.0471 | 5117 | 0.063029 | 0.093332 | 11.7042 | n.a.
3 | Benzoic acid | 11.9788 | 16209.6528 | 183384.6427 | 7.0438 | 3.3449 | 11.9788 | n.a.
4 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0703 | 6.1664 | 695.7049 | 0.0026796 | 0.012689 | 12.0703 | n.a.
4 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 56.8567 | 2216 | 0.024707 | 0.040419 | 12.1505 | n.a.
4 | N'-methylbenzohydrazide | 12.1791 | 163.4905 | 6554.7457 | 0.071044 | 0.11956 | 12.1791 | n.a.
5 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2706 | 3.2007 | 299.1877 | 0.0013908 | 0.0054571 | 12.2706 | n.a.
5 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.3793 | 1.9857 | 193.9548 | 0.00086289 | 0.0035377 | 12.3793 | n.a.
5 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3793 | 1.9857 | 193.9548 | 0.00086289 | 0.0035377 | 12.3793 | n.a.
9 | Decanal | 12.4709 | 7.2489 | 350.5818 | 0.0031499 | 0.0063945 | 12.4709 | n.a.
7 | Methyl salicylate | 12.5338 | 37.0445 | 1506 | 0.016097 | 0.027469 | 12.5338 | n.a.
12 | Benzoic acid, 2-formyl- | 12.7226 | 26.5025 | 790.0005 | 0.011516 | 0.014409 | 12.7226 | n.a.
17 | Acetic acid, phenyl- | 12.7799 | 105.7369 | 3667.6643 | 0.045947 | 0.066897 | 12.7799 | n.a.
4 | (2-nitroanilino) benzoate | 12.8543 | 3.448 | 276.2664 | 0.0014983 | 0.005039 | 12.8543 | n.a.
5 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.9 | 5.7398 | 192.0362 | 0.0024942 | 0.0035027 | 12.9 | n.a.
9 | 2-Coumaranone | 12.9458 | 116.1596 | 3362 | 0.050476 | 0.061321 | 12.9458 | n.a.
10 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 199.2986 | 3195.9771 | 0.086604 | 0.058293 | 13.0259 | n.a.
9 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.1175 | 38.315 | 671.2732 | 0.016649 | 0.012244 | 13.1175 | n.a.
2 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1346 | 2.947 | 112.975 | 0.0012806 | 0.0020606 | 13.1346 | n.a.
6 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1919 | 2.6893 | 191.0102 | 0.0011686 | 0.0034839 | 13.1919 | n.a.
7 | Salicylic acid | 13.312 | 56.9662 | 1262 | 0.024754 | 0.023018 | 13.312 | n.a.
6 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 10.3066 | 385 | 0.0044787 | 0.0070222 | 13.4837 | n.a.
5 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 155.7315 | 5349.116 | 0.067672 | 0.097566 | 13.5924 | n.a.
6 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6382 | 48.8653 | 1876 | 0.021234 | 0.034217 | 13.6382 | n.a.
19 | Phthalic anhydride | 13.7984 | 261.4074 | 7035 | 0.11359 | 0.12832 | 13.7984 | n.a.
6 | 1,2-Bis(benzoylmethylene)adamantane | 13.8442 | 50.6811 | 1355.1251 | 0.022023 | 0.024717 | 13.8442 | n.a.
11 | 1(3H)-Isobenzofuranone | 14.1646 | 115.7959 | 2789.6641 | 0.050318 | 0.050882 | 14.1646 | n.a.
8 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2504 | 3.7142 | 306 | 0.001614 | 0.0055813 | 14.2504 | n.a.
7 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.382 | 7.4226 | 231 | 0.0032254 | 0.0042133 | 14.382 | n.a.
19 | Benzoylformic acid | 14.5022 | 705.7744 | 26754.2295 | 0.30669 | 0.48799 | 14.5022 | n.a.
2 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.7883 | 56.3532 | 2766 | 0.024488 | 0.050451 | 14.7883 | n.a.
4 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 7.1261 | 456 | 0.0030966 | 0.0083172 | 14.897 | n.a.
2 | Vinyl benzhydryl sulfide | 14.9313 | 16.0381 | 730 | 0.0069692 | 0.013315 | 14.9313 | n.a.
5 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3204 | 1.0409 | 186.6961 | 0.00045232 | 0.0034053 | 15.3204 | n.a.
2 | Heptasiloxane, hexadecamethyl- | 15.5894 | 26.6342 | 1240 | 0.011574 | 0.022617 | 15.5894 | n.a.
12 | Phenylmaleic anhydride | 15.7725 | 4119.8789 | 151764.4862 | 1.7903 | 2.7681 | 15.7725 | n.a.
9 | 4-Methoxy-1,2-naphthoquinone | 16.0128 | 232.4741 | 8113.4731 | 0.10102 | 0.14799 | 16.0128 | n.a.
6 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.07 | 5.5109 | 233.9534 | 0.0023947 | 0.0042672 | 16.07 | n.a.
5 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.2016 | 9.6873 | 358 | 0.0042096 | 0.0065298 | 16.2016 | n.a.
11 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 91.5973 | 4124.9767 | 0.039803 | 0.075238 | 16.276 | n.a.
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3332 | 0.61885 | 363.8864 | 0.00026892 | 0.0066371 | 16.3332 | n.a.
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3904 | 1.2204 | 195.9701 | 0.00053032 | 0.0035744 | 16.3904 | n.a.
10 | Benzophenone | 16.6594 | 229.7901 | 7836.1261 | 0.099854 | 0.14293 | 16.6594 | n.a.
11 | 7-oxohyocholic acid methyl ester | 16.7109 | 20.9912 | 731.3542 | 0.0091216 | 0.01334 | 16.7109 | n.a.
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7109 | 20.9912 | 731.3542 | 0.0091216 | 0.01334 | 16.7109 | n.a.
4 | Hyocholic acid methylester | 16.7967 | 10.9851 | 653.6733 | 0.0047735 | 0.011923 | 16.7967 | n.a.
10 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 37.4233 | 1882 | 0.016262 | 0.034327 | 16.8425 | n.a.
8 | 7-oxohyocholic acid methyl ester | 16.9111 | 13.349 | 693.8672 | 0.0058007 | 0.012656 | 16.9111 | n.a.
5 | Hyocholic acid methylester | 16.9111 | 13.349 | 693.8672 | 0.0058007 | 0.012656 | 16.9111 | n.a.
13 | 7-oxohyocholic acid methyl ester | 17.0199 | 20.1795 | 920.412 | 0.0087688 | 0.016788 | 17.0199 | n.a.
8 | Hyocholic acid methylester | 17.2144 | 16.1295 | 667.5647 | 0.007009 | 0.012176 | 17.2144 | n.a.
8 | Hyocholic acid methylester | 17.2831 | 21.531 | 693.7789 | 0.0093561 | 0.012654 | 17.2831 | n.a.
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2831 | 21.531 | 693.7789 | 0.0093561 | 0.012654 | 17.2831 | n.a.
8 | Hyocholic acid methylester | 17.3918 | 8.9779 | 606.5257 | 0.0039013 | 0.011063 | 17.3918 | n.a.
23 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 419.9197 | 17408.2817 | 0.18247 | 0.31752 | 17.4433 | n.a.
15 | Hyocholic acid methylester | 17.5177 | 6.2936 | 495.8324 | 0.0027348 | 0.0090438 | 17.5177 | n.a.
7 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.0071705 | 0.018468 | 17.6378 | n.a.
9 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.0071705 | 0.018468 | 17.6378 | n.a.
6 | Hyocholic acid methylester | 17.6836 | 21.216 | 815.8013 | 0.0092193 | 0.01488 | 17.6836 | n.a.
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
12 | Hyocholic acid methylester | 17.7923 | 0.37068 | 104.8974 | 0.00016108 | 0.0019133 | 17.7923 | n.a.
2 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049773 | 0.019917 | 17.9239 | n.a.
14 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049773 | 0.019917 | 17.9239 | n.a.
9 | Hyocholic acid methylester | 17.964 | 34.3742 | 1212.5 | 0.014937 | 0.022115 | 17.964 | n.a.
7 | Hyocholic acid methylester | 18.0613 | 4.7689 | 436.6757 | 0.0020723 | 0.0079648 | 18.0613 | n.a.
14 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 292.4014 | 12702.3828 | 0.12706 | 0.23169 | 18.067 | n.a.
6 | Hyocholic acid methylester | 18.1013 | 7.4856 | 644.332 | 0.0032528 | 0.011752 | 18.1013 | n.a.
9 | Hyocholic acid methylester | 18.1814 | 49.1974 | 1938.8832 | 0.021378 | 0.035364 | 18.1814 | n.a.
5 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032625 | 0.035869 | 18.2272 | n.a.
7 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032625 | 0.035869 | 18.2272 | n.a.
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 6.7692 | 343.8681 | 0.0029415 | 0.006272 | 18.3073 | n.a.
5 | Hyocholic acid methylester | 18.3473 | 7.5738 | 999.5389 | 0.0032912 | 0.018231 | 18.3473 | n.a.
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3817 | 10.4723 | 408.6667 | 0.0045506 | 0.0074539 | 18.3817 | n.a.
6 | Hyocholic acid methylester | 18.4504 | 74.9208 | 1893.2529 | 0.032556 | 0.034532 | 18.4504 | n.a.
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.4904 | 7.5432 | 519.1846 | 0.0032778 | 0.0094697 | 18.4904 | n.a.
10 | Hyocholic acid methylester | 18.5648 | 23.3119 | 1049.6567 | 0.01013 | 0.019145 | 18.5648 | n.a.
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 29.6583 | 919.6147 | 0.012888 | 0.016773 | 18.685 | n.a.
n.a. | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
17 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8223 | 15.1154 | 425.4068 | 0.0065683 | 0.0077592 | 18.8223 | n.a.
14 | Hyocholic acid methylester | 18.8566 | 46.0034 | 2006.0812 | 0.01999 | 0.03659 | 18.8566 | n.a.
2 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 1.9224 | 211.0097 | 0.00083535 | 0.0038487 | 18.9539 | n.a.
n.a. | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
15 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 3.3499 | 193.6912 | 0.0014557 | 0.0035328 | 19.074 | n.a.
13 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.137 | 8.0699 | 445.2709 | 0.0035067 | 0.0081215 | 19.137 | n.a.
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2057 | 2.8144 | 319.0204 | 0.001223 | 0.0058188 | 19.2057 | n.a.
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.28 | 0.87577 | 437.1056 | 0.00038056 | 0.0079726 | 19.28 | n.a.
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3659 | 8.9544 | 374.2497 | 0.0038911 | 0.0068262 | 19.3659 | n.a.
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077819 | 0.0030948 | 19.4288 | n.a.
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077819 | 0.0030948 | 19.4288 | n.a.
9 | Hyocholic acid methylester | 19.5089 | 29.1144 | 1520.1581 | 0.012651 | 0.027727 | 19.5089 | n.a.
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.003496 | 0.0081977 | 19.6634 | n.a.
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.003496 | 0.0081977 | 19.6634 | n.a.
6 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7779 | 0.79462 | 87.3333 | 0.00034529 | 0.0015929 | 19.7779 | n.a.
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8294 | 4.5441 | 594 | 0.0019746 | 0.010834 | 19.8294 | n.a.
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.898 | 23.2687 | 793.1998 | 0.010111 | 0.014468 | 19.898 | n.a.
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9838 | 8.7677 | 328.0599 | 0.0038099 | 0.0059837 | 19.9838 | n.a.
Total: |  |  | 33542.7067 | 830675.8049 | 14.5757 | 15.1512

## Sheet2
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height
2 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 1.069 | 187 | 0.00046453 | 0.0034108
1 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.304 | 5.8821 | 382 | 0.002556 | 0.0069675
5 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 192.2831 | 3054.3831 | 0.083555 | 0.055711
4 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6931 | 0.916 | 160 | 0.00039804 | 0.0029183
9 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 3.835 | 248.5958 | 0.0016664 | 0.0045343
6 | 2-(4-Methylphenyl)-1H-indole | 7.8876 | 8.5167 | 266.655 | 0.0037009 | 0.0048637
7 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 5.9007 | 407.4057 | 0.0025641 | 0.0074309
5 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 6.8111 | 236 | 0.0029597 | 0.0043045
8 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1565 | 6.4084 | 312 | 0.0027847 | 0.0056907
2 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1737 | 9.9054 | 504 | 0.0043043 | 0.0091927
2 | o-Xylene | 8.3682 | 28.6509 | 1116 | 0.01245 | 0.020355
10 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4312 | 5.2576 | 271 | 0.0022847 | 0.0049429
3 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4655 | 32.1186 | 1258 | 0.013957 | 0.022945
13 | Phenylethyne | 8.5513 | 115.78 | 4547.5 | 0.050311 | 0.082944
5 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6315 | 3.4361 | 220.4902 | 0.0014931 | 0.0040216
14 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.6944 | 11.1911 | 277.9902 | 0.004863 | 0.0050704
11 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.7802 | 2.1281 | 193 | 0.00092475 | 0.0035202
2 | 3,4-dimethyl-Heptane | 8.7917 | 12.8762 | 481 | 0.0055953 | 0.0087732
7 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.969 | 3.4974 | 235.0064 | 0.0015198 | 0.0042864
6 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.0034 | 3.2351 | 251.2702 | 0.0014058 | 0.0045831
7 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.072 | 14.2971 | 311.9291 | 0.0062127 | 0.0056895
9 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1636 | 10.5908 | 297.227 | 0.0046022 | 0.0054213
12 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 2.7386 | 312.3272 | 0.00119 | 0.0056967
6 | 2,4-Diphenyl-2-oxazolin-5-one | 9.3009 | 1.4423 | 48 | 0.00062674 | 0.0008755
9 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0057035 | 0.0054247
10 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.4383 | 13.1253 | 297.4119 | 0.0057035 | 0.0054247
18 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.5985 | 5.5329 | 325.8864 | 0.0024043 | 0.005944
11 | Benzaldehyde | 9.7301 | 1256.9901 | 47433.9536 | 0.54622 | 0.86517
7 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 127.4766 | 4843.7431 | 0.055394 | 0.088348
8 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9475 | 10.3107 | 361.716 | 0.0044804 | 0.0065975
5 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9475 | 10.3107 | 361.716 | 0.0044804 | 0.0065975
4 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 65.3822 | 2445 | 0.028411 | 0.044596
7 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1077 | 9.1217 | 346.8672 | 0.0039638 | 0.0063267
8 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1649 | 9.5557 | 420.4696 | 0.0041524 | 0.0076692
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 3.5819 | 382.3456 | 0.0015565 | 0.0069738
6 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 0.83318 | 233.8001 | 0.00036205 | 0.0042644
7 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4453 | 3.2908 | 362.2149 | 0.00143 | 0.0066066
4 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 29.4046 | 1034 | 0.012778 | 0.01886
7 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 9.3187 | 447.6103 | 0.0040494 | 0.0081642
6 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.6341 | 2.1802 | 144.211 | 0.00094737 | 0.0026303
9 | Benzeneacetaldehyde | 10.7486 | 995.8866 | 39484.1783 | 0.43276 | 0.72017
2 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 47.6942 | 1972 | 0.020725 | 0.035968
9 | 2,4-Difluorophenyl Benzoate | 10.9145 | 12.2165 | 738.6345 | 0.0053086 | 0.013472
7 | Benzenecarbothioic acid | 10.9145 | 12.2165 | 738.6345 | 0.0053086 | 0.013472
20 | Acetophenone | 11.0518 | 5344.0506 | 200814.1925 | 2.3222 | 3.6628
13 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1205 | 80.6742 | 2482.3975 | 0.035056 | 0.045278
3 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.172 | 6.25 | 267.7976 | 0.0027159 | 0.0048845
4 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2063 | 12.5429 | 372.6697 | 0.0054504 | 0.0067973
4 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.2979 | 12.417 | 538.0012 | 0.0053957 | 0.0098129
6 | Nonanal | 11.3379 | 31.2481 | 1290 | 0.013579 | 0.023529
2 | Cyclopentasiloxane, decamethyl- | 11.7042 | 145.0471 | 5117 | 0.063029 | 0.093332
3 | Benzoic acid | 11.9788 | 16209.6528 | 183384.6427 | 7.0438 | 3.3449
4 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0703 | 6.1664 | 695.7049 | 0.0026796 | 0.012689
4 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 56.8567 | 2216 | 0.024707 | 0.040419
4 | N'-methylbenzohydrazide | 12.1791 | 163.4905 | 6554.7457 | 0.071044 | 0.11956
5 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2706 | 3.2007 | 299.1877 | 0.0013908 | 0.0054571
5 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.3793 | 1.9857 | 193.9548 | 0.00086289 | 0.0035377
5 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3793 | 1.9857 | 193.9548 | 0.00086289 | 0.0035377
9 | Decanal | 12.4709 | 7.2489 | 350.5818 | 0.0031499 | 0.0063945
7 | Methyl salicylate | 12.5338 | 37.0445 | 1506 | 0.016097 | 0.027469
12 | Benzoic acid, 2-formyl- | 12.7226 | 26.5025 | 790.0005 | 0.011516 | 0.014409
17 | Acetic acid, phenyl- | 12.7799 | 105.7369 | 3667.6643 | 0.045947 | 0.066897
4 | (2-nitroanilino) benzoate | 12.8543 | 3.448 | 276.2664 | 0.0014983 | 0.005039
5 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.9 | 5.7398 | 192.0362 | 0.0024942 | 0.0035027
9 | 2-Coumaranone | 12.9458 | 116.1596 | 3362 | 0.050476 | 0.061321
10 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 199.2986 | 3195.9771 | 0.086604 | 0.058293
9 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.1175 | 38.315 | 671.2732 | 0.016649 | 0.012244
2 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1346 | 2.947 | 112.975 | 0.0012806 | 0.0020606
6 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1919 | 2.6893 | 191.0102 | 0.0011686 | 0.0034839
7 | Salicylic acid | 13.312 | 56.9662 | 1262 | 0.024754 | 0.023018
6 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 10.3066 | 385 | 0.0044787 | 0.0070222
5 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 155.7315 | 5349.116 | 0.067672 | 0.097566
6 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6382 | 48.8653 | 1876 | 0.021234 | 0.034217
19 | Phthalic anhydride | 13.7984 | 261.4074 | 7035 | 0.11359 | 0.12832
6 | 1,2-Bis(benzoylmethylene)adamantane | 13.8442 | 50.6811 | 1355.1251 | 0.022023 | 0.024717
11 | 1(3H)-Isobenzofuranone | 14.1646 | 115.7959 | 2789.6641 | 0.050318 | 0.050882
8 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2504 | 3.7142 | 306 | 0.001614 | 0.0055813
7 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.382 | 7.4226 | 231 | 0.0032254 | 0.0042133
19 | Benzoylformic acid | 14.5022 | 705.7744 | 26754.2295 | 0.30669 | 0.48799
2 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.7883 | 56.3532 | 2766 | 0.024488 | 0.050451
4 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 7.1261 | 456 | 0.0030966 | 0.0083172
2 | Vinyl benzhydryl sulfide | 14.9313 | 16.0381 | 730 | 0.0069692 | 0.013315
5 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3204 | 1.0409 | 186.6961 | 0.00045232 | 0.0034053
2 | Heptasiloxane, hexadecamethyl- | 15.5894 | 26.6342 | 1240 | 0.011574 | 0.022617
12 | Phenylmaleic anhydride | 15.7725 | 4119.8789 | 151764.4862 | 1.7903 | 2.7681
9 | 4-Methoxy-1,2-naphthoquinone | 16.0128 | 232.4741 | 8113.4731 | 0.10102 | 0.14799
6 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.07 | 5.5109 | 233.9534 | 0.0023947 | 0.0042672
5 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.2016 | 9.6873 | 358 | 0.0042096 | 0.0065298
11 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 91.5973 | 4124.9767 | 0.039803 | 0.075238
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3332 | 0.61885 | 363.8864 | 0.00026892 | 0.0066371
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3904 | 1.2204 | 195.9701 | 0.00053032 | 0.0035744
10 | Benzophenone | 16.6594 | 229.7901 | 7836.1261 | 0.099854 | 0.14293
11 | 7-oxohyocholic acid methyl ester | 16.7109 | 20.9912 | 731.3542 | 0.0091216 | 0.01334
7 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7109 | 20.9912 | 731.3542 | 0.0091216 | 0.01334
4 | Hyocholic acid methylester | 16.7967 | 10.9851 | 653.6733 | 0.0047735 | 0.011923
10 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 37.4233 | 1882 | 0.016262 | 0.034327
8 | 7-oxohyocholic acid methyl ester | 16.9111 | 13.349 | 693.8672 | 0.0058007 | 0.012656
5 | Hyocholic acid methylester | 16.9111 | 13.349 | 693.8672 | 0.0058007 | 0.012656
13 | 7-oxohyocholic acid methyl ester | 17.0199 | 20.1795 | 920.412 | 0.0087688 | 0.016788
8 | Hyocholic acid methylester | 17.2144 | 16.1295 | 667.5647 | 0.007009 | 0.012176
8 | Hyocholic acid methylester | 17.2831 | 21.531 | 693.7789 | 0.0093561 | 0.012654
8 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2831 | 21.531 | 693.7789 | 0.0093561 | 0.012654
8 | Hyocholic acid methylester | 17.3918 | 8.9779 | 606.5257 | 0.0039013 | 0.011063
23 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 419.9197 | 17408.2817 | 0.18247 | 0.31752
15 | Hyocholic acid methylester | 17.5177 | 6.2936 | 495.8324 | 0.0027348 | 0.0090438
7 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.0071705 | 0.018468
9 | Hyocholic acid methylester | 17.6378 | 16.5012 | 1012.532 | 0.0071705 | 0.018468
6 | Hyocholic acid methylester | 17.6836 | 21.216 | 815.8013 | 0.0092193 | 0.01488
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a.
12 | Hyocholic acid methylester | 17.7923 | 0.37068 | 104.8974 | 0.00016108 | 0.0019133
2 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049773 | 0.019917
14 | Hyocholic acid methylester | 17.9239 | 11.4542 | 1091.9597 | 0.0049773 | 0.019917
9 | Hyocholic acid methylester | 17.964 | 34.3742 | 1212.5 | 0.014937 | 0.022115
7 | Hyocholic acid methylester | 18.0613 | 4.7689 | 436.6757 | 0.0020723 | 0.0079648
14 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 292.4014 | 12702.3828 | 0.12706 | 0.23169
6 | Hyocholic acid methylester | 18.1013 | 7.4856 | 644.332 | 0.0032528 | 0.011752
9 | Hyocholic acid methylester | 18.1814 | 49.1974 | 1938.8832 | 0.021378 | 0.035364
5 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032625 | 0.035869
7 | Hyocholic acid methylester | 18.2272 | 75.0794 | 1966.5621 | 0.032625 | 0.035869
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 6.7692 | 343.8681 | 0.0029415 | 0.006272
5 | Hyocholic acid methylester | 18.3473 | 7.5738 | 999.5389 | 0.0032912 | 0.018231
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3817 | 10.4723 | 408.6667 | 0.0045506 | 0.0074539
6 | Hyocholic acid methylester | 18.4504 | 74.9208 | 1893.2529 | 0.032556 | 0.034532
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.4904 | 7.5432 | 519.1846 | 0.0032778 | 0.0094697
10 | Hyocholic acid methylester | 18.5648 | 23.3119 | 1049.6567 | 0.01013 | 0.019145
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a.
9 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 29.6583 | 919.6147 | 0.012888 | 0.016773
n.a. | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | n.a. | n.a. | n.a. | n.a. | n.a.
17 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8223 | 15.1154 | 425.4068 | 0.0065683 | 0.0077592
14 | Hyocholic acid methylester | 18.8566 | 46.0034 | 2006.0812 | 0.01999 | 0.03659
2 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 1.9224 | 211.0097 | 0.00083535 | 0.0038487
n.a. | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a.
15 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 3.3499 | 193.6912 | 0.0014557 | 0.0035328
13 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.137 | 8.0699 | 445.2709 | 0.0035067 | 0.0081215
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.2057 | 2.8144 | 319.0204 | 0.001223 | 0.0058188
7 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.28 | 0.87577 | 437.1056 | 0.00038056 | 0.0079726
n.a. | Hyocholic acid methylester | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3659 | 8.9544 | 374.2497 | 0.0038911 | 0.0068262
8 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077819 | 0.0030948
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4288 | 1.7908 | 169.6777 | 0.00077819 | 0.0030948
9 | Hyocholic acid methylester | 19.5089 | 29.1144 | 1520.1581 | 0.012651 | 0.027727
n.a. | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | n.a. | n.a. | n.a. | n.a. | n.a.
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.003496 | 0.0081977
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6634 | 8.0451 | 449.4441 | 0.003496 | 0.0081977
6 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7779 | 0.79462 | 87.3333 | 0.00034529 | 0.0015929
4 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8294 | 4.5441 | 594 | 0.0019746 | 0.010834
13 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.898 | 23.2687 | 793.1998 | 0.010111 | 0.014468
5 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9838 | 8.7677 | 328.0599 | 0.0038099 | 0.0059837
Total: |  |  | 33542.7067 | 830675.8049 | 14.5757 | 15.1512

## Calibration (hidden)
Calibration
Calibration Details |  | Acetanilide
Calibration Type |  | Lin, WithOffset |  |  | Offset (C0) |  | 0.0050568
Evaluation Type |  | Area |  |  | Slope (C1) |  | 0.034307
Number of Calibration Points |  | 6 |  |  | Curve (C2) |  | 0
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | 0.99999
Calibration Plot |  | Acetanilide
Calibration Results |  | Acetanilide
No. | Injection Name | Level | X Value | Y Value | Residual | Area | Height
|  |  | ng | mAU*min | % | mAU*min | mAU
|  |  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  |  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 01 | 20 | 0.69372 | 0.012576 | 0.69372 | 39.0107
2 | Alkylphenones 2 | 01 | 40 | 1.3699 | -0.018646 | 1.3699 | 73.7149
3 | Alkylphenones 3 | 01 | 80 | 2.7486 | -0.001345 | 2.7486 | 137.542
4 | Alkylphenones 4 | 01 | 120 | 4.1266 | 0.0039116 | 4.1266 | 194.9695
5 | Alkylphenones 5 | 01 | 160 | 5.5066 | 0.007722 | 5.5066 | 244.8088
6 | Alkylphenones 6 | 01 | 200 | 6.8555 | -0.0055149 | 6.8555 | 291.0862

## Peak Analysis (hidden)
Peak Analysis
Injection Details
Injection Name: |  | Alkylphenones 1 |  |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peakname | Ret.Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
1 | Acetanilide | 0.17017 | 0.016292 | M | 2.7203 | 1.4766 | 604
2 | Acetophenone | 0.24583 | 0.01653 | MB | 4.0275 | 1.4327 | 1225
3 | Propiophenone | 0.36283 | 0.017749 | M | n.a. | 1.3522 | 2315

## SST (hidden)
Chromatogram and SST Results
Injection Details
Injection Name: |  | Alkylphenones 1 |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Name
1 | System Suitability Test Case 1 | All Injections | Number: 2 | Not Executed | Alkylphenones 1
2 | System Suitability Test Case 2 | injection.name starts with "Alkylphenones" | Acetanilide | Not Executed | Alkylphenones 1
3 | System Suitability Test Case 3 | (injection.number>=1 AND injection.number<=7) | Highest: peak.area | Not Executed | Alkylphenones 1
4 | System Suitability Test Case 4 | All Injections | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
5 | System Suitability Test Case 5 | injection.position = RC9 |  | Not Executed | Alkylphenones 1
6 | System Suitability Test Case 6 | Injection Type: Unknown | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
| Number of executed test cases: | 0 | Total Result: | Not Executed

## Summary (hidden)
Summary
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
By Component |  | Acetanilide
No | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | mAU*min | mAU | ng | %
|  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 0.17017 | 0.69372 | 39.0107 | 20.0733 | 32.5524 | M
2 | Alkylphenones 2 | 0.17167 | 1.3699 | 73.7149 | 39.7826 | 32.508 | M
3 | Alkylphenones 3 | 0.174 | 2.7486 | 137.542 | 79.9686 | 32.3539 | M
4 | Alkylphenones 4 | 0.17583 | 4.1266 | 194.9695 | 120.1368 | 32.4486 | BM
5 | Alkylphenones 5 | 0.17817 | 5.5066 | 244.8088 | 160.3601 | 32.4887 | M
6 | Alkylphenones 6 | 0.17983 | 6.8555 | 291.0862 | 199.6785 | 32.5299 | BM
7 | Alkylphenones 7 | 0.1715 | 5.223 | 278.0937 | 152.0952 | 33.2915 | M

## Injection Audit Trail (hidden)
Injection Audit Trail
Injection Details
Injection Name: |  | Alkylphenones 1 | Run Time (min): | 0.45
Vial Number: |  | RA1 | Injection Volume: | 2
Injection Type: |  | Calibration Standard | Channel: | UV_VIS_1
Calibration Level: |  | 01 | Wavelength: | 244
Instrument Method: |  | CM_OQ | Bandwidth: | 4
Processing Method: |  | CM_OQ | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
(UTC+02:00) | min
13:14:22 |  | Audit trail of injection "chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/515.smp". Executed 7/12/2022 on instrument CM_OQ (instrument controller DEGER-6FWTXT2).
13:14:22 |  | Start of injection 1 "Alkylphenones 1", using instrument method "CM_OQ".
13:14:22 | 0.000 | Entered stage "Instrument Setup"
13:14:22 | 0.000 | UV.3DFIELD.MinWavelength = 190.0 nm
13:14:22 | 0.000 | UV.3DFIELD.MaxWavelength = 350.0 nm
13:14:22 | 0.000 | UV.3DFIELD.BunchWidth = 1 nm
13:14:22 | 0.000 | UV.ResponseTime = 0.030 s
13:14:22 | 0.000 | UV.Data_Collection_Rate = 100 Hz
13:14:22 | 0.000 | ColumnOven.Temperature.Nominal = 20.0 °C
13:14:22 | 0.000 | PumpModule.Pump.%A.Equate = "Water"
13:14:22 | 0.000 | PumpModule.Pump.%B.Equate = "Acetonitrile"
13:14:22 | 0.000 | PumpModule.Pump.%C.Equate = "%C"
13:14:22 | 0.000 | PumpModule.Pump.%D.Equate = "%D"
13:14:22 | 0.000 | PumpModule.Pump.Pressure.LowerLimit = 0 bar
13:14:22 | 0.000 | PumpModule.Pump.Pressure.UpperLimit = 800 bar
13:14:22 | 0.000 | UV.UV_VIS_1.Wavelength = 244.0 nm
13:14:22 | 0.000 | UV.UV_VIS_1.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_1.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_1.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.3DFIELD.RefWavelength = Off
13:14:22 | 0.000 | UV.3DFIELD.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Wavelength = 256.0 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_2.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_2.RefBandwidth = 1 nm
13:14:22 | 0.000 | Entered stage "Inject Preparation"
13:14:22 | 0.000 | UV.Autozero
13:14:22 | 0.000 | Wait ColumnOven.Ready And Sampler.Ready And UV.Ready
13:14:27 | 0.000 | Wait finished
13:14:27 | 0.000 | Entered stage "Inject"
13:14:27 | 0.000 | Sampler.Inject
13:14:27 | 0.000 | Injecting from vial position RA1.
13:14:27 | 0.000 | Injection Volume is 2.000 µl.
13:14:27 | 0.000 | Waiting for inject response on UM3WPSInjectState1.
13:14:29 | 0.000 | Got inject response.
13:14:29 | 0.000 | Entered stage "Start Run"
13:14:29 | 0.000 | UV.UV_VIS_1.AcqOn
13:14:29 | 0.000 | UV.UV_VIS_2.AcqOn
13:14:29 | 0.000 | UV.3DFIELD.AcqOn
13:14:29 | 0.000 | Entered stage "Run"
13:14:29 | 0.000 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:29 | 0.000 | PumpModule.Pump.%B.Value Gradient Start = 35.0 %, End = 90.0 %, Duration = 0.300 min
13:14:29 | 0.000 | PumpModule.Pump.%C.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.%D.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.Curve = 5
13:14:29 | 0.000 | Reading from simulation data file C:\Program Files (x86)\Thermo\Chromeleon\bin\DDK\V1\Drivers\Dionex\DAD3000\cmoq_1.dad3000.
13:14:47 | 0.300 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:47 | 0.300 | PumpModule.Pump.%B.Value = 90.0 %
13:14:47 | 0.300 | PumpModule.Pump.%C.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.%D.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:56 | 0.450 | PumpModule.Pump.%B.Value = 90.0 %
13:14:56 | 0.450 | PumpModule.Pump.%C.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.%D.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | UV.3DFIELD.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_1.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_2.AcqOff
13:14:56 | 0.450 | Entered stage "Stop Run"
13:14:56 | 0.450 | Terminating instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth. Waiting for instrument to finish processing of current injection ...
13:14:56 | 0.451 | Closing simulation data file.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 5": Injection specification criteria has not been met
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 6": Injection specification criteria has not been met
13:14:56 |  | End of injection "Alkylphenones 1".

## Chromatogram (hidden)
Chromatogram