## Overview (hidden)
Sequence Overview
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
Injection Details
No | Injection Name | Position | Type | Level | Inject Time | Status
1 | Alkylphenones 1 | RA1 | Calibration Standard | 01 | 2022-07-12 13:14 | Finished
2 | Alkylphenones 2 | RA1 | Calibration Standard | 01 | 2022-07-12 13:15 | Finished
3 | Alkylphenones 3 | RA1 | Calibration Standard | 01 | 2022-07-12 13:16 | Finished
4 | Alkylphenones 4 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
5 | Alkylphenones 5 | RA1 | Calibration Standard | 01 | 2022-07-12 13:17 | Finished
6 | Alkylphenones 6 | RA1 | Calibration Standard | 01 | 2022-07-12 13:18 | Finished
7 | Alkylphenones 7 | RA2 | Unknown |  | 2022-07-12 13:19 | Finished

## Integration
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p14_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | TIC
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | MS Quantitative test |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 23:44 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | Retention (DETECTED) | Amount
|  | min | counts*min | counts | % | % | min
TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC
1 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 18.3555 | 639.6406 | 0.011853 | 0.020944 | 7.1094 | n.a.
2 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.3097 | 56.2503 | 2237 | 0.036323 | 0.073246 | 7.3097 | n.a.
3 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 355.4006 | 4751.3717 | 0.22949 | 0.15557 | 7.5672 | n.a.
4 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6816 | 213.5086 | 2485.667 | 0.13787 | 0.081388 | 7.6816 | n.a.
5 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 69.4463 | 1256.8524 | 0.044844 | 0.041153 | 7.8018 | n.a.
6 | 2-(4-Methylphenyl)-1H-indole | 7.8819 | 17.7279 | 748.1589 | 0.011447 | 0.024497 | 7.8819 | n.a.
7 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 13.7739 | 812.8653 | 0.0088943 | 0.026616 | 8.0135 | n.a.
8 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 14.7713 | 1112.227 | 0.0095383 | 0.036418 | 8.0707 | n.a.
9 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1222 | 36.2711 | 1885.546 | 0.023421 | 0.061738 | 8.1222 | n.a.
10 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1794 | 28.2482 | 1547.5133 | 0.018241 | 0.05067 | 8.1794 | n.a.
12 | o-Xylene | 8.3625 | 52.296 | 2064.5 | 0.033769 | 0.067598 | 8.3625 | n.a.
13 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4254 | 16.9547 | 673 | 0.010948 | 0.022036 | 8.4254 | n.a.
14 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4712 | 97.9104 | 3259 | 0.063224 | 0.10671 | 8.4712 | n.a.
15 | Phenylethyne | 8.5513 | 275.3784 | 9633.2572 | 0.17782 | 0.31542 | 8.5513 | n.a.
16 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6257 | 10.9765 | 494.6495 | 0.0070879 | 0.016196 | 8.6257 | n.a.
17 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.7116 | 15.2077 | 837.9796 | 0.0098201 | 0.027438 | 8.7116 | n.a.
18 | 3,4-dimethyl-Heptane | 8.7917 | 75.9481 | 2391.2109 | 0.049042 | 0.078295 | 8.7917 | n.a.
19 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.8203 | 85.4727 | 2378.0507 | 0.055192 | 0.077865 | 8.8203 | n.a.
20 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.9633 | 10.4057 | 622.8826 | 0.0067193 | 0.020395 | 8.9633 | n.a.
21 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.032 | 22.9681 | 748.4638 | 0.014831 | 0.024507 | 9.032 | n.a.
22 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.0663 | 34.6817 | 1725.3914 | 0.022395 | 0.056495 | 9.0663 | n.a.
23 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1235 | 28.9275 | 1020.5417 | 0.018679 | 0.033416 | 9.1235 | n.a.
24 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 139.0961 | 2427.783 | 0.089819 | 0.079493 | 9.2837 | n.a.
25 | 2,4-Diphenyl-2-oxazolin-5-one | 9.341 | 43.4929 | 1375.6349 | 0.028085 | 0.045042 | 9.341 | n.a.
26 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.3925 | 34.0515 | 1026.9047 | 0.021988 | 0.033624 | 9.3925 | n.a.
27 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.444 | 23.3355 | 930.0414 | 0.015068 | 0.030452 | 9.444 | n.a.
28 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.6042 | 346.3457 | 6406.8678 | 0.22365 | 0.20978 | 9.6042 | n.a.
29 | Benzaldehyde | 9.7301 | 8864.5707 | 237427.5207 | 5.7241 | 7.7741 | 9.7301 | n.a.
30 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 263.385 | 9541.8104 | 0.17008 | 0.31243 | 9.8788 | n.a.
31 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9246 | 117.059 | 2909.8881 | 0.075589 | 0.095279 | 9.9246 | n.a.
32 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9589 | 13.307 | 832.636 | 0.0085927 | 0.027263 | 9.9589 | n.a.
33 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 127.1735 | 4439.1896 | 0.08212 | 0.14535 | 10.0219 | n.a.
34 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1363 | 66.8089 | 3601.3404 | 0.043141 | 0.11792 | 10.1363 | n.a.
35 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1764 | 17.143 | 823.2 | 0.01107 | 0.026954 | 10.1764 | n.a.
36 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 15.9199 | 1107.3906 | 0.01028 | 0.036259 | 10.2451 | n.a.
37 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 12.2534 | 616.7329 | 0.0079124 | 0.020194 | 10.3423 | n.a.
38 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4339 | 97.5701 | 3224.2307 | 0.063004 | 0.10557 | 10.4339 | n.a.
39 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 85.69 | 2579.9188 | 0.055333 | 0.084474 | 10.5311 | n.a.
40 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 47.6138 | 2071.4054 | 0.030746 | 0.067824 | 10.5712 | n.a.
41 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.657 | 31.9127 | 1093.117 | 0.020607 | 0.035792 | 10.657 | n.a.
42 | Benzeneacetaldehyde | 10.7486 | 2446.2024 | 92753.9163 | 1.5796 | 3.037 | 10.7486 | n.a.
43 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 240.6879 | 7768.3514 | 0.15542 | 0.25436 | 10.8115 | n.a.
44 | Benzenecarbothioic acid | 10.8859 | 43.2167 | 1708.5229 | 0.027906 | 0.055942 | 10.8859 | n.a.
45 | 2,4-Difluorophenyl Benzoate | 10.9145 | 90.7171 | 2304.841 | 0.058579 | 0.075467 | 10.9145 | n.a.
46 | Acetophenone | 11.0518 | 15777.0191 | 563045.4476 | 10.1877 | 18.4358 | 11.0518 | n.a.
47 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1148 | 513.2068 | 11783.9288 | 0.33139 | 0.38584 | 11.1148 | n.a.
48 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.1777 | 39.2346 | 1717.3639 | 0.025335 | 0.056232 | 11.1777 | n.a.
49 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2235 | 11.7055 | 430.2635 | 0.0075586 | 0.014088 | 11.2235 | n.a.
50 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.275 | 19.7827 | 1441.5641 | 0.012774 | 0.047201 | 11.275 | n.a.
51 | Nonanal | 11.3379 | 242.2127 | 8993.857 | 0.1564 | 0.29449 | 11.3379 | n.a.
53 | Cyclopentasiloxane, decamethyl- | 11.6984 | 2199.847 | 47950.0172 | 1.4205 | 1.57 | 11.6984 | n.a.
54 | Benzoic acid | 11.9845 | 79898.0779 | 670109.1378 | 51.5927 | 21.9414 | 11.9845 | n.a.
55 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0875 | 90.4214 | 3238.6028 | 0.058388 | 0.10604 | 12.0875 | n.a.
56 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 472.9888 | 15431.2773 | 0.30542 | 0.50527 | 12.1505 | n.a.
57 | N'-methylbenzohydrazide | 12.1848 | 425.6901 | 16090.112 | 0.27488 | 0.52684 | 12.1848 | n.a.
58 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2992 | 26.5442 | 1426.3453 | 0.01714 | 0.046703 | 12.2992 | n.a.
59 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3622 | 30.1166 | 1926.2675 | 0.019447 | 0.063072 | 12.3622 | n.a.
60 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.4022 | 23.5606 | 1371.718 | 0.015214 | 0.044914 | 12.4022 | n.a.
61 | Decanal | 12.4423 | 149.8693 | 5645.359 | 0.096775 | 0.18485 | 12.4423 | n.a.
62 | Methyl salicylate | 12.5338 | 231.5009 | 6999.3333 | 0.14949 | 0.22918 | 12.5338 | n.a.
65 | Benzoic acid, 2-formyl- | 12.7112 | 226.8668 | 4789.7002 | 0.1465 | 0.15683 | 12.7112 | n.a.
66 | Acetic acid, phenyl- | 12.7799 | 417.6074 | 10857.4003 | 0.26966 | 0.3555 | 12.7799 | n.a.
67 | (2-nitroanilino) benzoate | 12.8543 | 6.1848 | 504.0204 | 0.0039937 | 0.016503 | 12.8543 | n.a.
68 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.8943 | 99.7474 | 4276.2201 | 0.06441 | 0.14002 | 12.8943 | n.a.
69 | 2-Coumaranone | 12.9401 | 520.4146 | 14730.3397 | 0.33605 | 0.48232 | 12.9401 | n.a.
70 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 447.8666 | 7901.4649 | 0.2892 | 0.25872 | 13.0259 | n.a.
71 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.0946 | 152.6253 | 3234.1651 | 0.098555 | 0.1059 | 13.0946 | n.a.
72 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1518 | 27.8964 | 1231.575 | 0.018014 | 0.040325 | 13.1518 | n.a.
73 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1861 | 25.9063 | 1086.2985 | 0.016729 | 0.035569 | 13.1861 | n.a.
76 | Salicylic acid | 13.3063 | 354.4313 | 7968.3878 | 0.22887 | 0.26091 | 13.3063 | n.a.
79 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 76.9156 | 2789.7429 | 0.049667 | 0.091345 | 13.4837 | n.a.
81 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 910.9481 | 30093.3722 | 0.58823 | 0.98535 | 13.5924 | n.a.
82 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6267 | 158.1473 | 6312.6976 | 0.10212 | 0.2067 | 13.6267 | n.a.
84 | Phthalic anhydride | 13.7984 | 1229.7398 | 26763.3259 | 0.79408 | 0.87631 | 13.7984 | n.a.
85 | 1,2-Bis(benzoylmethylene)adamantane | 13.8613 | 56.5026 | 1854.3265 | 0.036485 | 0.060716 | 13.8613 | n.a.
88 | 1(3H)-Isobenzofuranone | 14.1646 | 346.2749 | 7894.4813 | 0.2236 | 0.25849 | 14.1646 | n.a.
89 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2619 | 21.866 | 965.4438 | 0.01412 | 0.031612 | 14.2619 | n.a.
91 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.3763 | 33.5814 | 1118.8078 | 0.021685 | 0.036633 | 14.3763 | n.a.
93 | Benzoylformic acid | 14.5022 | 2183.4685 | 70747.255 | 1.4099 | 2.3165 | 14.5022 | n.a.
96 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.794 | 172.3021 | 7167.4264 | 0.11126 | 0.23468 | 14.794 | n.a.
98 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 115.1319 | 4189.9161 | 0.074344 | 0.13719 | 14.897 | n.a.
99 | Vinyl benzhydryl sulfide | 14.9313 | 99.096 | 3650.4195 | 0.063989 | 0.11953 | 14.9313 | n.a.
104 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3319 | 31.8324 | 1081.1464 | 0.020555 | 0.0354 | 15.3319 | n.a.
109 | Heptasiloxane, hexadecamethyl- | 15.5951 | 142.1603 | 5411.2131 | 0.091797 | 0.17718 | 15.5951 | n.a.
112 | Phenylmaleic anhydride | 15.7725 | 9521.4491 | 329094.3622 | 6.1483 | 10.7755 | 15.7725 | n.a.
115 | 4-Methoxy-1,2-naphthoquinone | 16.0071 | 1617.3028 | 35553.7 | 1.0443 | 1.1641 | 16.0071 | n.a.
116 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.0872 | 70.4237 | 2244.6013 | 0.045475 | 0.073495 | 16.0872 | n.a.
117 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.1902 | 59.9051 | 4649.6197 | 0.038683 | 0.15224 | 16.1902 | n.a.
119 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 481.382 | 16891.4 | 0.31084 | 0.55308 | 16.276 | n.a.
120 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3504 | 53.2758 | 1851.3935 | 0.034402 | 0.06062 | 16.3504 | n.a.
121 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.4305 | 80.0114 | 4197.8827 | 0.051666 | 0.13745 | 16.4305 | n.a.
125 | Benzophenone | 16.6594 | 1604.3197 | 44617.4469 | 1.036 | 1.4609 | 16.6594 | n.a.
126 | 7-oxohyocholic acid methyl ester | 16.7109 | 357.4837 | 9129.8352 | 0.23084 | 0.29894 | 16.7109 | n.a.
127 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7452 | 66.511 | 2886.5637 | 0.042948 | 0.094515 | 16.7452 | n.a.
128 | Hyocholic acid methylester | 16.7967 | 55.3883 | 2069.4823 | 0.035766 | 0.067761 | 16.7967 | n.a.
129 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 559.1041 | 22721.1178 | 0.36103 | 0.74396 | 16.8425 | n.a.
130 | Hyocholic acid methylester | 16.8825 | 38.6639 | 1970.2801 | 0.024967 | 0.064513 | 16.8825 | n.a.
131 | 7-oxohyocholic acid methyl ester | 16.9398 | 240.1206 | 11266.1173 | 0.15505 | 0.36889 | 16.9398 | n.a.
132 | 7-oxohyocholic acid methyl ester | 17.0199 | 295.3516 | 8638.7765 | 0.19072 | 0.28286 | 17.0199 | n.a.
136 | Hyocholic acid methylester | 17.2087 | 116.546 | 5470.8524 | 0.075257 | 0.17913 | 17.2087 | n.a.
137 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2545 | 139.3026 | 5228.0604 | 0.089952 | 0.17118 | 17.2545 | n.a.
138 | Hyocholic acid methylester | 17.2774 | 58.0804 | 3044.6175 | 0.037504 | 0.09969 | 17.2774 | n.a.
139 | Hyocholic acid methylester | 17.3975 | 85.6908 | 3986.6712 | 0.055333 | 0.13054 | 17.3975 | n.a.
140 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 1848.0777 | 50042 | 1.1934 | 1.6385 | 17.4433 | n.a.
141 | Hyocholic acid methylester | 17.5234 | 237.426 | 5278.5243 | 0.15331 | 0.17283 | 17.5234 | n.a.
142 | Hyocholic acid methylester | 17.615 | 18.7968 | 1936.4972 | 0.012138 | 0.063407 | 17.615 | n.a.
143 | Hyocholic acid methylester | 17.6493 | 71.9834 | 2839.7784 | 0.046482 | 0.092983 | 17.6493 | n.a.
144 | Hyocholic acid methylester | 17.7065 | 47.4404 | 3377.6776 | 0.030634 | 0.1106 | 17.7065 | n.a.
145 | Hyocholic acid methylester | 17.7465 | 71.0489 | 3468.3224 | 0.045879 | 0.11356 | 17.7465 | n.a.
146 | Hyocholic acid methylester | 17.8095 | 147.6156 | 4350.0005 | 0.09532 | 0.14243 | 17.8095 | n.a.
147 | Hyocholic acid methylester | 17.8667 | 275.2462 | 10704.999 | 0.17774 | 0.35051 | 17.8667 | n.a.
148 | Hyocholic acid methylester | 17.9068 | 12.2572 | 1096.6942 | 0.0079149 | 0.035909 | 17.9068 | n.a.
149 | Hyocholic acid methylester | 17.9525 | 1060.478 | 41084.8934 | 0.68478 | 1.3452 | 17.9525 | n.a.
150 | Hyocholic acid methylester | 18.0212 | 69.3361 | 3572.9199 | 0.044772 | 0.11699 | 18.0212 | n.a.
151 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 700.2484 | 29758.3193 | 0.45217 | 0.97438 | 18.067 | n.a.
152 | Hyocholic acid methylester | 18.1299 | 35.8952 | 2504.1072 | 0.023179 | 0.081992 | 18.1299 | n.a.
153 | Hyocholic acid methylester | 18.2043 | 242.1797 | 7956.1568 | 0.15638 | 0.26051 | 18.2043 | n.a.
154 | Hyocholic acid methylester | 18.2272 | 149.3536 | 6499.3705 | 0.096442 | 0.21281 | 18.2272 | n.a.
155 | Hyocholic acid methylester | 18.2558 | 214.2877 | 6241.1045 | 0.13837 | 0.20435 | 18.2558 | n.a.
156 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 187.4105 | 6615.0523 | 0.12102 | 0.2166 | 18.3073 | n.a.
157 | Hyocholic acid methylester | 18.3359 | 176.9913 | 7545.475 | 0.11429 | 0.24706 | 18.3359 | n.a.
158 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3702 | 116.8543 | 4454.7775 | 0.075457 | 0.14586 | 18.3702 | n.a.
159 | Hyocholic acid methylester | 18.4504 | 145.5284 | 5736.8052 | 0.093972 | 0.18784 | 18.4504 | n.a.
160 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.479 | 29.1609 | 1867.0466 | 0.01883 | 0.061133 | 18.479 | n.a.
161 | Hyocholic acid methylester | 18.5762 | 450.6909 | 11688.4584 | 0.29103 | 0.38272 | 18.5762 | n.a.
162 | Hyocholic acid methylester | 18.6449 | 59.9161 | 4223.5694 | 0.03869 | 0.13829 | 18.6449 | n.a.
163 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 117.3239 | 5627.6802 | 0.07576 | 0.18427 | 18.685 | n.a.
164 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.7307 | 93.202 | 4140.647 | 0.060183 | 0.13558 | 18.7307 | n.a.
165 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8051 | 611.2381 | 9879.3124 | 0.3947 | 0.32348 | 18.8051 | n.a.
166 | Hyocholic acid methylester | 18.891 | 427.6931 | 10049.6212 | 0.27617 | 0.32905 | 18.891 | n.a.
167 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 13.9586 | 1935.6984 | 0.0090135 | 0.063381 | 18.9539 | n.a.
168 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9825 | 31.3705 | 2551.4774 | 0.020257 | 0.083543 | 18.9825 | n.a.
169 | Hyocholic acid methylester | 18.9997 | 14.1423 | 1891.0291 | 0.0091321 | 0.061918 | 18.9997 | n.a.
170 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 1089.4787 | 28169.8694 | 0.70351 | 0.92237 | 19.074 | n.a.
171 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1141 | 526.3117 | 10341.0452 | 0.33986 | 0.3386 | 19.1141 | n.a.
172 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.1656 | 14.3404 | 2671.7553 | 0.0092601 | 0.087481 | 19.1656 | n.a.
173 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1999 | 112.5752 | 3188.6398 | 0.072693 | 0.10441 | 19.1999 | n.a.
174 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.2514 | 148.8389 | 4889.9099 | 0.09611 | 0.16011 | 19.2514 | n.a.
175 | Hyocholic acid methylester | 19.2915 | 44.6728 | 2573.8287 | 0.028847 | 0.084275 | 19.2915 | n.a.
176 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3315 | 31.9382 | 1944.1101 | 0.020623 | 0.063656 | 19.3315 | n.a.
177 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3773 | 179.5033 | 6340.8947 | 0.11591 | 0.20762 | 19.3773 | n.a.
178 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4002 | 71.6548 | 4571.4473 | 0.04627 | 0.14968 | 19.4002 | n.a.
179 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4574 | 385.3706 | 8962.2857 | 0.24885 | 0.29345 | 19.4574 | n.a.
180 | Hyocholic acid methylester | 19.486 | 267.1091 | 8009.8316 | 0.17248 | 0.26227 | 19.486 | n.a.
181 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.589 | 63.1842 | 4444.3826 | 0.0408 | 0.14552 | 19.589 | n.a.
182 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6405 | 76.6431 | 6625.6278 | 0.049491 | 0.21694 | 19.6405 | n.a.
183 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6691 | 74.6617 | 5263.88 | 0.048211 | 0.17236 | 19.6691 | n.a.
184 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7893 | 50.2199 | 3078.3163 | 0.032429 | 0.10079 | 19.7893 | n.a.
185 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8236 | 37.5279 | 2658.4479 | 0.024233 | 0.087046 | 19.8236 | n.a.
186 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9037 | 554.8099 | 10939.0517 | 0.35826 | 0.35818 | 19.9037 | n.a.
187 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9896 | 157.8432 | 7521.6989 | 0.10192 | 0.24628 | 19.9896 | n.a.
Total: |  |  | 149791.8742 | 2911142.5746 | 96.7253 | 95.3196

## copy
Chromatogram and Results
Injection Details
Injection Name: |  | forest_p14_4hr |  |  | Run Time (min): | 25.2396
Vial Number: |  |  |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | TIC
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  |  |  |  | Bandwidth: | n.a.
Processing Method: |  | MS Quantitative test |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2026-09-21 23:44 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | Retention (DETECTED) | Amount
|  | min | counts*min | counts | % | % | min
TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC | TIC
1 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 18.3555 | 639.6406 | 0.011853 | 0.020944 | 7.1094 | n.a.
2 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.3097 | 56.2503 | 2237 | 0.036323 | 0.073246 | 7.3097 | n.a.
3 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 355.4006 | 4751.3717 | 0.22949 | 0.15557 | 7.5672 | n.a.
4 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6816 | 213.5086 | 2485.667 | 0.13787 | 0.081388 | 7.6816 | n.a.
5 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 69.4463 | 1256.8524 | 0.044844 | 0.041153 | 7.8018 | n.a.
6 | 2-(4-Methylphenyl)-1H-indole | 7.8819 | 17.7279 | 748.1589 | 0.011447 | 0.024497 | 7.8819 | n.a.
7 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 13.7739 | 812.8653 | 0.0088943 | 0.026616 | 8.0135 | n.a.
8 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 14.7713 | 1112.227 | 0.0095383 | 0.036418 | 8.0707 | n.a.
9 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1222 | 36.2711 | 1885.546 | 0.023421 | 0.061738 | 8.1222 | n.a.
10 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1794 | 28.2482 | 1547.5133 | 0.018241 | 0.05067 | 8.1794 | n.a.
12 | o-Xylene | 8.3625 | 52.296 | 2064.5 | 0.033769 | 0.067598 | 8.3625 | n.a.
13 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4254 | 16.9547 | 673 | 0.010948 | 0.022036 | 8.4254 | n.a.
14 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4712 | 97.9104 | 3259 | 0.063224 | 0.10671 | 8.4712 | n.a.
15 | Phenylethyne | 8.5513 | 275.3784 | 9633.2572 | 0.17782 | 0.31542 | 8.5513 | n.a.
16 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6257 | 10.9765 | 494.6495 | 0.0070879 | 0.016196 | 8.6257 | n.a.
17 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.7116 | 15.2077 | 837.9796 | 0.0098201 | 0.027438 | 8.7116 | n.a.
18 | 3,4-dimethyl-Heptane | 8.7917 | 75.9481 | 2391.2109 | 0.049042 | 0.078295 | 8.7917 | n.a.
19 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.8203 | 85.4727 | 2378.0507 | 0.055192 | 0.077865 | 8.8203 | n.a.
20 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.9633 | 10.4057 | 622.8826 | 0.0067193 | 0.020395 | 8.9633 | n.a.
21 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.032 | 22.9681 | 748.4638 | 0.014831 | 0.024507 | 9.032 | n.a.
22 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.0663 | 34.6817 | 1725.3914 | 0.022395 | 0.056495 | 9.0663 | n.a.
23 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1235 | 28.9275 | 1020.5417 | 0.018679 | 0.033416 | 9.1235 | n.a.
24 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 139.0961 | 2427.783 | 0.089819 | 0.079493 | 9.2837 | n.a.
25 | 2,4-Diphenyl-2-oxazolin-5-one | 9.341 | 43.4929 | 1375.6349 | 0.028085 | 0.045042 | 9.341 | n.a.
26 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.3925 | 34.0515 | 1026.9047 | 0.021988 | 0.033624 | 9.3925 | n.a.
27 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.444 | 23.3355 | 930.0414 | 0.015068 | 0.030452 | 9.444 | n.a.
28 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.6042 | 346.3457 | 6406.8678 | 0.22365 | 0.20978 | 9.6042 | n.a.
29 | Benzaldehyde | 9.7301 | 8864.5707 | 237427.5207 | 5.7241 | 7.7741 | 9.7301 | n.a.
30 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 263.385 | 9541.8104 | 0.17008 | 0.31243 | 9.8788 | n.a.
31 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9246 | 117.059 | 2909.8881 | 0.075589 | 0.095279 | 9.9246 | n.a.
32 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9589 | 13.307 | 832.636 | 0.0085927 | 0.027263 | 9.9589 | n.a.
33 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 127.1735 | 4439.1896 | 0.08212 | 0.14535 | 10.0219 | n.a.
34 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1363 | 66.8089 | 3601.3404 | 0.043141 | 0.11792 | 10.1363 | n.a.
35 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1764 | 17.143 | 823.2 | 0.01107 | 0.026954 | 10.1764 | n.a.
36 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 15.9199 | 1107.3906 | 0.01028 | 0.036259 | 10.2451 | n.a.
37 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 12.2534 | 616.7329 | 0.0079124 | 0.020194 | 10.3423 | n.a.
38 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4339 | 97.5701 | 3224.2307 | 0.063004 | 0.10557 | 10.4339 | n.a.
39 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 85.69 | 2579.9188 | 0.055333 | 0.084474 | 10.5311 | n.a.
40 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 47.6138 | 2071.4054 | 0.030746 | 0.067824 | 10.5712 | n.a.
41 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.657 | 31.9127 | 1093.117 | 0.020607 | 0.035792 | 10.657 | n.a.
42 | Benzeneacetaldehyde | 10.7486 | 2446.2024 | 92753.9163 | 1.5796 | 3.037 | 10.7486 | n.a.
43 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 240.6879 | 7768.3514 | 0.15542 | 0.25436 | 10.8115 | n.a.
44 | Benzenecarbothioic acid | 10.8859 | 43.2167 | 1708.5229 | 0.027906 | 0.055942 | 10.8859 | n.a.
45 | 2,4-Difluorophenyl Benzoate | 10.9145 | 90.7171 | 2304.841 | 0.058579 | 0.075467 | 10.9145 | n.a.
46 | Acetophenone | 11.0518 | 15777.0191 | 563045.4476 | 10.1877 | 18.4358 | 11.0518 | n.a.
47 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1148 | 513.2068 | 11783.9288 | 0.33139 | 0.38584 | 11.1148 | n.a.
48 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.1777 | 39.2346 | 1717.3639 | 0.025335 | 0.056232 | 11.1777 | n.a.
49 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2235 | 11.7055 | 430.2635 | 0.0075586 | 0.014088 | 11.2235 | n.a.
50 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.275 | 19.7827 | 1441.5641 | 0.012774 | 0.047201 | 11.275 | n.a.
51 | Nonanal | 11.3379 | 242.2127 | 8993.857 | 0.1564 | 0.29449 | 11.3379 | n.a.
53 | Cyclopentasiloxane, decamethyl- | 11.6984 | 2199.847 | 47950.0172 | 1.4205 | 1.57 | 11.6984 | n.a.
54 | Benzoic acid | 11.9845 | 79898.0779 | 670109.1378 | 51.5927 | 21.9414 | 11.9845 | n.a.
55 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0875 | 90.4214 | 3238.6028 | 0.058388 | 0.10604 | 12.0875 | n.a.
56 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 472.9888 | 15431.2773 | 0.30542 | 0.50527 | 12.1505 | n.a.
57 | N'-methylbenzohydrazide | 12.1848 | 425.6901 | 16090.112 | 0.27488 | 0.52684 | 12.1848 | n.a.
58 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2992 | 26.5442 | 1426.3453 | 0.01714 | 0.046703 | 12.2992 | n.a.
59 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3622 | 30.1166 | 1926.2675 | 0.019447 | 0.063072 | 12.3622 | n.a.
60 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.4022 | 23.5606 | 1371.718 | 0.015214 | 0.044914 | 12.4022 | n.a.
61 | Decanal | 12.4423 | 149.8693 | 5645.359 | 0.096775 | 0.18485 | 12.4423 | n.a.
62 | Methyl salicylate | 12.5338 | 231.5009 | 6999.3333 | 0.14949 | 0.22918 | 12.5338 | n.a.
65 | Benzoic acid, 2-formyl- | 12.7112 | 226.8668 | 4789.7002 | 0.1465 | 0.15683 | 12.7112 | n.a.
66 | Acetic acid, phenyl- | 12.7799 | 417.6074 | 10857.4003 | 0.26966 | 0.3555 | 12.7799 | n.a.
67 | (2-nitroanilino) benzoate | 12.8543 | 6.1848 | 504.0204 | 0.0039937 | 0.016503 | 12.8543 | n.a.
68 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.8943 | 99.7474 | 4276.2201 | 0.06441 | 0.14002 | 12.8943 | n.a.
69 | 2-Coumaranone | 12.9401 | 520.4146 | 14730.3397 | 0.33605 | 0.48232 | 12.9401 | n.a.
70 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 447.8666 | 7901.4649 | 0.2892 | 0.25872 | 13.0259 | n.a.
71 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.0946 | 152.6253 | 3234.1651 | 0.098555 | 0.1059 | 13.0946 | n.a.
72 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1518 | 27.8964 | 1231.575 | 0.018014 | 0.040325 | 13.1518 | n.a.
73 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1861 | 25.9063 | 1086.2985 | 0.016729 | 0.035569 | 13.1861 | n.a.
76 | Salicylic acid | 13.3063 | 354.4313 | 7968.3878 | 0.22887 | 0.26091 | 13.3063 | n.a.
79 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 76.9156 | 2789.7429 | 0.049667 | 0.091345 | 13.4837 | n.a.
81 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 910.9481 | 30093.3722 | 0.58823 | 0.98535 | 13.5924 | n.a.
82 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6267 | 158.1473 | 6312.6976 | 0.10212 | 0.2067 | 13.6267 | n.a.
84 | Phthalic anhydride | 13.7984 | 1229.7398 | 26763.3259 | 0.79408 | 0.87631 | 13.7984 | n.a.
85 | 1,2-Bis(benzoylmethylene)adamantane | 13.8613 | 56.5026 | 1854.3265 | 0.036485 | 0.060716 | 13.8613 | n.a.
88 | 1(3H)-Isobenzofuranone | 14.1646 | 346.2749 | 7894.4813 | 0.2236 | 0.25849 | 14.1646 | n.a.
89 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2619 | 21.866 | 965.4438 | 0.01412 | 0.031612 | 14.2619 | n.a.
91 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.3763 | 33.5814 | 1118.8078 | 0.021685 | 0.036633 | 14.3763 | n.a.
93 | Benzoylformic acid | 14.5022 | 2183.4685 | 70747.255 | 1.4099 | 2.3165 | 14.5022 | n.a.
96 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.794 | 172.3021 | 7167.4264 | 0.11126 | 0.23468 | 14.794 | n.a.
98 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 115.1319 | 4189.9161 | 0.074344 | 0.13719 | 14.897 | n.a.
99 | Vinyl benzhydryl sulfide | 14.9313 | 99.096 | 3650.4195 | 0.063989 | 0.11953 | 14.9313 | n.a.
104 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3319 | 31.8324 | 1081.1464 | 0.020555 | 0.0354 | 15.3319 | n.a.
109 | Heptasiloxane, hexadecamethyl- | 15.5951 | 142.1603 | 5411.2131 | 0.091797 | 0.17718 | 15.5951 | n.a.
112 | Phenylmaleic anhydride | 15.7725 | 9521.4491 | 329094.3622 | 6.1483 | 10.7755 | 15.7725 | n.a.
115 | 4-Methoxy-1,2-naphthoquinone | 16.0071 | 1617.3028 | 35553.7 | 1.0443 | 1.1641 | 16.0071 | n.a.
116 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.0872 | 70.4237 | 2244.6013 | 0.045475 | 0.073495 | 16.0872 | n.a.
117 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.1902 | 59.9051 | 4649.6197 | 0.038683 | 0.15224 | 16.1902 | n.a.
119 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 481.382 | 16891.4 | 0.31084 | 0.55308 | 16.276 | n.a.
120 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3504 | 53.2758 | 1851.3935 | 0.034402 | 0.06062 | 16.3504 | n.a.
121 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.4305 | 80.0114 | 4197.8827 | 0.051666 | 0.13745 | 16.4305 | n.a.
125 | Benzophenone | 16.6594 | 1604.3197 | 44617.4469 | 1.036 | 1.4609 | 16.6594 | n.a.
126 | 7-oxohyocholic acid methyl ester | 16.7109 | 357.4837 | 9129.8352 | 0.23084 | 0.29894 | 16.7109 | n.a.
127 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7452 | 66.511 | 2886.5637 | 0.042948 | 0.094515 | 16.7452 | n.a.
128 | Hyocholic acid methylester | 16.7967 | 55.3883 | 2069.4823 | 0.035766 | 0.067761 | 16.7967 | n.a.
129 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 559.1041 | 22721.1178 | 0.36103 | 0.74396 | 16.8425 | n.a.
130 | Hyocholic acid methylester | 16.8825 | 38.6639 | 1970.2801 | 0.024967 | 0.064513 | 16.8825 | n.a.
131 | 7-oxohyocholic acid methyl ester | 16.9398 | 240.1206 | 11266.1173 | 0.15505 | 0.36889 | 16.9398 | n.a.
132 | 7-oxohyocholic acid methyl ester | 17.0199 | 295.3516 | 8638.7765 | 0.19072 | 0.28286 | 17.0199 | n.a.
136 | Hyocholic acid methylester | 17.2087 | 116.546 | 5470.8524 | 0.075257 | 0.17913 | 17.2087 | n.a.
137 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2545 | 139.3026 | 5228.0604 | 0.089952 | 0.17118 | 17.2545 | n.a.
138 | Hyocholic acid methylester | 17.2774 | 58.0804 | 3044.6175 | 0.037504 | 0.09969 | 17.2774 | n.a.
139 | Hyocholic acid methylester | 17.3975 | 85.6908 | 3986.6712 | 0.055333 | 0.13054 | 17.3975 | n.a.
140 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 1848.0777 | 50042 | 1.1934 | 1.6385 | 17.4433 | n.a.
141 | Hyocholic acid methylester | 17.5234 | 237.426 | 5278.5243 | 0.15331 | 0.17283 | 17.5234 | n.a.
142 | Hyocholic acid methylester | 17.615 | 18.7968 | 1936.4972 | 0.012138 | 0.063407 | 17.615 | n.a.
143 | Hyocholic acid methylester | 17.6493 | 71.9834 | 2839.7784 | 0.046482 | 0.092983 | 17.6493 | n.a.
144 | Hyocholic acid methylester | 17.7065 | 47.4404 | 3377.6776 | 0.030634 | 0.1106 | 17.7065 | n.a.
145 | Hyocholic acid methylester | 17.7465 | 71.0489 | 3468.3224 | 0.045879 | 0.11356 | 17.7465 | n.a.
146 | Hyocholic acid methylester | 17.8095 | 147.6156 | 4350.0005 | 0.09532 | 0.14243 | 17.8095 | n.a.
147 | Hyocholic acid methylester | 17.8667 | 275.2462 | 10704.999 | 0.17774 | 0.35051 | 17.8667 | n.a.
148 | Hyocholic acid methylester | 17.9068 | 12.2572 | 1096.6942 | 0.0079149 | 0.035909 | 17.9068 | n.a.
149 | Hyocholic acid methylester | 17.9525 | 1060.478 | 41084.8934 | 0.68478 | 1.3452 | 17.9525 | n.a.
150 | Hyocholic acid methylester | 18.0212 | 69.3361 | 3572.9199 | 0.044772 | 0.11699 | 18.0212 | n.a.
151 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 700.2484 | 29758.3193 | 0.45217 | 0.97438 | 18.067 | n.a.
152 | Hyocholic acid methylester | 18.1299 | 35.8952 | 2504.1072 | 0.023179 | 0.081992 | 18.1299 | n.a.
153 | Hyocholic acid methylester | 18.2043 | 242.1797 | 7956.1568 | 0.15638 | 0.26051 | 18.2043 | n.a.
154 | Hyocholic acid methylester | 18.2272 | 149.3536 | 6499.3705 | 0.096442 | 0.21281 | 18.2272 | n.a.
155 | Hyocholic acid methylester | 18.2558 | 214.2877 | 6241.1045 | 0.13837 | 0.20435 | 18.2558 | n.a.
156 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 187.4105 | 6615.0523 | 0.12102 | 0.2166 | 18.3073 | n.a.
157 | Hyocholic acid methylester | 18.3359 | 176.9913 | 7545.475 | 0.11429 | 0.24706 | 18.3359 | n.a.
158 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3702 | 116.8543 | 4454.7775 | 0.075457 | 0.14586 | 18.3702 | n.a.
159 | Hyocholic acid methylester | 18.4504 | 145.5284 | 5736.8052 | 0.093972 | 0.18784 | 18.4504 | n.a.
160 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.479 | 29.1609 | 1867.0466 | 0.01883 | 0.061133 | 18.479 | n.a.
161 | Hyocholic acid methylester | 18.5762 | 450.6909 | 11688.4584 | 0.29103 | 0.38272 | 18.5762 | n.a.
162 | Hyocholic acid methylester | 18.6449 | 59.9161 | 4223.5694 | 0.03869 | 0.13829 | 18.6449 | n.a.
163 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 117.3239 | 5627.6802 | 0.07576 | 0.18427 | 18.685 | n.a.
164 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.7307 | 93.202 | 4140.647 | 0.060183 | 0.13558 | 18.7307 | n.a.
165 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8051 | 611.2381 | 9879.3124 | 0.3947 | 0.32348 | 18.8051 | n.a.
166 | Hyocholic acid methylester | 18.891 | 427.6931 | 10049.6212 | 0.27617 | 0.32905 | 18.891 | n.a.
167 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 13.9586 | 1935.6984 | 0.0090135 | 0.063381 | 18.9539 | n.a.
168 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9825 | 31.3705 | 2551.4774 | 0.020257 | 0.083543 | 18.9825 | n.a.
169 | Hyocholic acid methylester | 18.9997 | 14.1423 | 1891.0291 | 0.0091321 | 0.061918 | 18.9997 | n.a.
170 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 1089.4787 | 28169.8694 | 0.70351 | 0.92237 | 19.074 | n.a.
171 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1141 | 526.3117 | 10341.0452 | 0.33986 | 0.3386 | 19.1141 | n.a.
172 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.1656 | 14.3404 | 2671.7553 | 0.0092601 | 0.087481 | 19.1656 | n.a.
173 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1999 | 112.5752 | 3188.6398 | 0.072693 | 0.10441 | 19.1999 | n.a.
174 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.2514 | 148.8389 | 4889.9099 | 0.09611 | 0.16011 | 19.2514 | n.a.
175 | Hyocholic acid methylester | 19.2915 | 44.6728 | 2573.8287 | 0.028847 | 0.084275 | 19.2915 | n.a.
176 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3315 | 31.9382 | 1944.1101 | 0.020623 | 0.063656 | 19.3315 | n.a.
177 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3773 | 179.5033 | 6340.8947 | 0.11591 | 0.20762 | 19.3773 | n.a.
178 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4002 | 71.6548 | 4571.4473 | 0.04627 | 0.14968 | 19.4002 | n.a.
179 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4574 | 385.3706 | 8962.2857 | 0.24885 | 0.29345 | 19.4574 | n.a.
180 | Hyocholic acid methylester | 19.486 | 267.1091 | 8009.8316 | 0.17248 | 0.26227 | 19.486 | n.a.
181 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.589 | 63.1842 | 4444.3826 | 0.0408 | 0.14552 | 19.589 | n.a.
182 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6405 | 76.6431 | 6625.6278 | 0.049491 | 0.21694 | 19.6405 | n.a.
183 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6691 | 74.6617 | 5263.88 | 0.048211 | 0.17236 | 19.6691 | n.a.
184 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7893 | 50.2199 | 3078.3163 | 0.032429 | 0.10079 | 19.7893 | n.a.
185 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8236 | 37.5279 | 2658.4479 | 0.024233 | 0.087046 | 19.8236 | n.a.
186 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9037 | 554.8099 | 10939.0517 | 0.35826 | 0.35818 | 19.9037 | n.a.
187 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9896 | 157.8432 | 7521.6989 | 0.10192 | 0.24628 | 19.9896 | n.a.
Total: |  |  | 149791.8742 | 2911142.5746 | 96.7253 | 95.3196

## Sheet2
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height
1 | 2,2-bis(fluoranyl)-4-iodanyl-1-phenyl-4-trimethylsilyl-butan-1-o | 7.1094 | 18.3555 | 639.6406 | 0.011853 | 0.020944
2 | 2-Methylallyl N,N-Dimethylselenocarbamate | 7.3097 | 56.2503 | 2237 | 0.036323 | 0.073246
3 | Cyclotrisiloxane, hexamethyl- | 7.5672 | 355.4006 | 4751.3717 | 0.22949 | 0.15557
4 | Dimethylsilyloxy-dimethyl-trimethylsilyloxy-silane | 7.6816 | 213.5086 | 2485.667 | 0.13787 | 0.081388
5 | 2-(4-Methylphenyl)-1H-indole | 7.8018 | 69.4463 | 1256.8524 | 0.044844 | 0.041153
6 | 2-(4-Methylphenyl)-1H-indole | 7.8819 | 17.7279 | 748.1589 | 0.011447 | 0.024497
7 | Chromium, tricarbonyl[3-hydroxy-3-[(1,2,3,4,5,6-η)-2-methoxyphen | 8.0135 | 13.7739 | 812.8653 | 0.0088943 | 0.026616
8 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.0707 | 14.7713 | 1112.227 | 0.0095383 | 0.036418
9 | (E)-3-(2-Bromophenyl)-1-phenylprop-2-en-1-one | 8.1222 | 36.2711 | 1885.546 | 0.023421 | 0.061738
10 | 1-Chloranyl-3-(trifluoromethyl)benzene | 8.1794 | 28.2482 | 1547.5133 | 0.018241 | 0.05067
12 | o-Xylene | 8.3625 | 52.296 | 2064.5 | 0.033769 | 0.067598
13 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.4254 | 16.9547 | 673 | 0.010948 | 0.022036
14 | (R)-2-(Benzoyloxy)-3-benzyloxypropanenitrile | 8.4712 | 97.9104 | 3259 | 0.063224 | 0.10671
15 | Phenylethyne | 8.5513 | 275.3784 | 9633.2572 | 0.17782 | 0.31542
16 | 2-[4-Hydroxy-4-phenyl-3-(1-phenylethyl)-2-thioxo-1,3-thiazolan-5 | 8.6257 | 10.9765 | 494.6495 | 0.0070879 | 0.016196
17 | 3-[(Benzoylmethylamino)hexyl)-thiazolidine | 8.7116 | 15.2077 | 837.9796 | 0.0098201 | 0.027438
18 | 3,4-dimethyl-Heptane | 8.7917 | 75.9481 | 2391.2109 | 0.049042 | 0.078295
19 | cyclopentyl-[(1S)-1-phenylethyl]amine | 8.8203 | 85.4727 | 2378.0507 | 0.055192 | 0.077865
20 | 3-Benzoyl-5-methylthiamethyl-4,5-dihydroisoxazole | 8.9633 | 10.4057 | 622.8826 | 0.0067193 | 0.020395
21 | 1-Phenyl-2-((1R,4R)-4,5,5-trimethylcyclopent-2-en-1-yl)ethan-1-o | 9.032 | 22.9681 | 748.4638 | 0.014831 | 0.024507
22 | N-(2-Methylbenzenesulfinyl)-benzamide | 9.0663 | 34.6817 | 1725.3914 | 0.022395 | 0.056495
23 | 1-(4-Cyanophenyl)-2-phenylethane-1,2-dione | 9.1235 | 28.9275 | 1020.5417 | 0.018679 | 0.033416
24 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.2837 | 139.0961 | 2427.783 | 0.089819 | 0.079493
25 | 2,4-Diphenyl-2-oxazolin-5-one | 9.341 | 43.4929 | 1375.6349 | 0.028085 | 0.045042
26 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.3925 | 34.0515 | 1026.9047 | 0.021988 | 0.033624
27 | 3-Benzamido-5-phenyl-1,2,3-triazole-4-carboxylic acid | 9.444 | 23.3355 | 930.0414 | 0.015068 | 0.030452
28 | 1-Benzoyloxy-3-isobutyl-7,8-dihydro-6H-pyrrol1o[1,2-a]pyrazine-4 | 9.6042 | 346.3457 | 6406.8678 | 0.22365 | 0.20978
29 | Benzaldehyde | 9.7301 | 8864.5707 | 237427.5207 | 5.7241 | 7.7741
30 | Cyclotetrasiloxane, octamethyl- | 9.8788 | 263.385 | 9541.8104 | 0.17008 | 0.31243
31 | 3-Phenyl-6-trimethylsilyl-pyrazolo[1,5-a]pyridine quinone-2,5 | 9.9246 | 117.059 | 2909.8881 | 0.075589 | 0.095279
32 | 2-((5S,7aS)-2,2,7,7-Tetramethyl-7a-phenyl-5-(phenylhio)tetrahydr | 9.9589 | 13.307 | 832.636 | 0.0085927 | 0.027263
33 | (trans-anti)-bis[ 1-Phenyl-4-( 1'-phenylethyl)-4,5-dihydro-1H-1, | 10.0219 | 127.1735 | 4439.1896 | 0.08212 | 0.14535
34 | 2,3-bis(Benzamido)-2-methylpropanoic acid | 10.1363 | 66.8089 | 3601.3404 | 0.043141 | 0.11792
35 | 2-Ethyl-1,1-difluoro-3,3-dimethylcyclopropane | 10.1764 | 17.143 | 823.2 | 0.01107 | 0.026954
36 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.2451 | 15.9199 | 1107.3906 | 0.01028 | 0.036259
37 | 2-Ethoxycarbonyl-4,9-dihydro-3-methyl-1-phenylpyrrolo[1,2-b]isoq | 10.3423 | 12.2534 | 616.7329 | 0.0079124 | 0.020194
38 | (2R*,3aR*,6aR*)-2-tert-Butyl-2,3a,4,6a-tetrahydro-3a-phenyl-4-ox | 10.4339 | 97.5701 | 3224.2307 | 0.063004 | 0.10557
39 | 1,2-Bis-methoxymethyl-benzene | 10.5311 | 85.69 | 2579.9188 | 0.055333 | 0.084474
40 | (Z)-3-(3'-Hydroxyphenyl)-1,1-diphenylprop-2-en-1-ol | 10.5712 | 47.6138 | 2071.4054 | 0.030746 | 0.067824
41 | Ethanone, 2-bicyclo[2.2.1]hepta-2,5-dien-7-yl-1-phenyl- | 10.657 | 31.9127 | 1093.117 | 0.020607 | 0.035792
42 | Benzeneacetaldehyde | 10.7486 | 2446.2024 | 92753.9163 | 1.5796 | 3.037
43 | (E,E)-1-[(S)-2'-Methoxy-2'-phenylacetoxy]-1,3-hexadiene | 10.8115 | 240.6879 | 7768.3514 | 0.15542 | 0.25436
44 | Benzenecarbothioic acid | 10.8859 | 43.2167 | 1708.5229 | 0.027906 | 0.055942
45 | 2,4-Difluorophenyl Benzoate | 10.9145 | 90.7171 | 2304.841 | 0.058579 | 0.075467
46 | Acetophenone | 11.0518 | 15777.0191 | 563045.4476 | 10.1877 | 18.4358
47 | Ethanone, 2,2-dihydroxy-1-phenyl- | 11.1148 | 513.2068 | 11783.9288 | 0.33139 | 0.38584
48 | (3-Methyl-4H-1,4-benzothiazin-2-yl)(phenyl)methanone | 11.1777 | 39.2346 | 1717.3639 | 0.025335 | 0.056232
49 | Ethyl 2-(cyclohepta-2,4,6-trien-1-yl)-3-oxo-3-phenylpropanoate | 11.2235 | 11.7055 | 430.2635 | 0.0075586 | 0.014088
50 | 3-Phenyl-5-propenyl-[1,4,2]dioxazole | 11.275 | 19.7827 | 1441.5641 | 0.012774 | 0.047201
51 | Nonanal | 11.3379 | 242.2127 | 8993.857 | 0.1564 | 0.29449
53 | Cyclopentasiloxane, decamethyl- | 11.6984 | 2199.847 | 47950.0172 | 1.4205 | 1.57
54 | Benzoic acid | 11.9845 | 79898.0779 | 670109.1378 | 51.5927 | 21.9414
55 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.0875 | 90.4214 | 3238.6028 | 0.058388 | 0.10604
56 | Bicyclo[3.1.0]hexan-2-one, 5-(1-methylethyl)- | 12.1505 | 472.9888 | 15431.2773 | 0.30542 | 0.50527
57 | N'-methylbenzohydrazide | 12.1848 | 425.6901 | 16090.112 | 0.27488 | 0.52684
58 | Pyrido[1,2-a]azepine-6,7,8,9-tetracarboxylic acid, 10-(benzoylox | 12.2992 | 26.5442 | 1426.3453 | 0.01714 | 0.046703
59 | (3R*,4aR*,7aR*)-3-tert-Butyl-3,4a,7,7a-tetrahydro-6,7a-diphenyl- | 12.3622 | 30.1166 | 1926.2675 | 0.019447 | 0.063072
60 | 3-Phenyl-1,4,2-dioxazol-5-one | 12.4022 | 23.5606 | 1371.718 | 0.015214 | 0.044914
61 | Decanal | 12.4423 | 149.8693 | 5645.359 | 0.096775 | 0.18485
62 | Methyl salicylate | 12.5338 | 231.5009 | 6999.3333 | 0.14949 | 0.22918
65 | Benzoic acid, 2-formyl- | 12.7112 | 226.8668 | 4789.7002 | 0.1465 | 0.15683
66 | Acetic acid, phenyl- | 12.7799 | 417.6074 | 10857.4003 | 0.26966 | 0.3555
67 | (2-nitroanilino) benzoate | 12.8543 | 6.1848 | 504.0204 | 0.0039937 | 0.016503
68 | Methyl 2-benzamido-1,2,3,4-tetrahydronaphthalene-2-carboxylate | 12.8943 | 99.7474 | 4276.2201 | 0.06441 | 0.14002
69 | 2-Coumaranone | 12.9401 | 520.4146 | 14730.3397 | 0.33605 | 0.48232
70 | Ethanone, 2-bromo-1-phenyl- | 13.0259 | 447.8666 | 7901.4649 | 0.2892 | 0.25872
71 | Benzene, (1-bromo-3-methylbutyl-4-13C)- | 13.0946 | 152.6253 | 3234.1651 | 0.098555 | 0.1059
72 | 3-Ethoxycarbonyl-4-methylisoxazol-5-yl benzoate | 13.1518 | 27.8964 | 1231.575 | 0.018014 | 0.040325
73 | N-(tert-Butyl)-2-(4-nitrophenyl)-4H-3,1-benzoxazine-4-carboxamid | 13.1861 | 25.9063 | 1086.2985 | 0.016729 | 0.035569
76 | Salicylic acid | 13.3063 | 354.4313 | 7968.3878 | 0.22887 | 0.26091
79 | Cyclohexasiloxane, dodecamethyl- | 13.4837 | 76.9156 | 2789.7429 | 0.049667 | 0.091345
81 | Benzaldehyde, 2,4,5-trimethyl- | 13.5924 | 910.9481 | 30093.3722 | 0.58823 | 0.98535
82 | 2-(2-Hydroxyethoxy)benzoic acid | 13.6267 | 158.1473 | 6312.6976 | 0.10212 | 0.2067
84 | Phthalic anhydride | 13.7984 | 1229.7398 | 26763.3259 | 0.79408 | 0.87631
85 | 1,2-Bis(benzoylmethylene)adamantane | 13.8613 | 56.5026 | 1854.3265 | 0.036485 | 0.060716
88 | 1(3H)-Isobenzofuranone | 14.1646 | 346.2749 | 7894.4813 | 0.2236 | 0.25849
89 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.2619 | 21.866 | 965.4438 | 0.01412 | 0.031612
91 | 5-(Ethoxycarbonyl)-7-[(4-methylphenyl)amino]thieno[3,2-d][1,3]di | 14.3763 | 33.5814 | 1118.8078 | 0.021685 | 0.036633
93 | Benzoylformic acid | 14.5022 | 2183.4685 | 70747.255 | 1.4099 | 2.3165
96 | 3-octyl-1,1,1,3,5,5,5-heptamethyltrisiloxane | 14.794 | 172.3021 | 7167.4264 | 0.11126 | 0.23468
98 | Acetic acid hepta-3,6-diynyl ester | 14.897 | 115.1319 | 4189.9161 | 0.074344 | 0.13719
99 | Vinyl benzhydryl sulfide | 14.9313 | 99.096 | 3650.4195 | 0.063989 | 0.11953
104 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 15.3319 | 31.8324 | 1081.1464 | 0.020555 | 0.0354
109 | Heptasiloxane, hexadecamethyl- | 15.5951 | 142.1603 | 5411.2131 | 0.091797 | 0.17718
112 | Phenylmaleic anhydride | 15.7725 | 9521.4491 | 329094.3622 | 6.1483 | 10.7755
115 | 4-Methoxy-1,2-naphthoquinone | 16.0071 | 1617.3028 | 35553.7 | 1.0443 | 1.1641
116 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.0872 | 70.4237 | 2244.6013 | 0.045475 | 0.073495
117 | Heptasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13-tetradecamethyl- | 16.1902 | 59.9051 | 4649.6197 | 0.038683 | 0.15224
119 | 4-Cyclopentene-1,3-dione, 4-phenyl- | 16.276 | 481.382 | 16891.4 | 0.31084 | 0.55308
120 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.3504 | 53.2758 | 1851.3935 | 0.034402 | 0.06062
121 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.4305 | 80.0114 | 4197.8827 | 0.051666 | 0.13745
125 | Benzophenone | 16.6594 | 1604.3197 | 44617.4469 | 1.036 | 1.4609
126 | 7-oxohyocholic acid methyl ester | 16.7109 | 357.4837 | 9129.8352 | 0.23084 | 0.29894
127 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 16.7452 | 66.511 | 2886.5637 | 0.042948 | 0.094515
128 | Hyocholic acid methylester | 16.7967 | 55.3883 | 2069.4823 | 0.035766 | 0.067761
129 | 1,1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15,15-octadecamethyloctasil | 16.8425 | 559.1041 | 22721.1178 | 0.36103 | 0.74396
130 | Hyocholic acid methylester | 16.8825 | 38.6639 | 1970.2801 | 0.024967 | 0.064513
131 | 7-oxohyocholic acid methyl ester | 16.9398 | 240.1206 | 11266.1173 | 0.15505 | 0.36889
132 | 7-oxohyocholic acid methyl ester | 17.0199 | 295.3516 | 8638.7765 | 0.19072 | 0.28286
136 | Hyocholic acid methylester | 17.2087 | 116.546 | 5470.8524 | 0.075257 | 0.17913
137 | (10E)-3-((E)-4,8-dimethylnona-3,7-dien-1-yl)-N,N-diethyl-11,15-d | 17.2545 | 139.3026 | 5228.0604 | 0.089952 | 0.17118
138 | Hyocholic acid methylester | 17.2774 | 58.0804 | 3044.6175 | 0.037504 | 0.09969
139 | Hyocholic acid methylester | 17.3975 | 85.6908 | 3986.6712 | 0.055333 | 0.13054
140 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 17.4433 | 1848.0777 | 50042 | 1.1934 | 1.6385
141 | Hyocholic acid methylester | 17.5234 | 237.426 | 5278.5243 | 0.15331 | 0.17283
142 | Hyocholic acid methylester | 17.615 | 18.7968 | 1936.4972 | 0.012138 | 0.063407
143 | Hyocholic acid methylester | 17.6493 | 71.9834 | 2839.7784 | 0.046482 | 0.092983
144 | Hyocholic acid methylester | 17.7065 | 47.4404 | 3377.6776 | 0.030634 | 0.1106
145 | Hyocholic acid methylester | 17.7465 | 71.0489 | 3468.3224 | 0.045879 | 0.11356
146 | Hyocholic acid methylester | 17.8095 | 147.6156 | 4350.0005 | 0.09532 | 0.14243
147 | Hyocholic acid methylester | 17.8667 | 275.2462 | 10704.999 | 0.17774 | 0.35051
148 | Hyocholic acid methylester | 17.9068 | 12.2572 | 1096.6942 | 0.0079149 | 0.035909
149 | Hyocholic acid methylester | 17.9525 | 1060.478 | 41084.8934 | 0.68478 | 1.3452
150 | Hyocholic acid methylester | 18.0212 | 69.3361 | 3572.9199 | 0.044772 | 0.11699
151 | 2-(tert.-Butyldimethylsilyl)oxybenzylidene acetophenone | 18.067 | 700.2484 | 29758.3193 | 0.45217 | 0.97438
152 | Hyocholic acid methylester | 18.1299 | 35.8952 | 2504.1072 | 0.023179 | 0.081992
153 | Hyocholic acid methylester | 18.2043 | 242.1797 | 7956.1568 | 0.15638 | 0.26051
154 | Hyocholic acid methylester | 18.2272 | 149.3536 | 6499.3705 | 0.096442 | 0.21281
155 | Hyocholic acid methylester | 18.2558 | 214.2877 | 6241.1045 | 0.13837 | 0.20435
156 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3073 | 187.4105 | 6615.0523 | 0.12102 | 0.2166
157 | Hyocholic acid methylester | 18.3359 | 176.9913 | 7545.475 | 0.11429 | 0.24706
158 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.3702 | 116.8543 | 4454.7775 | 0.075457 | 0.14586
159 | Hyocholic acid methylester | 18.4504 | 145.5284 | 5736.8052 | 0.093972 | 0.18784
160 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.479 | 29.1609 | 1867.0466 | 0.01883 | 0.061133
161 | Hyocholic acid methylester | 18.5762 | 450.6909 | 11688.4584 | 0.29103 | 0.38272
162 | Hyocholic acid methylester | 18.6449 | 59.9161 | 4223.5694 | 0.03869 | 0.13829
163 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.685 | 117.3239 | 5627.6802 | 0.07576 | 0.18427
164 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.7307 | 93.202 | 4140.647 | 0.060183 | 0.13558
165 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 18.8051 | 611.2381 | 9879.3124 | 0.3947 | 0.32348
166 | Hyocholic acid methylester | 18.891 | 427.6931 | 10049.6212 | 0.27617 | 0.32905
167 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9539 | 13.9586 | 1935.6984 | 0.0090135 | 0.063381
168 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 18.9825 | 31.3705 | 2551.4774 | 0.020257 | 0.083543
169 | Hyocholic acid methylester | 18.9997 | 14.1423 | 1891.0291 | 0.0091321 | 0.061918
170 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.074 | 1089.4787 | 28169.8694 | 0.70351 | 0.92237
171 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1141 | 526.3117 | 10341.0452 | 0.33986 | 0.3386
172 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.1656 | 14.3404 | 2671.7553 | 0.0092601 | 0.087481
173 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.1999 | 112.5752 | 3188.6398 | 0.072693 | 0.10441
174 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.2514 | 148.8389 | 4889.9099 | 0.09611 | 0.16011
175 | Hyocholic acid methylester | 19.2915 | 44.6728 | 2573.8287 | 0.028847 | 0.084275
176 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.3315 | 31.9382 | 1944.1101 | 0.020623 | 0.063656
177 | Hexasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11-dodecamethyl- | 19.3773 | 179.5033 | 6340.8947 | 0.11591 | 0.20762
178 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4002 | 71.6548 | 4571.4473 | 0.04627 | 0.14968
179 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.4574 | 385.3706 | 8962.2857 | 0.24885 | 0.29345
180 | Hyocholic acid methylester | 19.486 | 267.1091 | 8009.8316 | 0.17248 | 0.26227
181 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.589 | 63.1842 | 4444.3826 | 0.0408 | 0.14552
182 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6405 | 76.6431 | 6625.6278 | 0.049491 | 0.21694
183 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.6691 | 74.6617 | 5263.88 | 0.048211 | 0.17236
184 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.7893 | 50.2199 | 3078.3163 | 0.032429 | 0.10079
185 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.8236 | 37.5279 | 2658.4479 | 0.024233 | 0.087046
186 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9037 | 554.8099 | 10939.0517 | 0.35826 | 0.35818
187 | Octasiloxane, 1,1,3,3,5,5,7,7,9,9,11,11,13,13,15,15-hexadecameth | 19.9896 | 157.8432 | 7521.6989 | 0.10192 | 0.24628
Total: |  |  | 149791.8742 | 2911142.5746 | 96.7253 | 95.3196

## Calibration (hidden)
Calibration
Calibration Details |  | Acetanilide
Calibration Type |  | Lin, WithOffset |  |  | Offset (C0) |  | 0.0050568
Evaluation Type |  | Area |  |  | Slope (C1) |  | 0.034307
Number of Calibration Points |  | 6 |  |  | Curve (C2) |  | 0
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | 0.99999
Calibration Plot |  | Acetanilide
Calibration Results |  | Acetanilide
No. | Injection Name | Level | X Value | Y Value | Residual | Area | Height
|  |  | ng | mAU*min | % | mAU*min | mAU
|  |  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  |  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 01 | 20 | 0.69372 | 0.012576 | 0.69372 | 39.0107
2 | Alkylphenones 2 | 01 | 40 | 1.3699 | -0.018646 | 1.3699 | 73.7149
3 | Alkylphenones 3 | 01 | 80 | 2.7486 | -0.001345 | 2.7486 | 137.542
4 | Alkylphenones 4 | 01 | 120 | 4.1266 | 0.0039116 | 4.1266 | 194.9695
5 | Alkylphenones 5 | 01 | 160 | 5.5066 | 0.007722 | 5.5066 | 244.8088
6 | Alkylphenones 6 | 01 | 200 | 6.8555 | -0.0055149 | 6.8555 | 291.0862

## Peak Analysis (hidden)
Peak Analysis
Injection Details
Injection Name: |  | Alkylphenones 1 |  |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peakname | Ret.Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
1 | Acetanilide | 0.17017 | 0.016292 | M | 2.7203 | 1.4766 | 604
2 | Acetophenone | 0.24583 | 0.01653 | MB | 4.0275 | 1.4327 | 1225
3 | Propiophenone | 0.36283 | 0.017749 | M | n.a. | 1.3522 | 2315

## SST (hidden)
Chromatogram and SST Results
Injection Details
Injection Name: |  | Alkylphenones 1 |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Name
1 | System Suitability Test Case 1 | All Injections | Number: 2 | Not Executed | Alkylphenones 1
2 | System Suitability Test Case 2 | injection.name starts with "Alkylphenones" | Acetanilide | Not Executed | Alkylphenones 1
3 | System Suitability Test Case 3 | (injection.number>=1 AND injection.number<=7) | Highest: peak.area | Not Executed | Alkylphenones 1
4 | System Suitability Test Case 4 | All Injections | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
5 | System Suitability Test Case 5 | injection.position = RC9 |  | Not Executed | Alkylphenones 1
6 | System Suitability Test Case 6 | Injection Type: Unknown | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
| Number of executed test cases: | 0 | Total Result: | Not Executed

## Summary (hidden)
Summary
Sequence Details
Name: |  | UVDefault |  |  | Created On: | 2017-05-10 14:05
Directory: |  | Default Templates (Reports and View Settings)\Sequence Templates |  |  | Created By: | stefan.polnick
Data Vault: |  | Workspace |  |  | Updated On: | 2023-03-30 12:36
No. of Injections: |  | 7 |  |  | Updated By: | PSauter
By Component |  | Acetanilide
No | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | mAU*min | mAU | ng | %
|  | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1 | UV_VIS_1
|  | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide | Acetanilide
1 | Alkylphenones 1 | 0.17017 | 0.69372 | 39.0107 | 20.0733 | 32.5524 | M
2 | Alkylphenones 2 | 0.17167 | 1.3699 | 73.7149 | 39.7826 | 32.508 | M
3 | Alkylphenones 3 | 0.174 | 2.7486 | 137.542 | 79.9686 | 32.3539 | M
4 | Alkylphenones 4 | 0.17583 | 4.1266 | 194.9695 | 120.1368 | 32.4486 | BM
5 | Alkylphenones 5 | 0.17817 | 5.5066 | 244.8088 | 160.3601 | 32.4887 | M
6 | Alkylphenones 6 | 0.17983 | 6.8555 | 291.0862 | 199.6785 | 32.5299 | BM
7 | Alkylphenones 7 | 0.1715 | 5.223 | 278.0937 | 152.0952 | 33.2915 | M

## Injection Audit Trail (hidden)
Injection Audit Trail
Injection Details
Injection Name: |  | Alkylphenones 1 | Run Time (min): | 0.45
Vial Number: |  | RA1 | Injection Volume: | 2
Injection Type: |  | Calibration Standard | Channel: | UV_VIS_1
Calibration Level: |  | 01 | Wavelength: | 244
Instrument Method: |  | CM_OQ | Bandwidth: | 4
Processing Method: |  | CM_OQ | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
(UTC+02:00) | min
13:14:22 |  | Audit trail of injection "chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/515.smp". Executed 7/12/2022 on instrument CM_OQ (instrument controller DEGER-6FWTXT2).
13:14:22 |  | Start of injection 1 "Alkylphenones 1", using instrument method "CM_OQ".
13:14:22 | 0.000 | Entered stage "Instrument Setup"
13:14:22 | 0.000 | UV.3DFIELD.MinWavelength = 190.0 nm
13:14:22 | 0.000 | UV.3DFIELD.MaxWavelength = 350.0 nm
13:14:22 | 0.000 | UV.3DFIELD.BunchWidth = 1 nm
13:14:22 | 0.000 | UV.ResponseTime = 0.030 s
13:14:22 | 0.000 | UV.Data_Collection_Rate = 100 Hz
13:14:22 | 0.000 | ColumnOven.Temperature.Nominal = 20.0 °C
13:14:22 | 0.000 | PumpModule.Pump.%A.Equate = "Water"
13:14:22 | 0.000 | PumpModule.Pump.%B.Equate = "Acetonitrile"
13:14:22 | 0.000 | PumpModule.Pump.%C.Equate = "%C"
13:14:22 | 0.000 | PumpModule.Pump.%D.Equate = "%D"
13:14:22 | 0.000 | PumpModule.Pump.Pressure.LowerLimit = 0 bar
13:14:22 | 0.000 | PumpModule.Pump.Pressure.UpperLimit = 800 bar
13:14:22 | 0.000 | UV.UV_VIS_1.Wavelength = 244.0 nm
13:14:22 | 0.000 | UV.UV_VIS_1.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_1.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_1.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.3DFIELD.RefWavelength = Off
13:14:22 | 0.000 | UV.3DFIELD.RefBandwidth = 1 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Wavelength = 256.0 nm
13:14:22 | 0.000 | UV.UV_VIS_2.Bandwidth = 4 nm
13:14:22 | 0.000 | UV.UV_VIS_2.RefWavelength = Off
13:14:22 | 0.000 | UV.UV_VIS_2.RefBandwidth = 1 nm
13:14:22 | 0.000 | Entered stage "Inject Preparation"
13:14:22 | 0.000 | UV.Autozero
13:14:22 | 0.000 | Wait ColumnOven.Ready And Sampler.Ready And UV.Ready
13:14:27 | 0.000 | Wait finished
13:14:27 | 0.000 | Entered stage "Inject"
13:14:27 | 0.000 | Sampler.Inject
13:14:27 | 0.000 | Injecting from vial position RA1.
13:14:27 | 0.000 | Injection Volume is 2.000 µl.
13:14:27 | 0.000 | Waiting for inject response on UM3WPSInjectState1.
13:14:29 | 0.000 | Got inject response.
13:14:29 | 0.000 | Entered stage "Start Run"
13:14:29 | 0.000 | UV.UV_VIS_1.AcqOn
13:14:29 | 0.000 | UV.UV_VIS_2.AcqOn
13:14:29 | 0.000 | UV.3DFIELD.AcqOn
13:14:29 | 0.000 | Entered stage "Run"
13:14:29 | 0.000 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:29 | 0.000 | PumpModule.Pump.%B.Value Gradient Start = 35.0 %, End = 90.0 %, Duration = 0.300 min
13:14:29 | 0.000 | PumpModule.Pump.%C.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.%D.Value = 0.0 %
13:14:29 | 0.000 | PumpModule.Pump.Curve = 5
13:14:29 | 0.000 | Reading from simulation data file C:\Program Files (x86)\Thermo\Chromeleon\bin\DDK\V1\Drivers\Dionex\DAD3000\cmoq_1.dad3000.
13:14:47 | 0.300 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:47 | 0.300 | PumpModule.Pump.%B.Value = 90.0 %
13:14:47 | 0.300 | PumpModule.Pump.%C.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.%D.Value = 0.0 %
13:14:47 | 0.300 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | PumpModule.Pump.Flow.Nominal = 1.400 ml/min
13:14:56 | 0.450 | PumpModule.Pump.%B.Value = 90.0 %
13:14:56 | 0.450 | PumpModule.Pump.%C.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.%D.Value = 0.0 %
13:14:56 | 0.450 | PumpModule.Pump.Curve = 5
13:14:56 | 0.450 | UV.3DFIELD.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_1.AcqOff
13:14:56 | 0.450 | UV.UV_VIS_2.AcqOff
13:14:56 | 0.450 | Entered stage "Stop Run"
13:14:56 | 0.450 | Terminating instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth. Waiting for instrument to finish processing of current injection ...
13:14:56 | 0.451 | Closing simulation data file.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 | 0.451 | OK to terminate instrument method chrom://deger-6fwtxt2/Workspace/OQ/Station Qual 2022-07-12.seq/CM_OQ.instmeth.
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 5": Injection specification criteria has not been met
13:14:56 |  | IRC Message for Test Case "System Suitability Test Case 6": Injection specification criteria has not been met
13:14:56 |  | End of injection "Alkylphenones 1".

## Chromatogram (hidden)
Chromatogram